## NDFR-25C-4
Wavelength | Attenuation
nm | dB
805.3453 | 2.013
807.0598 | 1.6845
807.0598 | 1.8197
810.4888 | 1.6265 | Fixed fiber attenuators FFA-05S-XXX Attenuation This file indicates a typical data and there may be differences between product batches. If you have any questions, please contact LBTEK Technical Support. To quote this data, please indicate that the data source is from LBTEK.
812.2034 | 1.4913
812.2034 | 1.4333
813.9179 | 1.298
815.6324 | 1.2401
817.3469 | 1.1048
817.3469 | 1.0469
825.9195 | 0.96956
827.6341 | 0.91159
831.0631 | 0.75701
834.4921 | 0.77634 | LBTEK Mall：www.lbtek.com Tel：400-060-6986 LBTEK Technical Support E-mail：service@lbtek.com
839.6357 | 0.79566
841.3502 | 0.67972
846.4938 | 0.54447
846.4938 | 0.6604
863.639 | 0.52514
865.3535 | 0.56379
872.2116 | 0.64108
877.3552 | 0.71837
880.7842 | 0.73769
892.7859 | 0.69905
892.7859 | 0.73769
897.9294 | 0.71837
904.7875 | 0.81498
908.2165 | 0.81498
911.6456 | 0.95024
913.3601 | 0.96956
921.9327 | 1.0469
925.3618 | 1.0275
935.6489 | 1.0275
939.0779 | 1.0275
947.6505 | 1.1241
956.2231 | 1.2401
961.3667 | 1.3753
964.7957 | 1.356
975.0829 | 1.414
980.2264 | 1.3946
987.0845 | 1.4719
987.0845 | 1.4526
997.3717 | 1.5686
1000.8007 | 1.5299
1004.2297 | 1.6265
1007.6588 | 1.6458
1012.8023 | 1.7425
1016.2314 | 1.7811
1024.804 | 1.9164
1028.233 | 1.9357
1038.5202 | 1.9357
1040.2347 | 1.9164
1045.3782 | 2.0709
1047.0928 | 2.0516
1059.0944 | 2.0903
1062.5235 | 2.1289
1065.9525 | 2.2062
1074.5251 | 2.3221
1081.3832 | 2.3608
1086.5268 | 2.3994
1091.6703 | 2.5347
1096.8139 | 2.5347
1101.9575 | 2.6313
1105.3865 | 2.6313
1108.8155 | 2.7086
1112.2446 | 2.6699
1117.3881 | 2.7086
1122.5317 | 2.7859
1129.3898 | 2.8052
1132.8188 | 2.8632
1144.8205 | 2.9598
1146.535 | 2.9598
1155.1076 | 3.0564
1155.1076 | 2.9984
1163.6802 | 3.1143
1163.6802 | 3.153
1173.9673 | 3.1916
1184.2545 | 3.3462
1184.2545 | 3.2689
1187.6835 | 3.4235
1191.1126 | 3.4235
1201.3997 | 3.5201
1201.3997 | 3.4428
1204.8287 | 3.5974
1213.4013 | 3.5588
1216.8304 | 3.6167
1220.2594 | 3.6554
1221.9739 | 3.7713
1230.5465 | 3.8679
1233.9756 | 3.8872
1240.8337 | 3.9452
1245.9772 | 4.0805
1249.4063 | 4.2157
1249.4063 | 4.2737
1254.5498 | 4.351
1261.4079 | 4.3123
1268.266 | 4.351
1273.4096 | 4.4476
1276.8386 | 4.4669
1278.5531 | 4.6408
1281.9822 | 4.6022
1285.4112 | 4.7568
1287.1257 | 4.7761
1297.4129 | 4.6601
1312.8436 | 4.6408
1312.8436 | 4.6215
1317.9871 | 4.6795
1324.8452 | 4.7181
1333.4178 | 4.8534
1341.9904 | 4.9306
1343.7049 | 4.95
1350.563 | 4.8147
1357.4211 | 4.6988
1359.1356 | 4.6795
1367.7082 | 4.5635
1371.1373 | 4.6408
1377.9954 | 4.7761
1384.8535 | 4.8534
1393.4261 | 4.834
1400.2841 | 4.892
1403.7132 | 4.8727
1410.5713 | 4.834
1419.1439 | 4.7181
1424.2874 | 4.7181
1429.431 | 4.834
1432.8601 | 4.834
1441.4327 | 4.8147
1441.4327 | 4.834
1446.5762 | 4.6988
1450.0053 | 4.6988
1462.0069 | 4.6795
1472.294 | 4.7954
1480.8666 | 4.7761
1486.0102 | 4.7181
1491.1538 | 4.6988
1496.2973 | 4.6988
1503.1554 | 4.8534
1515.1571 | 4.9113
1520.3006 | 4.892
1527.1587 | 4.8147
1530.5878 | 4.7954
1537.4459 | 4.7761
1537.4459 | 4.834
1549.4475 | 4.892
1551.162 | 4.9306
1563.1637 | 4.9886
1563.1637 | 4.9693
1568.3072 | 5.0273
1580.3089 | 5.0273
1580.3089 | 5.0079
1590.596 | 4.9886
1595.7396 | 4.9306
1597.4541 | 4.8727
1606.0267 | 4.8534
1607.7412 | 4.9113
1611.1703 | 4.9113
1619.7429 | 4.9886
1628.3155 | 4.8727
1628.3155 | 4.8534
1638.6026 | 4.95
1645.4607 | 5.0659
1654.0333 | 4.9693
1654.0333 | 5.0466
1660.8914 | 4.9306
1664.3204 | 4.8727
1674.6075 | 4.9306
1678.0366 | 4.9306