## ET560_25x
WaveLength | Transmission | WaveLength | OD
nm | % | nm | /
300 | 9.354e-06 | 300 | 7.029
300.5 | -2.769e-05 | 301 | 6.346
301 | 4.508e-05 | 301.5 | 6.6238
301.5 | 2.378e-05 | 302.5 | 7.0846 | ET560/25x Transmission and OD Plot of ET560/25x This file indicates a typical data and there may be differences between product batches. If you have any questions, please contact LBTEK Technical Support. To quote this data, please indicate that the data source is from LBTEK.
302 | -1.901e-05 | 304.5 | 6.2454
302.5 | 8.229e-06 | 305 | 6.2333
303 | -3.639e-07 | 305.5 | 6.3316
303.5 | -3.831e-05 | 306 | 6.442
304 | -2.353e-05 | 306.5 | 7.0198
304.5 | 5.684e-05 | 307.5 | 6.6021
305 | 5.844e-05 | 308.5 | 6.7375
305.5 | 4.66e-05 | 309.5 | 6.082
306 | 3.614e-05 | 312.5 | 6.2847
306.5 | 9.555e-06 | 313.5 | 6.1981 | LBTEK Mall：www.lbtek.com Tel：400-060-6986 LBTEK Technical Support E-mail：service@lbtek.com
307 | -4.952e-05 | 314 | 6.3672
307.5 | 2.5e-05 | 315 | 6.8595
308 | -1.519e-05 | 317 | 5.9842
308.5 | 1.83e-05 | 318 | 6.5003
309 | -4.372e-05 | 319 | 6.2705
309.5 | 8.28e-05 | 320 | 6.9087
310 | -4.716e-05 | 320.5 | 6.3239
310.5 | -1.902e-05 | 321 | 6.0964
311 | -1.7e-05 | 321.5 | 6.1481
311.5 | -2.458e-05 | 322 | 6.4662
312 | -1.417e-06 | 322.5 | 6.3684
312.5 | 5.191e-05 | 324 | 6.354
313 | -3.56e-05 | 325 | 6.2361
313.5 | 6.337e-05 | 325.5 | 6.4126
314 | 4.293e-05 | 327 | 6.3633
314.5 | -2.398e-05 | 327.5 | 6.2775
315 | 1.382e-05 | 328 | 6.6153
315.5 | -3.317e-05 | 328.5 | 6.2451
316 | -1.188e-05 | 329.5 | 6.8008
316.5 | -2.382e-05 | 330 | 6.4458
317 | 0.0001037 | 330.5 | 6.8526
317.5 | -5.566e-05 | 331 | 6.7902
318 | 3.16e-05 | 331.5 | 6.5702
318.5 | -1.129e-05 | 332.5 | 6.4852
319 | 5.364e-05 | 333 | 6.349
319.5 | -2.339e-05 | 333.5 | 6.2849
320 | 1.234e-05 | 334 | 7.4033
320.5 | 4.744e-05 | 335 | 6.8948
321 | 8.009e-05 | 335.5 | 6.3372
321.5 | 7.11e-05 | 336 | 6.6002
322 | 3.418e-05 | 336.5 | 7.6729
322.5 | 4.282e-05 | 337 | 6.6486
323 | -2.069e-05 | 338 | 6.4556
323.5 | -6.715e-10 | 338.5 | 6.1818
324 | 4.426e-05 | 339 | 6.2385
324.5 | -4.994e-06 | 339.5 | 6.3654
325 | 5.806e-05 | 340 | 6.2805
325.5 | 3.867e-05 | 340.5 | 6.0486
326 | -2.068e-05 | 341 | 7.0971
326.5 | -2.395e-05 | 341.5 | 6.7607
327 | 4.332e-05 | 342 | 6.8554
327.5 | 5.278e-05 | 342.5 | 6.5569
328 | 2.425e-05 | 343 | 8.2691
328.5 | 5.687e-05 | 343.5 | 6.7071
329 | -5.877e-05 | 344 | 7.2215
329.5 | 1.582e-05 | 345.5 | 6.2412
330 | 3.583e-05 | 346.5 | 6.2699
330.5 | 1.404e-05 | 347.5 | 7.3412
331 | 1.621e-05 | 348.5 | 6.5397
331.5 | 2.69e-05 | 349 | 6.9489
332 | -4.063e-05 | 349.5 | 6.3575
332.5 | 3.272e-05 | 350 | 6.7333
333 | 4.477e-05 | 351 | 7.0442
333.5 | 5.189e-05 | 352 | 6.7135
334 | 3.951e-06 | 352.5 | 6.6988
334.5 | -5.984e-06 | 353 | 6.4311
335 | 1.274e-05 | 353.5 | 6.9834
335.5 | 4.6e-05 | 354 | 6.5864
336 | 2.511e-05 | 354.5 | 6.8492
336.5 | 2.124e-06 | 355 | 6.481
337 | 2.246e-05 | 355.5 | 6.5031
337.5 | -7.695e-07 | 357 | 6.5027
338 | 3.503e-05 | 357.5 | 6.5481
338.5 | 6.579e-05 | 358.5 | 7.1727
339 | 5.774e-05 | 359.5 | 6.3681
339.5 | 4.311e-05 | 360 | 6.5258
340 | 5.242e-05 | 360.5 | 6.4989
340.5 | 8.941e-05 | 361 | 7.5258
341 | 7.996e-06 | 361.5 | 6.5865
341.5 | 1.735e-05 | 362.5 | 7.0343
342 | 1.395e-05 | 363 | 6.6637
342.5 | 2.774e-05 | 364 | 7.13
343 | 5.382e-07 | 364.5 | 6.9477
343.5 | 1.963e-05 | 365 | 7.0765
344 | 6.005e-06 | 365.5 | 7.3994
344.5 | -6.126e-07 | 366 | 6.7889
345 | -6.578e-06 | 366.5 | 6.8908
345.5 | 5.738e-05 | 367 | 6.9119
346 | -5.673e-06 | 367.5 | 6.7364
346.5 | 5.372e-05 | 368.5 | 6.4812
347 | -4.744e-06 | 369 | 7.097
347.5 | 4.558e-06 | 370 | 6.5173
348 | -1.307e-05 | 370.5 | 8.3204
348.5 | 2.886e-05 | 371 | 6.5436
349 | 1.125e-05 | 371.5 | 6.9555
349.5 | 4.39e-05 | 372 | 6.3306
350 | 1.848e-05 | 372.5 | 6.5753
350.5 | -1.148e-05 | 373.5 | 6.7956
351 | 9.033e-06 | 374 | 6.9281
351.5 | -1.586e-05 | 374.5 | 6.6238
352 | 1.934e-05 | 375 | 6.8804
352.5 | 2.001e-05 | 375.5 | 6.5544
353 | 3.706e-05 | 376 | 7.5465
353.5 | 1.039e-05 | 377 | 6.527
354 | 2.592e-05 | 377.5 | 6.8248
354.5 | 1.415e-05 | 378 | 6.9523
355 | 3.304e-05 | 378.5 | 6.9439
355.5 | 3.14e-05 | 379 | 7.006
356 | -1.628e-05 | 379.5 | 10.3944
356.5 | -8.379e-08 | 380 | 7.2485
357 | 3.143e-05 | 380.5 | 7.1226
357.5 | 2.831e-05 | 381.5 | 6.4849
358 | -8.941e-07 | 382 | 6.5842
358.5 | 6.719e-06 | 383 | 6.9277
359 | -4.498e-06 | 383.5 | 6.5605
359.5 | 4.284e-05 | 384 | 7.0597
360 | 2.98e-05 | 384.5 | 6.4025
360.5 | 3.17e-05 | 385 | 6.8573
361 | 2.98e-06 | 385.5 | 6.7003
361.5 | 2.591e-05 | 386 | 6.7467
362 | -9.048e-07 | 386.5 | 6.691
362.5 | 9.241e-06 | 387 | 7.0189
363 | 2.169e-05 | 387.5 | 6.5611
363.5 | -9.574e-06 | 388 | 6.763
364 | 7.413e-06 | 388.5 | 6.7312
364.5 | 1.128e-05 | 389 | 6.7572
365 | 8.386e-06 | 389.5 | 6.7277
365.5 | 3.987e-06 | 390 | 7.0282
366 | 1.626e-05 | 390.5 | 6.8465
366.5 | 1.286e-05 | 391 | 7.1306
367 | 1.225e-05 | 391.5 | 6.6876
367.5 | 1.835e-05 | 392 | 6.5763
368 | -1.444e-06 | 393 | 6.776
368.5 | 3.302e-05 | 393.5 | 6.4976
369 | 7.999e-06 | 394 | 6.7102
369.5 | -7.658e-06 | 394.5 | 7.001
370 | 3.039e-05 | 395 | 6.8523
370.5 | 4.782e-07 | 395.5 | 6.6828
371 | 2.86e-05 | 396 | 7.0217
371.5 | 1.108e-05 | 396.5 | 7.0606
372 | 4.671e-05 | 397 | 7.1497
372.5 | 2.659e-05 | 397.5 | 8.2412
373 | -1.555e-05 | 398 | 6.1671
373.5 | 1.601e-05 | 398.5 | 5.8918
374 | 1.18e-05 | 399 | 5.7768
374.5 | 2.378e-05 | 399.5 | 5.8851
375 | 1.317e-05 | 400 | 6.0526
375.5 | 2.79e-05 | 400.5 | 6.4142
376 | 2.841e-06 | 401 | 6.6964
376.5 | -5.384e-06 | 401.5 | 6.5696
377 | 2.972e-05 | 402 | 6.9052
377.5 | 1.497e-05 | 403 | 6.7001
378 | 1.116e-05 | 403.5 | 6.7908
378.5 | 1.138e-05 | 404 | 6.7233
379 | 9.864e-06 | 404.5 | 7.4247
379.5 | 4.033e-09 | 405 | 6.6336
380 | 5.643e-06 | 405.5 | 8.128
380.5 | 7.541e-06 | 406 | 6.7106
381 | -1.79e-05 | 406.5 | 7.4059
381.5 | 3.274e-05 | 407 | 6.7836
382 | 2.605e-05 | 407.5 | 6.9014
382.5 | -1.082e-05 | 408 | 6.8297
383 | 1.181e-05 | 409 | 6.5354
383.5 | 2.751e-05 | 409.5 | 6.8732
384 | 8.715e-06 | 410 | 6.7587
384.5 | 3.958e-05 | 410.5 | 6.7716
385 | 1.389e-05 | 411 | 6.8041
385.5 | 1.994e-05 | 411.5 | 7.114
386 | 1.792e-05 | 412 | 7.0207
386.5 | 2.037e-05 | 412.5 | 6.7397
387 | 9.575e-06 | 413 | 7.0842
387.5 | 2.747e-05 | 413.5 | 6.7894
388 | 1.726e-05 | 414 | 7.1337
388.5 | 1.857e-05 | 414.5 | 6.9341
389 | 1.749e-05 | 415 | 6.7129
389.5 | 1.872e-05 | 415.5 | 7.5166
390 | 9.372e-06 | 416 | 6.8745
390.5 | 1.424e-05 | 416.5 | 7.3462
391 | 7.403e-06 | 417 | 7.0682
391.5 | 2.053e-05 | 417.5 | 6.7942
392 | 2.653e-05 | 418 | 7.5473
392.5 | -1.607e-06 | 418.5 | 7.2381
393 | 1.675e-05 | 419 | 6.8046
393.5 | 3.18e-05 | 419.5 | 7.0827
394 | 1.949e-05 | 420 | 6.8781
394.5 | 9.977e-06 | 420.5 | 6.8125
395 | 1.405e-05 | 422 | 7.1403
395.5 | 2.076e-05 | 422.5 | 6.671
396 | 9.513e-06 | 423 | 6.9465
396.5 | 8.697e-06 | 423.5 | 7.0075
397 | 7.084e-06 | 424 | 6.9252
397.5 | 5.738e-07 | 424.5 | 7.1989
398 | 6.806e-05 | 425 | 7.1852
398.5 | 0.0001283 | 425.5 | 7.0166
399 | 0.0001672 | 426 | 6.9
399.5 | 0.0001303 | 426.5 | 7.8499
400 | 8.859e-05 | 427 | 7.0291
400.5 | 3.853e-05 | 427.5 | 6.7354
401 | 2.012e-05 | 428 | 6.8778
401.5 | 2.694e-05 | 428.5 | 6.8196
402 | 1.244e-05 | 429.5 | 6.8199
402.5 | -1.628e-06 | 430 | 6.8781
403 | 1.995e-05 | 430.5 | 7.178
403.5 | 1.619e-05 | 431 | 6.7528
404 | 1.891e-05 | 431.5 | 7.0367
404.5 | 3.761e-06 | 432.5 | 7.3777
405 | 2.325e-05 | 433 | 7.0037
405.5 | 7.447e-07 | 433.5 | 6.6488
406 | 1.947e-05 | 434 | 6.8033
406.5 | 3.927e-06 | 434.5 | 6.87
407 | 1.646e-05 | 435 | 6.9034
407.5 | 1.255e-05 | 435.5 | 6.9329
408 | 1.48e-05 | 436 | 7.0463
408.5 | -1.284e-06 | 436.5 | 7.1602
409 | 2.915e-05 | 437 | 6.9108
409.5 | 1.339e-05 | 437.5 | 6.8901
410 | 1.743e-05 | 438.5 | 6.6121
410.5 | 1.692e-05 | 439 | 6.9465
411 | 1.57e-05 | 439.5 | 7.0498
411.5 | 7.691e-06 | 440 | 7.0382
412 | 9.535e-06 | 440.5 | 6.8094
412.5 | 1.821e-05 | 441 | 7.4069
413 | 8.237e-06 | 441.5 | 6.8901
413.5 | 1.624e-05 | 442 | 7.1972
414 | 7.35e-06 | 442.5 | 7.1866
414.5 | 1.164e-05 | 443 | 7.4261
415 | 1.937e-05 | 443.5 | 6.9485
415.5 | 3.044e-06 | 444 | 7.0479
416 | 1.335e-05 | 444.5 | 7.2121
416.5 | 4.506e-06 | 445 | 6.6974
417 | 8.547e-06 | 445.5 | 6.581
417.5 | 1.606e-05 | 446 | 6.6486
418 | 2.836e-06 | 446.5 | 6.6381
418.5 | 5.78e-06 | 447 | 6.5394
419 | 1.568e-05 | 447.5 | 6.2813
419.5 | 8.267e-06 | 448 | 6.2434
420 | 1.324e-05 | 448.5 | 6.0392
420.5 | 1.54e-05 | 449 | 5.8499
421 | -2.157e-06 | 449.5 | 5.7597
421.5 | -1.563e-06 | 450 | 5.7192
422 | 7.239e-06 | 450.5 | 5.7711
422.5 | 2.133e-05 | 451 | 5.8768
423 | 1.131e-05 | 451.5 | 5.997
423.5 | 9.83e-06 | 452 | 6.0249
424 | 1.188e-05 | 452.5 | 6.0314
424.5 | 6.326e-06 | 453 | 6.0511
425 | 6.528e-06 | 453.5 | 6.1502
425.5 | 9.624e-06 | 454 | 6.1111
426 | 1.259e-05 | 454.5 | 6.1457
426.5 | 1.413e-06 | 455 | 6.2011
427 | 9.352e-06 | 455.5 | 6.2188
427.5 | 1.839e-05 | 456 | 6.2207
428 | 1.325e-05 | 456.5 | 6.2101
428.5 | 1.515e-05 | 457 | 6.3591
429 | -2.832e-06 | 457.5 | 6.2259
429.5 | 1.514e-05 | 458 | 6.3404
430 | 1.324e-05 | 458.5 | 6.249
430.5 | 6.637e-06 | 459 | 6.2522
431 | 1.767e-05 | 459.5 | 6.2729
431.5 | 9.189e-06 | 460 | 6.246
432 | -1.417e-06 | 460.5 | 6.1156
432.5 | 4.191e-06 | 461 | 6.0875
433 | 9.915e-06 | 461.5 | 5.9842
433.5 | 2.245e-05 | 462 | 5.9731
434 | 1.573e-05 | 462.5 | 5.8976
434.5 | 1.349e-05 | 463 | 5.8277
435 | 1.249e-05 | 463.5 | 5.7411
435.5 | 1.167e-05 | 464 | 5.6863
436 | 8.988e-06 | 464.5 | 5.593
436.5 | 6.915e-06 | 465 | 5.6017
437 | 1.228e-05 | 465.5 | 5.6189
437.5 | 1.288e-05 | 466 | 5.6137
438 | -3.195e-06 | 466.5 | 5.6558
438.5 | 2.443e-05 | 467 | 5.6672
439 | 1.131e-05 | 467.5 | 5.7326
439.5 | 8.916e-06 | 468 | 5.8551
440 | 9.158e-06 | 468.5 | 5.9622
440.5 | 1.551e-05 | 469 | 6.007
441 | 3.918e-06 | 469.5 | 5.9855
441.5 | 1.288e-05 | 470 | 6.1024
442 | 6.35e-06 | 470.5 | 6.1852
442.5 | 6.508e-06 | 471 | 6.2291
443 | 3.749e-06 | 471.5 | 6.3156
443.5 | 1.126e-05 | 472 | 6.3611
444 | 8.956e-06 | 472.5 | 6.3809
444.5 | 6.136e-06 | 473 | 6.671
445 | 2.007e-05 | 473.5 | 6.4786
445.5 | 2.624e-05 | 474 | 6.4272
446 | 2.246e-05 | 474.5 | 6.5224
446.5 | 2.301e-05 | 475 | 6.9408
447 | 2.888e-05 | 475.5 | 7.2364
447.5 | 5.232e-05 | 476 | 7.0855
448 | 5.71e-05 | 476.5 | 7.1144
448.5 | 9.136e-05 | 477 | 7.3057
449 | 0.0001413 | 478 | 6.8058
449.5 | 0.0001739 | 478.5 | 7.1148
450 | 0.0001909 | 479 | 6.8908
450.5 | 0.0001694 | 479.5 | 8.6609
451 | 0.0001328 | 480 | 7.0689
451.5 | 0.0001007 | 480.5 | 7.0324
452 | 9.443e-05 | 481 | 6.8517
452.5 | 9.302e-05 | 481.5 | 6.8136
453 | 8.891e-05 | 482 | 6.7565
453.5 | 7.077e-05 | 482.5 | 6.8745
454 | 7.743e-05 | 483 | 7.2367
454.5 | 7.15e-05 | 483.5 | 7.2878
455 | 6.294e-05 | 484 | 7.2203
455.5 | 6.043e-05 | 485 | 6.8854
456 | 6.016e-05 | 485.5 | 6.9048
456.5 | 6.164e-05 | 486 | 7.2351
457 | 4.374e-05 | 486.5 | 7.6375
457.5 | 5.945e-05 | 487 | 6.7587
458 | 4.567e-05 | 488 | 6.9223
458.5 | 5.636e-05 | 488.5 | 7.3377
459 | 5.595e-05 | 489.5 | 7.1565
459.5 | 5.334e-05 | 490 | 7.1901
460 | 5.676e-05 | 490.5 | 7.7978
460.5 | 7.663e-05 | 491 | 6.9165
461 | 8.176e-05 | 491.5 | 7.5163
461.5 | 0.0001037 | 492 | 6.9431
462 | 0.0001064 | 492.5 | 6.7897
462.5 | 0.0001266 | 493 | 7.1571
463 | 0.0001487 | 493.5 | 7.1524
463.5 | 0.0001815 | 494 | 7.3937
464 | 0.0002059 | 494.5 | 7.0317
464.5 | 0.0002553 | 495 | 7.1778
465 | 0.0002502 | 495.5 | 6.959
465.5 | 0.0002405 | 496 | 6.8781
466 | 0.0002434 | 496.5 | 6.8321
466.5 | 0.0002209 | 497 | 7.1075
467 | 0.0002152 | 497.5 | 8.2057
467.5 | 0.0001851 | 498 | 7.0114
468 | 0.0001396 | 498.5 | 6.9978
468.5 | 0.0001091 | 499 | 6.9582
469 | 9.84e-05 | 499.5 | 7.3227
469.5 | 0.0001034 | 500 | 7.1421
470 | 7.899e-05 | 500.5 | 6.952
470.5 | 6.529e-05 | 501 | 7.1094
471 | 5.901e-05 | 501.5 | 7.5342
471.5 | 4.835e-05 | 502 | 7.0105
472 | 4.354e-05 | 502.5 | 7.1603
472.5 | 4.16e-05 | 503 | 8.0517
473 | 2.133e-05 | 503.5 | 6.7109
473.5 | 3.322e-05 | 504 | 7.0045
474 | 3.739e-05 | 504.5 | 7.1285
474.5 | 3.003e-05 | 505 | 6.9743
475 | 1.146e-05 | 505.5 | 7.0243
475.5 | 5.802e-06 | 506.5 | 8.2519
476 | 8.213e-06 | 507 | 6.8499
476.5 | 7.685e-06 | 507.5 | 7.0423
477 | 4.947e-06 | 508 | 7.3049
477.5 | -4.059e-07 | 508.5 | 7.0327
478 | 1.564e-05 | 509 | 7.1084
478.5 | 7.677e-06 | 509.5 | 6.9622
479 | 1.286e-05 | 510.5 | 6.8072
479.5 | 2.183e-07 | 511 | 7.4466
480 | 8.534e-06 | 511.5 | 7.0547
480.5 | 9.28e-06 | 512 | 6.8456
481 | 1.407e-05 | 512.5 | 6.9698
481.5 | 1.536e-05 | 513 | 7.1578
482 | 1.752e-05 | 513.5 | 6.9987
482.5 | 1.335e-05 | 514 | 7.0628
483 | 5.798e-06 | 515 | 7.179
483.5 | 5.155e-06 | 515.5 | 7.3395
484 | 6.021e-06 | 516 | 7.0175
484.5 | -6.658e-07 | 516.5 | 6.8207
485 | 1.302e-05 | 517 | 6.9017
485.5 | 1.245e-05 | 518 | 7.135
486 | 5.819e-06 | 518.5 | 7.0485
486.5 | 2.304e-06 | 519 | 7.054
487 | 1.743e-05 | 519.5 | 7.4993
487.5 | -6.397e-07 | 520 | 7.3856
488 | 1.196e-05 | 520.5 | 7.1397
488.5 | 4.595e-06 | 521 | 7.6029
489 | -1.685e-06 | 521.5 | 7.0595
489.5 | 6.975e-06 | 522 | 6.7737
490 | 6.455e-06 | 522.5 | 7.0009
490.5 | 1.593e-06 | 523.5 | 7.1508
491 | 1.212e-05 | 524 | 7.2125
491.5 | 3.046e-06 | 524.5 | 7.252
492 | 1.14e-05 | 525 | 6.8935
492.5 | 1.623e-05 | 525.5 | 6.9442
493 | 6.964e-06 | 526 | 7.3147
493.5 | 7.04e-06 | 526.5 | 7.5011
494 | 4.039e-06 | 527 | 7.1002
494.5 | 9.295e-06 | 527.5 | 6.8804
495 | 6.641e-06 | 528 | 6.971
495.5 | 1.099e-05 | 528.5 | 7.0609
496 | 1.324e-05 | 529 | 7.2194
496.5 | 1.472e-05 | 529.5 | 6.9176
497 | 7.808e-06 | 530 | 6.9889
497.5 | 6.227e-07 | 530.5 | 7.1665
498 | 9.741e-06 | 531 | 7.2658
498.5 | 1.005e-05 | 532 | 7.0205
499 | 1.101e-05 | 532.5 | 7.0621
499.5 | 4.757e-06 | 533.5 | 6.7169
500 | 7.209e-06 | 534 | 6.7387
500.5 | 1.117e-05 | 534.5 | 6.9133
501 | 7.774e-06 | 535 | 6.9469
501.5 | 2.923e-06 | 535.5 | 7.2996
502 | 9.761e-06 | 536 | 7.3922
502.5 | 6.914e-06 | 536.5 | 6.9292
503 | 8.877e-07 | 537 | 6.6381
503.5 | 1.946e-05 | 537.5 | 6.6949
504 | 9.897e-06 | 538 | 7.6243
504.5 | 7.438e-06 | 538.5 | 7.0175
505 | 1.061e-05 | 539 | 6.9905
505.5 | 9.457e-06 | 539.5 | 8.2575
506 | -4.584e-06 | 540 | 6.838
506.5 | 5.599e-07 | 540.5 | 7.0983
507 | 1.413e-05 | 541 | 6.7739
507.5 | 9.071e-06 | 541.5 | 7.1566
508 | 4.956e-06 | 542 | 7.0489
508.5 | 9.274e-06 | 542.5 | 6.649
509 | 7.791e-06 | 543 | 6.626
509.5 | 1.091e-05 | 543.5 | 6.702
510 | -5.692e-06 | 544 | 6.4023
510.5 | 1.559e-05 | 544.5 | 6.1966
511 | 3.576e-06 | 545 | 5.7913
511.5 | 8.816e-06 | 545.5 | 5.2153
512 | 1.427e-05 | 546 | 4.5193
512.5 | 1.072e-05 | 546.5 | 3.8173
513 | 6.954e-06 | 547 | 3.0141
513.5 | 1.003e-05 | 547.5 | 1.9813
514 | 8.654e-06 | 548 | 1.0271
514.5 | -8.336e-07 | 548.5 | 0.45457
515 | 6.623e-06 | 549 | 0.15181
515.5 | 4.576e-06 | 549.5 | 0.03948
516 | 9.606e-06 | 550 | 0.01977
516.5 | 1.511e-05 | 550.5 | 0.01768
517 | 1.254e-05 | 551 | 0.01224
517.5 | -2.333e-06 | 551.5 | 0.00913
518 | 7.328e-06 | 552 | 0.00886
518.5 | 8.944e-06 | 552.5 | 0.01122
519 | 8.83e-06 | 553 | 0.01265
519.5 | 3.167e-06 | 553.5 | 0.01332
520 | 4.115e-06 | 554 | 0.01381
520.5 | 7.249e-06 | 554.5 | 0.01448
521 | 2.495e-06 | 555 | 0.01395
521.5 | 8.72e-06 | 555.5 | 0.01493
522 | 1.684e-05 | 556 | 0.01534
522.5 | 9.979e-06 | 556.5 | 0.01637
523 | -1.635e-06 | 557 | 0.01525
523.5 | 7.066e-06 | 557.5 | 0.0157
524 | 6.13e-06 | 558 | 0.01529
524.5 | 5.598e-06 | 558.5 | 0.01583
525 | 1.278e-05 | 559 | 0.01655
525.5 | 1.137e-05 | 559.5 | 0.01809
526 | 4.845e-06 | 560 | 0.01592
526.5 | 3.154e-06 | 560.5 | 0.01457
527 | 7.94e-06 | 561 | 0.01207
527.5 | 1.317e-05 | 561.5 | 0.01082
528 | 1.069e-05 | 562 | 0.00886
528.5 | 8.692e-06 | 562.5 | 0.00877
529 | 6.034e-06 | 563 | 0.00811
529.5 | 1.209e-05 | 563.5 | 0.00723
530 | 1.026e-05 | 564 | 0.00678
530.5 | 6.816e-06 | 564.5 | 0.00643
531 | 5.422e-06 | 565 | 0.00798
531.5 | -4.973e-06 | 565.5 | 0.00833
532 | 9.54e-06 | 566 | 0.00767
532.5 | 8.667e-06 | 566.5 | 0.00656
533 | -3.062e-06 | 567 | 0.00709
533.5 | 1.919e-05 | 567.5 | 0.01042
534 | 1.825e-05 | 568 | 0.01274
534.5 | 1.221e-05 | 568.5 | 0.01408
535 | 1.13e-05 | 569 | 0.01318
535.5 | 5.016e-06 | 569.5 | 0.0118
536 | 4.053e-06 | 570 | 0.01207
536.5 | 1.177e-05 | 570.5 | 0.01323
537 | 2.301e-05 | 571 | 0.01193
537.5 | 2.019e-05 | 571.5 | 0.01037
538 | 2.375e-06 | 572 | 0.01193
538.5 | 9.604e-06 | 572.5 | 0.01922
539 | 1.022e-05 | 573 | 0.03744
539.5 | 5.527e-07 | 573.5 | 0.09109
540 | 1.452e-05 | 574 | 0.26809
540.5 | 7.974e-06 | 574.5 | 1.1053
541 | 1.683e-05 | 575 | 1.4905
541.5 | 6.972e-06 | 575.5 | 2.4626
542 | 8.935e-06 | 576 | 3.2572
542.5 | 2.244e-05 | 576.5 | 3.9007
543 | 2.366e-05 | 577 | 4.5367
543.5 | 1.986e-05 | 577.5 | 5.2092
544 | 3.96e-05 | 578 | 5.6407
544.5 | 6.359e-05 | 578.5 | 6.0993
545 | 0.0001617 | 579 | 6.2828
545.5 | 0.0006091 | 579.5 | 6.4619
546 | 0.003025 | 580 | 6.593
546.5 | 0.01523 | 580.5 | 6.7414
547 | 0.0968 | 581 | 6.8523
547.5 | 1.044 | 581.5 | 6.6658
548 | 9.396 | 582 | 6.9267
548.5 | 35.11 | 582.5 | 7.3198
549 | 70.5 | 583 | 6.8431
549.5 | 91.31 | 583.5 | 7.7156
550 | 95.55 | 584 | 7.5773
550.5 | 96.01 | 584.5 | 7.0071
551 | 97.22 | 585 | 7.0348
551.5 | 97.92 | 585.5 | 6.7708
552 | 97.98 | 586.5 | 7.0168
552.5 | 97.45 | 587 | 7.1169
553 | 97.13 | 587.5 | 6.8931
553.5 | 96.98 | 588 | 7.0642
554 | 96.87 | 588.5 | 6.7049
554.5 | 96.72 | 589 | 6.9318
555 | 96.84 | 589.5 | 6.8931
555.5 | 96.62 | 590 | 6.8755
556 | 96.53 | 590.5 | 7.0838
556.5 | 96.3 | 591 | 6.965
557 | 96.55 | 591.5 | 7.0325
557.5 | 96.45 | 592 | 7.3903
558 | 96.54 | 592.5 | 6.9863
558.5 | 96.42 | 593 | 7.2337
559 | 96.26 | 593.5 | 6.9678
559.5 | 95.92 | 594 | 6.9961
560 | 96.4 | 594.5 | 7.2357
560.5 | 96.7 | 595 | 7.5028
561 | 97.26 | 595.5 | 7.2581
561.5 | 97.54 | 596 | 7.2516
562 | 97.98 | 596.5 | 7.7884
562.5 | 98 | 597 | 7.2443
563 | 98.15 | 597.5 | 7.0894
563.5 | 98.35 | 598 | 7.1406
564 | 98.45 | 598.5 | 6.9739
564.5 | 98.53 | 599 | 7.4615
565 | 98.18 | 599.5 | 7.1848
565.5 | 98.1 | 600 | 7.2871
566 | 98.25 | 600.5 | 7.163
566.5 | 98.5 | 601 | 7.1871
567 | 98.38 | 601.5 | 7.0813
567.5 | 97.63 | 602 | 7.187
568 | 97.11 | 602.5 | 6.9834
568.5 | 96.81 | 603 | 7.0612
569 | 97.01 | 603.5 | 7.4643
569.5 | 97.32 | 604 | 6.7668
570 | 97.26 | 604.5 | 7.104
570.5 | 97 | 605 | 6.9194
571 | 97.29 | 605.5 | 7.3715
571.5 | 97.64 | 606 | 7.0045
572 | 97.29 | 606.5 | 6.914
572.5 | 95.67 | 607 | 7.1471
573 | 91.74 | 607.5 | 7.61
573.5 | 81.08 | 608 | 7.7192
574 | 53.94 | 608.5 | 7.0104
574.5 | 7.847 | 609 | 7.1505
575 | 3.232 | 609.5 | 6.8377
575.5 | 0.3447 | 610 | 7.1523
576 | 0.05531 | 610.5 | 8.0636
576.5 | 0.01257 | 611 | 7.1524
577 | 0.002906 | 611.5 | 7.0328
577.5 | 0.0006178 | 612 | 6.8086
578 | 0.0002287 | 612.5 | 7.0191
578.5 | 7.956e-05 | 613 | 6.8914
579 | 5.215e-05 | 613.5 | 6.7256
579.5 | 3.452e-05 | 614 | 7.2733
580 | 2.553e-05 | 614.5 | 7.1108
580.5 | 1.814e-05 | 615 | 7.1218
581 | 1.405e-05 | 615.5 | 7.8383
581.5 | 2.159e-05 | 616 | 7.0188
582 | 1.184e-05 | 616.5 | 6.9169
582.5 | 4.789e-06 | 617.5 | 7.2229
583 | 1.435e-05 | 618 | 6.9674
583.5 | 1.925e-06 | 618.5 | 7.2412
584 | 2.647e-06 | 619 | 7.1007
584.5 | 9.837e-06 | 619.5 | 6.9048
585 | 9.229e-06 | 620 | 7.3514
585.5 | 1.695e-05 | 620.5 | 6.8184
586 | -2.565e-06 | 621 | 7.2491
586.5 | 9.621e-06 | 621.5 | 7.3144
587 | 7.641e-06 | 622 | 7.9378
587.5 | 1.279e-05 | 622.5 | 6.9555
588 | 8.626e-06 | 623 | 7.07
588.5 | 1.973e-05 | 623.5 | 7.3202
589 | 1.17e-05 | 624 | 7.2501
589.5 | 1.279e-05 | 624.5 | 6.8938
590 | 1.332e-05 | 625 | 6.9248
590.5 | 8.246e-06 | 625.5 | 7.195
591 | 1.084e-05 | 626 | 7.3676
591.5 | 9.279e-06 | 627 | 7.9
592 | 4.071e-06 | 627.5 | 8.4118
592.5 | 1.032e-05 | 628 | 8.5567
593 | 5.838e-06 | 628.5 | 6.672
593.5 | 1.077e-05 | 629 | 6.8935
594 | 1.009e-05 | 629.5 | 7.4752
594.5 | 5.812e-06 | 630 | 7.1418
595 | 3.142e-06 | 630.5 | 6.8333
595.5 | 5.52e-06 | 631 | 7.3544
596 | 5.603e-06 | 631.5 | 6.6792
596.5 | 1.628e-06 | 632 | 7.263
597 | 5.697e-06 | 633 | 6.744
597.5 | 8.14e-06 | 633.5 | 6.7181
598 | 7.234e-06 | 634 | 6.6615
598.5 | 1.062e-05 | 634.5 | 7.3114
599 | 3.455e-06 | 635 | 7.203
599.5 | 6.534e-06 | 635.5 | 7.2491
600 | 5.163e-06 | 636 | 7.118
600.5 | 6.87e-06 | 636.5 | 7.4276
601 | 6.499e-06 | 637.5 | 7.2629
601.5 | 8.293e-06 | 638 | 7.5462
602 | 6.502e-06 | 638.5 | 7.7464
602.5 | 1.039e-05 | 639 | 7.2811
603 | 8.686e-06 | 639.5 | 7.0488
603.5 | 3.433e-06 | 640 | 6.9918
604 | 1.711e-05 | 640.5 | 7.8935
604.5 | 7.87e-06 | 641 | 6.9574
605 | 1.204e-05 | 641.5 | 7.7129
605.5 | 4.251e-06 | 642 | 7.9147
606 | 9.896e-06 | 642.5 | 7.1659
606.5 | 1.219e-05 | 643 | 7.0331
607 | 7.126e-06 | 643.5 | 7.0317
607.5 | 2.455e-06 | 644 | 7.3639
608 | 1.909e-06 | 644.5 | 6.9834
608.5 | 9.763e-06 | 645 | 7.1015
609 | 7.071e-06 | 645.5 | 7.1462
609.5 | 1.453e-05 | 646 | 7.2951
610 | 7.042e-06 | 646.5 | 6.9326
610.5 | 8.637e-07 | 647 | 7.0114
611 | 7.041e-06 | 647.5 | 7.136
611.5 | 9.273e-06 | 648 | 6.8489
612 | 1.554e-05 | 648.5 | 7.1532
612.5 | 9.57e-06 | 649 | 7.0637
613 | 1.284e-05 | 649.5 | 7.3274
613.5 | 1.881e-05 | 650 | 7.2923
614 | 5.33e-06 | 650.5 | 7.356
614.5 | 7.749e-06 | 651 | 7.2418
615 | 7.554e-06 | 651.5 | 7.3075
615.5 | 1.451e-06 | 652 | 7.0861
616 | 9.577e-06 | 652.5 | 7.0334
616.5 | 1.211e-05 | 653 | 6.8935
617 | -3.022e-06 | 654 | 7.6921
617.5 | 5.985e-06 | 654.5 | 7.5825
618 | 1.078e-05 | 655 | 7.1944
618.5 | 5.738e-06 | 655.5 | 7.2377
619 | 7.931e-06 | 656 | 7.032
619.5 | 1.245e-05 | 656.5 | 7.0934
620 | 4.452e-06 | 657 | 7.425
620.5 | 1.519e-05 | 657.5 | 7.2169
621 | 5.635e-06 | 658 | 7.0234
621.5 | 4.848e-06 | 658.5 | 7.1359
622 | 1.154e-06 | 659 | 7.0849
622.5 | 1.108e-05 | 659.5 | 8.0596
623 | 8.511e-06 | 660 | 7.038
623.5 | 4.784e-06 | 660.5 | 6.9496
624 | 5.622e-06 | 661 | 7.0953
624.5 | 1.277e-05 | 661.5 | 6.83
625 | 1.189e-05 | 662 | 7.4907
625.5 | 6.383e-06 | 662.5 | 7.4681
626 | 4.289e-06 | 663 | 7.1215
626.5 | -5.809e-06 | 663.5 | 6.9543
627 | 1.259e-06 | 664 | 7.3251
627.5 | 3.874e-07 | 664.5 | 7.0025
628 | 2.775e-07 | 665 | 7.1307
628.5 | 2.128e-05 | 665.5 | 7.3237
629 | 1.278e-05 | 666 | 7.2396
629.5 | 3.348e-06 | 666.5 | 7.0527
630 | 7.215e-06 | 667 | 8.2298
630.5 | 1.468e-05 | 667.5 | 7.67
631 | 4.422e-06 | 668 | 7.3763
631.5 | 2.093e-05 | 668.5 | 7.4442
632 | 5.457e-06 | 669 | 8.4107
632.5 | -1.428e-06 | 670 | 7.2193
633 | 1.803e-05 | 670.5 | 7.19
633.5 | 1.914e-05 | 671 | 7.0053
634 | 2.18e-05 | 672 | 6.9682
634.5 | 4.882e-06 | 672.5 | 6.9948
635 | 6.266e-06 | 673 | 7.7187
635.5 | 5.635e-06 | 673.5 | 7.3846
636 | 7.621e-06 | 674 | 6.9893
636.5 | 3.736e-06 | 674.5 | 7.0918
637 | -1.895e-06 | 675 | 7.8357
637.5 | 5.459e-06 | 675.5 | 7.2923
638 | 2.843e-06 | 676 | 6.8765
638.5 | 1.793e-06 | 676.5 | 7.2006
639 | 5.235e-06 | 677 | 7.1978
639.5 | 8.937e-06 | 677.5 | 8.2524
640 | 1.019e-05 | 678 | 8.3344
640.5 | 1.278e-06 | 678.5 | 7.0538
641 | 1.103e-05 | 679 | 7.3711
641.5 | 1.937e-06 | 679.5 | 6.9996
642 | 1.217e-06 | 680 | 8.1599
642.5 | 6.825e-06 | 680.5 | 7.0305
643 | 9.266e-06 | 681 | 7.1041
643.5 | 9.297e-06 | 681.5 | 7.0001
644 | 4.326e-06 | 682 | 7.0642
644.5 | 1.039e-05 | 682.5 | 6.9329
645 | 7.916e-06 | 683 | 6.8207
645.5 | 7.142e-06 | 684 | 7.0624
646 | 5.069e-06 | 684.5 | 8.1278
646.5 | 1.168e-05 | 685 | 7.1487
647 | 9.741e-06 | 685.5 | 6.2061
647.5 | 7.312e-06 | 686 | 5.9492
648 | 1.416e-05 | 686.5 | 6.0944
648.5 | 7.027e-06 | 687 | 6.0909
649 | 8.635e-06 | 687.5 | 6.1573
649.5 | 4.705e-06 | 688 | 6.4713
650 | 5.101e-06 | 688.5 | 6.5471
650.5 | 4.406e-06 | 689 | 6.6868
651 | 5.731e-06 | 689.5 | 6.7038
651.5 | 4.926e-06 | 690 | 6.8471
652 | 8.202e-06 | 690.5 | 6.4864
652.5 | 9.259e-06 | 691 | 6.2553
653 | 1.278e-05 | 691.5 | 5.9821
653.5 | -2.156e-06 | 692 | 6.1309
654 | 2.032e-06 | 692.5 | 6.8434
654.5 | 2.615e-06 | 693 | 6.7889
655 | 6.392e-06 | 693.5 | 6.7326
655.5 | 5.785e-06 | 694 | 6.5771
656 | 9.289e-06 | 694.5 | 6.8911
656.5 | 8.065e-06 | 695 | 6.9003
657 | 3.758e-06 | 695.5 | 6.545
657.5 | 6.069e-06 | 696 | 6.2045
658 | 9.476e-06 | 696.5 | 5.8617
658.5 | 7.313e-06 | 697 | 5.93
659 | 8.224e-06 | 697.5 | 6.1471
659.5 | 8.718e-07 | 698 | 6.7496
660 | 9.163e-06 | 698.5 | 6.708
660.5 | 1.123e-05 | 699 | 6.9048
661 | 8.03e-06 | 699.5 | 6.6024
661.5 | 1.479e-05 | 700 | 6.5786
662 | 3.231e-06 | 700.5 | 7.0818
662.5 | 3.403e-06 | 701 | 6.73
663 | 7.559e-06 | 701.5 | 6.5745
663.5 | 1.111e-05 | 702 | 6.5928
664 | 4.731e-06 | 702.5 | 6.1643
664.5 | 9.942e-06 | 703 | 5.9674
665 | 7.401e-06 | 703.5 | 6.0001
665.5 | 4.746e-06 | 704 | 6.0755
666 | 5.76e-06 | 704.5 | 6.5897
666.5 | 8.857e-06 | 705 | 6.4318
667 | 5.891e-07 | 705.5 | 6.5006
667.5 | 2.138e-06 | 706 | 6.9062
668 | 4.204e-06 | 706.5 | 6.6407
668.5 | 3.596e-06 | 707 | 6.6763
669 | 3.884e-07 | 707.5 | 6.5325
669.5 | -5.738e-06 | 708 | 6.9412
670 | 6.035e-06 | 708.5 | 6.5972
670.5 | 6.456e-06 | 709 | 6.3658
671 | 9.879e-06 | 709.5 | 6.4035
671.5 | -1.528e-06 | 710 | 6.3216
672 | 1.076e-05 | 710.5 | 6.1422
672.5 | 1.012e-05 | 711 | 6.098
673 | 1.911e-06 | 711.5 | 6.143
673.5 | 4.125e-06 | 712 | 6.3079
674 | 1.025e-05 | 712.5 | 6.6425
674.5 | 8.094e-06 | 713 | 7.1371
675 | 1.46e-06 | 713.5 | 6.6238
675.5 | 5.101e-06 | 714 | 6.5621
676 | 1.329e-05 | 714.5 | 6.6056
676.5 | 6.301e-06 | 715 | 8.0681
677 | 6.341e-06 | 715.5 | 6.8914
677.5 | 5.592e-07 | 716 | 7.1223
678 | 4.63e-07 | 716.5 | 6.5955
678.5 | 8.835e-06 | 717 | 6.5899
679 | 4.255e-06 | 717.5 | 6.4777
679.5 | 1.001e-05 | 718 | 6.2034
680 | 6.92e-07 | 718.5 | 6.0896
680.5 | 9.321e-06 | 719 | 5.988
681 | 7.868e-06 | 719.5 | 5.9337
681.5 | 9.998e-06 | 720 | 5.9523
682 | 8.626e-06 | 720.5 | 6.0073
682.5 | 1.167e-05 | 721 | 6.4271
683 | 1.511e-05 | 721.5 | 6.2007
683.5 | -2.183e-06 | 722 | 6.6444
684 | 8.661e-06 | 722.5 | 6.5964
684.5 | 7.451e-07 | 723 | 6.4306
685 | 7.101e-06 | 723.5 | 6.8094
685.5 | 6.222e-05 | 724 | 6.4043
686 | 0.0001124 | 724.5 | 7.537
686.5 | 8.047e-05 | 725 | 6.4267
687 | 8.112e-05 | 725.5 | 6.8827
687.5 | 6.962e-05 | 726 | 6.2118
688 | 3.378e-05 | 726.5 | 6.1892
688.5 | 2.837e-05 | 727 | 6.1192
689 | 2.057e-05 | 727.5 | 6.1867
689.5 | 1.978e-05 | 728 | 5.9759
690 | 1.422e-05 | 728.5 | 5.9805
690.5 | 3.263e-05 | 729 | 5.9867
691 | 5.555e-05 | 729.5 | 6.1471
691.5 | 0.0001042 | 730 | 6.4755
692 | 7.398e-05 | 730.5 | 6.3334
692.5 | 1.434e-05 | 731 | 6.6813
693 | 1.626e-05 | 731.5 | 6.3675
693.5 | 1.851e-05 | 732 | 6.6381
694 | 2.648e-05 | 732.5 | 6.3274
694.5 | 1.285e-05 | 733 | 6.8125
695 | 1.258e-05 | 733.5 | 6.5637
695.5 | 2.851e-05 | 734 | 6.3453
696 | 6.244e-05 | 734.5 | 6.5441
696.5 | 0.0001375 | 735 | 6.2127
697 | 0.0001175 | 735.5 | 6.4777
697.5 | 7.126e-05 | 736 | 6.2457
698 | 1.78e-05 | 736.5 | 6.1731
698.5 | 1.959e-05 | 737 | 6.131
699 | 1.245e-05 | 737.5 | 6.0191
699.5 | 2.498e-05 | 738 | 6.209
700 | 2.639e-05 | 738.5 | 6.2961
700.5 | 8.284e-06 | 739 | 6.1917
701 | 1.862e-05 | 739.5 | 6.4086
701.5 | 2.664e-05 | 740 | 6.2934
702 | 2.554e-05 | 740.5 | 6.2986
702.5 | 6.851e-05 | 741 | 7.0027
703 | 0.0001078 | 741.5 | 6.375
703.5 | 9.998e-05 | 742 | 6.6442
704 | 8.404e-05 | 742.5 | 6.4803
704.5 | 2.572e-05 | 743 | 6.9698
705 | 3.7e-05 | 743.5 | 6.7673
705.5 | 3.158e-05 | 744.5 | 7.2742
706 | 1.241e-05 | 745 | 6.5127
706.5 | 2.287e-05 | 745.5 | 6.63
707 | 2.107e-05 | 746 | 6.5393
707.5 | 2.934e-05 | 746.5 | 6.3363
708 | 1.145e-05 | 747 | 6.4857
708.5 | 2.528e-05 | 747.5 | 6.1753
709 | 4.307e-05 | 748 | 6.2969
709.5 | 3.949e-05 | 748.5 | 6.6098
710 | 4.769e-05 | 751.5 | 6.5544
710.5 | 7.208e-05 | 752 | 7.5322
711 | 7.98e-05 | 752.5 | 6.8345
711.5 | 7.195e-05 | 753 | 6.7719
712 | 4.922e-05 | 753.5 | 6.3971
712.5 | 2.278e-05 | 754 | 7.3414
713 | 7.293e-06 | 754.5 | 6.4275
713.5 | 2.378e-05 | 755 | 6.9212
714 | 2.741e-05 | 755.5 | 6.2927
714.5 | 2.48e-05 | 756 | 6.7423
715 | 8.549e-07 | 756.5 | 6.4026
715.5 | 1.284e-05 | 757 | 7.0622
716 | 7.546e-06 | 758 | 7.2086
716.5 | 2.538e-05 | 759 | 6.4433
717 | 2.571e-05 | 759.5 | 6.4768
717.5 | 3.329e-05 | 760 | 7.01
718 | 6.261e-05 | 761 | 6.9735
718.5 | 8.135e-05 | 761.5 | 6.2956
719 | 0.0001028 | 763 | 6.3819
719.5 | 0.0001165 | 763.5 | 6.4628
720 | 0.0001116 | 764 | 6.5455
720.5 | 9.833e-05 | 764.5 | 6.4034
721 | 3.74e-05 | 765.5 | 6.7042
721.5 | 6.3e-05 | 766 | 6.6275
722 | 2.268e-05 | 766.5 | 7.3926
722.5 | 2.533e-05 | 767 | 9.7007
723 | 3.71e-05 | 767.5 | 6.8333
723.5 | 1.551e-05 | 768 | 6.4876
724 | 3.942e-05 | 768.5 | 6.2321
724.5 | 2.904e-06 | 769 | 6.155
725 | 3.744e-05 | 770 | 6.4204
725.5 | 1.31e-05 | 770.5 | 6.4931
726 | 6.141e-05 | 771 | 6.7833
726.5 | 6.468e-05 | 772 | 6.3732
727 | 7.6e-05 | 772.5 | 6.3994
727.5 | 6.505e-05 | 773 | 6.6076
728 | 0.0001057 | 773.5 | 7.2276
728.5 | 0.0001046 | 775 | 6.1838
729 | 0.0001031 | 775.5 | 7.6724
729.5 | 7.126e-05 | 776 | 6.162
730 | 3.346e-05 | 776.5 | 6.971
730.5 | 4.641e-05 | 777 | 6.5542
731 | 2.083e-05 | 778 | 6.5755
731.5 | 4.29e-05 | 779 | 6.6505
732 | 2.301e-05 | 779.5 | 6.4202
732.5 | 4.705e-05 | 780 | 6.4383
733 | 1.54e-05 | 781.5 | 6.8576
733.5 | 2.731e-05 | 783 | 7.2476
734 | 4.515e-05 | 784.5 | 6.5226
734.5 | 2.857e-05 | 785 | 7.7226
735 | 6.128e-05 | 785.5 | 7.1643
735.5 | 3.329e-05 | 786 | 6.9237
736 | 5.679e-05 | 786.5 | 6.3137
736.5 | 6.713e-05 | 787 | 6.3228
737 | 7.396e-05 | 788 | 6.376
737.5 | 9.57e-05 | 789 | 6.2237
738 | 6.18e-05 | 789.5 | 6.3552
738.5 | 5.057e-05 | 791 | 6.4387
739 | 6.432e-05 | 792 | 6.7097
739.5 | 3.903e-05 | 792.5 | 6.0792
740 | 5.089e-05 | 794.5 | 7.036
740.5 | 5.028e-05 | 795 | 6.5406
741 | 9.939e-06 | 795.5 | 6.9031
741.5 | 4.217e-05 | 796 | 6.3203
742 | 2.269e-05 | 796.5 | 7.0451
742.5 | 3.309e-05 | 798 | 5.9481
743 | 1.072e-05 | 798.5 | 6.0905
743.5 | 1.709e-05 | 799 | 6.2823
744 | -7.572e-06 | 799.5 | 6.2252
744.5 | 5.319e-06 | 800 | 6.5325
745 | 3.071e-05 | 800.5 | 6.4602
745.5 | 2.344e-05 | 801 | 6.3983
746 | 2.889e-05 | 801.5 | 6.605
746.5 | 4.61e-05 | 802 | 7.0129
747 | 3.268e-05 | 802.5 | 6.49
747.5 | 6.679e-05 | 803 | 6.2594
748 | 5.048e-05 | 803.5 | 6.2788
748.5 | 2.456e-05 | 804 | 6.2989
749 | -3.586e-07 | 804.5 | 6.3232
749.5 | -1.073e-05 | 805 | 6.3487
750 | -3.436e-06 | 805.5 | 6.3867
750.5 | -8.18e-06 | 806 | 6.4282
751 | -9.324e-06 | 806.5 | 6.4015
751.5 | 2.79e-05 | 807 | 6.3763
752 | 2.936e-06 | 807.5 | 6.4062
752.5 | 1.464e-05 | 808 | 6.4381
753 | 1.691e-05 | 808.5 | 6.4458
753.5 | 4.008e-05 | 809 | 6.4537
754 | 4.556e-06 | 809.5 | 7.171
754.5 | 3.737e-05 | 810.5 | 7.0111
755 | 1.199e-05 | 811 | 6.3853
755.5 | 5.097e-05 | 811.5 | 6.3161
756 | 1.81e-05 | 812 | 6.2565
756.5 | 3.957e-05 | 812.5 | 6.3532
757 | 8.665e-06 | 813 | 6.4779
757.5 | -3.475e-05 | 813.5 | 6.3643
758 | 6.186e-06 | 814 | 6.2744
758.5 | -7.555e-06 | 814.5 | 6.6817
759 | 3.603e-05 | 815.5 | 6.9069
759.5 | 3.336e-05 | 816 | 6.4403
760 | 9.772e-06 | 816.5 | 6.5728
760.5 | -1.229e-06 | 817 | 6.7647
761 | 1.063e-05 | 817.5 | 6.6014
761.5 | 5.063e-05 | 818 | 6.4829
762 | -6.023e-06 | 818.5 | 6.4297
762.5 | -4.323e-06 | 819 | 6.3824
763 | 4.15e-05 | 819.5 | 6.3788
763.5 | 3.445e-05 | 820 | 6.3754
764 | 2.848e-05 | 820.5 | 6.4347
764.5 | 3.95e-05 | 821 | 6.5035
765 | -3.224e-05 | 821.5 | 6.4614
765.5 | 1.976e-05 | 822 | 6.4232
766 | 2.358e-05 | 822.5 | 6.308
766.5 | 4.049e-06 | 823 | 6.2173
767 | 1.992e-08 | 823.5 | 6.3167
767.5 | 1.468e-05 | 824 | 6.4458
768 | 3.254e-05 | 824.5 | 6.3748
768.5 | 5.86e-05 | 825 | 6.3137
769 | 6.998e-05 | 825.5 | 6.5588
769.5 | -4.197e-05 | 826 | 7.1753
770 | 3.798e-05 | 826.5 | 6.5314
770.5 | 3.213e-05 | 827 | 6.2828
771 | 1.647e-05 | 827.5 | 6.175
771.5 | -3.21e-05 | 828 | 6.0887
772 | 4.234e-05 | 828.5 | 6.3316
772.5 | 3.987e-05 | 829 | 6.9311
773 | 2.468e-05 | 829.5 | 6.7118
773.5 | 5.921e-06 | 830 | 6.5667
774 | -2.04e-05 | 830.5 | 6.3995
774.5 | -7.778e-06 | 831 | 6.2791
775 | 6.549e-05 | 831.5 | 6.187
775.5 | 2.126e-06 | 832 | 6.1111
776 | 6.887e-05 | 832.5 | 6.1198
776.5 | 1.069e-05 | 833 | 6.1288
777 | 2.791e-05 | 833.5 | 6.2568
777.5 | -7.017e-06 | 834 | 6.4391
778 | 2.658e-05 | 834.5 | 6.2666
778.5 | -7.966e-06 | 835 | 6.1435
779 | 2.236e-05 | 835.5 | 6.1808
779.5 | 3.8e-05 | 836 | 6.2216
780 | 3.645e-05 | 836.5 | 6.0894
780.5 | -1.137e-05 | 837 | 5.9884
781 | -4.033e-05 | 837.5 | 5.9718
781.5 | 1.388e-05 | 838 | 5.9558
782 | -4.749e-05 | 838.5 | 6.015
782.5 | -6.62e-06 | 839 | 6.0836
783 | 5.655e-06 | 839.5 | 6.0341
783.5 | -4.489e-05 | 840 | 5.9897
784 | -9.814e-07 | 840.5 | 5.9893
784.5 | 3.002e-05 | 841 | 5.9889
785 | 1.894e-06 | 841.5 | 5.9073
785.5 | 6.851e-06 | 842 | 5.8389
786 | 1.192e-05 | 842.5 | 5.8357
786.5 | 4.856e-05 | 843 | 5.8324
787 | 4.756e-05 | 843.5 | 5.8099
787.5 | -1.023e-05 | 844 | 5.7889
788 | 4.207e-05 | 844.5 | 5.7321
788.5 | -2.616e-05 | 845 | 5.6819
789 | 5.975e-05 | 845.5 | 5.7224
789.5 | 4.414e-05 | 846 | 5.7673
790 | -2.422e-05 | 846.5 | 5.7924
790.5 | -2.616e-05 | 847 | 5.819
791 | 3.642e-05 | 847.5 | 5.7632
791.5 | -3.229e-05 | 848 | 5.714
792 | 1.951e-05 | 848.5 | 5.7022
792.5 | 8.333e-05 | 849 | 5.691
793 | -2.713e-05 | 849.5 | 5.7066
793.5 | -7.821e-06 | 850 | 5.7231
794 | -3.155e-05 | 850.5 | 5.7309
794.5 | 9.205e-06 | 851 | 5.7392
795 | 2.88e-05 | 851.5 | 5.7587
795.5 | 1.25e-05 | 852 | 5.7791
796 | 4.783e-05 | 852.5 | 5.7815
796.5 | 9.014e-06 | 853 | 5.7838
797 | -1.263e-05 | 853.5 | 5.7627
797.5 | -3.123e-05 | 854 | 5.7426
798 | 0.0001127 | 854.5 | 5.8016
798.5 | 8.119e-05 | 855 | 5.87
799 | 5.221e-05 | 855.5 | 5.8955
799.5 | 5.954e-05 | 856 | 5.9226
800 | 2.934e-05 | 856.5 | 5.9296
800.5 | 3.466e-05 | 857 | 5.937
801 | 3.997e-05 | 857.5 | 5.9151
801.5 | 2.483e-05 | 858 | 5.8945
802 | 9.707e-06 | 858.5 | 5.9686
802.5 | 3.236e-05 | 859 | 6.0582
803 | 5.503e-05 | 859.5 | 6.0388
803.5 | 5.263e-05 | 860 | 6.0202
804 | 5.024e-05 | 860.5 | 6.0682
804.5 | 4.751e-05 | 861 | 6.1223
805 | 4.48e-05 | 861.5 | 6.0736
805.5 | 4.105e-05 | 862 | 6.0299
806 | 3.731e-05 | 862.5 | 6.0084
806.5 | 3.967e-05 | 863 | 5.988
807 | 4.204e-05 | 863.5 | 6.0195
807.5 | 3.925e-05 | 864 | 6.0534
808 | 3.647e-05 | 864.5 | 6.1172
808.5 | 3.583e-05 | 865 | 6.1919
809 | 3.518e-05 | 865.5 | 6.1228
809.5 | 6.745e-06 | 866 | 6.0633
810 | -2.168e-05 | 866.5 | 6.1043
810.5 | 9.747e-06 | 867 | 6.1496
811 | 4.118e-05 | 867.5 | 6.1407
811.5 | 4.829e-05 | 868 | 6.1319
812 | 5.54e-05 | 868.5 | 6.0746
812.5 | 4.434e-05 | 869 | 6.0239
813 | 3.327e-05 | 869.5 | 5.9706
813.5 | 4.322e-05 | 870 | 5.9234
814 | 5.316e-05 | 870.5 | 5.9322
814.5 | 2.081e-05 | 871 | 5.9416
815 | -1.149e-05 | 871.5 | 5.9055
815.5 | 1.239e-05 | 872 | 5.8723
816 | 3.628e-05 | 872.5 | 5.8202
816.5 | 2.674e-05 | 873 | 5.7737
817 | 1.719e-05 | 873.5 | 5.7612
817.5 | 2.504e-05 | 874 | 5.7491
818 | 3.289e-05 | 874.5 | 5.6753
818.5 | 3.718e-05 | 875 | 5.6124
819 | 4.146e-05 | 875.5 | 5.6442
819.5 | 4.18e-05 | 876 | 5.6786
820 | 4.213e-05 | 876.5 | 5.6153
820.5 | 3.675e-05 | 877 | 5.5602
821 | 3.137e-05 | 877.5 | 5.5666
821.5 | 3.456e-05 | 878 | 5.5728
822 | 3.774e-05 | 878.5 | 5.5715
822.5 | 4.92e-05 | 879 | 5.5702
823 | 6.063e-05 | 879.5 | 5.5867
823.5 | 4.823e-05 | 880 | 5.6038
824 | 3.583e-05 | 880.5 | 5.5834
824.5 | 4.219e-05 | 881 | 5.5637
825 | 4.856e-05 | 881.5 | 5.5875
825.5 | 2.762e-05 | 882 | 5.6126
826 | 6.678e-06 | 882.5 | 5.64
826.5 | 2.942e-05 | 883 | 5.6692
827 | 5.214e-05 | 883.5 | 5.6934
827.5 | 6.683e-05 | 884 | 5.719
828 | 8.152e-05 | 884.5 | 5.7302
828.5 | 4.66e-05 | 885 | 5.7421
829 | 1.172e-05 | 885.5 | 5.7739
829.5 | 1.942e-05 | 886 | 5.808
830 | 2.712e-05 | 886.5 | 5.8362
830.5 | 3.986e-05 | 887 | 5.8661
831 | 5.259e-05 | 887.5 | 5.8758
831.5 | 6.501e-05 | 888 | 5.8857
832 | 7.743e-05 | 888.5 | 5.8505
832.5 | 7.589e-05 | 889 | 5.8176
833 | 7.434e-05 | 889.5 | 5.8024
833.5 | 5.536e-05 | 890 | 5.7881
834 | 3.638e-05 | 890.5 | 5.73
834.5 | 5.413e-05 | 891 | 5.679
835 | 7.186e-05 | 891.5 | 5.6351
835.5 | 6.595e-05 | 892 | 5.5952
836 | 6.004e-05 | 892.5 | 5.5889
836.5 | 8.14e-05 | 893 | 5.5827
837 | 0.0001027 | 893.5 | 5.5696
837.5 | 0.0001067 | 894 | 5.5567
838 | 0.0001107 | 894.5 | 5.5322
838.5 | 9.66e-05 | 895 | 5.5089
839 | 8.249e-05 | 895.5 | 5.5233
839.5 | 9.245e-05 | 896 | 5.5381
840 | 0.0001024 | 896.5 | 5.5743
840.5 | 0.0001025 | 897 | 5.614
841 | 0.0001026 | 897.5 | 5.6306
841.5 | 0.0001238 | 898 | 5.648
842 | 0.0001449 | 898.5 | 5.6664
842.5 | 0.000146 | 899 | 5.6857
843 | 0.0001471 | 899.5 | 5.7406
843.5 | 0.0001549 | 900 | 5.8036
844 | 0.0001626 | 900.5 | 5.8617
844.5 | 0.0001853 | 901 | 5.9292
845 | 0.000208 | 901.5 | 6.0109
845.5 | 0.0001895 | 902 | 6.1113
846 | 0.0001709 | 902.5 | 6.1216
846.5 | 0.0001613 | 903 | 6.1322
847 | 0.0001517 | 903.5 | 6.2286
847.5 | 0.0001725 | 904 | 6.3523
848 | 0.0001932 | 904.5 | 6.2902
848.5 | 0.0001985 | 905 | 6.236
849 | 0.0002037 | 905.5 | 6.2244
849.5 | 0.0001965 | 906 | 6.2131
850 | 0.0001892 | 906.5 | 6.2413
850.5 | 0.0001858 | 907 | 6.2715
851 | 0.0001823 | 907.5 | 6.2654
851.5 | 0.0001743 | 908 | 6.2593
852 | 0.0001663 | 908.5 | 6.3123
852.5 | 0.0001654 | 909 | 6.3726
853 | 0.0001645 | 909.5 | 6.3095
853.5 | 0.0001727 | 910 | 6.2543
854 | 0.0001809 | 910.5 | 6.3316
854.5 | 0.0001579 | 911 | 6.4256
855 | 0.0001349 | 911.5 | 6.3831
855.5 | 0.0001272 | 912 | 6.3444
856 | 0.0001195 | 912.5 | 6.3054
856.5 | 0.0001176 | 913 | 6.2696
857 | 0.0001156 | 913.5 | 6.278
857.5 | 0.0001216 | 914 | 6.2866
858 | 0.0001275 | 914.5 | 6.2594
858.5 | 0.0001075 | 915 | 6.234
859 | 8.746e-05 | 915.5 | 6.3133
859.5 | 9.146e-05 | 916 | 6.4105
860 | 9.546e-05 | 916.5 | 6.2216
860.5 | 8.546e-05 | 917 | 6.0904
861 | 7.546e-05 | 917.5 | 6.1386
861.5 | 8.441e-05 | 918 | 6.1929
862 | 9.335e-05 | 918.5 | 6.2358
862.5 | 9.808e-05 | 919 | 6.2832
863 | 0.0001028 | 919.5 | 6.2277
863.5 | 9.561e-05 | 920 | 6.1786
864 | 8.842e-05 | 920.5 | 6.141
864.5 | 7.635e-05 | 921 | 6.1064
865 | 6.428e-05 | 921.5 | 6.1363
865.5 | 7.537e-05 | 922 | 6.1684
866 | 8.644e-05 | 922.5 | 6.2252
866.5 | 7.865e-05 | 923 | 6.2905
867 | 7.086e-05 | 923.5 | 6.3978
867.5 | 7.233e-05 | 924 | 6.5406
868 | 7.38e-05 | 924.5 | 6.2815
868.5 | 8.422e-05 | 925 | 6.1204
869 | 9.464e-05 | 925.5 | 6.1634
869.5 | 0.000107 | 926 | 6.2109
870 | 0.0001193 | 926.5 | 6.1955
870.5 | 0.0001169 | 927 | 6.1806
871 | 0.0001144 | 927.5 | 6.1939
871.5 | 0.0001243 | 928 | 6.2077
872 | 0.0001342 | 928.5 | 6.1902
872.5 | 0.0001513 | 929 | 6.1734
873 | 0.0001684 | 929.5 | 6.253
873.5 | 0.0001733 | 930 | 6.3505
874 | 0.0001782 | 930.5 | 6.2098
874.5 | 0.0002112 | 931 | 6.1037
875 | 0.0002441 | 931.5 | 6.2151
875.5 | 0.0002269 | 932 | 6.3654
876 | 0.0002096 | 932.5 | 6.4247
876.5 | 0.0002425 | 933 | 6.4932
877 | 0.0002753 | 933.5 | 6.2607
877.5 | 0.0002713 | 934 | 6.1101
878 | 0.0002674 | 934.5 | 6.1547
878.5 | 0.0002682 | 935 | 6.2043
879 | 0.000269 | 935.5 | 6.3092
879.5 | 0.000259 | 936 | 6.4476
880 | 0.000249 | 936.5 | 6.3097
880.5 | 0.000261 | 937 | 6.2052
881 | 0.0002731 | 937.5 | 6.2591
881.5 | 0.0002585 | 938 | 6.3207
882 | 0.000244 | 938.5 | 6.257
882.5 | 0.0002291 | 939 | 6.2014
883 | 0.0002142 | 939.5 | 6.2037
883.5 | 0.0002026 | 940 | 6.206
884 | 0.000191 | 940.5 | 6.215
884.5 | 0.0001861 | 941 | 6.2243
885 | 0.0001811 | 941.5 | 6.2216
885.5 | 0.0001683 | 942 | 6.219
886 | 0.0001556 | 942.5 | 6.2583
886.5 | 0.0001458 | 943 | 6.3015
887 | 0.0001361 | 943.5 | 6.2905
887.5 | 0.0001331 | 944 | 6.2797
888 | 0.0001301 | 944.5 | 6.1603
888.5 | 0.0001411 | 945 | 6.0667
889 | 0.0001522 | 945.5 | 6.0575
889.5 | 0.0001576 | 946 | 6.0484
890 | 0.0001629 | 946.5 | 6.1249
890.5 | 0.0001862 | 947 | 6.218
891 | 0.0002094 | 947.5 | 6.1484
891.5 | 0.0002317 | 948 | 6.0885
892 | 0.000254 | 948.5 | 6.1279
892.5 | 0.0002577 | 949 | 6.1713
893 | 0.0002614 | 949.5 | 6.1142
893.5 | 0.0002694 | 950 | 6.0639
894 | 0.0002775 | 950.5 | 6.1315
894.5 | 0.0002936 | 951 | 6.2116
895 | 0.0003098 | 951.5 | 6.1846
895.5 | 0.0002997 | 952 | 6.1593
896 | 0.0002897 | 952.5 | 6.1349
896.5 | 0.0002665 | 953 | 6.1119
897 | 0.0002432 | 953.5 | 6.1324
897.5 | 0.0002341 | 954 | 6.1539
898 | 0.0002249 | 954.5 | 6.1375
898.5 | 0.0002156 | 955 | 6.1216
899 | 0.0002062 | 955.5 | 6.1427
899.5 | 0.0001817 | 956 | 6.1647
900 | 0.0001572 | 956.5 | 6.197
900.5 | 0.0001375 | 957 | 6.2319
901 | 0.0001177 | 957.5 | 6.156
901.5 | 9.752e-05 | 958 | 6.0914
902 | 7.74e-05 | 958.5 | 6.1456
902.5 | 7.558e-05 | 959 | 6.2077
903 | 7.375e-05 | 959.5 | 6.091
903.5 | 5.908e-05 | 960 | 5.9991
904 | 4.443e-05 | 960.5 | 6.0568
904.5 | 5.126e-05 | 961 | 6.1235
905 | 5.808e-05 | 961.5 | 6.1985
905.5 | 5.965e-05 | 962 | 6.2891
906 | 6.122e-05 | 962.5 | 6.1558
906.5 | 5.737e-05 | 963 | 6.054
907 | 5.352e-05 | 963.5 | 6.0375
907.5 | 5.428e-05 | 964 | 6.0217
908 | 5.504e-05 | 964.5 | 6.0662
908.5 | 4.872e-05 | 965 | 6.1158
909 | 4.24e-05 | 965.5 | 6.1494
909.5 | 4.904e-05 | 966 | 6.1858
910 | 5.568e-05 | 966.5 | 6.1073
910.5 | 4.66e-05 | 967 | 6.041
911 | 3.753e-05 | 967.5 | 6.052
911.5 | 4.139e-05 | 968 | 6.0634
912 | 4.525e-05 | 968.5 | 6.0248
912.5 | 4.95e-05 | 969 | 5.9893
913 | 5.375e-05 | 969.5 | 6.0318
913.5 | 5.272e-05 | 970 | 6.0791
914 | 5.169e-05 | 970.5 | 5.9991
914.5 | 5.503e-05 | 971 | 5.9318
915 | 5.835e-05 | 971.5 | 5.9333
915.5 | 4.861e-05 | 972 | 5.9352
916 | 3.886e-05 | 972.5 | 5.8167
916.5 | 6.004e-05 | 973 | 5.724
917 | 8.12e-05 | 973.5 | 5.5862
917.5 | 7.267e-05 | 974 | 5.4819
918 | 6.413e-05 | 974.5 | 5.4314
918.5 | 5.811e-05 | 975 | 5.3863
919 | 5.21e-05 | 975.5 | 5.3386
919.5 | 5.92e-05 | 976 | 5.2956
920 | 6.629e-05 | 976.5 | 5.3353
920.5 | 7.228e-05 | 977 | 5.3789
921 | 7.827e-05 | 977.5 | 5.4403
921.5 | 7.306e-05 | 978 | 5.5119
922 | 6.785e-05 | 978.5 | 5.5981
922.5 | 5.954e-05 | 979 | 5.7058
923 | 5.123e-05 | 979.5 | 5.7719
923.5 | 4.001e-05 | 980 | 5.8502
924 | 2.88e-05 | 980.5 | 5.9151
924.5 | 5.23e-05 | 981 | 5.9918
925 | 7.578e-05 | 981.5 | 5.9654
925.5 | 6.865e-05 | 982 | 5.9401
926 | 6.153e-05 | 982.5 | 5.9638
926.5 | 6.376e-05 | 983 | 5.9893
927 | 6.598e-05 | 983.5 | 5.9935
927.5 | 6.399e-05 | 984 | 5.9983
928 | 6.199e-05 | 984.5 | 5.9682
928.5 | 6.454e-05 | 985 | 5.9401
929 | 6.708e-05 | 985.5 | 5.9523
929.5 | 5.585e-05 | 986 | 5.965
930 | 4.462e-05 | 986.5 | 5.9566
930.5 | 6.169e-05 | 987 | 5.9481
931 | 7.875e-05 | 987.5 | 5.9678
931.5 | 6.094e-05 | 988 | 5.9884
932 | 4.311e-05 | 988.5 | 5.9412
932.5 | 3.761e-05 | 989 | 5.8982
933 | 3.212e-05 | 989.5 | 5.961
933.5 | 5.486e-05 | 990 | 6.0339
934 | 7.76e-05 | 990.5 | 5.9957
934.5 | 7.004e-05 | 991 | 5.9606
935 | 6.247e-05 | 991.5 | 5.9863
935.5 | 4.907e-05 | 992 | 6.0143
936 | 3.568e-05 | 992.5 | 6.0023
936.5 | 4.901e-05 | 993 | 5.9905
937 | 6.235e-05 | 993.5 | 5.9859
937.5 | 5.507e-05 | 994 | 5.9813
938 | 4.779e-05 | 994.5 | 6.0088
938.5 | 5.534e-05 | 995 | 6.0382
939 | 6.289e-05 | 995.5 | 5.9953
939.5 | 6.256e-05 | 996 | 5.9562
940 | 6.223e-05 | 996.5 | 5.9788
940.5 | 6.095e-05 | 997 | 6.0031
941 | 5.966e-05 | 997.5 | 5.9905
941.5 | 6.003e-05 | 998 | 5.9788
942 | 6.04e-05 | 998.5 | 5.961
942.5 | 5.517e-05 | 999 | 5.9442
943 | 4.995e-05 | 999.5 | 5.9435
943.5 | 5.123e-05 | 1000 | 5.9427
944 | 5.252e-05 | 1000.5 | 5.9772
944.5 | 6.914e-05 | 1001 | 6.0148
945 | 8.576e-05 | 1001.5 | 5.9914
945.5 | 8.761e-05 | 1002 | 5.9694
946 | 8.945e-05 | 1002.5 | 5.9731
946.5 | 7.501e-05 | 1003 | 5.9763
947 | 6.054e-05 | 1003.5 | 5.9662
947.5 | 7.105e-05 | 1004 | 5.9558
948 | 8.156e-05 | 1004.5 | 5.9194
948.5 | 7.449e-05 | 1005 | 5.8857
949 | 6.741e-05 | 1005.5 | 5.862
949.5 | 7.687e-05 | 1006 | 5.8395
950 | 8.632e-05 | 1006.5 | 5.8595
950.5 | 7.388e-05 | 1007 | 5.8804
951 | 6.143e-05 | 1007.5 | 5.8627
951.5 | 6.537e-05 | 1008 | 5.8456
952 | 6.93e-05 | 1008.5 | 5.8495
952.5 | 7.33e-05 | 1009 | 5.8533
953 | 7.729e-05 | 1009.5 | 5.7506
953.5 | 7.373e-05 | 1010 | 5.6678
954 | 7.017e-05 | 1010.5 | 5.6273
954.5 | 7.287e-05 | 1011 | 5.5902
955 | 7.558e-05 | 1011.5 | 5.5433
955.5 | 7.2e-05 | 1012 | 5.5009
956 | 6.843e-05 | 1012.5 | 5.4469
956.5 | 6.353e-05 | 1013 | 5.3989
957 | 5.863e-05 | 1013.5 | 5.3773
957.5 | 6.983e-05 | 1014 | 5.3567
958 | 8.103e-05 | 1014.5 | 5.3747
958.5 | 7.151e-05 | 1015 | 5.3935
959 | 6.198e-05 | 1015.5 | 5.4381
959.5 | 8.11e-05 | 1016 | 5.4876
960 | 0.0001002 | 1016.5 | 5.512
960.5 | 8.774e-05 | 1017 | 5.5377
961 | 7.525e-05 | 1017.5 | 5.5748
961.5 | 6.332e-05 | 1018 | 5.6151
962 | 5.139e-05 | 1018.5 | 5.6672
962.5 | 6.985e-05 | 1019 | 5.7263
963 | 8.831e-05 | 1019.5 | 5.7742
963.5 | 9.172e-05 | 1020 | 5.8277
964 | 9.513e-05 | 1020.5 | 5.87
964.5 | 8.586e-05 | 1021 | 5.9169
965 | 7.659e-05 | 1021.5 | 5.8969
965.5 | 7.089e-05 | 1022 | 5.8775
966 | 6.519e-05 | 1022.5 | 5.8804
966.5 | 7.811e-05 | 1023 | 5.8834
967 | 9.1e-05 | 1023.5 | 5.9226
967.5 | 8.871e-05 | 1024 | 5.9658
968 | 8.641e-05 | 1024.5 | 5.9555
968.5 | 9.446e-05 | 1025 | 5.9454
969 | 0.0001025 | 1025.5 | 5.9674
969.5 | 9.293e-05 | 1026 | 5.9905
970 | 8.335e-05 | 1026.5 | 5.9374
970.5 | 0.0001002 | 1027 | 5.8904
971 | 0.000117 | 1027.5 | 5.9618
971.5 | 0.0001166 | 1028 | 6.0473
972 | 0.0001161 | 1028.5 | 5.9991
972.5 | 0.0001525 | 1029 | 5.9558
973 | 0.0001888 | 1029.5 | 5.9378
973.5 | 0.0002593 | 1030 | 5.9205
974 | 0.0003297 | 1030.5 | 5.9256
974.5 | 0.0003703 | 1031 | 5.9303
975 | 0.0004109 | 1031.5 | 5.9252
975.5 | 0.0004586 | 1032 | 5.9201
976 | 0.0005063 | 1032.5 | 5.9473
976.5 | 0.0004621 | 1033 | 5.9763
977 | 0.0004179 | 1033.5 | 5.9678
977.5 | 0.0003628 | 1034 | 5.9598
978 | 0.0003077 | 1034.5 | 5.9219
978.5 | 0.0002523 | 1035 | 5.8867
979 | 0.0001969 | 1035.5 | 5.8972
979.5 | 0.0001691 | 1036 | 5.908
980 | 0.0001412 | 1036.5 | 5.9638
980.5 | 0.0001216 | 1037 | 6.0278
981 | 0.0001019 | 1037.5 | 5.9686
981.5 | 0.0001083 | 1038 | 5.9161
982 | 0.0001148 | 1038.5 | 5.9329
982.5 | 0.0001087 | 1039 | 5.9504
983 | 0.0001025 | 1039.5 | 5.9348
983.5 | 0.0001015 | 1040 | 5.9197
984 | 0.0001004 | 1040.5 | 5.9523
984.5 | 0.0001076 | 1041 | 5.988
985 | 0.0001148 | 1041.5 | 5.9582
985.5 | 0.0001116 | 1042 | 5.9307
986 | 0.0001084 | 1042.5 | 5.9212
986.5 | 0.0001105 | 1043 | 5.9115
987 | 0.0001127 | 1043.5 | 5.9017
987.5 | 0.0001077 | 1044 | 5.8918
988 | 0.0001027 | 1044.5 | 5.8854
988.5 | 0.0001145 | 1045 | 5.8788
989 | 0.0001264 | 1045.5 | 5.8726
989.5 | 0.0001094 | 1046 | 5.8665
990 | 9.248e-05 | 1046.5 | 5.8652
990.5 | 0.000101 | 1047 | 5.8642
991 | 0.0001095 | 1047.5 | 5.8639
991.5 | 0.0001032 | 1048 | 5.8636
992 | 9.677e-05 | 1048.5 | 5.8508
992.5 | 9.948e-05 | 1049 | 5.8383
993 | 0.0001022 | 1049.5 | 5.8041
993.5 | 0.0001033 | 1050 | 5.7724
994 | 0.0001044 | 1050.5 | 5.7447
994.5 | 9.8e-05 | 1051 | 5.7187
995 | 9.158e-05 | 1051.5 | 5.7149
995.5 | 0.0001011 | 1052 | 5.7111
996 | 0.0001106 | 1052.5 | 5.6885
996.5 | 0.000105 | 1053 | 5.667
997 | 9.928e-05 | 1053.5 | 5.6426
997.5 | 0.0001022 | 1054 | 5.6194
998 | 0.000105 | 1054.5 | 5.6164
998.5 | 0.0001094 | 1055 | 5.6131
999 | 0.0001137 | 1055.5 | 5.5585
999.5 | 0.0001139 | 1056 | 5.5099
1000 | 0.0001141 | 1056.5 | 5.4935
1000.5 | 0.0001054 | 1057 | 5.4778
1001 | 9.665e-05 | 1057.5 | 5.4645
1001.5 | 0.000102 | 1058 | 5.4514
1002 | 0.0001073 | 1058.5 | 5.4031
1002.5 | 0.0001064 | 1059 | 5.3595
1003 | 0.0001056 | 1059.5 | 5.3492
1003.5 | 0.0001081 | 1060 | 5.3392
1004 | 0.0001107 | 1060.5 | 5.3227
1004.5 | 0.0001204 | 1061 | 5.3068
1005 | 0.0001301 | 1061.5 | 5.2929
1005.5 | 0.0001374 | 1062 | 5.2794
1006 | 0.0001447 | 1062.5 | 5.2782
1006.5 | 0.0001382 | 1063 | 5.277
1007 | 0.0001317 | 1063.5 | 5.2881
1007.5 | 0.0001372 | 1064 | 5.2996
1008 | 0.0001427 | 1064.5 | 5.293
1008.5 | 0.0001414 | 1065 | 5.2867
1009 | 0.0001402 | 1065.5 | 5.2835
1009.5 | 0.0001776 | 1066 | 5.2802
1010 | 0.0002149 | 1066.5 | 5.2936
1010.5 | 0.0002359 | 1067 | 5.3073
1011 | 0.0002569 | 1067.5 | 5.3082
1011.5 | 0.0002862 | 1068 | 5.3091
1012 | 0.0003156 | 1068.5 | 5.3224
1012.5 | 0.0003574 | 1069 | 5.336
1013 | 0.0003991 | 1069.5 | 5.3447
1013.5 | 0.0004195 | 1070 | 5.3535
1014 | 0.0004399 | 1070.5 | 5.343
1014.5 | 0.000422 | 1071 | 5.3328
1015 | 0.0004041 | 1071.5 | 5.348
1015.5 | 0.0003647 | 1072 | 5.3637
1016 | 0.0003254 | 1072.5 | 5.351
1016.5 | 0.0003076 | 1073 | 5.3388
1017 | 0.0002899 | 1073.5 | 5.353
1017.5 | 0.0002662 | 1074 | 5.3678
1018 | 0.0002426 | 1074.5 | 5.3637
1018.5 | 0.0002152 | 1075 | 5.3596
1019 | 0.0001878 | 1075.5 | 5.3625
1019.5 | 0.0001682 | 1076 | 5.3653
1020 | 0.0001487 | 1076.5 | 5.369
1020.5 | 0.0001349 | 1077 | 5.3725
1021 | 0.0001211 | 1077.5 | 5.3793
1021.5 | 0.0001268 | 1078 | 5.3862
1022 | 0.0001326 | 1078.5 | 5.3757
1022.5 | 0.0001317 | 1079 | 5.3654
1023 | 0.0001308 | 1079.5 | 5.3904
1023.5 | 0.0001195 | 1080 | 5.4168
1024 | 0.0001082 | 1080.5 | 5.3887
1024.5 | 0.0001108 | 1081 | 5.3622
1025 | 0.0001134 | 1081.5 | 5.3902
1025.5 | 0.0001078 | 1082 | 5.4201
1026 | 0.0001022 | 1082.5 | 5.427
1026.5 | 0.0001155 | 1083 | 5.4339
1027 | 0.0001287 | 1083.5 | 5.4388
1027.5 | 0.0001092 | 1084 | 5.4436
1028 | 8.968e-05 | 1084.5 | 5.4405
1028.5 | 0.0001002 | 1085 | 5.4372
1029 | 0.0001107 | 1085.5 | 5.4407
1029.5 | 0.0001154 | 1086 | 5.4441
1030 | 0.0001201 | 1086.5 | 5.4658
1030.5 | 0.0001187 | 1087 | 5.4888
1031 | 0.0001174 | 1087.5 | 5.4957
1031.5 | 0.0001188 | 1088 | 5.5028
1032 | 0.0001202 | 1088.5 | 5.4733
1032.5 | 0.0001129 | 1089 | 5.4456
1033 | 0.0001056 | 1089.5 | 5.4577
1033.5 | 0.0001077 | 1090 | 5.4699
1034 | 0.0001097 | 1090.5 | 5.4856
1034.5 | 0.0001197 | 1091 | 5.5018
1035 | 0.0001298 | 1091.5 | 5.4892
1035.5 | 0.0001267 | 1092 | 5.4769
1036 | 0.0001236 | 1092.5 | 5.4812
1036.5 | 0.0001087 | 1093 | 5.4855
1037 | 9.381e-05 | 1093.5 | 5.4938
1037.5 | 0.0001075 | 1094 | 5.5024
1038 | 0.0001213 | 1094.5 | 5.4905
1038.5 | 0.0001167 | 1095 | 5.4791
1039 | 0.0001121 | 1095.5 | 5.4695
1039.5 | 0.0001162 | 1096 | 5.4602
1040 | 0.0001203 | 1096.5 | 5.4578
1040.5 | 0.0001116 | 1097 | 5.4554
1041 | 0.0001028 | 1097.5 | 5.4728
1041.5 | 0.0001101 | 1098 | 5.4907
1042 | 0.0001173 | 1098.5 | 5.4667
1042.5 | 0.0001199 | 1099 | 5.4441
1043 | 0.0001226 | 1099.5 | 5.4484
1043.5 | 0.0001254 | 1100 | 5.4528
1044 | 0.0001283
1044.5 | 0.0001302
1045 | 0.0001322
1045.5 | 0.0001341
1046 | 0.000136
1046.5 | 0.0001364
1047 | 0.0001367
1047.5 | 0.0001368
1048 | 0.0001369
1048.5 | 0.000141
1049 | 0.0001451
1049.5 | 0.000157
1050 | 0.0001689
1050.5 | 0.00018
1051 | 0.0001911
1051.5 | 0.0001928
1052 | 0.0001945
1052.5 | 0.0002049
1053 | 0.0002153
1053.5 | 0.0002277
1054 | 0.0002402
1054.5 | 0.0002419
1055 | 0.0002437
1055.5 | 0.0002764
1056 | 0.0003091
1056.5 | 0.000321
1057 | 0.0003328
1057.5 | 0.0003432
1058 | 0.0003537
1058.5 | 0.0003953
1059 | 0.000437
1059.5 | 0.0004475
1060 | 0.0004579
1060.5 | 0.0004757
1061 | 0.0004934
1061.5 | 0.0005094
1062 | 0.0005255
1062.5 | 0.000527
1063 | 0.0005285
1063.5 | 0.0005151
1064 | 0.0005017
1064.5 | 0.0005093
1065 | 0.0005168
1065.5 | 0.0005206
1066 | 0.0005245
1066.5 | 0.0005086
1067 | 0.0004928
1067.5 | 0.0004918
1068 | 0.0004908
1068.5 | 0.000476
1069 | 0.0004613
1069.5 | 0.0004522
1070 | 0.0004431
1070.5 | 0.0004539
1071 | 0.0004647
1071.5 | 0.0004487
1072 | 0.0004328
1072.5 | 0.0004456
1073 | 0.0004584
1073.5 | 0.0004436
1074 | 0.0004288
1074.5 | 0.0004328
1075 | 0.0004369
1075.5 | 0.000434
1076 | 0.0004312
1076.5 | 0.0004276
1077 | 0.0004241
1077.5 | 0.0004175
1078 | 0.000411
1078.5 | 0.000421
1079 | 0.0004311
1079.5 | 0.000407
1080 | 0.000383
1080.5 | 0.0004086
1081 | 0.0004343
1081.5 | 0.0004072
1082 | 0.0003801
1082.5 | 0.0003741
1083 | 0.0003682
1083.5 | 0.0003641
1084 | 0.0003601
1084.5 | 0.0003627
1085 | 0.0003654
1085.5 | 0.0003625
1086 | 0.0003597
1086.5 | 0.0003421
1087 | 0.0003245
1087.5 | 0.0003194
1088 | 0.0003142
1088.5 | 0.0003363
1089 | 0.0003584
1089.5 | 0.0003486
1090 | 0.0003389
1090.5 | 0.0003269
1091 | 0.0003149
1091.5 | 0.0003242
1092 | 0.0003335
1092.5 | 0.0003302
1093 | 0.000327
1093.5 | 0.0003208
1094 | 0.0003145
1094.5 | 0.0003232
1095 | 0.0003318
1095.5 | 0.0003392
1096 | 0.0003466
1096.5 | 0.0003485
1097 | 0.0003504
1097.5 | 0.0003367
1098 | 0.0003231
1098.5 | 0.0003414
1099 | 0.0003597
1099.5 | 0.0003561
1100 | 0.0003525