## ET365_10x
WaveLength | Transmission | WaveLength | OD
nm | % | nm | /
300 | -1.564e-05 | 300 | 7
300.5 | -6.496e-05 | 302.5 | 7.2153
301 | -1.19e-05 | 303 | 6.5746
301.5 | -2.772e-05 | 303.5 | 7.8354 | ET365/10x Transmission and OD Plot of ET365/10x This file indicates a typical data and there may be differences between product batches. If you have any questions, please contact LBTEK Technical Support. To quote this data, please indicate that the data source is from LBTEK.
302 | -5.694e-08 | 305 | 6.4132
302.5 | 6.091e-06 | 305.5 | 6.2923
303 | 2.663e-05 | 306 | 7.0325
303.5 | 1.461e-06 | 306.5 | 6.8268
304 | -2.295e-05 | 307 | 6.5854
304.5 | -1.51e-05 | 307.5 | 5.8102
305 | 3.862e-05 | 308 | 5.6201
305.5 | 5.101e-05 | 308.5 | 5.4336
306 | 9.278e-06 | 309 | 5.359
306.5 | 1.49e-05 | 309.5 | 5.2687 | LBTEK Mall：www.lbtek.com Tel：400-060-6986 LBTEK Technical Support E-mail：service@lbtek.com
307 | 2.598e-05 | 310 | 5.1341
307.5 | 0.0001548 | 310.5 | 5.1137
308 | 0.0002398 | 311 | 5.0058
308.5 | 0.0003685 | 311.5 | 4.9863
309 | 0.0004375 | 312 | 4.9158
309.5 | 0.0005386 | 312.5 | 4.8901
310 | 0.0007343 | 313 | 4.8486
310.5 | 0.0007696 | 313.5 | 4.815
311 | 0.0009868 | 314 | 4.9215
311.5 | 0.001032 | 314.5 | 4.8904
312 | 0.001214 | 315 | 4.8523
312.5 | 0.001288 | 315.5 | 4.8207
313 | 0.001417 | 316 | 4.8768
313.5 | 0.001531 | 316.5 | 4.8894
314 | 0.001198 | 317 | 4.9393
314.5 | 0.001287 | 317.5 | 4.8781
315 | 0.001405 | 318 | 4.8639
315.5 | 0.001511 | 318.5 | 4.8309
316 | 0.001328 | 319 | 4.6994
316.5 | 0.00129 | 319.5 | 4.668
317 | 0.00115 | 320 | 4.7364
317.5 | 0.001324 | 320.5 | 4.9097
318 | 0.001368 | 321 | 4.9642
318.5 | 0.001476 | 321.5 | 4.9314
319 | 0.001998 | 322 | 4.9666
319.5 | 0.002148 | 322.5 | 4.9446
320 | 0.001835 | 323 | 4.9927
320.5 | 0.001231 | 323.5 | 4.957
321 | 0.001086 | 324 | 5.0181
321.5 | 0.001171 | 324.5 | 4.942
322 | 0.00108 | 325 | 5.026
322.5 | 0.001136 | 325.5 | 4.9151
323 | 0.001017 | 326 | 4.9241
323.5 | 0.001104 | 326.5 | 4.9825
324 | 0.0009592 | 327 | 5.0475
324.5 | 0.001143 | 327.5 | 4.9614
325 | 0.0009418 | 328 | 4.8508
325.5 | 0.001216 | 328.5 | 4.9893
326 | 0.001191 | 329 | 5.0622
326.5 | 0.001041 | 329.5 | 4.9504
327 | 0.0008964 | 330 | 4.7256
327.5 | 0.001093 | 330.5 | 4.7435
328 | 0.00141 | 331 | 4.8989
328.5 | 0.001025 | 331.5 | 5.0885
329 | 0.0008665 | 332 | 5.2123
329.5 | 0.001121 | 332.5 | 5.1434
330 | 0.001881 | 333 | 5.1751
330.5 | 0.001805 | 333.5 | 5.0813
331 | 0.001262 | 334 | 5.0641
331.5 | 0.0008156 | 334.5 | 5.1873
332 | 0.0006133 | 335 | 5.2078
332.5 | 0.0007187 | 335.5 | 5.2905
333 | 0.0006682 | 336 | 5.243
333.5 | 0.0008293 | 336.5 | 5.2757
334 | 0.0008627 | 337 | 5.3694
334.5 | 0.0006497 | 337.5 | 5.3144
335 | 0.0006197 | 338 | 5.3029
335.5 | 0.0005123 | 338.5 | 5.3707
336 | 0.0005715 | 339 | 5.3579
336.5 | 0.00053 | 339.5 | 5.4158
337 | 0.0004272 | 340 | 5.3992
337.5 | 0.0004848 | 340.5 | 5.4417
338 | 0.0004979 | 341 | 5.3543
338.5 | 0.0004259 | 341.5 | 5.416
339 | 0.0004386 | 342 | 5.4303
339.5 | 0.0003839 | 342.5 | 5.4396
340 | 0.0003988 | 343 | 5.5906
340.5 | 0.0003617 | 343.5 | 5.4268
341 | 0.0004423 | 344 | 5.5112
341.5 | 0.0003837 | 344.5 | 5.5049
342 | 0.0003713 | 345 | 5.537
342.5 | 0.0003634 | 345.5 | 5.5028
343 | 0.0002567 | 346 | 5.5198
343.5 | 0.0003743 | 346.5 | 5.522
344 | 0.0003082 | 347 | 5.5981
344.5 | 0.0003127 | 347.5 | 5.5745
345 | 0.0002904 | 348 | 5.6792
345.5 | 0.0003142 | 348.5 | 5.6966
346 | 0.0003021 | 349 | 5.6076
346.5 | 0.0003006 | 349.5 | 5.4685
347 | 0.0002523 | 350 | 5.4421
347.5 | 0.0002664 | 350.5 | 5.4869
348 | 0.0002093 | 351 | 5.657
348.5 | 0.0002011 | 351.5 | 5.6597
349 | 0.0002468 | 352 | 5.8239
349.5 | 0.00034 | 352.5 | 5.7552
350 | 0.0003613 | 353 | 5.699
350.5 | 0.0003259 | 353.5 | 5.7077
351 | 0.0002203 | 354 | 5.9551
351.5 | 0.0002189 | 354.5 | 5.8312
352 | 0.00015 | 355 | 5.7959
352.5 | 0.0001757 | 355.5 | 5.8179
353 | 0.0002 | 356 | 5.6811
353.5 | 0.000196 | 356.5 | 4.9367
354 | 0.0001109 | 357 | 4.3399
354.5 | 0.0001475 | 357.5 | 3.8697
355 | 0.00016 | 358 | 3.4359
355.5 | 0.0001521 | 358.5 | 2.5524
356 | 0.0002084 | 359 | 1.0545
356.5 | 0.001157 | 359.5 | 0.44177
357 | 0.004572 | 360 | 0.15509
357.5 | 0.0135 | 360.5 | 0.05646
358 | 0.03665 | 361 | 0.04455
358.5 | 0.2803 | 361.5 | 0.04326
359 | 8.821 | 362 | 0.04029
359.5 | 36.16 | 362.5 | 0.03829
360 | 69.97 | 363 | 0.04077
360.5 | 87.81 | 363.5 | 0.04172
361 | 90.25 | 364 | 0.03791
361.5 | 90.52 | 364.5 | 0.03348
362 | 91.14 | 365 | 0.03222
362.5 | 91.56 | 365.5 | 0.03541
363 | 91.04 | 366 | 0.04528
363.5 | 90.84 | 366.5 | 0.05453
364 | 91.64 | 367 | 0.05571
364.5 | 92.58 | 367.5 | 0.05286
365 | 92.85 | 368 | 0.05041
365.5 | 92.17 | 368.5 | 0.05315
366 | 90.1 | 369 | 0.06565
366.5 | 88.2 | 369.5 | 0.07753
367 | 87.96 | 370 | 0.12616
367.5 | 88.54 | 370.5 | 0.3974
368 | 89.04 | 371 | 1.3022
368.5 | 88.48 | 371.5 | 1.7249
369 | 85.97 | 372 | 2.9674
369.5 | 83.65 | 372.5 | 3.6176
370 | 74.79 | 373 | 4.1211
370.5 | 40.05 | 373.5 | 4.6809
371 | 4.986 | 374 | 5.4585
371.5 | 1.884 | 374.5 | 6.1375
372 | 0.1078 | 375 | 6.3342
372.5 | 0.02412 | 375.5 | 6.2972
373 | 0.007566 | 376 | 6.3736
373.5 | 0.002085 | 376.5 | 6.2544
374 | 0.0003479 | 377 | 6.4078
374.5 | 7.287e-05 | 377.5 | 6.4096
375 | 4.632e-05 | 378 | 6.3334
375.5 | 5.044e-05 | 378.5 | 6.5038
376 | 4.231e-05 | 379 | 6.332
376.5 | 5.567e-05 | 379.5 | 6.2481
377 | 3.91e-05 | 380 | 5.6276
377.5 | 3.894e-05 | 380.5 | 5.363
378 | 4.641e-05 | 381 | 5.3734
378.5 | 3.135e-05 | 381.5 | 5.6904
379 | 4.656e-05 | 382 | 6.0184
379.5 | 5.648e-05 | 382.5 | 6.4122
380 | 0.0002357 | 383 | 6.6407
380.5 | 0.0004335 | 383.5 | 7.0283
381 | 0.0004233 | 384.5 | 6.6686
381.5 | 0.000204 | 385 | 6.614
382 | 9.586e-05 | 385.5 | 6.5423
382.5 | 3.871e-05 | 386 | 5.9267
383 | 2.287e-05 | 386.5 | 5.6205
383.5 | 9.37e-06 | 387 | 5.5312
384 | -1.017e-05 | 387.5 | 5.7652
384.5 | 2.145e-05 | 388 | 5.95
385 | 2.432e-05 | 388.5 | 5.6256
385.5 | 2.869e-05 | 389 | 5.4828
386 | 0.0001184 | 389.5 | 5.3721
386.5 | 0.0002396 | 390 | 5.4786
387 | 0.0002943 | 390.5 | 5.5436
387.5 | 0.0001717 | 391 | 5.6468
388 | 0.0001122 | 391.5 | 6.0691
388.5 | 0.0002368 | 392 | 6.6269
389 | 0.000329 | 392.5 | 7.7913
389.5 | 0.0004245 | 393 | 7.5436
390 | 0.0003322 | 393.5 | 7.6741
390.5 | 0.000286 | 394 | 7.8
391 | 0.0002255 | 394.5 | 6.8013
391.5 | 8.528e-05 | 395 | 6.95
392 | 2.361e-05 | 395.5 | 6.9263
392.5 | 1.617e-06 | 396 | 6.6664
393 | 2.86e-06 | 396.5 | 6.4067
393.5 | 2.118e-06 | 397 | 6.352
394 | 1.585e-06 | 397.5 | 6.9846
394.5 | 1.58e-05 | 398 | 7.2863
395 | 1.122e-05 | 398.5 | 7.3681
395.5 | 1.185e-05 | 399 | 6.6753
396 | 2.156e-05 | 399.5 | 6.3695
396.5 | 3.92e-05 | 400 | 6.1113
397 | 4.446e-05 | 400.5 | 6.4372
397.5 | 1.036e-05 | 401 | 7.1341
398 | 5.173e-06 | 401.5 | 7.5042
398.5 | 4.284e-06 | 402 | 7.3177
399 | 2.112e-05 | 403 | 7.8434
399.5 | 4.271e-05 | 403.5 | 6.95
400 | 7.74e-05 | 404 | 6.8674
400.5 | 3.654e-05 | 404.5 | 7.226
401 | 7.343e-06 | 405 | 6.5519
401.5 | 3.132e-06 | 405.5 | 6.1383
402 | 4.812e-06 | 406 | 6.205
402.5 | -4.365e-07 | 406.5 | 6.3645
403 | 1.434e-06 | 407 | 6.7256
403.5 | 1.122e-05 | 407.5 | 6.4641
404 | 1.357e-05 | 408 | 6.3982
404.5 | 5.943e-06 | 408.5 | 6.3538
405 | 2.806e-05 | 409 | 6.6872
405.5 | 7.273e-05 | 409.5 | 6.7284
406 | 6.238e-05 | 410 | 6.9739
406.5 | 4.32e-05 | 410.5 | 6.8447
407 | 1.881e-05 | 411 | 6.8857
407.5 | 3.435e-05 | 411.5 | 7.1495
408 | 3.998e-05 | 412 | 6.6515
408.5 | 4.428e-05 | 412.5 | 6.667
409 | 2.055e-05 | 413 | 6.5685
409.5 | 1.869e-05 | 413.5 | 6.8636
410 | 1.062e-05 | 414 | 6.8548
410.5 | 1.43e-05 | 414.5 | 7.3831
411 | 1.301e-05 | 415 | 7.4549
411.5 | 7.088e-06 | 415.5 | 7.704
412 | 2.231e-05 | 416 | 7.838
412.5 | 2.153e-05 | 416.5 | 7.343
413 | 2.701e-05 | 417 | 6.7438
413.5 | 1.369e-05 | 417.5 | 6.6467
414 | 1.397e-05 | 418 | 6.5735
414.5 | 4.139e-06 | 418.5 | 6.6354
415 | 3.508e-06 | 419 | 7.6768
415.5 | 1.977e-06 | 419.5 | 6.9801
416 | 1.452e-06 | 420 | 6.8286
416.5 | 4.539e-06 | 420.5 | 7.2365
417 | 1.804e-05 | 421 | 7.8592
417.5 | 2.256e-05 | 421.5 | 6.8623
418 | 2.67e-05 | 422 | 7.2841
418.5 | 2.315e-05 | 422.5 | 6.8817
419 | 2.105e-06 | 423 | 7.3525
419.5 | 1.047e-05 | 423.5 | 6.8483
420 | 1.484e-05 | 424 | 7.376
420.5 | 5.801e-06 | 424.5 | 6.9158
421 | 1.383e-06 | 425 | 7.4477
421.5 | 1.373e-05 | 425.5 | 8.8483
422 | 5.199e-06 | 426.5 | 7.1438
422.5 | 1.313e-05 | 427.5 | 7.0394
423 | 4.441e-06 | 428 | 7.4916
423.5 | 1.418e-05 | 429 | 8.066
424 | 4.207e-06 | 429.5 | 7.3195
424.5 | 1.214e-05 | 430 | 7.4983
425 | 3.567e-06 | 430.5 | 7.2257
425.5 | 1.418e-07 | 431 | 7.7095
426 | -7.14e-07 | 432 | 7.6605
426.5 | 7.181e-06 | 432.5 | 7.3646
427 | -6.247e-08 | 434.5 | 7.1968
427.5 | 9.133e-06 | 436.5 | 7.1453
428 | 3.224e-06 | 437 | 7.2911
428.5 | -2.551e-07 | 438 | 7.0992
429 | 8.59e-07 | 438.5 | 8.0637
429.5 | 4.792e-06 | 439 | 7.8979
430 | 3.175e-06 | 439.5 | 7.5242
430.5 | 5.947e-06 | 440 | 8.1674
431 | 1.952e-06 | 440.5 | 6.869
431.5 | -3.132e-06 | 441 | 6.7665
432 | 2.185e-06 | 441.5 | 6.6332
432.5 | 4.319e-06 | 442 | 6.7662
433 | -3.305e-06 | 442.5 | 6.6757
433.5 | -3.93e-07 | 443 | 6.6325
434 | -1.546e-06 | 443.5 | 6.527
434.5 | 6.356e-06 | 444 | 6.3106
435 | -2.862e-06 | 444.5 | 6.1532
435.5 | -1.05e-06 | 445 | 6.1315
436 | -3.372e-06 | 445.5 | 6.0933
436.5 | 7.156e-06 | 446 | 6.3019
437 | 5.116e-06 | 446.5 | 6.2274
437.5 | -6.446e-07 | 447 | 6.3097
438 | 7.958e-06 | 447.5 | 6.1731
438.5 | 8.635e-07 | 448 | 6.1242
439 | 1.265e-06 | 448.5 | 6.1082
439.5 | 2.991e-06 | 449 | 5.914
440 | 6.801e-07 | 449.5 | 5.8768
440.5 | 1.352e-05 | 450 | 5.9281
441 | 1.712e-05 | 450.5 | 5.8871
441.5 | 2.327e-05 | 451 | 5.8709
442 | 1.713e-05 | 451.5 | 5.8595
442.5 | 2.11e-05 | 452 | 5.8324
443 | 2.331e-05 | 452.5 | 5.8348
443.5 | 2.972e-05 | 453 | 5.8277
444 | 4.891e-05 | 453.5 | 5.9245
444.5 | 7.028e-05 | 454 | 5.9183
445 | 7.388e-05 | 454.5 | 5.9397
445.5 | 8.066e-05 | 455 | 5.9706
446 | 4.99e-05 | 455.5 | 5.9386
446.5 | 5.924e-05 | 456 | 5.8918
447 | 4.901e-05 | 456.5 | 5.828
447.5 | 6.712e-05 | 457 | 5.8416
448 | 7.512e-05 | 457.5 | 5.8465
448.5 | 7.794e-05 | 458 | 5.8425
449 | 0.0001219 | 458.5 | 5.9034
449.5 | 0.0001328 | 459 | 5.9359
450 | 0.000118 | 459.5 | 5.8887
450.5 | 0.0001297 | 460 | 5.9248
451 | 0.0001346 | 460.5 | 5.8357
451.5 | 0.0001382 | 461 | 5.7948
452 | 0.0001471 | 461.5 | 5.7934
452.5 | 0.0001463 | 462 | 5.817
453 | 0.0001487 | 462.5 | 5.7515
453.5 | 0.000119 | 463 | 5.7972
454 | 0.0001207 | 463.5 | 5.8668
454.5 | 0.0001149 | 464 | 5.8348
455 | 0.000107 | 464.5 | 5.8614
455.5 | 0.0001152 | 465 | 5.8847
456 | 0.0001283 | 465.5 | 5.8147
456.5 | 0.0001486 | 466 | 5.8447
457 | 0.000144 | 466.5 | 5.8044
457.5 | 0.0001424 | 467 | 5.8542
458 | 0.0001437 | 467.5 | 5.8511
458.5 | 0.0001249 | 468 | 5.8874
459 | 0.0001159 | 468.5 | 5.9205
459.5 | 0.0001292 | 469 | 5.93
460 | 0.0001189 | 469.5 | 5.9219
460.5 | 0.000146 | 470 | 5.9076
461 | 0.0001604 | 470.5 | 5.8911
461.5 | 0.0001609 | 471 | 5.9003
462 | 0.0001524 | 471.5 | 5.9027
462.5 | 0.0001772 | 472 | 5.8986
463 | 0.0001595 | 472.5 | 5.9359
463.5 | 0.0001359 | 473 | 5.9201
464 | 0.0001463 | 473.5 | 6.014
464.5 | 0.0001376 | 474 | 5.9714
465 | 0.0001304 | 474.5 | 5.9397
465.5 | 0.0001532 | 475 | 5.9101
466 | 0.000143 | 475.5 | 5.8857
466.5 | 0.0001569 | 476 | 5.8309
467 | 0.0001399 | 476.5 | 5.8002
467.5 | 0.0001409 | 477 | 5.8069
468 | 0.0001296 | 477.5 | 5.8582
468.5 | 0.0001201 | 478 | 5.8921
469 | 0.0001175 | 478.5 | 5.9263
469.5 | 0.0001197 | 479 | 5.9073
470 | 0.0001237 | 479.5 | 5.9194
470.5 | 0.0001285 | 480 | 5.9263
471 | 0.0001258 | 480.5 | 5.9469
471.5 | 0.0001251 | 481 | 5.9527
472 | 0.0001263 | 481.5 | 5.9944
472.5 | 0.0001159 | 482 | 5.9935
473 | 0.0001202 | 482.5 | 5.9747
473.5 | 9.682e-05 | 483 | 6.0122
474 | 0.0001068 | 483.5 | 6.0036
474.5 | 0.0001149 | 484 | 6.0702
475 | 0.000123 | 484.5 | 5.9987
475.5 | 0.0001301 | 485 | 5.9872
476 | 0.0001476 | 485.5 | 5.9363
476.5 | 0.0001584 | 486 | 5.9296
477 | 0.000156 | 486.5 | 5.9551
477.5 | 0.0001386 | 487 | 5.9527
478 | 0.0001282 | 487.5 | 6.0068
478.5 | 0.0001185 | 488 | 5.9859
479 | 0.0001238 | 488.5 | 6.0203
479.5 | 0.0001204 | 489 | 5.9991
480 | 0.0001185 | 489.5 | 5.9763
480.5 | 0.000113 | 490 | 6.0149
481 | 0.0001115 | 490.5 | 5.9768
481.5 | 0.0001013 | 491 | 5.9893
482 | 0.0001015 | 491.5 | 6.0891
482.5 | 0.000106 | 492 | 6.124
483 | 9.722e-05 | 492.5 | 6.2048
483.5 | 9.917e-05 | 493 | 6.2406
484 | 8.507e-05 | 493.5 | 6.3479
484.5 | 0.0001003 | 494 | 6.2988
485 | 0.000103 | 494.5 | 6.3542
485.5 | 0.0001158 | 495 | 6.2919
486 | 0.0001176 | 495.5 | 6.263
486.5 | 0.0001109 | 496 | 6.3514
487 | 0.0001115 | 496.5 | 6.33
487.5 | 9.845e-05 | 497 | 6.2829
488 | 0.0001033 | 497.5 | 6.3802
488.5 | 9.544e-05 | 498 | 6.2907
489 | 0.0001002 | 498.5 | 6.2877
489.5 | 0.0001056 | 499 | 6.2818
490 | 9.662e-05 | 499.5 | 6.3059
490.5 | 0.0001055 | 500 | 6.2251
491 | 0.0001025 | 500.5 | 6.1896
491.5 | 8.146e-05 | 501 | 6.0946
492 | 7.516e-05 | 501.5 | 6.0766
492.5 | 6.24e-05 | 502 | 6.1365
493 | 5.747e-05 | 502.5 | 6.1096
493.5 | 4.489e-05 | 503 | 6.162
494 | 5.026e-05 | 503.5 | 6.2073
494.5 | 4.424e-05 | 504 | 6.1904
495 | 5.106e-05 | 504.5 | 6.3307
495.5 | 5.458e-05 | 505 | 6.2896
496 | 4.453e-05 | 505.5 | 6.4118
496.5 | 4.677e-05 | 506 | 6.4356
497 | 5.213e-05 | 506.5 | 6.3913
497.5 | 4.167e-05 | 507 | 6.3557
498 | 5.121e-05 | 507.5 | 6.4497
498.5 | 5.156e-05 | 508 | 6.579
499 | 5.226e-05 | 508.5 | 6.5209
499.5 | 4.944e-05 | 509 | 6.5799
500 | 5.956e-05 | 509.5 | 6.5384
500.5 | 6.462e-05 | 510 | 6.5907
501 | 8.042e-05 | 510.5 | 6.4821
501.5 | 8.382e-05 | 511 | 6.6407
502 | 7.303e-05 | 511.5 | 6.6076
502.5 | 7.769e-05 | 512 | 6.7167
503 | 6.887e-05 | 512.5 | 6.5485
503.5 | 6.204e-05 | 513 | 6.4369
504 | 6.451e-05 | 513.5 | 6.4126
504.5 | 4.67e-05 | 514 | 6.4772
505 | 5.133e-05 | 514.5 | 6.4954
505.5 | 3.874e-05 | 515 | 6.5113
506 | 3.668e-05 | 515.5 | 6.7397
506.5 | 4.062e-05 | 516 | 6.6174
507 | 4.409e-05 | 516.5 | 6.7859
507.5 | 3.551e-05 | 517 | 6.7964
508 | 2.636e-05 | 517.5 | 6.9
508.5 | 3.014e-05 | 518 | 7.0171
509 | 2.631e-05 | 518.5 | 6.9003
509.5 | 2.895e-05 | 519 | 7.0823
510 | 2.566e-05 | 519.5 | 6.8928
510.5 | 3.295e-05 | 520 | 6.8542
511 | 2.287e-05 | 520.5 | 6.919
511.5 | 2.468e-05 | 521 | 7.0082
512 | 1.92e-05 | 521.5 | 6.7493
512.5 | 2.828e-05 | 522 | 6.611
513 | 3.657e-05 | 522.5 | 6.3678
513.5 | 3.867e-05 | 523 | 6.1645
514 | 3.333e-05 | 523.5 | 5.9805
514.5 | 3.196e-05 | 524 | 5.7503
515 | 3.081e-05 | 524.5 | 5.66
515.5 | 1.821e-05 | 525 | 5.7279
516 | 2.413e-05 | 525.5 | 5.9442
516.5 | 1.637e-05 | 526 | 6.1283
517 | 1.598e-05 | 526.5 | 6.3113
517.5 | 1.259e-05 | 527 | 6.5278
518 | 9.613e-06 | 527.5 | 6.6799
518.5 | 1.258e-05 | 528 | 6.6101
519 | 8.274e-06 | 528.5 | 6.9176
519.5 | 1.28e-05 | 529 | 6.7602
520 | 1.399e-05 | 529.5 | 6.8444
520.5 | 1.205e-05 | 530 | 6.808
521 | 9.813e-06 | 530.5 | 6.6658
521.5 | 1.781e-05 | 531 | 6.7178
522 | 2.449e-05 | 531.5 | 6.4494
522.5 | 4.288e-05 | 532 | 6.4799
523 | 6.847e-05 | 532.5 | 6.4282
523.5 | 0.0001046 | 533 | 6.2556
524 | 0.0001777 | 533.5 | 6.1764
524.5 | 0.0002188 | 534 | 6.0813
525 | 0.0001871 | 534.5 | 6.08
525.5 | 0.0001137 | 535 | 6.1342
526 | 7.443e-05 | 535.5 | 6.1945
526.5 | 4.883e-05 | 536 | 6.2654
527 | 2.966e-05 | 536.5 | 6.3096
527.5 | 2.09e-05 | 537 | 6.3527
528 | 2.454e-05 | 537.5 | 6.4514
528.5 | 1.209e-05 | 538 | 6.4943
529 | 1.737e-05 | 538.5 | 6.4208
529.5 | 1.431e-05 | 539 | 6.472
530 | 1.556e-05 | 539.5 | 6.3881
530.5 | 2.159e-05 | 540 | 6.4492
531 | 1.915e-05 | 540.5 | 6.4375
531.5 | 3.553e-05 | 541 | 6.3335
532 | 3.312e-05 | 541.5 | 6.3228
532.5 | 3.731e-05 | 542 | 6.2503
533 | 5.552e-05 | 542.5 | 6.0906
533.5 | 6.662e-05 | 543 | 6.0286
534 | 8.292e-05 | 543.5 | 5.9462
534.5 | 8.318e-05 | 544 | 5.8608
535 | 7.341e-05 | 544.5 | 5.8153
535.5 | 6.39e-05 | 545 | 5.7783
536 | 5.428e-05 | 545.5 | 5.8483
536.5 | 4.902e-05 | 546 | 5.9201
537 | 4.439e-05 | 546.5 | 5.9987
537.5 | 3.537e-05 | 547 | 6.1009
538 | 3.204e-05 | 547.5 | 6.2465
538.5 | 3.795e-05 | 548 | 6.2717
539 | 3.373e-05 | 548.5 | 6.297
539.5 | 4.092e-05 | 549 | 6.4312
540 | 3.555e-05 | 549.5 | 6.4539
540.5 | 3.652e-05 | 550 | 6.4204
541 | 4.64e-05 | 550.5 | 6.3563
541.5 | 4.756e-05 | 551 | 6.303
542 | 5.62e-05 | 551.5 | 6.3741
542.5 | 8.117e-05 | 552 | 6.3129
543 | 9.362e-05 | 552.5 | 6.3687
543.5 | 0.0001132 | 553 | 6.3262
544 | 0.0001378 | 553.5 | 6.2825
544.5 | 0.000153 | 554 | 6.2089
545 | 0.0001666 | 554.5 | 6.2186
545.5 | 0.0001418 | 555 | 6.1547
546 | 0.0001202 | 555.5 | 6.1807
546.5 | 0.0001003 | 556 | 6.2472
547 | 7.927e-05 | 556.5 | 6.157
547.5 | 5.669e-05 | 557 | 6.1447
548 | 5.349e-05 | 557.5 | 6.1494
548.5 | 5.047e-05 | 558 | 6.0124
549 | 3.705e-05 | 558.5 | 5.9602
549.5 | 3.516e-05 | 559 | 5.9292
550 | 3.798e-05 | 559.5 | 5.8
550.5 | 4.403e-05 | 560 | 5.716
551 | 4.978e-05 | 560.5 | 5.6847
551.5 | 4.226e-05 | 561 | 5.6988
552 | 4.865e-05 | 561.5 | 5.6623
552.5 | 4.279e-05 | 562 | 5.7765
553 | 4.719e-05 | 562.5 | 5.7846
553.5 | 5.218e-05 | 563 | 5.8533
554 | 6.181e-05 | 563.5 | 5.9326
554.5 | 6.045e-05 | 564 | 5.9285
555 | 7.004e-05 | 564.5 | 5.8976
555.5 | 6.596e-05 | 565 | 5.8914
556 | 5.66e-05 | 565.5 | 5.8837
556.5 | 6.966e-05 | 566 | 5.8564
557 | 7.167e-05 | 566.5 | 5.8429
557.5 | 7.09e-05 | 567 | 5.7828
558 | 9.718e-05 | 567.5 | 5.7282
558.5 | 0.0001096 | 568 | 5.626
559 | 0.0001177 | 568.5 | 5.6868
559.5 | 0.0001585 | 569 | 5.6878
560 | 0.0001923 | 569.5 | 5.7457
560.5 | 0.0002067 | 570 | 5.7698
561 | 0.0002001 | 570.5 | 5.8601
561.5 | 0.0002176 | 571 | 5.9087
562 | 0.0001673 | 571.5 | 5.978
562.5 | 0.0001642 | 572 | 6.1773
563 | 0.0001402 | 572.5 | 6.3446
563.5 | 0.0001168 | 573 | 6.242
564 | 0.0001179 | 573.5 | 6.4894
564.5 | 0.0001266 | 574 | 6.4254
565 | 0.0001284 | 574.5 | 6.5792
565.5 | 0.0001307 | 575 | 6.5465
566 | 0.0001392 | 575.5 | 6.6842
566.5 | 0.0001436 | 576 | 6.7064
567 | 0.0001649 | 576.5 | 6.6444
567.5 | 0.000187 | 577 | 6.5837
568 | 0.0002366 | 577.5 | 6.7881
568.5 | 0.0002057 | 578 | 6.6492
569 | 0.0002052 | 578.5 | 6.5867
569.5 | 0.0001796 | 579 | 6.5119
570 | 0.0001699 | 579.5 | 6.4098
570.5 | 0.000138 | 580 | 6.5374
571 | 0.0001234 | 580.5 | 6.3836
571.5 | 0.0001052 | 581 | 6.2541
572 | 6.648e-05 | 581.5 | 6.2308
572.5 | 4.523e-05 | 582 | 6.0002
573 | 5.728e-05 | 582.5 | 5.988
573.5 | 3.24e-05 | 583 | 5.9454
574 | 3.755e-05 | 583.5 | 5.7992
574.5 | 2.635e-05 | 584 | 5.7523
575 | 2.841e-05 | 584.5 | 5.7428
575.5 | 2.069e-05 | 585 | 5.7366
576 | 1.966e-05 | 585.5 | 5.7326
576.5 | 2.268e-05 | 586 | 5.7693
577 | 2.608e-05 | 586.5 | 5.7989
577.5 | 1.629e-05 | 587 | 5.8383
578 | 2.243e-05 | 587.5 | 5.856
578.5 | 2.59e-05 | 588 | 5.8935
579 | 3.077e-05 | 588.5 | 5.9763
579.5 | 3.892e-05 | 589 | 5.9851
580 | 2.901e-05 | 589.5 | 6.0783
580.5 | 4.134e-05 | 590 | 6.0751
581 | 5.57e-05 | 590.5 | 6.1737
581.5 | 5.878e-05 | 591 | 6.2373
582 | 9.996e-05 | 591.5 | 6.1486
582.5 | 0.0001028 | 592 | 6.2793
583 | 0.0001134 | 592.5 | 6.2906
583.5 | 0.0001588 | 593 | 6.2407
584 | 0.0001769 | 593.5 | 6.2762
584.5 | 0.0001808 | 594 | 6.2611
585 | 0.0001834 | 594.5 | 6.2754
585.5 | 0.0001851 | 595 | 6.3217
586 | 0.0001701 | 595.5 | 6.2729
586.5 | 0.0001589 | 596 | 6.3259
587 | 0.0001451 | 596.5 | 6.3171
587.5 | 0.0001393 | 597 | 6.3407
588 | 0.0001278 | 597.5 | 6.4425
588.5 | 0.0001056 | 598 | 6.5358
589 | 0.0001035 | 598.5 | 6.6189
589.5 | 8.351e-05 | 599 | 6.6407
590 | 8.413e-05 | 599.5 | 6.7222
590.5 | 6.704e-05 | 600 | 6.6216
591 | 5.79e-05 | 600.5 | 6.6121
591.5 | 7.103e-05 | 601 | 6.8483
592 | 5.257e-05 | 601.5 | 6.756
592.5 | 5.122e-05 | 602 | 6.8921
593 | 5.745e-05 | 602.5 | 6.9674
593.5 | 5.294e-05 | 603 | 6.9606
594 | 5.481e-05 | 603.5 | 6.8726
594.5 | 5.304e-05 | 604 | 7.0973
595 | 4.768e-05 | 604.5 | 7.7361
595.5 | 5.335e-05 | 605 | 7.3135
596 | 4.722e-05 | 605.5 | 7.608
596.5 | 4.818e-05 | 606 | 7.0377
597 | 4.564e-05 | 606.5 | 7.5711
597.5 | 3.61e-05 | 607 | 7.1369
598 | 2.912e-05 | 607.5 | 7.8489
598.5 | 2.405e-05 | 608.5 | 7.4658
599 | 2.287e-05 | 609 | 7.8312
599.5 | 1.896e-05 | 609.5 | 7.3031
600 | 2.39e-05 | 610 | 7.4115
600.5 | 2.443e-05 | 610.5 | 7.2431
601 | 1.418e-05 | 611 | 7.5272
601.5 | 1.754e-05 | 611.5 | 7.5114
602 | 1.282e-05 | 612 | 7.6643
602.5 | 1.078e-05 | 612.5 | 7.2025
603 | 1.095e-05 | 613 | 7.2331
603.5 | 1.341e-05 | 613.5 | 7.6983
604 | 7.992e-06 | 614 | 7.0686
604.5 | 1.836e-06 | 614.5 | 7.1257
605 | 4.858e-06 | 615 | 6.8945
605.5 | 2.466e-06 | 615.5 | 7.096
606 | 9.168e-06 | 616 | 6.848
606.5 | 2.685e-06 | 616.5 | 6.8404
607 | 7.296e-06 | 617 | 6.7328
607.5 | 1.416e-06 | 617.5 | 6.7307
608 | -1.098e-06 | 618 | 6.7755
608.5 | 3.421e-06 | 618.5 | 6.4852
609 | 1.475e-06 | 619 | 6.5042
609.5 | 4.976e-06 | 619.5 | 6.556
610 | 3.877e-06 | 620 | 6.4417
610.5 | 5.713e-06 | 620.5 | 6.4079
611 | 2.97e-06 | 621 | 6.2958
611.5 | 3.08e-06 | 621.5 | 6.3567
612 | 2.166e-06 | 622 | 6.3601
612.5 | 6.274e-06 | 622.5 | 6.3519
613 | 5.846e-06 | 623 | 6.3827
613.5 | 2.003e-06 | 623.5 | 6.2854
614 | 8.538e-06 | 624 | 6.3279
614.5 | 7.487e-06 | 624.5 | 6.387
615 | 1.275e-05 | 625 | 6.2559
615.5 | 8.016e-06 | 625.5 | 6.3754
616 | 1.419e-05 | 626 | 6.3971
616.5 | 1.444e-05 | 626.5 | 6.417
617 | 1.85e-05 | 627 | 6.3096
617.5 | 1.859e-05 | 627.5 | 6.4202
618 | 1.677e-05 | 628 | 6.3307
618.5 | 3.272e-05 | 628.5 | 6.2776
619 | 3.132e-05 | 629 | 6.3491
619.5 | 2.78e-05 | 629.5 | 6.2338
620 | 3.617e-05 | 630 | 6.1736
620.5 | 3.909e-05 | 630.5 | 6.0849
621 | 5.06e-05 | 631 | 6.1453
621.5 | 4.398e-05 | 631.5 | 6.0666
622 | 4.364e-05 | 632 | 5.9821
622.5 | 4.447e-05 | 632.5 | 5.9363
623 | 4.143e-05 | 633 | 5.8693
623.5 | 5.183e-05 | 633.5 | 5.856
624 | 4.7e-05 | 634 | 5.766
624.5 | 4.102e-05 | 634.5 | 5.7597
625 | 5.548e-05 | 635 | 5.757
625.5 | 4.213e-05 | 635.5 | 5.7102
626 | 4.008e-05 | 636 | 5.71
626.5 | 3.828e-05 | 636.5 | 5.6538
627 | 4.902e-05 | 637 | 5.6649
627.5 | 3.8e-05 | 637.5 | 5.6218
628 | 4.67e-05 | 638 | 5.6063
628.5 | 5.277e-05 | 638.5 | 5.6496
629 | 4.476e-05 | 639 | 5.6765
629.5 | 5.837e-05 | 639.5 | 5.7183
630 | 6.705e-05 | 640 | 5.8286
630.5 | 8.225e-05 | 640.5 | 5.9714
631 | 7.157e-05 | 641 | 6.0347
631.5 | 8.578e-05 | 641.5 | 6.1024
632 | 0.0001042 | 642 | 6.2229
632.5 | 0.0001158 | 642.5 | 6.3133
633 | 0.0001351 | 643 | 6.31
633.5 | 0.0001393 | 643.5 | 6.375
634 | 0.0001714 | 644 | 6.5038
634.5 | 0.0001739 | 644.5 | 6.5577
635 | 0.000175 | 645 | 6.4847
635.5 | 0.0001949 | 645.5 | 6.4546
636 | 0.000195 | 646 | 6.5957
636.5 | 0.0002219 | 646.5 | 6.6538
637 | 0.0002163 | 647 | 6.4312
637.5 | 0.0002389 | 647.5 | 6.477
638 | 0.0002476 | 648 | 6.4934
638.5 | 0.0002241 | 648.5 | 6.4247
639 | 0.0002106 | 649 | 6.3306
639.5 | 0.0001913 | 649.5 | 6.2882
640 | 0.0001484 | 650 | 6.2683
640.5 | 0.0001068 | 650.5 | 6.197
641 | 9.231e-05 | 651 | 6.1697
641.5 | 7.899e-05 | 651.5 | 6.0541
642 | 5.986e-05 | 652 | 5.9838
642.5 | 4.861e-05 | 652.5 | 5.9104
643 | 4.898e-05 | 653 | 5.8668
643.5 | 4.217e-05 | 653.5 | 5.7737
644 | 3.135e-05 | 654 | 5.7256
644.5 | 2.769e-05 | 654.5 | 5.6927
645 | 3.276e-05 | 655 | 5.6034
645.5 | 3.511e-05 | 655.5 | 5.643
646 | 2.537e-05 | 656 | 5.6076
646.5 | 2.219e-05 | 656.5 | 5.6209
647 | 3.705e-05 | 657 | 5.6505
647.5 | 3.334e-05 | 657.5 | 5.7131
648 | 3.211e-05 | 658 | 5.8182
648.5 | 3.761e-05 | 658.5 | 5.8193
649 | 4.671e-05 | 659 | 5.9097
649.5 | 5.15e-05 | 659.5 | 6.002
650 | 5.391e-05 | 660 | 6.0606
650.5 | 6.354e-05 | 660.5 | 6.1392
651 | 6.766e-05 | 661 | 6.1724
651.5 | 8.828e-05 | 661.5 | 6.2406
652 | 0.0001038 | 662 | 6.2843
652.5 | 0.0001229 | 662.5 | 6.2405
653 | 0.0001359 | 663 | 6.3501
653.5 | 0.0001684 | 663.5 | 6.2641
654 | 0.0001881 | 664 | 6.3422
654.5 | 0.0002029 | 664.5 | 6.276
655 | 0.0002492 | 665 | 6.2681
655.5 | 0.0002275 | 665.5 | 6.2762
656 | 0.0002468 | 666 | 6.1704
656.5 | 0.0002394 | 666.5 | 6.2573
657 | 0.0002236 | 667 | 6.1815
657.5 | 0.0001936 | 667.5 | 6.1367
658 | 0.000152 | 668 | 6.1304
658.5 | 0.0001516 | 668.5 | 6.1171
659 | 0.0001231 | 669 | 6.1663
659.5 | 9.953e-05 | 669.5 | 6.1414
660 | 8.697e-05 | 670 | 6.2211
660.5 | 7.257e-05 | 670.5 | 6.186
661 | 6.724e-05 | 671 | 6.3203
661.5 | 5.746e-05 | 671.5 | 6.3071
662 | 5.196e-05 | 672 | 6.3134
662.5 | 5.748e-05 | 672.5 | 6.4326
663 | 4.466e-05 | 673 | 6.4498
663.5 | 5.444e-05 | 673.5 | 6.5157
664 | 4.548e-05 | 674 | 6.4331
664.5 | 5.297e-05 | 674.5 | 6.5745
665 | 5.394e-05 | 675 | 6.5918
665.5 | 5.294e-05 | 675.5 | 6.5621
666 | 6.754e-05 | 676 | 6.4472
666.5 | 5.53e-05 | 676.5 | 6.437
667 | 6.584e-05 | 677 | 6.4252
667.5 | 7.3e-05 | 677.5 | 6.4666
668 | 7.406e-05 | 678 | 6.3499
668.5 | 7.637e-05 | 678.5 | 6.4108
669 | 6.819e-05 | 679 | 6.3144
669.5 | 7.221e-05 | 679.5 | 6.2809
670 | 6.01e-05 | 680 | 6.2101
670.5 | 6.516e-05 | 680.5 | 6.236
671 | 4.783e-05 | 681 | 6.2044
671.5 | 4.931e-05 | 681.5 | 6.1182
672 | 4.859e-05 | 682 | 6.0946
672.5 | 3.693e-05 | 682.5 | 6.1901
673 | 3.55e-05 | 683 | 6.0979
673.5 | 3.05e-05 | 683.5 | 6.0542
674 | 3.689e-05 | 684 | 6.1574
674.5 | 2.664e-05 | 684.5 | 6.0985
675 | 2.56e-05 | 685 | 5.9834
675.5 | 2.741e-05 | 685.5 | 6.0376
676 | 3.571e-05 | 686 | 5.957
676.5 | 3.656e-05 | 686.5 | 5.9686
677 | 3.757e-05 | 687 | 5.9531
677.5 | 3.415e-05 | 687.5 | 5.8671
678 | 4.468e-05 | 688 | 5.8431
678.5 | 3.883e-05 | 688.5 | 5.8086
679 | 4.848e-05 | 689 | 5.7706
679.5 | 5.237e-05 | 689.5 | 5.7635
680 | 6.165e-05 | 690 | 5.8022
680.5 | 5.808e-05 | 690.5 | 5.9087
681 | 6.246e-05 | 691 | 5.9817
681.5 | 7.617e-05 | 691.5 | 6.1265
682 | 8.043e-05 | 692 | 6.252
682.5 | 6.455e-05 | 692.5 | 6.2822
683 | 7.981e-05 | 693 | 6.2527
683.5 | 8.826e-05 | 693.5 | 6.4707
684 | 6.959e-05 | 694 | 6.5902
684.5 | 7.97e-05 | 694.5 | 6.4804
685 | 0.0001039 | 695 | 6.5123
685.5 | 9.17e-05 | 695.5 | 6.6782
686 | 0.0001104 | 696 | 6.6772
686.5 | 0.0001075 | 696.5 | 6.6902
687 | 0.0001114 | 697 | 6.5086
687.5 | 0.0001358 | 697.5 | 6.6409
688 | 0.0001435 | 698 | 6.4991
688.5 | 0.0001554 | 698.5 | 6.4742
689 | 0.0001696 | 699 | 6.5245
689.5 | 0.0001724 | 699.5 | 6.3847
690 | 0.0001577 | 700 | 6.4175
690.5 | 0.0001234 | 700.5 | 6.4885
691 | 0.0001043 | 701 | 6.2041
691.5 | 7.473e-05 | 701.5 | 6.2555
692 | 5.598e-05 | 702 | 6.0914
692.5 | 5.222e-05 | 702.5 | 5.9473
693 | 5.589e-05 | 703 | 5.9087
693.5 | 3.383e-05 | 703.5 | 5.7865
694 | 2.569e-05 | 704 | 5.7183
694.5 | 3.308e-05 | 704.5 | 5.7657
695 | 3.074e-05 | 705 | 5.7695
695.5 | 2.098e-05 | 705.5 | 5.7786
696 | 2.103e-05 | 706 | 5.8914
696.5 | 2.041e-05 | 706.5 | 5.8703
697 | 3.1e-05 | 707 | 5.9562
697.5 | 2.286e-05 | 707.5 | 6.0995
698 | 3.169e-05 | 708 | 6.2101
698.5 | 3.356e-05 | 708.5 | 6.2029
699 | 2.989e-05 | 709 | 6.3315
699.5 | 4.124e-05 | 709.5 | 6.3768
700 | 3.824e-05 | 710 | 6.4969
700.5 | 3.247e-05 | 710.5 | 6.6908
701 | 6.25e-05 | 711 | 6.7584
701.5 | 5.553e-05 | 711.5 | 6.7749
702 | 8.102e-05 | 712.5 | 7.5728
702.5 | 0.0001129 | 713 | 7.3503
703 | 0.0001234 | 713.5 | 7.3792
703.5 | 0.0001635 | 714 | 6.6947
704 | 0.0001913 | 714.5 | 7.3559
704.5 | 0.0001715 | 715 | 7.2603
705 | 0.00017 | 716 | 7.3412
705.5 | 0.0001665 | 717 | 7.479
706 | 0.0001284 | 717.5 | 7.1661
706.5 | 0.0001348 | 718 | 7.4167
707 | 0.0001106 | 718.5 | 7.3236
707.5 | 7.952e-05 | 719 | 7.265
708 | 6.164e-05 | 719.5 | 8.3964
708.5 | 6.267e-05 | 720.5 | 7.232
709 | 4.661e-05 | 721 | 7.5769
709.5 | 4.2e-05 | 722.5 | 7.1769
710 | 3.185e-05 | 723 | 7.3459
710.5 | 2.038e-05 | 724.5 | 7.0112
711 | 1.744e-05 | 725 | 6.9348
711.5 | 1.679e-05 | 725.5 | 7.2724
712 | -3.072e-08 | 726 | 7.2978
712.5 | 2.674e-06 | 726.5 | 7.6769
713 | 4.464e-06 | 727 | 7.1231
713.5 | 4.176e-06 | 727.5 | 6.5829
714 | 2.02e-05 | 728 | 6.9821
714.5 | 4.407e-06 | 728.5 | 7.2901
715 | 5.491e-06 | 729 | 6.8465
715.5 | -5.118e-06 | 729.5 | 6.8739
716 | 4.558e-06 | 730 | 6.9739
716.5 | -1.159e-06 | 730.5 | 7.0803
717 | 3.319e-06 | 731 | 7.4855
717.5 | 6.822e-06 | 732 | 6.9726
718 | 3.831e-06 | 732.5 | 7.0621
718.5 | 4.747e-06 | 733 | 6.8551
719 | 5.432e-06 | 733.5 | 7.0855
719.5 | 4.014e-07 | 734 | 7.2306
720 | -6.974e-06 | 734.5 | 6.8404
720.5 | 5.861e-06 | 736 | 6.9654
721 | 2.649e-06 | 738 | 7.3124
721.5 | -9.224e-06 | 738.5 | 7.4587
722 | -7.941e-07 | 739 | 7.4913
722.5 | 6.654e-06 | 739.5 | 7.6529
723 | 4.509e-06 | 740 | 7.5388
723.5 | -4.837e-06 | 740.5 | 7.0889
724 | -5.142e-06 | 741 | 7.4708
724.5 | 9.746e-06 | 741.5 | 7.6084
725 | 1.162e-05 | 742 | 7.0323
725.5 | 5.341e-06 | 742.5 | 9.0115
726 | 5.037e-06 | 743.5 | 6.823
726.5 | 2.104e-06 | 744 | 6.5879
727 | 7.532e-06 | 745 | 6.6326
727.5 | 2.613e-05 | 745.5 | 6.8941
728 | 1.042e-05 | 746.5 | 6.8811
728.5 | 5.127e-06 | 747.5 | 6.4235
729 | 1.424e-05 | 748 | 7.2735
729.5 | 1.337e-05 | 748.5 | 6.9821
730 | 1.062e-05 | 749 | 6.3447
730.5 | 8.312e-06 | 749.5 | 7.5373
731 | 3.27e-06 | 750 | 6.218
731.5 | -5.912e-06 | 750.5 | 6.2406
732 | 1.065e-05 | 751 | 6.1442
732.5 | 8.668e-06 | 751.5 | 6.1514
733 | 1.396e-05 | 752 | 6.187
733.5 | 8.213e-06 | 752.5 | 6.2947
734 | 5.88e-06 | 753 | 6.2124
734.5 | 1.444e-05 | 753.5 | 6.0134
735 | -1.476e-05 | 754 | 6.0429
735.5 | -4.009e-06 | 754.5 | 5.9329
736 | 1.083e-05 | 755 | 5.9512
736.5 | -5.04e-06 | 755.5 | 5.8557
737 | -6.702e-06 | 756 | 5.8199
737.5 | -8.554e-06 | 756.5 | 5.6899
738 | 4.871e-06 | 757 | 5.5531
738.5 | 3.478e-06 | 757.5 | 5.595
739 | 3.226e-06 | 758 | 5.4661
739.5 | 2.224e-06 | 758.5 | 5.3961
740 | 2.892e-06 | 759 | 5.4877
740.5 | 8.149e-06 | 759.5 | 5.5302
741 | 3.382e-06 | 760 | 5.5255
741.5 | 2.464e-06 | 760.5 | 5.5901
742 | 9.284e-06 | 761 | 5.6964
742.5 | 9.738e-08 | 761.5 | 5.764
743 | -7.019e-06 | 762 | 5.8088
743.5 | 1.503e-05 | 762.5 | 5.8752
744 | 2.583e-05 | 763 | 5.8684
744.5 | -9.431e-06 | 763.5 | 5.9893
745 | 2.33e-05 | 764 | 6.2188
745.5 | 1.276e-05 | 764.5 | 6.2342
746 | -6.702e-06 | 765 | 6.2014
746.5 | 1.315e-05 | 765.5 | 6.2188
747 | -5.815e-07 | 766 | 6.1681
747.5 | 3.771e-05 | 766.5 | 6.3446
748 | 5.327e-06 | 767 | 6.1432
748.5 | 1.042e-05 | 767.5 | 6.0668
749 | 4.522e-05 | 768 | 6.0945
749.5 | 2.902e-06 | 768.5 | 6.1
750 | 6.053e-05 | 769 | 5.9884
750.5 | 5.747e-05 | 769.5 | 6.18
751 | 7.174e-05 | 770 | 5.957
751.5 | 7.056e-05 | 770.5 | 5.9598
752 | 6.502e-05 | 771 | 5.7144
752.5 | 5.073e-05 | 771.5 | 5.6554
753 | 6.132e-05 | 772 | 5.5039
753.5 | 9.697e-05 | 772.5 | 5.4596
754 | 9.06e-05 | 773 | 5.3083
754.5 | 0.0001167 | 773.5 | 5.2861
755 | 0.0001119 | 774 | 5.2603
755.5 | 0.0001394 | 774.5 | 5.3514
756 | 0.0001514 | 775 | 5.4702
756.5 | 0.0002042 | 775.5 | 5.5691
757 | 0.0002798 | 776 | 5.7118
757.5 | 0.0002541 | 776.5 | 5.7435
758 | 0.0003419 | 777 | 5.8884
758.5 | 0.0004017 | 777.5 | 6.1806
759 | 0.0003253 | 778 | 5.9165
759.5 | 0.000295 | 778.5 | 6.1893
760 | 0.0002982 | 779 | 6.8573
760.5 | 0.000257 | 779.5 | 6.2829
761 | 0.0002012 | 780 | 6.4162
761.5 | 0.0001722 | 780.5 | 6.6426
762 | 0.0001553 | 781 | 6.8894
762.5 | 0.0001333 | 781.5 | 6.8687
763 | 0.0001354 | 782 | 6.547
763.5 | 0.0001025 | 782.5 | 6.4816
764 | 6.043e-05 | 783 | 7.0156
764.5 | 5.832e-05 | 783.5 | 6.5211
765 | 6.289e-05 | 784 | 6.9751
765.5 | 6.042e-05 | 784.5 | 6.2322
766 | 6.79e-05 | 785 | 6.8248
766.5 | 4.523e-05 | 785.5 | 6.8726
767 | 7.192e-05 | 786 | 6.3111
767.5 | 8.574e-05 | 786.5 | 6.4587
768 | 8.045e-05 | 787 | 6.4844
768.5 | 7.944e-05 | 787.5 | 7.0345
769 | 0.0001027 | 788 | 6.3849
769.5 | 6.607e-05 | 788.5 | 6.7742
770 | 0.0001104 | 789 | 6.9809
770.5 | 0.0001097 | 789.5 | 6.3969
771 | 0.000193 | 790 | 6.2831
771.5 | 0.0002211 | 790.5 | 6.2556
772 | 0.0003134 | 791.5 | 6.311
772.5 | 0.0003471 | 792 | 6.2595
773 | 0.0004917 | 792.5 | 6.0618
773.5 | 0.0005175 | 793.5 | 6.7884
774 | 0.0005491 | 794 | 6.7399
774.5 | 0.0004453 | 794.5 | 6.2747
775 | 0.0003387 | 795 | 6.3522
775.5 | 0.0002697 | 795.5 | 6.4346
776 | 0.0001942 | 796 | 6.4459
776.5 | 0.0001805 | 796.5 | 6.7402
777 | 0.0001293 | 797 | 6.8592
777.5 | 6.597e-05 | 797.5 | 6.6155
778 | 0.0001212 | 798 | 6.7443
778.5 | 6.467e-05 | 798.5 | 6.4261
779 | 1.389e-05 | 799.5 | 6.8697
779.5 | 5.213e-05 | 800 | 6.6196
780 | 3.835e-05 | 800.5 | 6.484
780.5 | 2.277e-05 | 801 | 6.3809
781 | 1.29e-05 | 801.5 | 6.3998
781.5 | 1.353e-05 | 802 | 6.4195
782 | 2.838e-05 | 802.5 | 6.2738
782.5 | 3.299e-05 | 803 | 6.1649
783 | 9.646e-06 | 803.5 | 6.4907
783.5 | 3.012e-05 | 804.5 | 6.7129
784 | 1.059e-05 | 805 | 6.3715
784.5 | 5.859e-05 | 805.5 | 6.7921
785 | 1.497e-05 | 806.5 | 6.7528
785.5 | 1.341e-05 | 807 | 6.3415
786 | 4.885e-05 | 807.5 | 6.5181
786.5 | 3.478e-05 | 808 | 6.8207
787 | 3.278e-05 | 808.5 | 7.0722
787.5 | 9.237e-06 | 809 | 7.7373
788 | 4.122e-05 | 811 | 6.6904
788.5 | 1.682e-05 | 811.5 | 6.5751
789 | 1.045e-05 | 812 | 6.4841
789.5 | 4.01e-05 | 812.5 | 6.7402
790 | 5.211e-05 | 813 | 7.4445
790.5 | 5.552e-05 | 816.5 | 7.0085
791 | -8.491e-06 | 817 | 6.2946
791.5 | 4.886e-05 | 817.5 | 6.389
792 | 5.502e-05 | 818 | 6.5099
792.5 | 8.673e-05 | 818.5 | 6.5018
793 | -1.738e-06 | 819 | 6.494
793.5 | 1.628e-05 | 819.5 | 6.6425
794 | 1.82e-05 | 820 | 6.8697
794.5 | 5.313e-05 | 820.5 | 8.8567
795 | 4.444e-05 | 821.5 | 6.8881
795.5 | 3.676e-05 | 822 | 6.4077
796 | 3.582e-05 | 822.5 | 6.3785
796.5 | 1.819e-05 | 823 | 6.3513
797 | 1.383e-05 | 823.5 | 6.3301
797.5 | 2.424e-05 | 824 | 6.3101
798 | 1.802e-05 | 824.5 | 6.374
798.5 | 3.749e-05 | 825 | 6.4489
799 | -1.475e-05 | 825.5 | 6.5991
799.5 | 1.35e-05 | 826 | 6.83
800 | 2.401e-05 | 826.5 | 7.1811
800.5 | 3.281e-05 | 827.5 | 7.5983
801 | 4.16e-05 | 828 | 7.1769
801.5 | 3.983e-05 | 828.5 | 6.8147
802 | 3.806e-05 | 829 | 6.62
802.5 | 5.324e-05 | 829.5 | 6.6091
803 | 6.841e-05 | 830 | 6.5986
803.5 | 3.231e-05 | 830.5 | 6.9281
804 | -3.783e-06 | 831.5 | 6.9654
804.5 | 1.937e-05 | 832 | 6.6338
805 | 4.251e-05 | 832.5 | 6.4618
805.5 | 1.614e-05 | 833 | 6.339
806 | -1.022e-05 | 833.5 | 6.4344
806.5 | 1.767e-05 | 834 | 6.5564
807 | 4.555e-05 | 834.5 | 6.6328
807.5 | 3.033e-05 | 835 | 6.7254
808 | 1.511e-05 | 835.5 | 7.1954
808.5 | 8.469e-06 | 836.5 | 7.4639
809 | 1.831e-06 | 837 | 6.8887
809.5 | -1.137e-05 | 837.5 | 6.8257
810 | -2.458e-05 | 838 | 6.7708
810.5 | -2.077e-06 | 838.5 | 6.5442
811 | 2.04e-05 | 839 | 6.3961
811.5 | 2.66e-05 | 839.5 | 6.5794
812 | 3.28e-05 | 840 | 6.9027
812.5 | 1.819e-05 | 840.5 | 6.5694
813 | 3.593e-06 | 841 | 6.3833
813.5 | -4.836e-06 | 841.5 | 6.5533
814 | -1.326e-05 | 842 | 6.8365
814.5 | -1.057e-05 | 842.5 | 7.1781
815 | -7.882e-06 | 843.5 | 6.971
815.5 | -1.953e-05 | 844 | 6.6445
816 | -3.118e-05 | 844.5 | 6.5957
816.5 | 9.807e-06 | 845 | 6.5518
817 | 5.075e-05 | 845.5 | 6.5151
817.5 | 4.083e-05 | 846 | 6.4812
818 | 3.091e-05 | 846.5 | 6.5254
818.5 | 3.149e-05 | 847 | 6.5745
819 | 3.206e-05 | 847.5 | 6.6658
819.5 | 2.278e-05 | 848 | 6.7817
820 | 1.35e-05 | 848.5 | 6.622
820.5 | 1.391e-07 | 849 | 6.5054
821 | -1.322e-05 | 849.5 | 6.5324
821.5 | 1.294e-05 | 850 | 6.5611
822 | 3.911e-05 | 850.5 | 6.6007
822.5 | 4.183e-05 | 851 | 6.6444
823 | 4.454e-05 | 851.5 | 6.6637
823.5 | 4.676e-05 | 852 | 6.6838
824 | 4.897e-05 | 852.5 | 6.6381
824.5 | 4.227e-05 | 853 | 6.5965
825 | 3.557e-05 | 853.5 | 6.9183
825.5 | 2.517e-05 | 854.5 | 7.1622
826 | 1.479e-05 | 855 | 6.8259
826.5 | 6.59e-06 | 855.5 | 6.7731
827 | -1.612e-06 | 856 | 6.7261
827.5 | 2.522e-06 | 856.5 | 7.0675
828 | 6.654e-06 | 859 | 7.1312
828.5 | 1.532e-05 | 859.5 | 6.9504
829 | 2.399e-05 | 860 | 6.8233
829.5 | 2.46e-05 | 860.5 | 6.7066
830 | 2.52e-05 | 861 | 6.6147
830.5 | 1.18e-05 | 861.5 | 6.5935
831 | -1.59e-06 | 862 | 6.5733
831.5 | 1.083e-05 | 862.5 | 6.9974
832 | 2.324e-05 | 863.5 | 6.9465
832.5 | 3.453e-05 | 864 | 6.5348
833 | 4.581e-05 | 864.5 | 6.8881
833.5 | 3.678e-05 | 865.5 | 8.277
834 | 2.777e-05 | 866 | 7.3604
834.5 | 2.329e-05 | 866.5 | 7.8111
835 | 1.882e-05 | 867.5 | 7.3971
835.5 | 6.377e-06 | 868 | 7.0323
836 | -6.058e-06 | 868.5 | 6.6024
836.5 | 3.436e-06 | 869 | 6.3907
837 | 1.292e-05 | 869.5 | 6.4347
837.5 | 1.494e-05 | 870 | 6.4836
838 | 1.695e-05 | 870.5 | 6.6741
838.5 | 2.856e-05 | 871 | 7.0216
839 | 4.017e-05 | 871.5 | 7.2968
839.5 | 2.634e-05 | 872 | 8.232
840 | 1.251e-05 | 872.5 | 7.094
840.5 | 2.695e-05 | 873 | 6.8091
841 | 4.137e-05 | 873.5 | 6.8908
841.5 | 2.797e-05 | 874 | 6.9918
842 | 1.457e-05 | 874.5 | 6.5599
842.5 | 6.636e-06 | 875 | 6.3479
843 | -1.301e-06 | 875.5 | 6.1967
843.5 | 1.069e-05 | 876 | 6.0847
844 | 2.267e-05 | 876.5 | 6.0867
844.5 | 2.537e-05 | 877 | 6.0887
845 | 2.807e-05 | 877.5 | 5.9809
845.5 | 3.054e-05 | 878 | 5.8948
846 | 3.302e-05 | 878.5 | 5.8573
846.5 | 2.983e-05 | 879 | 5.8225
847 | 2.664e-05 | 879.5 | 5.821
847.5 | 2.159e-05 | 880 | 5.8196
848 | 1.653e-05 | 880.5 | 5.767
848.5 | 2.388e-05 | 881 | 5.7199
849 | 3.123e-05 | 881.5 | 5.7042
849.5 | 2.935e-05 | 882 | 5.6891
850 | 2.747e-05 | 882.5 | 5.7001
850.5 | 2.508e-05 | 883 | 5.7115
851 | 2.268e-05 | 883.5 | 5.7104
851.5 | 2.169e-05 | 884 | 5.7091
852 | 2.071e-05 | 884.5 | 5.7523
852.5 | 2.301e-05 | 885 | 5.8002
853 | 2.532e-05 | 885.5 | 5.7825
853.5 | 1.207e-05 | 886 | 5.7655
854 | -1.17e-06 | 886.5 | 5.7937
854.5 | 6.884e-06 | 887 | 5.8236
855 | 1.493e-05 | 887.5 | 5.8598
855.5 | 1.686e-05 | 888 | 5.8989
856 | 1.879e-05 | 888.5 | 5.9427
856.5 | 8.561e-06 | 889 | 5.9918
857 | -1.655e-06 | 889.5 | 5.9893
857.5 | -5.608e-06 | 890 | 5.9867
858 | -9.561e-06 | 890.5 | 5.9446
858.5 | -1.078e-06 | 891 | 5.9062
859 | 7.393e-06 | 891.5 | 5.8877
859.5 | 1.121e-05 | 892 | 5.8703
860 | 1.502e-05 | 892.5 | 5.8156
860.5 | 1.965e-05 | 893 | 5.767
861 | 2.428e-05 | 893.5 | 5.7433
861.5 | 2.55e-05 | 894 | 5.7208
862 | 2.671e-05 | 894.5 | 5.6974
862.5 | 1.006e-05 | 895 | 5.6753
863 | -6.588e-06 | 895.5 | 5.6151
863.5 | 1.131e-05 | 896 | 5.5622
864 | 2.919e-05 | 896.5 | 5.5068
864.5 | 1.294e-05 | 897 | 5.4577
865 | -3.308e-06 | 897.5 | 5.4043
865.5 | 5.284e-07 | 898 | 5.3567
866 | 4.361e-06 | 898.5 | 5.311
866.5 | 1.545e-06 | 899 | 5.2695
867 | -1.272e-06 | 899.5 | 5.2267
867.5 | 4.008e-06 | 900 | 5.1876
868 | 9.283e-06 | 900.5 | 5.1455
868.5 | 2.498e-05 | 901 | 5.1071
869 | 4.067e-05 | 901.5 | 5.0727
869.5 | 3.675e-05 | 902 | 5.0409
870 | 3.284e-05 | 902.5 | 5.0086
870.5 | 2.118e-05 | 903 | 4.9784
871 | 9.516e-06 | 903.5 | 4.959
871.5 | 5.049e-06 | 904 | 4.9408
872 | 5.861e-07 | 904.5 | 4.9274
872.5 | 8.054e-06 | 905 | 4.9143
873 | 1.552e-05 | 905.5 | 4.9073
873.5 | 1.286e-05 | 906 | 4.9003
874 | 1.019e-05 | 906.5 | 4.8982
874.5 | 2.755e-05 | 907 | 4.8962
875 | 4.488e-05 | 907.5 | 4.901
875.5 | 6.358e-05 | 908 | 4.9059
876 | 8.228e-05 | 908.5 | 4.9263
876.5 | 8.191e-05 | 909 | 4.9473
877 | 8.153e-05 | 909.5 | 4.9662
877.5 | 0.0001045 | 910 | 4.9859
878 | 0.0001274 | 910.5 | 5.0072
878.5 | 0.0001389 | 911 | 5.0296
879 | 0.0001505 | 911.5 | 5.0568
879.5 | 0.000151 | 912 | 5.0859
880 | 0.0001515 | 912.5 | 5.1246
880.5 | 0.000171 | 913 | 5.1672
881 | 0.0001906 | 913.5 | 5.1909
881.5 | 0.0001976 | 914 | 5.216
882 | 0.0002046 | 914.5 | 5.2529
882.5 | 0.0001995 | 915 | 5.2933
883 | 0.0001943 | 915.5 | 5.3146
883.5 | 0.0001948 | 916 | 5.3372
884 | 0.0001954 | 916.5 | 5.3753
884.5 | 0.0001769 | 917 | 5.417
885 | 0.0001584 | 917.5 | 5.4265
885.5 | 0.000165 | 918 | 5.4363
886 | 0.0001716 | 918.5 | 5.4522
886.5 | 0.0001608 | 919 | 5.4688
887 | 0.0001501 | 919.5 | 5.4959
887.5 | 0.0001381 | 920 | 5.5248
888 | 0.0001262 | 920.5 | 5.533
888.5 | 0.0001141 | 921 | 5.5414
889 | 0.0001019 | 921.5 | 5.5328
889.5 | 0.0001025 | 922 | 5.5245
890 | 0.0001031 | 922.5 | 5.5447
890.5 | 0.0001136 | 923 | 5.5658
891 | 0.0001241 | 923.5 | 5.533
891.5 | 0.0001295 | 924 | 5.5025
892 | 0.0001348 | 924.5 | 5.4955
892.5 | 0.0001529 | 925 | 5.4886
893 | 0.000171 | 925.5 | 5.4578
893.5 | 0.0001806 | 926 | 5.4289
894 | 0.0001902 | 926.5 | 5.3974
894.5 | 0.0002007 | 927 | 5.3681
895 | 0.0002112 | 927.5 | 5.3228
895.5 | 0.0002426 | 928 | 5.2817
896 | 0.000274 | 928.5 | 5.2379
896.5 | 0.0003113 | 929 | 5.1981
897 | 0.0003486 | 929.5 | 5.1447
897.5 | 0.0003942 | 930 | 5.0971
898 | 0.0004399 | 930.5 | 5.0564
898.5 | 0.0004887 | 931 | 5.0192
899 | 0.0005376 | 931.5 | 4.9809
899.5 | 0.0005934 | 932 | 4.9458
900 | 0.0006492 | 932.5 | 4.9341
900.5 | 0.0007153 | 933 | 4.9223
901 | 0.0007814 | 933.5 | 4.9277
901.5 | 0.0008458 | 934 | 4.9329
902 | 0.0009101 | 934.5 | 4.952
902.5 | 0.0009804 | 935 | 4.9714
903 | 0.001051 | 935.5 | 5.0126
903.5 | 0.001099 | 936 | 5.058
904 | 0.001146 | 936.5 | 5.105
904.5 | 0.001182 | 937 | 5.1578
905 | 0.001218 | 937.5 | 5.2127
905.5 | 0.001238 | 938 | 5.2756
906 | 0.001258 | 938.5 | 5.3281
906.5 | 0.001264 | 939 | 5.388
907 | 0.00127 | 939.5 | 5.4437
907.5 | 0.001256 | 940 | 5.5077
908 | 0.001242 | 940.5 | 5.5499
908.5 | 0.001185 | 941 | 5.5971
909 | 0.001129 | 941.5 | 5.6247
909.5 | 0.001081 | 942 | 5.6544
910 | 0.001033 | 942.5 | 5.6936
910.5 | 0.0009835 | 943 | 5.7364
911 | 0.0009341 | 943.5 | 5.7744
911.5 | 0.0008773 | 944 | 5.8162
912 | 0.0008205 | 944.5 | 5.8202
912.5 | 0.0007505 | 945 | 5.8242
913 | 0.0006805 | 945.5 | 5.8735
913.5 | 0.0006443 | 946 | 5.9292
914 | 0.0006082 | 946.5 | 5.9523
914.5 | 0.0005586 | 947 | 5.9768
915 | 0.000509 | 947.5 | 5.937
915.5 | 0.0004846 | 948 | 5.9007
916 | 0.0004601 | 948.5 | 5.9303
916.5 | 0.0004214 | 949 | 5.9622
917 | 0.0003828 | 949.5 | 5.9439
917.5 | 0.0003745 | 950 | 5.9263
918 | 0.0003662 | 950.5 | 5.9606
918.5 | 0.000353 | 951 | 5.9974
919 | 0.0003398 | 951.5 | 5.9439
919.5 | 0.0003192 | 952 | 5.8962
920 | 0.0002987 | 952.5 | 5.8665
920.5 | 0.0002931 | 953 | 5.8383
921 | 0.0002875 | 953.5 | 5.8159
921.5 | 0.0002932 | 954 | 5.7945
922 | 0.0002989 | 954.5 | 5.7443
922.5 | 0.0002853 | 955 | 5.6992
923 | 0.0002718 | 955.5 | 5.7183
923.5 | 0.0002931 | 956 | 5.738
924 | 0.0003144 | 956.5 | 5.6743
924.5 | 0.0003195 | 957 | 5.6187
925 | 0.0003246 | 957.5 | 5.5779
925.5 | 0.0003485 | 958 | 5.5405
926 | 0.0003725 | 958.5 | 5.5119
926.5 | 0.0004005 | 959 | 5.4849
927 | 0.0004285 | 959.5 | 5.4636
927.5 | 0.0004756 | 960 | 5.4431
928 | 0.0005228 | 960.5 | 5.388
928.5 | 0.0005782 | 961 | 5.339
929 | 0.0006337 | 961.5 | 5.2963
929.5 | 0.0007167 | 962 | 5.2573
930 | 0.0007997 | 962.5 | 5.2126
930.5 | 0.0008782 | 963 | 5.1721
931 | 0.0009567 | 963.5 | 5.1219
931.5 | 0.001045 | 964 | 5.077
932 | 0.001133 | 964.5 | 5.0434
932.5 | 0.001164 | 965 | 5.0122
933 | 0.001196 | 965.5 | 4.9718
933.5 | 0.001181 | 966 | 4.9352
934 | 0.001167 | 966.5 | 4.9201
934.5 | 0.001117 | 967 | 4.9059
935 | 0.001068 | 967.5 | 4.8969
935.5 | 0.0009713 | 968 | 4.8884
936 | 0.0008749 | 968.5 | 4.8871
936.5 | 0.0007852 | 969 | 4.8857
937 | 0.0006954 | 969.5 | 4.8841
937.5 | 0.0006128 | 970 | 4.8824
938 | 0.0005302 | 970.5 | 4.8918
938.5 | 0.0004698 | 971 | 4.9014
939 | 0.0004093 | 971.5 | 4.9041
939.5 | 0.00036 | 972 | 4.9069
940 | 0.0003107 | 972.5 | 4.9197
940.5 | 0.0002819 | 973 | 4.9326
941 | 0.0002529 | 973.5 | 4.9359
941.5 | 0.0002373 | 974 | 4.9393
942 | 0.0002216 | 974.5 | 4.9393
942.5 | 0.0002025 | 975 | 4.9393
943 | 0.0001835 | 975.5 | 4.9344
943.5 | 0.0001681 | 976 | 4.9296
944 | 0.0001527 | 976.5 | 4.9307
944.5 | 0.0001513 | 977 | 4.9318
945 | 0.0001499 | 977.5 | 4.9234
945.5 | 0.0001338 | 978 | 4.9147
946 | 0.0001177 | 978.5 | 4.9069
946.5 | 0.0001116 | 979 | 4.8993
947 | 0.0001055 | 979.5 | 4.8948
947.5 | 0.0001156 | 980 | 4.8904
948 | 0.0001257 | 980.5 | 4.8874
948.5 | 0.0001174 | 981 | 4.8844
949 | 0.0001091 | 981.5 | 4.8798
949.5 | 0.0001138 | 982 | 4.8752
950 | 0.0001185 | 982.5 | 4.8674
950.5 | 0.0001095 | 983 | 4.8601
951 | 0.0001006 | 983.5 | 4.8658
951.5 | 0.0001138 | 984 | 4.8719
952 | 0.000127 | 984.5 | 4.8831
952.5 | 0.000136 | 985 | 4.8945
953 | 0.0001451 | 985.5 | 4.901
953.5 | 0.0001528 | 986 | 4.908
954 | 0.0001605 | 986.5 | 4.9241
954.5 | 0.0001802 | 987 | 4.9408
955 | 0.0001999 | 987.5 | 4.957
955.5 | 0.0001913 | 988 | 4.9743
956 | 0.0001828 | 988.5 | 4.9851
956.5 | 0.0002117 | 989 | 4.9961
957 | 0.0002406 | 989.5 | 5.0127
957.5 | 0.0002643 | 990 | 5.0301
958 | 0.0002881 | 990.5 | 5.0434
958.5 | 0.0003077 | 991 | 5.0572
959 | 0.0003274 | 991.5 | 5.0686
959.5 | 0.0003439 | 992 | 5.0804
960 | 0.0003605 | 992.5 | 5.0909
960.5 | 0.0004093 | 993 | 5.1016
961 | 0.0004581 | 993.5 | 5.1095
961.5 | 0.0005055 | 994 | 5.1174
962 | 0.000553 | 994.5 | 5.1094
962.5 | 0.0006129 | 995 | 5.1015
963 | 0.0006728 | 995.5 | 5.1089
963.5 | 0.0007552 | 996 | 5.1165
964 | 0.0008375 | 996.5 | 5.1195
964.5 | 0.0009048 | 997 | 5.1226
965 | 0.0009722 | 997.5 | 5.115
965.5 | 0.001067 | 998 | 5.1074
966 | 0.001161 | 998.5 | 5.0983
966.5 | 0.001202 | 999 | 5.0893
967 | 0.001242 | 999.5 | 5.0773
967.5 | 0.001268 | 1000 | 5.0656
968 | 0.001293 | 1000.5 | 5.0524
968.5 | 0.001297 | 1001 | 5.0395
969 | 0.001301 | 1001.5 | 5.0225
969.5 | 0.001306 | 1002 | 5.006
970 | 0.001311 | 1002.5 | 4.9905
970.5 | 0.001283 | 1003 | 4.9759
971 | 0.001255 | 1003.5 | 4.9602
971.5 | 0.001247 | 1004 | 4.945
972 | 0.001239 | 1004.5 | 4.9288
972.5 | 0.001203 | 1005 | 4.9129
973 | 0.001168 | 1005.5 | 4.8996
973.5 | 0.001159 | 1006 | 4.8871
974 | 0.00115 | 1006.5 | 4.8807
974.5 | 0.00115 | 1007 | 4.8745
975 | 0.00115 | 1007.5 | 4.8582
975.5 | 0.001163 | 1008 | 4.8429
976 | 0.001176 | 1008.5 | 4.841
976.5 | 0.001173 | 1009 | 4.8392
977 | 0.00117 | 1009.5 | 4.8401
977.5 | 0.001193 | 1010 | 4.841
978 | 0.001217 | 1010.5 | 4.8471
978.5 | 0.001239 | 1011 | 4.8529
979 | 0.001261 | 1011.5 | 4.8536
979.5 | 0.001274 | 1012 | 4.8542
980 | 0.001287 | 1012.5 | 4.8684
980.5 | 0.001296 | 1013 | 4.8831
981 | 0.001305 | 1013.5 | 4.8864
981.5 | 0.001319 | 1014 | 4.8898
982 | 0.001333 | 1014.5 | 4.9017
982.5 | 0.001357 | 1015 | 4.9143
983 | 0.00138 | 1015.5 | 4.9212
983.5 | 0.001362 | 1016 | 4.9285
984 | 0.001343 | 1016.5 | 4.9446
984.5 | 0.001309 | 1017 | 4.9614
985 | 0.001275 | 1017.5 | 4.9618
985.5 | 0.001256 | 1018 | 4.9626
986 | 0.001236 | 1018.5 | 4.967
986.5 | 0.001191 | 1019 | 4.9718
987 | 0.001146 | 1019.5 | 4.9731
987.5 | 0.001104 | 1020 | 4.9743
988 | 0.001061 | 1020.5 | 4.9809
988.5 | 0.001035 | 1021 | 4.9876
989 | 0.001009 | 1021.5 | 4.9801
989.5 | 0.0009711 | 1022 | 4.9731
990 | 0.0009331 | 1022.5 | 4.9686
990.5 | 0.0009049 | 1023 | 4.9642
991 | 0.0008767 | 1023.5 | 4.961
991.5 | 0.0008539 | 1024 | 4.9578
992 | 0.0008311 | 1024.5 | 4.9516
992.5 | 0.0008112 | 1025 | 4.945
993 | 0.0007914 | 1025.5 | 4.9326
993.5 | 0.0007772 | 1026 | 4.9201
994 | 0.0007631 | 1026.5 | 4.9097
994.5 | 0.0007773 | 1027 | 4.8996
995 | 0.0007916 | 1027.5 | 4.8918
995.5 | 0.0007782 | 1028 | 4.8841
996 | 0.0007647 | 1028.5 | 4.8742
996.5 | 0.0007594 | 1029 | 4.8649
997 | 0.000754 | 1029.5 | 4.8548
997.5 | 0.0007674 | 1030 | 4.8453
998 | 0.0007809 | 1030.5 | 4.8413
998.5 | 0.0007975 | 1031 | 4.8374
999 | 0.0008141 | 1031.5 | 4.8377
999.5 | 0.000837 | 1032 | 4.838
1000 | 0.0008597 | 1032.5 | 4.8345
1000.5 | 0.0008864 | 1033 | 4.8306
1001 | 0.000913 | 1033.5 | 4.83
1001.5 | 0.0009496 | 1034 | 4.8292
1002 | 0.0009862 | 1034.5 | 4.8377
1002.5 | 0.001022 | 1035 | 4.8468
1003 | 0.001057 | 1035.5 | 4.8542
1003.5 | 0.001096 | 1036 | 4.8614
1004 | 0.001135 | 1036.5 | 4.8709
1004.5 | 0.001178 | 1037 | 4.8807
1005 | 0.001222 | 1037.5 | 4.8898
1005.5 | 0.00126 | 1038 | 4.8989
1006 | 0.001297 | 1038.5 | 4.9097
1006.5 | 0.001316 | 1039 | 4.9208
1007 | 0.001335 | 1039.5 | 4.9367
1007.5 | 0.001386 | 1040 | 4.9531
1008 | 0.001436 | 1040.5 | 4.9594
1008.5 | 0.001442 | 1041 | 4.9654
1009 | 0.001448 | 1041.5 | 4.9796
1009.5 | 0.001445 | 1042 | 4.9948
1010 | 0.001442 | 1042.5 | 4.994
1010.5 | 0.001422 | 1043 | 4.9935
1011 | 0.001403 | 1043.5 | 5.0011
1011.5 | 0.001401 | 1044 | 5.0089
1012 | 0.001399 | 1044.5 | 5.0089
1012.5 | 0.001354 | 1045 | 5.0089
1013 | 0.001309 | 1045.5 | 5.0119
1013.5 | 0.001299 | 1046 | 5.015
1014 | 0.001289 | 1046.5 | 5.0126
1014.5 | 0.001254 | 1047 | 5.0101
1015 | 0.001218 | 1047.5 | 5.0065
1015.5 | 0.001199 | 1048 | 5.003
1016 | 0.001179 | 1048.5 | 5.002
1016.5 | 0.001136 | 1049 | 5.0011
1017 | 0.001093 | 1049.5 | 4.9953
1017.5 | 0.001092 | 1050 | 4.9893
1018 | 0.00109 | 1050.5 | 4.9763
1018.5 | 0.001079 | 1051 | 4.9638
1019 | 0.001067 | 1051.5 | 4.9586
1019.5 | 0.001064 | 1052 | 4.9531
1020 | 0.001061 | 1052.5 | 4.9389
1020.5 | 0.001045 | 1053 | 4.9252
1021 | 0.001029 | 1053.5 | 4.9076
1021.5 | 0.001047 | 1054 | 4.8904
1022 | 0.001064 | 1054.5 | 4.8834
1022.5 | 0.001075 | 1055 | 4.8768
1023 | 0.001086 | 1055.5 | 4.8684
1023.5 | 0.001094 | 1056 | 4.8601
1024 | 0.001102 | 1056.5 | 4.8526
1024.5 | 0.001118 | 1057 | 4.845
1025 | 0.001135 | 1057.5 | 4.8416
1025.5 | 0.001168 | 1058 | 4.8383
1026 | 0.001202 | 1058.5 | 4.8357
1026.5 | 0.001231 | 1059 | 4.833
1027 | 0.00126 | 1059.5 | 4.8389
1027.5 | 0.001283 | 1060 | 4.8447
1028 | 0.001306 | 1060.5 | 4.8514
1028.5 | 0.001336 | 1061 | 4.8582
1029 | 0.001365 | 1061.5 | 4.8719
1029.5 | 0.001397 | 1062 | 4.8857
1030 | 0.001428 | 1062.5 | 4.9041
1030.5 | 0.001441 | 1063 | 4.9237
1031 | 0.001454 | 1063.5 | 4.942
1031.5 | 0.001453 | 1064 | 4.961
1032 | 0.001452 | 1064.5 | 4.9772
1032.5 | 0.001464 | 1065 | 4.9944
1033 | 0.001477 | 1065.5 | 5.0143
1033.5 | 0.001479 | 1066 | 5.0352
1034 | 0.001482 | 1066.5 | 5.0637
1034.5 | 0.001453 | 1067 | 5.0942
1035 | 0.001423 | 1067.5 | 5.1207
1035.5 | 0.001399 | 1068 | 5.1489
1036 | 0.001376 | 1068.5 | 5.1553
1036.5 | 0.001346 | 1069 | 5.1618
1037 | 0.001316 | 1069.5 | 5.175
1037.5 | 0.001289 | 1070 | 5.1886
1038 | 0.001262 | 1070.5 | 5.2111
1038.5 | 0.001231 | 1071 | 5.2348
1039 | 0.0012 | 1071.5 | 5.2527
1039.5 | 0.001157 | 1072 | 5.2714
1040 | 0.001114 | 1072.5 | 5.2948
1040.5 | 0.001098 | 1073 | 5.3195
1041 | 0.001083 | 1073.5 | 5.3315
1041.5 | 0.001048 | 1074 | 5.3439
1042 | 0.001012 | 1074.5 | 5.3457
1042.5 | 0.001014 | 1075 | 5.3476
1043 | 0.001015 | 1075.5 | 5.3597
1043.5 | 0.0009975 | 1076 | 5.3722
1044 | 0.0009796 | 1076.5 | 5.3739
1044.5 | 0.0009797 | 1077 | 5.3755
1045 | 0.0009797 | 1077.5 | 5.3848
1045.5 | 0.0009729 | 1078 | 5.3943
1046 | 0.0009661 | 1078.5 | 5.3973
1046.5 | 0.0009715 | 1079 | 5.4003
1047 | 0.000977 | 1079.5 | 5.3997
1047.5 | 0.0009851 | 1080 | 5.3991
1048 | 0.0009932 | 1080.5 | 5.4033
1048.5 | 0.0009954 | 1081 | 5.4076
1049 | 0.0009975 | 1081.5 | 5.4083
1049.5 | 0.001011 | 1082 | 5.409
1050 | 0.001025 | 1082.5 | 5.4117
1050.5 | 0.001056 | 1083 | 5.4143
1051 | 0.001087 | 1083.5 | 5.3946
1051.5 | 0.0011 | 1084 | 5.3757
1052 | 0.001114 | 1084.5 | 5.3822
1052.5 | 0.001151 | 1085 | 5.3887
1053 | 0.001188 | 1085.5 | 5.3808
1053.5 | 0.001237 | 1086 | 5.373
1054 | 0.001287 | 1086.5 | 5.3711
1054.5 | 0.001308 | 1087 | 5.3692
1055 | 0.001328 | 1087.5 | 5.3621
1055.5 | 0.001354 | 1088 | 5.3552
1056 | 0.00138 | 1088.5 | 5.3389
1056.5 | 0.001404 | 1089 | 5.3233
1057 | 0.001429 | 1089.5 | 5.3097
1057.5 | 0.00144 | 1090 | 5.2965
1058 | 0.001451 | 1090.5 | 5.2843
1058.5 | 0.00146 | 1091 | 5.2724
1059 | 0.001469 | 1091.5 | 5.2652
1059.5 | 0.001449 | 1092 | 5.2581
1060 | 0.00143 | 1092.5 | 5.2273
1060.5 | 0.001408 | 1093 | 5.1986
1061 | 0.001386 | 1093.5 | 5.1871
1061.5 | 0.001343 | 1094 | 5.176
1062 | 0.001301 | 1094.5 | 5.1494
1062.5 | 0.001247 | 1095 | 5.1244
1063 | 0.001192 | 1095.5 | 5.1066
1063.5 | 0.001143 | 1096 | 5.0895
1064 | 0.001094 | 1096.5 | 5.0712
1064.5 | 0.001054 | 1097 | 5.0536
1065 | 0.001013 | 1097.5 | 5.0249
1065.5 | 0.0009676 | 1098 | 4.9978
1066 | 0.0009221 | 1098.5 | 4.9739
1066.5 | 0.0008635 | 1099 | 4.9508
1067 | 0.000805 | 1099.5 | 4.9197
1067.5 | 0.0007574 | 1100 | 4.8904
1068 | 0.0007098
1068.5 | 0.0006993
1069 | 0.0006889
1069.5 | 0.0006683
1070 | 0.0006478
1070.5 | 0.0006151
1071 | 0.0005823
1071.5 | 0.0005588
1072 | 0.0005353
1072.5 | 0.0005072
1073 | 0.0004792
1073.5 | 0.0004661
1074 | 0.000453
1074.5 | 0.0004511
1075 | 0.0004492
1075.5 | 0.0004368
1076 | 0.0004244
1076.5 | 0.0004228
1077 | 0.0004212
1077.5 | 0.0004123
1078 | 0.0004034
1078.5 | 0.0004006
1079 | 0.0003978
1079.5 | 0.0003984
1080 | 0.0003989
1080.5 | 0.0003951
1081 | 0.0003912
1081.5 | 0.0003906
1082 | 0.0003899
1082.5 | 0.0003875
1083 | 0.0003852
1083.5 | 0.0004031
1084 | 0.000421
1084.5 | 0.0004148
1085 | 0.0004086
1085.5 | 0.0004161
1086 | 0.0004236
1086.5 | 0.0004255
1087 | 0.0004274
1087.5 | 0.0004344
1088 | 0.0004414
1088.5 | 0.0004582
1089 | 0.000475
1089.5 | 0.0004901
1090 | 0.0005052
1090.5 | 0.0005196
1091 | 0.0005341
1091.5 | 0.000543
1092 | 0.0005519
1092.5 | 0.0005925
1093 | 0.000633
1093.5 | 0.0006499
1094 | 0.0006668
1094.5 | 0.0007089
1095 | 0.000751
1095.5 | 0.0007823
1096 | 0.0008137
1096.5 | 0.0008488
1097 | 0.0008839
1097.5 | 0.0009442
1098 | 0.001005
1098.5 | 0.001062
1099 | 0.00112
1099.5 | 0.001203
1100 | 0.001287