## NDFR-25C-4
Wavelength | Attenuation
nm | dB
796.6919 | 8.3227
798.4641 | 8.3227
802.0085 | 7.4662
803.7807 | 7.4662 | Fixed fiber attenuators FFA-25S-XXX Attenuation This file indicates a typical data and there may be differences between product batches. If you have any questions, please contact LBTEK Technical Support. To quote this data, please indicate that the data source is from LBTEK.
807.325 | 6.6954
809.0972 | 6.6098
810.8694 | 6.0102
814.4138 | 5.8389
816.1859 | 5.4107
817.9581 | 5.7533
821.5025 | 5.1538
823.2747 | 4.9825
825.0469 | 4.8112
828.5912 | 4.3829 | LBTEK Mall：www.lbtek.com Tel：400-060-6986 LBTEK Technical Support E-mail：service@lbtek.com
832.1356 | 4.2116
839.2243 | 4.2116
846.3131 | 4.2116
851.6296 | 4.4686
858.7183 | 4.6399
862.2627 | 4.8112
869.3514 | 5.0681
871.1236 | 5.2394
881.7567 | 5.4107
885.3011 | 5.582
894.162 | 5.7533
899.4786 | 5.7533
904.7951 | 6.1815
908.3395 | 6.1815
913.656 | 6.5241
917.2004 | 6.6954
922.517 | 6.9523
926.0613 | 6.781
929.6057 | 7.038
934.9222 | 7.5518
938.4666 | 7.4662
943.7832 | 7.9801
947.3275 | 7.8944
954.4163 | 8.4083
957.9606 | 8.3227
963.2772 | 8.8366
965.0494 | 8.8366
972.1381 | 9.2648
973.9103 | 9.2648
982.7712 | 9.7787
991.6321 | 10.2069
995.1765 | 10.2925
1000.493 | 10.7208
1004.0374 | 10.8064
1009.354 | 11.2347
1012.8983 | 11.2347
1018.2149 | 11.6629
1028.848 | 12.0055
1032.3923 | 12.0055
1037.7089 | 12.5193
1041.2532 | 12.5193
1046.5698 | 12.9476
1051.8863 | 13.2045
1053.6585 | 13.5471
1055.4307 | 13.4614
1064.2916 | 14.061
1074.9247 | 14.4892
1083.7857 | 15.1744
1085.5578 | 14.9174
1092.6466 | 15.6026
1094.4188 | 15.4313
1101.5075 | 16.0308
1108.5962 | 16.2878
1112.1406 | 16.4591
1119.2293 | 17.0586
1126.3181 | 17.0586
1129.8624 | 17.4012
1135.179 | 17.5725
1142.2677 | 17.7438
1144.0399 | 18.0863
1149.3564 | 18.2576
1156.4452 | 18.7715
1156.4452 | 18.5146
1163.5339 | 19.0285
1170.6227 | 18.8572
1181.2558 | 19.2854
1184.8001 | 19.1141
1193.661 | 19.628
1197.2054 | 19.7993
1202.522 | 20.0562
1207.8385 | 20.2275
1216.6994 | 20.7414
1218.4716 | 21.4266
1218.4716 | 20.6557
1222.016 | 21.5979
1229.1047 | 21.9404
1232.6491 | 22.1974
1239.7378 | 22.4543
1239.7378 | 22.7112
1246.8265 | 23.1395
1253.9153 | 23.739
1255.6875 | 23.5677
1261.004 | 24.1672
1266.3206 | 24.3385
1269.8649 | 24.5098
1269.8649 | 24.6811
1275.1815 | 24.8524
1278.7259 | 25.0237
1285.8146 | 25.2806
1289.359 | 25.3663
1298.2199 | 25.0237
1308.853 | 25.4519
1315.9417 | 25.0237
1323.0304 | 25.7089
1330.1192 | 26.394
1331.8914 | 25.7089
1349.6132 | 25.8802
1358.4741 | 26.0515
1367.335 | 25.7089
1370.8794 | 25.6232
1376.1959 | 25.2806
1383.2847 | 25.3663
1390.3734 | 25.0237
1395.69 | 25.1093
1404.5509 | 24.7668
1406.3231 | 24.9381
1409.8674 | 25.1093
1411.6396 | 25.2806
1418.7283 | 25.195
1422.2727 | 24.8524
1429.3615 | 24.9381
1436.4502 | 24.7668
1445.3111 | 24.8524
1448.8555 | 24.8524
1454.172 | 24.6811
1463.0329 | 24.8524
1464.8051 | 24.9381
1466.5773 | 24.2529
1468.3495 | 24.4242
1480.7548 | 24.4242
1489.6157 | 24.6811
1500.2488 | 25.195
1503.7931 | 25.1093
1514.4263 | 25.4519
1516.1984 | 25.0237
1517.9706 | 25.3663
1519.7428 | 25.195
1535.6925 | 25.3663
1542.7812 | 25.2806
1553.4143 | 25.0237
1560.503 | 25.0237
1567.5918 | 25.0237
1571.1361 | 25.2806
1579.997 | 25.4519
1585.3136 | 25.3663
1592.4023 | 25.9658
1594.1745 | 25.8802
1597.7189 | 25.2806
1599.4911 | 25.3663
1611.8963 | 25.2806
1611.8963 | 25.195
1618.9851 | 24.5955
1620.7573 | 24.7668
1633.1626 | 24.3385
1633.1626 | 24.4242
1642.0235 | 24.6811
1643.7957 | 24.5098
1656.2009 | 24.3385
1659.7453 | 24.5955
1665.0619 | 25.0237
1670.3784 | 25.7089
1675.695 | 25.3663
1677.4671 | 24.5955