## ET575_50m
WaveLength | Transmission | WaveLength | OD
nm | % | nm | /
300 | -4.398e-05 | 300 | 7
300.5 | -2.61e-05 | 301 | 5.978
301 | 0.0001052 | 302 | 7.099
301.5 | -3.532e-05 | 302.5 | 6.2419 | ET575/50m Transmission and OD Plot of ET575/50m This file indicates a typical data and there may be differences between product batches. If you have any questions, please contact LBTEK Technical Support. To quote this data, please indicate that the data source is from LBTEK.
302 | 7.962e-06 | 303 | 7.1216
302.5 | 5.729e-05 | 304 | 5.9983
303 | 7.557e-06 | 304.5 | 6.3641
303.5 | -9.689e-05 | 305 | 6.2763
304 | 0.0001004 | 305.5 | 6.4943
304.5 | 4.324e-05 | 306.5 | 6.0586
305 | 5.293e-05 | 307 | 7.2823
305.5 | 3.204e-05 | 307.5 | 6.3805
306 | -5.504e-06 | 308.5 | 7.2823
306.5 | 8.737e-05 | 309 | 6.6087 | LBTEK Mall：www.lbtek.com Tel：400-060-6986 LBTEK Technical Support E-mail：service@lbtek.com
307 | 5.221e-06 | 310.5 | 6.4845
307.5 | 4.164e-05 | 311 | 6.472
308 | -5.139e-05 | 312 | 7.1298
308.5 | 5.221e-06 | 312.5 | 6.304
309 | 2.462e-05 | 313 | 7.0045
309.5 | -2.327e-05 | 314 | 6.584
310 | -4.236e-06 | 314.5 | 6.2925
310.5 | 3.277e-05 | 315.5 | 6.9539
311 | 3.373e-05 | 316 | 6.555
311.5 | -2.25e-05 | 316.5 | 6.4697
312 | 7.417e-06 | 317 | 6.3206
312.5 | 4.966e-05 | 317.5 | 6.5789
313 | 9.897e-06 | 318 | 6.4836
313.5 | -1.259e-05 | 318.5 | 6.5659
314 | 2.606e-05 | 319 | 6.3669
314.5 | 5.099e-05 | 319.5 | 6.6251
315 | -7.194e-05 | 320.5 | 6.1715
315.5 | 1.112e-05 | 321 | 8.6761
316 | 2.786e-05 | 321.5 | 6.6419
316.5 | 3.391e-05 | 323 | 6.3879
317 | 4.78e-05 | 324 | 6.8438
317.5 | 2.637e-05 | 324.5 | 6.2778
318 | 3.284e-05 | 325 | 6.4687
318.5 | 2.717e-05 | 325.5 | 6.9212
319 | 4.296e-05 | 327.5 | 6.6944
319.5 | 2.371e-05 | 328 | 8.4713
320 | -7.362e-06 | 329.5 | 6.2548
320.5 | 6.737e-05 | 330 | 6.3979
321 | 2.108e-07 | 331 | 6.9021
321.5 | 2.281e-05 | 331.5 | 7.4681
322 | -4.336e-05 | 332 | 6.952
322.5 | -8.35e-07 | 332.5 | 6.3453
323 | 4.094e-05 | 333 | 6.1535
323.5 | -9.302e-07 | 333.5 | 6.1896
324 | 1.433e-05 | 334.5 | 6.4942
324.5 | 5.275e-05 | 335 | 6.6128
325 | 3.399e-05 | 335.5 | 6.4944
325.5 | 1.199e-05 | 336.5 | 6.5057
326 | -2.94e-05 | 337 | 6.5666
326.5 | -1.799e-05 | 337.5 | 6.0917
327 | -4.282e-05 | 338.5 | 6.7402
327.5 | 2.021e-05 | 339 | 6.5388
328 | 3.378e-07 | 339.5 | 6.4231
328.5 | -6.174e-06 | 340 | 7.5629
329 | -2.923e-05 | 341.5 | 6.9901
329.5 | 5.562e-05 | 342 | 7.821
330 | 4e-05 | 342.5 | 6.2193
330.5 | -5.932e-06 | 343 | 6.7256
331 | 1.253e-05 | 344 | 6.8199
331.5 | 3.403e-06 | 344.5 | 7.0041
332 | 1.117e-05 | 345 | 7.6338
332.5 | 4.515e-05 | 345.5 | 7.5589
333 | 7.022e-05 | 346 | 7.1442
333.5 | 6.462e-05 | 346.5 | 6.5782
334 | -1.745e-05 | 347.5 | 6.8164
334.5 | 3.205e-05 | 348 | 6.5624
335 | 2.439e-05 | 348.5 | 6.8292
335.5 | 3.203e-05 | 349.5 | 6.4415
336 | -5.323e-06 | 350 | 6.6704
336.5 | 3.121e-05 | 350.5 | 6.8674
337 | 2.713e-05 | 351 | 6.5835
337.5 | 8.097e-05 | 351.5 | 7.2289
338 | -4.324e-05 | 352.5 | 6.7224
338.5 | 1.819e-05 | 353 | 6.8145
339 | 2.892e-05 | 353.5 | 6.7632
339.5 | 3.775e-05 | 354 | 6.9205
340 | 2.736e-06 | 354.5 | 6.4289
340.5 | -5.836e-06 | 355 | 6.8125
341 | -3.301e-05 | 355.5 | 7.2808
341.5 | 1.023e-05 | 356 | 6.4876
342 | 1.51e-06 | 356.5 | 6.6218
342.5 | 6.035e-05 | 357 | 6.7156
343 | 1.881e-05 | 357.5 | 7.0184
343.5 | -2.34e-05 | 358 | 7.0976
344 | 1.514e-05 | 359 | 7.2272
344.5 | 9.906e-06 | 359.5 | 6.5582
345 | 2.324e-06 | 360 | 6.6668
345.5 | 2.761e-06 | 360.5 | 6.6972
346 | 7.175e-06 | 361.5 | 7.44
346.5 | 2.641e-05 | 362 | 6.6278
347 | -1.127e-05 | 362.5 | 6.9558
347.5 | 1.526e-05 | 363.5 | 6.7042
348 | 2.739e-05 | 364 | 6.9512
348.5 | 1.482e-05 | 364.5 | 6.5138
349 | -1.436e-05 | 365 | 6.763
349.5 | 3.618e-05 | 366 | 6.6706
350 | 2.136e-05 | 366.5 | 6.9326
350.5 | 1.357e-05 | 367 | 6.2663
351 | 2.609e-05 | 367.5 | 6.575
351.5 | 5.903e-06 | 368.5 | 7.2057
352 | -1.923e-05 | 369.5 | 6.8312
352.5 | 1.895e-05 | 370 | 6.3552
353 | 1.533e-05 | 371 | 6.385
353.5 | 1.725e-05 | 371.5 | 7.0578
354 | 1.201e-05 | 372 | 7.6293
354.5 | 3.725e-05 | 372.5 | 7.2227
355 | 1.54e-05 | 373 | 6.4633
355.5 | 5.239e-06 | 373.5 | 6.7252
356 | 3.254e-05 | 374 | 6.4181
356.5 | 2.389e-05 | 374.5 | 6.7411
357 | 1.925e-05 | 375 | 6.5377
357.5 | 9.586e-06 | 375.5 | 6.7284
358 | 7.987e-06 | 376 | 6.3324
358.5 | -1.327e-05 | 376.5 | 6.5088
359 | 5.927e-06 | 377 | 6.7595
359.5 | 2.766e-05 | 377.5 | 6.7983
360 | 2.154e-05 | 378 | 6.7781
360.5 | 2.008e-05 | 378.5 | 7.1558
361 | -5.751e-06 | 379 | 6.8986
361.5 | 3.631e-06 | 380 | 6.5904
362 | 2.356e-05 | 380.5 | 6.8633
362.5 | 1.107e-05 | 381 | 6.6336
363 | -1.052e-05 | 381.5 | 6.8921
363.5 | 1.976e-05 | 382.5 | 6.9129
364 | 1.119e-05 | 383 | 7.13
364.5 | 3.063e-05 | 384 | 7.0081
365 | 1.726e-05 | 384.5 | 7.5924
365.5 | -1.061e-05 | 385 | 7.0949
366 | 2.135e-05 | 385.5 | 6.5784
366.5 | 1.168e-05 | 386 | 6.1859
367 | 5.416e-05 | 386.5 | 6.3154
367.5 | 2.661e-05 | 387 | 6.2242
368 | -2.265e-06 | 387.5 | 6.7724
368.5 | 6.228e-06 | 388 | 6.6499
369 | -1.315e-05 | 388.5 | 6.9739
369.5 | 1.475e-05 | 389 | 6.7647
370 | 4.414e-05 | 389.5 | 6.5715
370.5 | -5.949e-06 | 390.5 | 6.4865
371 | 4.121e-05 | 391 | 6.7242
371.5 | 8.754e-06 | 391.5 | 7.1363
372 | 2.348e-06 | 392 | 7.2073
372.5 | 5.988e-06 | 392.5 | 6.7142
373 | 3.441e-05 | 393.5 | 6.8993
373.5 | 1.883e-05 | 394.5 | 7.1778
374 | 3.819e-05 | 395 | 6.6101
374.5 | 1.815e-05 | 395.5 | 6.8327
375 | 2.899e-05 | 396 | 6.407
375.5 | 1.869e-05 | 396.5 | 6.2308
376 | 4.651e-05 | 397 | 6.1748
376.5 | 3.099e-05 | 397.5 | 6.2354
377 | 1.74e-05 | 398 | 6.4054
377.5 | 1.591e-05 | 398.5 | 6.9867
378 | 1.667e-05 | 399 | 6.9523
378.5 | 6.986e-06 | 399.5 | 6.5964
379 | 1.263e-05 | 400 | 6.9115
379.5 | -6.22e-07 | 400.5 | 6.7807
380 | 2.568e-05 | 401 | 6.6432
380.5 | 1.37e-05 | 402 | 7.0489
381 | 2.325e-05 | 402.5 | 6.5891
381.5 | 1.282e-05 | 403 | 7.3632
382 | -6.465e-06 | 403.5 | 6.9965
382.5 | 1.222e-05 | 404 | 6.5462
383 | 7.414e-06 | 404.5 | 6.5998
383.5 | -9.199e-06 | 405 | 7.3413
384 | 9.815e-06 | 405.5 | 8.0438
384.5 | 2.556e-06 | 406 | 7.1044
385 | 8.038e-06 | 406.5 | 6.6107
385.5 | 2.64e-05 | 407 | 6.6064
386 | 6.518e-05 | 407.5 | 6.6807
386.5 | 4.837e-05 | 408.5 | 7.12
387 | 5.967e-05 | 409 | 6.7989
387.5 | 1.689e-05 | 409.5 | 6.7459
388 | 2.239e-05 | 410 | 7.1832
388.5 | 1.062e-05 | 411 | 8.0304
389 | 1.719e-05 | 411.5 | 6.8345
389.5 | 2.682e-05 | 412 | 6.5607
390 | -6.187e-06 | 412.5 | 6.9948
390.5 | 3.262e-05 | 413 | 6.8063
391 | 1.887e-05 | 413.5 | 7.0476
391.5 | 7.307e-06 | 414 | 7.2995
392 | 6.205e-06 | 414.5 | 7.1541
392.5 | 1.931e-05 | 415 | 6.9918
393 | -1.01e-05 | 415.5 | 6.823
393.5 | 1.261e-05 | 416 | 6.8811
394 | -6.012e-06 | 416.5 | 6.581
394.5 | 6.64e-06 | 417 | 7.0026
395 | 2.454e-05 | 417.5 | 6.5417
395.5 | 1.47e-05 | 418 | 7.6629
396 | 3.917e-05 | 418.5 | 6.8557
396.5 | 5.877e-05 | 419 | 6.7908
397 | 6.687e-05 | 419.5 | 6.9983
397.5 | 5.816e-05 | 420 | 6.7399
398 | 3.932e-05 | 420.5 | 7.0072
398.5 | 1.031e-05 | 421 | 7.0114
399 | 1.116e-05 | 421.5 | 6.7983
399.5 | 2.533e-05 | 422 | 7.1572
400 | 1.226e-05 | 422.5 | 7.3019
400.5 | 1.657e-05 | 423 | 7.6123
401 | 2.274e-05 | 423.5 | 6.756
401.5 | -9.563e-06 | 424 | 7.0064
402 | 8.935e-06 | 424.5 | 6.5719
402.5 | 2.576e-05 | 425 | 6.6893
403 | 4.333e-06 | 425.5 | 6.7069
403.5 | 1.008e-05 | 426 | 9.1996
404 | 2.843e-05 | 426.5 | 6.8959
404.5 | 2.513e-05 | 427 | 6.9458
405 | 4.557e-06 | 427.5 | 6.8894
405.5 | 9.041e-07 | 428 | 6.4653
406 | 7.864e-06 | 428.5 | 6.9889
406.5 | 2.451e-05 | 429 | 6.6492
407 | 2.475e-05 | 429.5 | 6.7312
407.5 | 2.086e-05 | 430 | 6.9838
408 | -1.138e-05 | 431 | 6.9427
408.5 | 7.586e-06 | 431.5 | 7.7058
409 | 1.589e-05 | 432 | 6.6413
409.5 | 1.795e-05 | 432.5 | 6.6444
410 | 6.558e-06 | 433 | 6.8044
410.5 | -4.196e-06 | 433.5 | 6.7701
411 | 9.324e-07 | 434 | 6.7924
411.5 | 1.464e-05 | 434.5 | 7.0388
412 | 2.75e-05 | 435 | 6.7762
412.5 | 1.012e-05 | 435.5 | 6.6467
413 | 1.562e-05 | 436 | 6.9768
413.5 | 8.961e-06 | 436.5 | 6.4477
414 | 5.018e-06 | 437 | 6.6968
414.5 | 7.013e-06 | 437.5 | 6.6912
415 | 1.019e-05 | 438 | 6.4596
415.5 | 1.503e-05 | 438.5 | 6.542
416 | 1.315e-05 | 439 | 6.2889
416.5 | 2.624e-05 | 439.5 | 6.4043
417 | 9.94e-06 | 440 | 6.6211
417.5 | 2.873e-05 | 440.5 | 6.5983
418 | 2.173e-06 | 441 | 7.2771
418.5 | 1.394e-05 | 441.5 | 6.6654
419 | 1.619e-05 | 442 | 6.5784
419.5 | 1.004e-05 | 442.5 | 6.7472
420 | 1.82e-05 | 443 | 6.8801
420.5 | 9.836e-06 | 443.5 | 6.5916
421 | 9.74e-06 | 444 | 6.498
421.5 | 1.591e-05 | 444.5 | 6.7557
422 | 6.963e-06 | 445 | 6.8649
422.5 | 4.99e-06 | 445.5 | 6.724
423 | 2.442e-06 | 446 | 6.6128
423.5 | 1.754e-05 | 446.5 | 6.6059
424 | 9.853e-06 | 447 | 6.3694
424.5 | 2.68e-05 | 447.5 | 6.6902
425 | 2.045e-05 | 448 | 6.7948
425.5 | 1.964e-05 | 448.5 | 6.7156
426 | 6.316e-08 | 449 | 6.5664
426.5 | 1.271e-05 | 449.5 | 6.3863
427 | 1.133e-05 | 450 | 6.2991
427.5 | 1.29e-05 | 450.5 | 6.5046
428 | 3.425e-05 | 451 | 6.6302
428.5 | 1.026e-05 | 451.5 | 6.3457
429 | 2.243e-05 | 452 | 6.3303
429.5 | 1.857e-05 | 452.5 | 6.6196
430 | 1.038e-05 | 453 | 6.3726
430.5 | -1.875e-06 | 453.5 | 6.6505
431 | 1.141e-05 | 454 | 6.4082
431.5 | 1.969e-06 | 454.5 | 6.4592
432 | 2.284e-05 | 455 | 6.7997
432.5 | 2.268e-05 | 455.5 | 6.4225
433 | 1.569e-05 | 456 | 6.5417
433.5 | 1.698e-05 | 456.5 | 6.5227
434 | 1.613e-05 | 457 | 6.4357
434.5 | 9.145e-06 | 457.5 | 6.6617
435 | 1.674e-05 | 458 | 6.3477
435.5 | 2.256e-05 | 458.5 | 6.3895
436 | 1.055e-05 | 459 | 6.6484
436.5 | 3.567e-05 | 459.5 | 6.6409
437 | 2.01e-05 | 460 | 6.815
437.5 | 2.036e-05 | 460.5 | 6.8395
438 | 3.471e-05 | 461 | 6.5091
438.5 | 2.871e-05 | 461.5 | 6.3941
439 | 5.141e-05 | 462 | 6.4008
439.5 | 3.942e-05 | 462.5 | 6.5258
440 | 2.393e-05 | 463 | 6.4604
440.5 | 2.522e-05 | 463.5 | 6.3582
441 | 5.283e-06 | 464 | 6.5009
441.5 | 2.161e-05 | 464.5 | 6.2797
442 | 2.64e-05 | 465 | 6.3157
442.5 | 1.79e-05 | 465.5 | 6.5444
443 | 1.318e-05 | 466 | 6.3669
443.5 | 2.561e-05 | 466.5 | 6.4797
444 | 3.177e-05 | 467 | 6.5109
444.5 | 1.755e-05 | 467.5 | 6.4733
445 | 1.365e-05 | 468 | 6.5297
445.5 | 1.888e-05 | 468.5 | 6.7293
446 | 2.439e-05 | 469 | 6.3399
446.5 | 2.478e-05 | 469.5 | 6.3702
447 | 4.272e-05 | 470 | 6.3134
447.5 | 2.041e-05 | 470.5 | 6.3285
448 | 1.604e-05 | 471 | 6.3439
448.5 | 1.925e-05 | 471.5 | 6.3301
449 | 2.714e-05 | 472 | 6.4317
449.5 | 4.109e-05 | 472.5 | 6.3649
450 | 5.022e-05 | 473 | 6.3174
450.5 | 3.129e-05 | 473.5 | 6.2879
451 | 2.343e-05 | 474 | 6.1976
451.5 | 4.511e-05 | 474.5 | 6.2032
452 | 4.674e-05 | 475 | 5.9446
452.5 | 2.401e-05 | 475.5 | 5.9344
453 | 4.24e-05 | 476 | 5.8962
453.5 | 2.236e-05 | 476.5 | 5.9048
454 | 3.907e-05 | 477 | 5.8761
454.5 | 3.474e-05 | 477.5 | 5.9344
455 | 1.586e-05 | 478 | 5.9978
455.5 | 3.78e-05 | 478.5 | 5.9462
456 | 2.873e-05 | 479 | 5.927
456.5 | 3.001e-05 | 479.5 | 5.8601
457 | 3.667e-05 | 480 | 5.7338
457.5 | 2.179e-05 | 480.5 | 5.6908
458 | 4.491e-05 | 481 | 5.8128
458.5 | 4.079e-05 | 481.5 | 5.9477
459 | 2.247e-05 | 482 | 5.9918
459.5 | 2.286e-05 | 482.5 | 5.8925
460 | 1.531e-05 | 483 | 5.8989
460.5 | 1.447e-05 | 483.5 | 6.0508
461 | 3.097e-05 | 484 | 6.5058
461.5 | 4.036e-05 | 484.5 | 6.7773
462 | 3.974e-05 | 485 | 7.0406
462.5 | 2.98e-05 | 485.5 | 6.8438
463 | 3.464e-05 | 486 | 7.1516
463.5 | 4.383e-05 | 486.5 | 7.7309
464 | 3.156e-05 | 487 | 6.6925
464.5 | 5.252e-05 | 487.5 | 6.8526
465 | 4.834e-05 | 488 | 6.6576
465.5 | 2.855e-05 | 488.5 | 6.965
466 | 4.296e-05 | 489 | 6.8228
466.5 | 3.314e-05 | 489.5 | 6.8425
467 | 3.084e-05 | 490 | 6.6803
467.5 | 3.363e-05 | 490.5 | 6.6838
468 | 2.953e-05 | 491 | 6.6853
468.5 | 1.865e-05 | 491.5 | 6.6165
469 | 4.572e-05 | 492 | 6.6627
469.5 | 4.264e-05 | 492.5 | 6.8395
470 | 4.859e-05 | 493 | 6.7183
470.5 | 4.694e-05 | 493.5 | 6.8196
471 | 4.53e-05 | 494 | 6.6582
471.5 | 4.676e-05 | 494.5 | 6.5767
472 | 3.701e-05 | 495 | 6.6799
472.5 | 4.316e-05 | 495.5 | 6.7375
473 | 4.815e-05 | 496 | 6.8894
473.5 | 5.153e-05 | 496.5 | 7.1228
474 | 6.345e-05 | 497 | 6.5745
474.5 | 6.263e-05 | 497.5 | 6.6994
475 | 0.0001136 | 498 | 6.7476
475.5 | 0.0001163 | 498.5 | 6.9953
476 | 0.000127 | 499 | 6.8982
476.5 | 0.0001245 | 499.5 | 6.734
477 | 0.000133 | 500 | 6.9259
477.5 | 0.0001163 | 500.5 | 6.9863
478 | 0.0001005 | 501 | 6.5371
478.5 | 0.0001132 | 501.5 | 6.6788
479 | 0.0001183 | 502 | 6.7892
479.5 | 0.000138 | 502.5 | 6.9112
480 | 0.0001846 | 503 | 6.7416
480.5 | 0.0002038 | 503.5 | 6.9031
481 | 0.0001539 | 504 | 6.63
481.5 | 0.0001128 | 504.5 | 7.0154
482 | 0.0001019 | 505 | 6.616
482.5 | 0.0001281 | 505.5 | 6.7757
483 | 0.0001262 | 506 | 6.7533
483.5 | 8.895e-05 | 506.5 | 6.5859
484 | 3.12e-05 | 507 | 6.6923
484.5 | 1.67e-05 | 507.5 | 6.8814
485 | 9.108e-06 | 508 | 6.6651
485.5 | 1.433e-05 | 508.5 | 7.1871
486 | 7.054e-06 | 509 | 6.8598
486.5 | 1.858e-06 | 509.5 | 6.7178
487 | 2.03e-05 | 510 | 7.2926
487.5 | 1.404e-05 | 510.5 | 6.628
488 | 2.2e-05 | 511 | 6.8911
488.5 | 1.084e-05 | 511.5 | 7.121
489 | 1.504e-05 | 512 | 6.6544
489.5 | 1.437e-05 | 512.5 | 7.1218
490 | 2.088e-05 | 513 | 6.7162
490.5 | 2.071e-05 | 513.5 | 6.6641
491 | 2.064e-05 | 514 | 6.6438
491.5 | 2.418e-05 | 514.5 | 6.8239
492 | 2.174e-05 | 515 | 6.7406
492.5 | 1.447e-05 | 515.5 | 6.7662
493 | 1.913e-05 | 516 | 6.9776
493.5 | 1.515e-05 | 516.5 | 6.8697
494 | 2.197e-05 | 517 | 7.0501
494.5 | 2.65e-05 | 517.5 | 6.8315
495 | 2.09e-05 | 518 | 6.9508
495.5 | 1.83e-05 | 518.5 | 6.7731
496 | 1.29e-05 | 519 | 7.1095
496.5 | 7.537e-06 | 519.5 | 6.7916
497 | 2.664e-05 | 520 | 6.8207
497.5 | 1.998e-05 | 520.5 | 6.6131
498 | 1.788e-05 | 521 | 6.6765
498.5 | 1.011e-05 | 521.5 | 6.7967
499 | 1.264e-05 | 522 | 6.618
499.5 | 1.845e-05 | 522.5 | 6.8874
500 | 1.186e-05 | 523 | 6.6066
500.5 | 1.032e-05 | 523.5 | 6.8748
501 | 2.903e-05 | 524 | 6.6499
501.5 | 2.095e-05 | 524.5 | 6.9382
502 | 1.625e-05 | 525 | 7.1274
502.5 | 1.227e-05 | 525.5 | 6.7665
503 | 1.813e-05 | 526 | 6.6511
503.5 | 1.25e-05 | 526.5 | 7.3131
504 | 2.344e-05 | 527 | 6.7513
504.5 | 9.651e-06 | 527.5 | 6.6276
505 | 2.421e-05 | 528 | 6.7956
505.5 | 1.676e-05 | 528.5 | 6.504
506 | 1.765e-05 | 529 | 6.7511
506.5 | 2.595e-05 | 529.5 | 6.6664
507 | 2.031e-05 | 530 | 6.5879
507.5 | 1.314e-05 | 530.5 | 6.7342
508 | 2.162e-05 | 531 | 6.4802
508.5 | 6.5e-06 | 531.5 | 6.6921
509 | 1.381e-05 | 532 | 6.6319
509.5 | 1.915e-05 | 532.5 | 6.6182
510 | 5.098e-06 | 533 | 6.5352
510.5 | 2.355e-05 | 533.5 | 6.9404
511 | 1.285e-05 | 534 | 6.7542
511.5 | 7.569e-06 | 534.5 | 6.3973
512 | 2.216e-05 | 535 | 6.5343
512.5 | 7.554e-06 | 535.5 | 6.9578
513 | 1.922e-05 | 536 | 6.381
513.5 | 2.167e-05 | 536.5 | 6.3394
514 | 2.271e-05 | 537 | 6.4063
514.5 | 1.5e-05 | 537.5 | 6.1551
515 | 1.817e-05 | 538 | 6.2254
515.5 | 1.713e-05 | 538.5 | 5.9923
516 | 1.053e-05 | 539 | 5.8202
516.5 | 1.35e-05 | 539.5 | 5.6735
517 | 8.91e-06 | 540 | 5.4839
517.5 | 1.474e-05 | 540.5 | 5.3235
518 | 1.12e-05 | 541 | 5.1367
518.5 | 1.686e-05 | 541.5 | 4.9386
519 | 7.771e-06 | 542 | 4.7206
519.5 | 1.616e-05 | 542.5 | 4.4967
520 | 1.511e-05 | 543 | 4.2885
520.5 | 2.437e-05 | 543.5 | 4.0524
521 | 2.106e-05 | 544 | 3.8024
521.5 | 1.597e-05 | 544.5 | 3.543
522 | 2.41e-05 | 545 | 3.2626
522.5 | 1.296e-05 | 545.5 | 2.9718
523 | 2.474e-05 | 546 | 2.6643
523.5 | 1.334e-05 | 546.5 | 2.3184
524 | 2.239e-05 | 547 | 1.9288
524.5 | 1.153e-05 | 547.5 | 1.54
525 | 7.458e-06 | 548 | 1.1164
525.5 | 1.712e-05 | 548.5 | 0.71467
526 | 2.233e-05 | 549 | 0.37851
526.5 | 4.863e-06 | 549.5 | 0.15571
527 | 1.773e-05 | 550 | 0.04595
527.5 | 2.357e-05 | 550.5 | 0.01381
528 | 1.601e-05 | 551 | 0.01372
528.5 | 3.133e-05 | 551.5 | 0.0152
529 | 1.774e-05 | 552 | 0.01247
529.5 | 2.156e-05 | 552.5 | 0.00851
530 | 2.583e-05 | 553 | 0.00568
530.5 | 1.844e-05 | 553.5 | 0.00485
531 | 3.31e-05 | 554 | 0.0052
531.5 | 2.032e-05 | 554.5 | 0.00617
532 | 2.334e-05 | 555 | 0.00696
532.5 | 2.409e-05 | 555.5 | 0.00762
533 | 2.916e-05 | 556 | 0.0078
533.5 | 1.147e-05 | 556.5 | 0.00767
534 | 1.761e-05 | 557 | 0.00709
534.5 | 4.006e-05 | 557.5 | 0.00656
535 | 2.922e-05 | 558 | 0.00599
535.5 | 1.102e-05 | 558.5 | 0.00555
536 | 4.159e-05 | 559 | 0.00537
536.5 | 4.577e-05 | 559.5 | 0.00542
537 | 3.924e-05 | 560 | 0.0059
537.5 | 6.996e-05 | 560.5 | 0.00665
538 | 5.951e-05 | 561 | 0.00727
538.5 | 0.0001018 | 561.5 | 0.00815
539 | 0.0001513 | 562 | 0.00864
539.5 | 0.0002121 | 562.5 | 0.00926
540 | 0.0003282 | 563 | 0.00922
540.5 | 0.0004748 | 563.5 | 0.00886
541 | 0.0007299 | 564 | 0.00842
541.5 | 0.001152 | 564.5 | 0.00771
542 | 0.001903 | 565 | 0.00692
542.5 | 0.003186 | 565.5 | 0.00643
543 | 0.005147 | 566 | 0.00617
543.5 | 0.008864 | 566.5 | 0.00581
544 | 0.01576 | 567 | 0.00595
544.5 | 0.02864 | 567.5 | 0.00608
545 | 0.05463 | 568 | 0.00643
545.5 | 0.1067 | 568.5 | 0.00665
546 | 0.2166 | 569 | 0.00678
546.5 | 0.4804 | 569.5 | 0.00687
547 | 1.178 | 570 | 0.00665
547.5 | 2.884 | 570.5 | 0.00665
548 | 7.649 | 571 | 0.00648
548.5 | 19.29 | 571.5 | 0.00634
549 | 41.83 | 572 | 0.00599
549.5 | 69.87 | 572.5 | 0.00604
550 | 89.96 | 573 | 0.00595
550.5 | 96.87 | 573.5 | 0.00604
551 | 96.89 | 574 | 0.00621
551.5 | 96.56 | 574.5 | 0.00617
552 | 97.17 | 575 | 0.0063
552.5 | 98.06 | 575.5 | 0.0063
553 | 98.7 | 576 | 0.00581
553.5 | 98.89 | 576.5 | 0.00533
554 | 98.81 | 577 | 0.00489
554.5 | 98.59 | 577.5 | 0.00423
555 | 98.41 | 578 | 0.00397
555.5 | 98.26 | 578.5 | 0.00349
556 | 98.22 | 579 | 0.0034
556.5 | 98.25 | 579.5 | 0.00366
557 | 98.38 | 580 | 0.00406
557.5 | 98.5 | 580.5 | 0.00454
558 | 98.63 | 581 | 0.00529
558.5 | 98.73 | 581.5 | 0.00581
559 | 98.77 | 582 | 0.00639
559.5 | 98.76 | 582.5 | 0.00617
560 | 98.65 | 583 | 0.00604
560.5 | 98.48 | 583.5 | 0.00542
561 | 98.34 | 584 | 0.00494
561.5 | 98.14 | 584.5 | 0.00406
562 | 98.03 | 585 | 0.00344
562.5 | 97.89 | 585.5 | 0.00309
563 | 97.9 | 586 | 0.00318
563.5 | 97.98 | 586.5 | 0.00344
564 | 98.08 | 587 | 0.00401
564.5 | 98.24 | 587.5 | 0.00494
565 | 98.42 | 588 | 0.00551
565.5 | 98.53 | 588.5 | 0.00617
566 | 98.59 | 589 | 0.00652
566.5 | 98.67 | 589.5 | 0.00656
567 | 98.64 | 590 | 0.00612
567.5 | 98.61 | 590.5 | 0.00568
568 | 98.53 | 591 | 0.00494
568.5 | 98.48 | 591.5 | 0.00467
569 | 98.45 | 592 | 0.0045
569.5 | 98.43 | 592.5 | 0.00472
570 | 98.48 | 593 | 0.00472
570.5 | 98.48 | 593.5 | 0.00485
571 | 98.52 | 594 | 0.00454
571.5 | 98.55 | 594.5 | 0.00423
572 | 98.63 | 595 | 0.0041
572.5 | 98.62 | 595.5 | 0.00485
573 | 98.64 | 596 | 0.00745
573.5 | 98.62 | 596.5 | 0.01175
574 | 98.58 | 597 | 0.01565
574.5 | 98.59 | 597.5 | 0.01759
575 | 98.56 | 598 | 0.01529
575.5 | 98.56 | 598.5 | 0.01525
576 | 98.67 | 599 | 0.04201
576.5 | 98.78 | 599.5 | 0.13006
577 | 98.88 | 600 | 0.30733
577.5 | 99.03 | 600.5 | 0.58838
578 | 99.09 | 601 | 0.9201
578.5 | 99.2 | 601.5 | 1.2715
579 | 99.22 | 602 | 1.6182
579.5 | 99.16 | 602.5 | 1.9307
580 | 99.07 | 603 | 2.2478
580.5 | 98.96 | 603.5 | 2.5212
581 | 98.79 | 604 | 2.7768
581.5 | 98.67 | 604.5 | 3.0209
582 | 98.54 | 605 | 3.2457
582.5 | 98.59 | 605.5 | 3.4604
583 | 98.62 | 606 | 3.6663
583.5 | 98.76 | 606.5 | 3.8636
584 | 98.87 | 607 | 4.0508
584.5 | 99.07 | 607.5 | 4.2373
585 | 99.21 | 608 | 4.4013
585.5 | 99.29 | 608.5 | 4.5626
586 | 99.27 | 609 | 4.734
586.5 | 99.21 | 609.5 | 4.8801
587 | 99.08 | 610 | 5.0442
587.5 | 98.87 | 610.5 | 5.1601
588 | 98.74 | 611 | 5.2816
588.5 | 98.59 | 611.5 | 5.4455
589 | 98.51 | 612 | 5.58
589.5 | 98.5 | 612.5 | 5.6885
590 | 98.6 | 613 | 5.7599
590.5 | 98.7 | 613.5 | 5.9535
591 | 98.87 | 614 | 5.9722
591.5 | 98.93 | 614.5 | 6.0958
592 | 98.97 | 615 | 6.1382
592.5 | 98.92 | 615.5 | 6.2976
593 | 98.92 | 616 | 6.3312
593.5 | 98.89 | 616.5 | 6.4769
594 | 98.96 | 617 | 6.5786
594.5 | 99.03 | 617.5 | 6.4525
595 | 99.06 | 618 | 6.4447
595.5 | 98.89 | 618.5 | 6.5624
596 | 98.3 | 619 | 6.8193
596.5 | 97.33 | 619.5 | 6.7462
597 | 96.46 | 620 | 6.9322
597.5 | 96.03 | 620.5 | 6.7799
598 | 96.54 | 621 | 6.815
598.5 | 96.55 | 621.5 | 6.7135
599 | 90.78 | 622 | 6.838
599.5 | 74.12 | 622.5 | 6.776
600 | 49.28 | 623 | 6.9435
600.5 | 25.8 | 623.5 | 7.0457
601 | 12.02 | 624 | 6.6722
601.5 | 5.352 | 624.5 | 6.8874
602 | 2.409 | 625 | 6.9363
602.5 | 1.173 | 625.5 | 6.465
603 | 0.5652 | 626 | 7.0555
603.5 | 0.3012 | 626.5 | 6.7319
604 | 0.1672 | 627 | 6.6387
604.5 | 0.0953 | 627.5 | 6.9326
605 | 0.05679 | 628 | 6.6176
605.5 | 0.03464 | 628.5 | 6.6212
606 | 0.02156 | 629 | 6.5337
606.5 | 0.01369 | 629.5 | 7.0429
607 | 0.008896 | 630 | 7.1857
607.5 | 0.005791 | 630.5 | 6.7464
608 | 0.003969 | 631 | 6.61
608.5 | 0.002738 | 631.5 | 6.7599
609 | 0.001845 | 632 | 7.1393
609.5 | 0.001318 | 632.5 | 6.7331
610 | 0.0009033 | 633 | 6.618
610.5 | 0.0006916 | 633.5 | 6.8739
611 | 0.0005229 | 634 | 7.0309
611.5 | 0.0003585 | 634.5 | 8.0096
612 | 0.000263 | 635 | 6.9469
612.5 | 0.0002049 | 635.5 | 6.6809
613 | 0.0001738 | 636 | 6.6826
613.5 | 0.0001113 | 636.5 | 7.0869
614 | 0.0001066 | 637 | 6.862
614.5 | 8.02e-05 | 637.5 | 6.6288
615 | 7.274e-05 | 638 | 6.7302
615.5 | 5.04e-05 | 638.5 | 6.7937
616 | 4.665e-05 | 639 | 6.5969
616.5 | 3.335e-05 | 639.5 | 6.9062
617 | 2.639e-05 | 640 | 7.0292
617.5 | 3.528e-05 | 640.5 | 6.5936
618 | 3.592e-05 | 641 | 6.7265
618.5 | 2.739e-05 | 641.5 | 6.8871
619 | 1.516e-05 | 642 | 7.6461
619.5 | 1.794e-05 | 642.5 | 7.2719
620 | 1.169e-05 | 643 | 6.6476
620.5 | 1.66e-05 | 643.5 | 7.3507
621 | 1.531e-05 | 644 | 6.9714
621.5 | 1.934e-05 | 644.5 | 6.8864
622 | 1.452e-05 | 645 | 6.7016
622.5 | 1.675e-05 | 645.5 | 6.6171
623 | 1.139e-05 | 646 | 6.6726
623.5 | 9.001e-06 | 646.5 | 6.8318
624 | 2.127e-05 | 647 | 6.8938
624.5 | 1.296e-05 | 647.5 | 6.7291
625 | 1.158e-05 | 648 | 6.588
625.5 | 3.428e-05 | 648.5 | 7.1555
626 | 8.801e-06 | 649 | 7.0869
626.5 | 1.854e-05 | 649.5 | 6.735
627 | 2.298e-05 | 650 | 6.9622
627.5 | 1.168e-05 | 650.5 | 6.8199
628 | 2.412e-05 | 651 | 6.777
628.5 | 2.392e-05 | 651.5 | 6.8732
629 | 2.926e-05 | 652 | 7.6278
629.5 | 9.06e-06 | 652.5 | 6.7807
630 | 6.521e-06 | 653 | 6.5091
630.5 | 1.793e-05 | 653.5 | 7.1601
631 | 2.455e-05 | 654 | 6.7459
631.5 | 1.738e-05 | 654.5 | 8.249
632 | 7.256e-06 | 655 | 6.9477
632.5 | 1.849e-05 | 655.5 | 6.8447
633 | 2.41e-05 | 656 | 7.0534
633.5 | 1.337e-05 | 656.5 | 6.6629
634 | 9.313e-06 | 657 | 6.821
634.5 | 9.781e-07 | 657.5 | 6.9674
635 | 1.13e-05 | 658 | 7.0481
635.5 | 2.085e-05 | 658.5 | 7.6759
636 | 2.077e-05 | 659 | 6.8938
636.5 | 8.187e-06 | 659.5 | 7.0762
637 | 1.374e-05 | 660 | 6.9496
637.5 | 2.351e-05 | 660.5 | 7.0043
638 | 1.861e-05 | 661 | 6.7781
638.5 | 1.608e-05 | 661.5 | 6.6463
639 | 2.53e-05 | 662 | 6.845
639.5 | 1.241e-05 | 662.5 | 7.6323
640 | 9.35e-06 | 663 | 6.8614
640.5 | 2.549e-05 | 663.5 | 6.7472
641 | 1.877e-05 | 664 | 7.3817
641.5 | 1.297e-05 | 664.5 | 6.5453
642 | 2.259e-06 | 665 | 6.9566
642.5 | 5.347e-06 | 665.5 | 6.6981
643 | 2.251e-05 | 666 | 6.7706
643.5 | 4.46e-06 | 666.5 | 6.768
644 | 1.068e-05 | 667 | 6.7637
644.5 | 1.299e-05 | 667.5 | 6.7012
645 | 1.988e-05 | 668 | 6.819
645.5 | 2.415e-05 | 668.5 | 8.0904
646 | 2.125e-05 | 669 | 6.8052
646.5 | 1.473e-05 | 669.5 | 6.6904
647 | 1.277e-05 | 670 | 6.7459
647.5 | 1.866e-05 | 670.5 | 6.626
648 | 2.582e-05 | 671 | 6.9796
648.5 | 6.99e-06 | 671.5 | 7.4774
649 | 8.186e-06 | 672 | 7.817
649.5 | 1.841e-05 | 672.5 | 6.6836
650 | 1.091e-05 | 673 | 6.9489
650.5 | 1.514e-05 | 673.5 | 6.8251
651 | 1.671e-05 | 674 | 7.2781
651.5 | 1.339e-05 | 675 | 6.7637
652 | 2.356e-06 | 675.5 | 6.6992
652.5 | 1.657e-05 | 676 | 6.7683
653 | 3.097e-05 | 676.5 | 6.7565
653.5 | 6.917e-06 | 677 | 7.1805
654 | 1.795e-05 | 677.5 | 6.6498
654.5 | 5.636e-07 | 678 | 6.6034
655 | 1.128e-05 | 678.5 | 6.8784
655.5 | 1.43e-05 | 679 | 6.8008
656 | 8.843e-06 | 679.5 | 7.1242
656.5 | 2.173e-05 | 680 | 7.1422
657 | 1.51e-05 | 680.5 | 6.7825
657.5 | 1.078e-05 | 681 | 7.0042
658 | 8.952e-06 | 681.5 | 6.7445
658.5 | 2.109e-06 | 682 | 7.1857
659 | 1.277e-05 | 682.5 | 6.6751
659.5 | 8.391e-06 | 683 | 6.719
660 | 1.123e-05 | 683.5 | 7.241
660.5 | 9.901e-06 | 684 | 7.0353
661 | 1.667e-05 | 684.5 | 6.5303
661.5 | 2.258e-05 | 685 | 7.143
662 | 1.429e-05 | 685.5 | 6.6501
662.5 | 2.332e-06 | 686 | 6.6021
663 | 1.376e-05 | 686.5 | 6.9825
663.5 | 1.79e-05 | 687 | 7.1158
664 | 4.152e-06 | 687.5 | 7.6115
664.5 | 2.849e-05 | 688 | 6.5351
665 | 1.105e-05 | 688.5 | 6.6949
665.5 | 2.004e-05 | 689 | 7.3117
666 | 1.696e-05 | 689.5 | 7.3533
666.5 | 1.706e-05 | 690 | 6.7523
667 | 1.723e-05 | 690.5 | 6.7397
667.5 | 1.99e-05 | 691 | 6.5029
668 | 1.517e-05 | 691.5 | 6.9073
668.5 | 8.121e-07 | 692 | 6.6364
669 | 1.566e-05 | 692.5 | 6.9179
669.5 | 2.04e-05 | 693 | 6.9574
670 | 1.795e-05 | 693.5 | 6.9666
670.5 | 2.366e-05 | 694.5 | 6.5287
671 | 1.048e-05 | 695 | 6.7599
671.5 | 3.331e-06 | 695.5 | 7.1659
672 | 1.524e-06 | 696 | 6.6423
672.5 | 2.072e-05 | 696.5 | 6.6369
673 | 1.125e-05 | 697 | 6.5324
673.5 | 1.496e-05 | 697.5 | 7.0497
674 | 5.271e-06 | 698 | 6.7452
674.5 | -1.768e-06 | 698.5 | 7.2118
675 | 1.723e-05 | 699 | 6.6635
675.5 | 1.999e-05 | 699.5 | 6.7961
676 | 1.705e-05 | 700 | 7.3248
676.5 | 1.752e-05 | 701 | 6.8114
677 | 6.599e-06 | 701.5 | 6.8684
677.5 | 2.24e-05 | 702 | 6.7929
678 | 2.492e-05 | 702.5 | 6.9136
678.5 | 1.323e-05 | 703 | 7.2707
679 | 1.582e-05 | 703.5 | 6.4783
679.5 | 7.513e-06 | 704 | 7.2975
680 | 7.208e-06 | 704.5 | 6.7859
680.5 | 1.65e-05 | 705 | 7.45
681 | 9.905e-06 | 705.5 | 6.6075
681.5 | 1.801e-05 | 706 | 7.743
682 | 6.521e-06 | 706.5 | 6.5391
682.5 | 2.113e-05 | 707 | 6.3335
683 | 1.91e-05 | 707.5 | 6.2164
683.5 | 5.741e-06 | 708 | 6.0813
684 | 9.22e-06 | 708.5 | 5.8002
684.5 | 2.949e-05 | 709 | 5.431
685 | 7.194e-06 | 709.5 | 5.2134
685.5 | 2.238e-05 | 710 | 5.0893
686 | 2.5e-05 | 710.5 | 5.081
686.5 | 1.041e-05 | 711 | 5.1248
687 | 7.66e-06 | 711.5 | 5.1319
687.5 | 2.446e-06 | 712 | 5.1992
688 | 2.917e-05 | 712.5 | 5.3028
688.5 | 2.019e-05 | 713 | 5.2592
689 | 4.879e-06 | 713.5 | 5.2784
689.5 | 4.433e-06 | 714 | 5.2476
690 | 1.769e-05 | 714.5 | 5.2732
690.5 | 1.821e-05 | 715 | 5.237
691 | 3.141e-05 | 715.5 | 5.2213
691.5 | 1.238e-05 | 716 | 5.1708
692 | 2.31e-05 | 716.5 | 5.1427
692.5 | 1.208e-05 | 717 | 5.1862
693 | 1.103e-05 | 717.5 | 5.1488
693.5 | 1.08e-05 | 718 | 5.1583
694 | -6.751e-07 | 718.5 | 5.2489
694.5 | 2.96e-05 | 719 | 5.2863
695 | 1.738e-05 | 719.5 | 5.2911
695.5 | 6.825e-06 | 720 | 5.3064
696 | 2.279e-05 | 720.5 | 5.3819
696.5 | 2.307e-05 | 721 | 5.3805
697 | 2.935e-05 | 721.5 | 5.4364
697.5 | 8.918e-06 | 722 | 5.4045
698 | 1.798e-05 | 722.5 | 5.3924
698.5 | 6.14e-06 | 723 | 5.4017
699 | 2.17e-05 | 723.5 | 5.422
699.5 | 1.599e-05 | 724 | 5.3553
700 | 4.734e-06 | 724.5 | 5.3365
700.5 | -7.091e-07 | 725 | 5.332
701 | 1.544e-05 | 725.5 | 5.3871
701.5 | 1.354e-05 | 726 | 5.31
702 | 1.611e-05 | 726.5 | 5.2207
702.5 | 1.22e-05 | 727 | 5.3192
703 | 5.361e-06 | 727.5 | 5.2488
703.5 | 3.324e-05 | 728 | 5.3087
704 | 5.041e-06 | 728.5 | 5.2746
704.5 | 1.637e-05 | 729 | 5.274
705 | 3.548e-06 | 729.5 | 5.2664
705.5 | 2.469e-05 | 730 | 5.2988
706 | 1.807e-06 | 730.5 | 5.3621
706.5 | 2.89e-05 | 731 | 5.4145
707 | 4.64e-05 | 731.5 | 5.4186
707.5 | 6.076e-05 | 732 | 5.3214
708 | 8.293e-05 | 732.5 | 5.4135
708.5 | 0.0001584 | 733 | 5.3625
709 | 0.0003707 | 733.5 | 5.4292
709.5 | 0.0006118 | 734 | 5.4181
710 | 0.0008141 | 734.5 | 5.4089
710.5 | 0.0008298 | 735 | 5.5035
711 | 0.0007502 | 735.5 | 5.4969
711.5 | 0.000738 | 736 | 5.3486
712 | 0.0006321 | 736.5 | 5.5314
712.5 | 0.000498 | 737 | 5.4319
713 | 0.0005506 | 737.5 | 5.4194
713.5 | 0.0005267 | 738 | 5.3405
714 | 0.0005655 | 738.5 | 5.4099
714.5 | 0.0005331 | 739 | 5.3869
715 | 0.0005794 | 739.5 | 5.2703
715.5 | 0.0006008 | 740 | 5.2998
716 | 0.0006748 | 740.5 | 5.3303
716.5 | 0.0007199 | 741 | 5.3584
717 | 0.0006513 | 741.5 | 5.4076
717.5 | 0.0007099 | 742 | 5.3197
718 | 0.0006945 | 742.5 | 5.3349
718.5 | 0.0005638 | 743 | 5.3433
719 | 0.0005172 | 743.5 | 5.3279
719.5 | 0.0005116 | 744 | 5.3401
720 | 0.0004939 | 744.5 | 5.3582
720.5 | 0.000415 | 745 | 5.49
721 | 0.0004164 | 745.5 | 5.3889
721.5 | 0.0003661 | 746 | 5.3326
722 | 0.000394 | 746.5 | 5.3024
722.5 | 0.0004051 | 747 | 5.4317
723 | 0.0003966 | 747.5 | 5.3805
723.5 | 0.0003784 | 748 | 5.3869
724 | 0.0004413 | 748.5 | 5.4476
724.5 | 0.0004608 | 749 | 5.3167
725 | 0.0004656 | 749.5 | 5.5213
725.5 | 0.0004101 | 750 | 5.4123
726 | 0.0004898 | 750.5 | 5.3732
726.5 | 0.0006016 | 751 | 5.4413
727 | 0.0004795 | 751.5 | 5.3604
727.5 | 0.0005639 | 752 | 5.4724
728 | 0.0004913 | 752.5 | 5.407
728.5 | 0.0005314 | 753 | 5.3811
729 | 0.0005321 | 753.5 | 5.4894
729.5 | 0.0005415 | 754 | 5.4174
730 | 0.0005026 | 754.5 | 5.5154
730.5 | 0.0004344 | 755 | 5.3729
731 | 0.000385 | 755.5 | 5.4961
731.5 | 0.0003814 | 756 | 5.3315
732 | 0.0004771 | 756.5 | 5.4285
732.5 | 0.0003859 | 757 | 5.3974
733 | 0.000434 | 757.5 | 5.3716
733.5 | 0.0003722 | 758 | 5.3738
734 | 0.0003819 | 758.5 | 5.3535
734.5 | 0.00039 | 759 | 5.3457
735 | 0.0003137 | 759.5 | 5.2812
735.5 | 0.0003185 | 760 | 5.4063
736 | 0.0004481 | 760.5 | 5.2957
736.5 | 0.0002942 | 761 | 5.3054
737 | 0.0003699 | 761.5 | 5.2831
737.5 | 0.0003807 | 762 | 5.2584
738 | 0.0004566 | 762.5 | 5.1921
738.5 | 0.0003891 | 763 | 5.298
739 | 0.0004103 | 763.5 | 5.2363
739.5 | 0.0005367 | 764 | 5.3347
740 | 0.0005014 | 764.5 | 5.2357
740.5 | 0.0004674 | 765 | 5.2322
741 | 0.0004381 | 765.5 | 5.3039
741.5 | 0.0003912 | 766 | 5.2031
742 | 0.000479 | 766.5 | 5.263
742.5 | 0.0004625 | 767 | 5.0742
743 | 0.0004536 | 767.5 | 5.1952
743.5 | 0.00047 | 768 | 5.2198
744 | 0.000457 | 768.5 | 5.1817
744.5 | 0.0004383 | 769 | 5.1581
745 | 0.0003236 | 769.5 | 5.1804
745.5 | 0.0004084 | 770 | 5.1215
746 | 0.000465 | 770.5 | 5.0588
746.5 | 0.0004984 | 771 | 5.0513
747 | 0.0003701 | 771.5 | 5.1475
747.5 | 0.0004164 | 772 | 5.0586
748 | 0.0004103 | 772.5 | 5.0512
748.5 | 0.0003568 | 773 | 4.9066
749 | 0.0004823 | 773.5 | 5.034
749.5 | 0.0003011 | 774 | 4.9535
750 | 0.000387 | 774.5 | 4.9983
750.5 | 0.0004234 | 775 | 4.937
751 | 0.000362 | 775.5 | 4.9489
751.5 | 0.0004361 | 776 | 4.9382
752 | 0.000337 | 776.5 | 4.9389
752.5 | 0.0003917 | 777 | 4.95
753 | 0.0004158 | 777.5 | 4.9194
753.5 | 0.000324 | 778 | 4.9021
754 | 0.0003825 | 778.5 | 4.8898
754.5 | 0.0003052 | 779 | 4.862
755 | 0.0004237 | 779.5 | 4.9245
755.5 | 0.0003191 | 780 | 4.8225
756 | 0.0004661 | 780.5 | 4.8729
756.5 | 0.0003728 | 781 | 4.8063
757 | 0.0004005 | 781.5 | 4.8483
757.5 | 0.000425 | 782 | 4.9165
758 | 0.0004229 | 782.5 | 4.8398
758.5 | 0.0004431 | 783 | 4.8027
759 | 0.0004511 | 783.5 | 4.8854
759.5 | 0.0005233 | 784 | 4.756
760 | 0.0003924 | 784.5 | 4.7773
760.5 | 0.0005062 | 785 | 4.8196
761 | 0.000495 | 785.5 | 4.7655
761.5 | 0.0005211 | 786 | 4.7791
762 | 0.0005516 | 786.5 | 4.7967
762.5 | 0.0006425 | 787 | 4.764
763 | 0.0005035 | 787.5 | 4.7602
763.5 | 0.0005804 | 788 | 4.7742
764 | 0.0004627 | 788.5 | 4.7575
764.5 | 0.0005812 | 789 | 4.8972
765 | 0.0005858 | 789.5 | 4.7464
765.5 | 0.0004967 | 790 | 4.7433
766 | 0.0006265 | 790.5 | 4.8097
766.5 | 0.0005457 | 791 | 4.7469
767 | 0.000843 | 791.5 | 4.7932
767.5 | 0.0006379 | 792 | 4.7857
768 | 0.0006029 | 792.5 | 4.7364
768.5 | 0.0006581 | 793 | 4.7713
769 | 0.0006949 | 793.5 | 4.7183
769.5 | 0.0006601 | 794 | 4.7513
770 | 0.0007559 | 794.5 | 4.7768
770.5 | 0.0008733 | 795 | 4.6887
771 | 0.0008886 | 795.5 | 4.7118
771.5 | 0.000712 | 796 | 4.7194
772 | 0.0008737 | 796.5 | 4.7812
772.5 | 0.0008887 | 797 | 4.714
773 | 0.00124 | 797.5 | 4.6101
773.5 | 0.0009246 | 798 | 4.7445
774 | 0.001113 | 798.5 | 4.6203
774.5 | 0.001004 | 799 | 4.6379
775 | 0.001156 | 799.5 | 4.6729
775.5 | 0.001125 | 800 | 4.5662
776 | 0.001153 | 800.5 | 4.5496
776.5 | 0.001151 | 801 | 4.5336
777 | 0.001122 | 801.5 | 4.522
777.5 | 0.001204 | 802 | 4.5106
778 | 0.001253 | 802.5 | 4.4939
778.5 | 0.001289 | 803 | 4.4778
779 | 0.001374 | 803.5 | 4.4647
779.5 | 0.00119 | 804 | 4.4519
780 | 0.001505 | 804.5 | 4.4385
780.5 | 0.00134 | 805 | 4.4256
781 | 0.001562 | 805.5 | 4.4063
781.5 | 0.001418 | 806 | 4.3876
782 | 0.001212 | 806.5 | 4.3706
782.5 | 0.001446 | 807 | 4.3542
783 | 0.001575 | 807.5 | 4.3372
783.5 | 0.001302 | 808 | 4.3208
784 | 0.001754 | 808.5 | 4.3014
784.5 | 0.00167 | 809 | 4.2829
785 | 0.001515 | 809.5 | 4.2605
785.5 | 0.001716 | 810 | 4.2392
786 | 0.001663 | 810.5 | 4.2182
786.5 | 0.001597 | 811 | 4.1982
787 | 0.001722 | 811.5 | 4.1772
787.5 | 0.001737 | 812 | 4.1571
788 | 0.001682 | 812.5 | 4.1311
788.5 | 0.001748 | 813 | 4.1066
789 | 0.001267 | 813.5 | 4.0859
789.5 | 0.001793 | 814 | 4.0662
790 | 0.001806 | 814.5 | 4.0422
790.5 | 0.00155 | 815 | 4.0193
791 | 0.001791 | 815.5 | 3.9961
791.5 | 0.00161 | 816 | 3.9739
792 | 0.001638 | 816.5 | 3.9492
792.5 | 0.001835 | 817 | 3.9259
793 | 0.001693 | 817.5 | 3.9007
793.5 | 0.001913 | 818 | 3.8768
794 | 0.001773 | 818.5 | 3.8499
794.5 | 0.001672 | 819 | 3.8248
795 | 0.002048 | 819.5 | 3.7994
795.5 | 0.001942 | 820 | 3.7757
796 | 0.001908 | 820.5 | 3.7498
796.5 | 0.001655 | 821 | 3.7256
797 | 0.001932 | 821.5 | 3.699
797.5 | 0.002454 | 822 | 3.6737
798 | 0.001801 | 822.5 | 3.6474
798.5 | 0.002397 | 823 | 3.6225
799 | 0.002302 | 823.5 | 3.5957
799.5 | 0.002124 | 824 | 3.5706
800 | 0.002715 | 824.5 | 3.5435
800.5 | 0.002821 | 825 | 3.518
801 | 0.002927 | 825.5 | 3.4907
801.5 | 0.003006 | 826 | 3.465
802 | 0.003086 | 826.5 | 3.4375
802.5 | 0.003207 | 827 | 3.4116
803 | 0.003328 | 827.5 | 3.3844
803.5 | 0.00343 | 828 | 3.3587
804 | 0.003533 | 828.5 | 3.3306
804.5 | 0.003643 | 829 | 3.3042
805 | 0.003753 | 829.5 | 3.2758
805.5 | 0.003924 | 830 | 3.2493
806 | 0.004096 | 830.5 | 3.2209
806.5 | 0.00426 | 831 | 3.1943
807 | 0.004424 | 831.5 | 3.1647
807.5 | 0.004601 | 832 | 3.137
808 | 0.004778 | 832.5 | 3.1071
808.5 | 0.004996 | 833 | 3.0792
809 | 0.005213 | 833.5 | 3.0487
809.5 | 0.005489 | 834 | 3.0201
810 | 0.005765 | 834.5 | 2.988
810.5 | 0.00605 | 835 | 2.9578
811 | 0.006335 | 835.5 | 2.9252
811.5 | 0.00665 | 836 | 2.8948
812 | 0.006965 | 836.5 | 2.8611
812.5 | 0.007394 | 837 | 2.8297
813 | 0.007823 | 837.5 | 2.7932
813.5 | 0.008205 | 838 | 2.7597
814 | 0.008586 | 838.5 | 2.7229
814.5 | 0.009075 | 839 | 2.6889
815 | 0.009565 | 839.5 | 2.65
815.5 | 0.01009 | 840 | 2.6142
816 | 0.01062 | 840.5 | 2.5727
816.5 | 0.01124 | 841 | 2.5349
817 | 0.01186 | 841.5 | 2.4916
817.5 | 0.01257 | 842 | 2.4524
818 | 0.01328 | 842.5 | 2.4064
818.5 | 0.01413 | 843 | 2.3649
819 | 0.01497 | 843.5 | 2.316
819.5 | 0.01587 | 844 | 2.272
820 | 0.01676 | 844.5 | 2.2197
820.5 | 0.01779 | 845 | 2.1732
821 | 0.01881 | 845.5 | 2.117
821.5 | 0.02 | 846 | 2.0672
822 | 0.0212 | 846.5 | 2.008
822.5 | 0.02252 | 847 | 2.2385
823 | 0.02385 | 847.5 | 2.1902
823.5 | 0.02537 | 848 | 2.1469
824 | 0.02688 | 848.5 | 2.0955
824.5 | 0.02861 | 849 | 2.0496
825 | 0.03034 | 849.5 | 1.9961
825.5 | 0.03231 | 850 | 1.9485
826 | 0.03428 | 850.5 | 1.8898
826.5 | 0.03652 | 851 | 1.838
827 | 0.03876 | 851.5 | 1.7773
827.5 | 0.04127 | 852 | 1.724
828 | 0.04378 | 852.5 | 1.6596
828.5 | 0.04671 | 853 | 1.6033
829 | 0.04964 | 853.5 | 1.5316
829.5 | 0.05299 | 854 | 1.4703
830 | 0.05633 | 854.5 | 1.3985
830.5 | 0.06013 | 855 | 1.3369
831 | 0.06393 | 855.5 | 1.2619
831.5 | 0.06844 | 856 | 1.1981
832 | 0.07295 | 856.5 | 1.1196
832.5 | 0.07814 | 857 | 1.0531
833 | 0.08333 | 857.5 | 0.98047
833.5 | 0.0894 | 858 | 0.91829
834 | 0.09547 | 858.5 | 0.85325
834.5 | 0.1028 | 859 | 0.7967
835 | 0.1102 | 859.5 | 0.74425
835.5 | 0.1188 | 860 | 0.69724
836 | 0.1274 | 860.5 | 0.66394
836.5 | 0.1377 | 861 | 0.63283
837 | 0.148 | 861.5 | 0.61744
837.5 | 0.161 | 862 | 0.60258
838 | 0.1739 | 862.5 | 0.60345
838.5 | 0.1893 | 863 | 0.6045
839 | 0.2047 | 863.5 | 0.6169
839.5 | 0.2239 | 864 | 0.62986
840 | 0.2431 | 864.5 | 0.64898
840.5 | 0.2675 | 865 | 0.66878
841 | 0.2918 | 865.5 | 0.68994
841.5 | 0.3224 | 866 | 0.71197
842 | 0.3529 | 866.5 | 0.73259
842.5 | 0.3923 | 867 | 0.75424
843 | 0.4316 | 867.5 | 0.77314
843.5 | 0.4831 | 868 | 0.7929
844 | 0.5346 | 868.5 | 0.80911
844.5 | 0.6029 | 869 | 0.82594
845 | 0.6712 | 869.5 | 0.83983
845.5 | 0.7639 | 870 | 0.85449
846 | 0.8566 | 870.5 | 0.86614
846.5 | 0.9817 | 871 | 0.87811
847 | 0.5774 | 871.5 | 0.88739
847.5 | 0.6453 | 872 | 0.89722
848 | 0.7131 | 872.5 | 0.90518
848.5 | 0.8026 | 873 | 0.91328
849 | 0.892 | 873.5 | 0.91973
849.5 | 1.009 | 874 | 0.92592
850 | 1.126 | 874.5 | 0.9307
850.5 | 1.289 | 875 | 0.93554
851 | 1.452 | 875.5 | 0.93968
851.5 | 1.67 | 876 | 0.94348
852 | 1.888 | 876.5 | 0.94615
852.5 | 2.19 | 877 | 0.94846
853 | 2.493 | 877.5 | 0.95001
853.5 | 2.94 | 878 | 0.95156
854 | 3.386 | 878.5 | 0.95195
854.5 | 3.995 | 879 | 0.95273
855 | 4.604 | 879.5 | 0.95195
855.5 | 5.471 | 880 | 0.95117
856 | 6.338 | 880.5 | 0.94962
856.5 | 7.593 | 881 | 0.94769
857 | 8.849 | 881.5 | 0.94462
857.5 | 10.46 | 882 | 0.94119
858 | 12.07 | 882.5 | 0.93704
858.5 | 14.02 | 883 | 0.93256
859 | 15.97 | 883.5 | 0.92628
859.5 | 18.02 | 884 | 0.92046
860 | 20.08 | 884.5 | 0.91293
860.5 | 21.68 | 885 | 0.90553
861 | 23.29 | 885.5 | 0.8962
861.5 | 24.13 | 886 | 0.88706
862 | 24.97 | 886.5 | 0.87582
862.5 | 24.92 | 887 | 0.86455
863 | 24.86 | 887.5 | 0.85171
863.5 | 24.16 | 888 | 0.83893
864 | 23.45 | 888.5 | 0.82362
864.5 | 22.44 | 889 | 0.80883
865 | 21.44 | 889.5 | 0.79102
865.5 | 20.42 | 890 | 0.77417
866 | 19.41 | 890.5 | 0.75473
866.5 | 18.51 | 891 | 0.73589
867 | 17.61 | 891.5 | 0.71354
867.5 | 16.86 | 892 | 0.69208
868 | 16.11 | 892.5 | 0.66776
868.5 | 15.52 | 893 | 0.64455
869 | 14.93 | 893.5 | 0.61816
869.5 | 14.46 | 894 | 0.59312
870 | 13.98 | 894.5 | 0.56336
870.5 | 13.61 | 895 | 0.53566
871 | 13.24 | 895.5 | 0.50487
871.5 | 12.96 | 896 | 0.47625
872 | 12.67 | 896.5 | 0.4443
872.5 | 12.44 | 897 | 0.41443
873 | 12.21 | 897.5 | 0.38059
873.5 | 12.03 | 898 | 0.34921
874 | 11.86 | 898.5 | 0.3174
874.5 | 11.73 | 899 | 0.28777
875 | 11.6 | 899.5 | 0.25845
875.5 | 11.49 | 900 | 0.23092
876 | 11.39 | 900.5 | 0.20523
876.5 | 11.32 | 901 | 0.18092
877 | 11.26 | 901.5 | 0.16273
877.5 | 11.22 | 902 | 0.14521
878 | 11.18 | 902.5 | 0.13496
878.5 | 11.17 | 903 | 0.125
879 | 11.15 | 903.5 | 0.12361
879.5 | 11.17 | 904 | 0.12228
880 | 11.19 | 904.5 | 0.12901
880.5 | 11.23 | 905 | 0.1359
881 | 11.28 | 905.5 | 0.14954
881.5 | 11.36 | 906 | 0.16368
882 | 11.45 | 906.5 | 0.18184
882.5 | 11.56 | 907 | 0.2008
883 | 11.68 | 907.5 | 0.22185
883.5 | 11.85 | 908 | 0.24405
884 | 12.01 | 908.5 | 0.26656
884.5 | 12.22 | 909 | 0.29022
885 | 12.43 | 909.5 | 0.31229
885.5 | 12.7 | 910 | 0.33555
886 | 12.97 | 910.5 | 0.35714
886.5 | 13.31 | 911 | 0.37986
887 | 13.66 | 911.5 | 0.3999
887.5 | 14.07 | 912 | 0.42102
888 | 14.49 | 912.5 | 0.43938
888.5 | 15.01 | 913 | 0.45855
889 | 15.53 | 913.5 | 0.47534
889.5 | 16.18 | 914 | 0.49295
890 | 16.82 | 914.5 | 0.50794
890.5 | 17.59 | 915 | 0.52346
891 | 18.37 | 915.5 | 0.53641
891.5 | 19.34 | 916 | 0.54975
892 | 20.32 | 916.5 | 0.56146
892.5 | 21.49 | 917 | 0.57349
893 | 22.67 | 917.5 | 0.58319
893.5 | 24.09 | 918 | 0.59329
894 | 25.52 | 918.5 | 0.60137
894.5 | 27.33 | 919 | 0.60977
895 | 29.13 | 919.5 | 0.6169
895.5 | 31.27 | 920 | 0.62397
896 | 33.4 | 920.5 | 0.62949
896.5 | 35.95 | 921 | 0.63507
897 | 38.51 | 921.5 | 0.63941
897.5 | 41.63 | 922 | 0.64359
898 | 44.75 | 922.5 | 0.64685
898.5 | 48.15 | 923 | 0.64995
899 | 51.55 | 923.5 | 0.65189
899.5 | 55.15 | 924 | 0.65404
900 | 58.76 | 924.5 | 0.65482
900.5 | 62.34 | 925 | 0.6558
901 | 65.93 | 925.5 | 0.6558
901.5 | 68.75 | 926 | 0.6558
902 | 71.58 | 926.5 | 0.65482
902.5 | 73.29 | 927 | 0.65404
903 | 74.99 | 927.5 | 0.65208
903.5 | 75.23 | 928 | 0.65014
904 | 75.46 | 928.5 | 0.64762
904.5 | 74.3 | 929 | 0.64512
905 | 73.13 | 929.5 | 0.64149
905.5 | 70.87 | 930 | 0.63789
906 | 68.6 | 930.5 | 0.63339
906.5 | 65.79 | 931 | 0.62912
907 | 62.98 | 931.5 | 0.62397
907.5 | 60 | 932 | 0.61907
908 | 57.01 | 932.5 | 0.61279
908.5 | 54.13 | 933 | 0.60678
909 | 51.26 | 933.5 | 0.59998
909.5 | 48.72 | 934 | 0.59346
910 | 46.18 | 934.5 | 0.58586
910.5 | 43.94 | 935 | 0.5784
911 | 41.7 | 935.5 | 0.56976
911.5 | 39.82 | 936 | 0.56114
912 | 37.93 | 936.5 | 0.55207
912.5 | 36.36 | 937 | 0.54318
913 | 34.79 | 937.5 | 0.53313
913.5 | 33.47 | 938 | 0.52346
914 | 32.14 | 938.5 | 0.5123
914.5 | 31.05 | 939 | 0.50141
915 | 29.96 | 939.5 | 0.49013
915.5 | 29.08 | 940 | 0.47912
916 | 28.2 | 940.5 | 0.46699
916.5 | 27.45 | 941 | 0.45531
917 | 26.7 | 941.5 | 0.44237
917.5 | 26.11 | 942 | 0.42981
918 | 25.51 | 942.5 | 0.41703
918.5 | 25.04 | 943 | 0.40461
919 | 24.56 | 943.5 | 0.39126
919.5 | 24.16 | 944 | 0.3783
920 | 23.77 | 944.5 | 0.36502
920.5 | 23.47 | 945 | 0.35203
921 | 23.17 | 945.5 | 0.33923
921.5 | 22.94 | 946 | 0.3267
922 | 22.72 | 946.5 | 0.31417
922.5 | 22.55 | 947 | 0.30207
923 | 22.39 | 947.5 | 0.29056
923.5 | 22.29 | 948 | 0.27943
924 | 22.18 | 948.5 | 0.26898
924.5 | 22.14 | 949 | 0.25885
925 | 22.09 | 949.5 | 0.24988
925.5 | 22.09 | 950 | 0.24109
926 | 22.09 | 950.5 | 0.23403
926.5 | 22.14 | 951 | 0.22709
927 | 22.18 | 951.5 | 0.2217
927.5 | 22.28 | 952 | 0.21645
928 | 22.38 | 952.5 | 0.21311
928.5 | 22.51 | 953 | 0.20979
929 | 22.64 | 953.5 | 0.20838
929.5 | 22.83 | 954 | 0.20705
930 | 23.02 | 954.5 | 0.20747
930.5 | 23.26 | 955 | 0.20796
931 | 23.49 | 955.5 | 0.20979
931.5 | 23.77 | 956 | 0.21169
932 | 24.04 | 956.5 | 0.21467
932.5 | 24.39 | 957 | 0.21767
933 | 24.73 | 957.5 | 0.2217
933.5 | 25.12 | 958 | 0.22578
934 | 25.5 | 958.5 | 0.2304
934.5 | 25.95 | 959 | 0.23508
935 | 26.4 | 959.5 | 0.23988
935.5 | 26.93 | 960 | 0.24466
936 | 27.47 | 960.5 | 0.24934
936.5 | 28.05 | 961 | 0.25414
937 | 28.63 | 961.5 | 0.25845
937.5 | 29.3 | 962 | 0.26273
938 | 29.96 | 962.5 | 0.26648
938.5 | 30.74 | 963 | 0.27019
939 | 31.52 | 963.5 | 0.27352
939.5 | 32.35 | 964 | 0.27679
940 | 33.18 | 964.5 | 0.27901
940.5 | 34.12 | 965 | 0.28125
941 | 35.05 | 965.5 | 0.28241
941.5 | 36.11 | 966 | 0.28366
942 | 37.17 | 966.5 | 0.28391
942.5 | 38.28 | 967 | 0.28425
943 | 39.39 | 967.5 | 0.28358
943.5 | 40.62 | 968 | 0.28291
944 | 41.85 | 968.5 | 0.28133
944.5 | 43.15 | 969 | 0.27976
945 | 44.46 | 969.5 | 0.27737
945.5 | 45.79 | 970 | 0.27499
946 | 47.13 | 970.5 | 0.27181
946.5 | 48.51 | 971 | 0.26857
947 | 49.88 | 971.5 | 0.2648
947.5 | 51.22 | 972 | 0.26106
948 | 52.55 | 972.5 | 0.2572
948.5 | 53.83 | 973 | 0.25329
949 | 55.1 | 973.5 | 0.24941
949.5 | 56.25 | 974 | 0.2455
950 | 57.4 | 974.5 | 0.242
950.5 | 58.34 | 975 | 0.2386
951 | 59.28 | 975.5 | 0.23582
951.5 | 60.02 | 976 | 0.23314
952 | 60.75 | 976.5 | 0.23136
952.5 | 61.22 | 977 | 0.22959
953 | 61.69 | 977.5 | 0.2293
953.5 | 61.89 | 978 | 0.229
954 | 62.08 | 978.5 | 0.23033
954.5 | 62.02 | 979 | 0.23166
955 | 61.95 | 979.5 | 0.23493
955.5 | 61.69 | 980 | 0.2383
956 | 61.42 | 980.5 | 0.24352
956.5 | 61 | 981 | 0.24872
957 | 60.58 | 981.5 | 0.25586
957.5 | 60.02 | 982 | 0.26313
958 | 59.46 | 982.5 | 0.2723
958.5 | 58.83 | 983 | 0.28166
959 | 58.2 | 983.5 | 0.29217
959.5 | 57.56 | 984 | 0.30295
960 | 56.93 | 984.5 | 0.31471
960.5 | 56.32 | 985 | 0.32679
961 | 55.7 | 985.5 | 0.3397
961.5 | 55.15 | 986 | 0.35291
962 | 54.61 | 986.5 | 0.36613
962.5 | 54.14 | 987 | 0.37966
963 | 53.68 | 987.5 | 0.39319
963.5 | 53.27 | 988 | 0.40705
964 | 52.87 | 988.5 | 0.42045
964.5 | 52.6 | 989 | 0.43427
965 | 52.33 | 989.5 | 0.44721
965.5 | 52.19 | 990 | 0.46067
966 | 52.04 | 990.5 | 0.47314
966.5 | 52.01 | 991 | 0.48598
967 | 51.97 | 991.5 | 0.49757
967.5 | 52.05 | 992 | 0.50948
968 | 52.13 | 992.5 | 0.52028
968.5 | 52.32 | 993 | 0.5315
969 | 52.51 | 993.5 | 0.54121
969.5 | 52.8 | 994 | 0.55098
970 | 53.09 | 994.5 | 0.55941
970.5 | 53.48 | 995 | 0.56799
971 | 53.88 | 995.5 | 0.57545
971.5 | 54.35 | 996 | 0.58286
972 | 54.82 | 996.5 | 0.58872
972.5 | 55.31 | 997 | 0.59465
973 | 55.81 | 997.5 | 0.59929
973.5 | 56.31 | 998 | 0.6038
974 | 56.82 | 998.5 | 0.60695
974.5 | 57.28 | 999 | 0.6103
975 | 57.73 | 999.5 | 0.6119
975.5 | 58.1 | 1000 | 0.61368
976 | 58.46
976.5 | 58.7
977 | 58.94
977.5 | 58.98
978 | 59.02
978.5 | 58.84
979 | 58.66
979.5 | 58.22
980 | 57.77
980.5 | 57.08
981 | 56.4
981.5 | 55.48
982 | 54.56
982.5 | 53.42
983 | 52.28
983.5 | 51.03
984 | 49.78
984.5 | 48.45
985 | 47.12
985.5 | 45.74
986 | 44.37
986.5 | 43.04
987 | 41.72
987.5 | 40.44
988 | 39.17
988.5 | 37.98
989 | 36.79
989.5 | 35.71
990 | 34.62
990.5 | 33.64
991 | 32.66
991.5 | 31.8
992 | 30.94
992.5 | 30.18
993 | 29.41
993.5 | 28.76
994 | 28.12
994.5 | 27.58
995 | 27.04
995.5 | 26.58
996 | 26.13
996.5 | 25.78
997 | 25.43
997.5 | 25.16
998 | 24.9
998.5 | 24.72
999 | 24.53
999.5 | 24.44
1000 | 24.34