## ET450_50m
WaveLength | Transmission | WaveLength | OD
nm | % | nm | /
300 | -0.0001479 | 300 | 7
301 | 0.0002685 | 301 | 5.5711
302 | -0.0001115 | 303 | 5.4428
303 | 0.0003607 | 304 | 5.5844 | ET450/50m Transmission and OD Plot of ET450/50m This file indicates a typical data and there may be differences between product batches. If you have any questions, please contact LBTEK Technical Support. To quote this data, please indicate that the data source is from LBTEK.
304 | 0.0002604 | 305 | 5.8236
305 | 0.0001501 | 306 | 5.8159
306 | 0.0001528 | 307 | 6.6702
307 | 2.137e-05 | 309 | 5.8914
308 | -2.883e-05 | 311 | 5.4829
309 | 0.0001284 | 312 | 6.0153
310 | -7.32e-06 | 314 | 6.2453
311 | 0.0003289 | 315 | 8.0762
312 | 9.653e-05 | 316 | 6.0007
313 | -4.424e-05 | 318 | 6.5552 | LBTEK Mall：www.lbtek.com Tel：400-060-6986 LBTEK Technical Support E-mail：service@lbtek.com
314 | 5.685e-05 | 320 | 6.2369
315 | 8.391e-07 | 321 | 5.9352
316 | 9.984e-05 | 322 | 6.3011
317 | -4.152e-05 | 325 | 6.1998
318 | 2.785e-05 | 326 | 6.2031
319 | -2.472e-05 | 327 | 6.0894
320 | 5.796e-05 | 329 | 6.3002
321 | 0.0001161 | 330 | 5.8576
322 | 4.999e-05 | 331 | 6.9367
323 | -5.688e-05 | 332 | 6.4515
324 | -1.575e-05 | 334 | 6.4735
325 | 6.313e-05 | 335 | 6.5728
326 | 6.265e-05 | 336 | 6.4149
327 | 8.139e-05 | 337 | 6.2053
328 | -4.256e-05 | 339 | 6.6639
329 | 5.01e-05 | 340 | 6.0184
330 | 0.0001388 | 341 | 6.2802
331 | 1.157e-05 | 342 | 5.9158
332 | 3.536e-05 | 343 | 5.9927
333 | -7.083e-05 | 346 | 6.1806
334 | 3.361e-05 | 351 | 6.2092
335 | 2.674e-05 | 352 | 6.4708
336 | 3.847e-05 | 355 | 6.3988
337 | 6.233e-05 | 356 | 6.672
338 | -2.398e-05 | 357 | 6.2952
339 | 2.168e-05 | 358 | 7.2268
340 | 9.586e-05 | 359 | 6.8911
341 | 5.245e-05 | 360 | 6.3244
342 | 0.0001214 | 361 | 6.5143
343 | 0.0001017 | 362 | 7.2486
344 | -4.314e-05 | 363 | 6.5147
345 | -1.149e-06 | 364 | 6.0445
346 | 6.598e-05 | 365 | 7.6647
347 | -2.516e-05 | 366 | 6.4069
348 | -3.599e-05 | 367 | 6.9055
349 | -3.251e-06 | 368 | 6.2977
350 | -3.926e-05 | 369 | 6.0129
351 | 6.177e-05 | 370 | 6.4905
352 | 3.382e-05 | 371 | 6.8254
353 | -3.666e-05 | 373 | 6.2284
354 | -6.186e-05 | 374 | 6.1473
355 | 3.992e-05 | 376 | 6.684
356 | 2.128e-05 | 377 | 6.5514
357 | 5.068e-05 | 378 | 5.997
358 | 5.932e-06 | 380 | 7.3201
359 | 1.285e-05 | 382 | 6.5415
360 | 4.738e-05 | 383 | 6.5305
361 | 3.06e-05 | 384 | 6.3102
362 | 5.641e-06 | 385 | 6.3706
363 | 3.057e-05 | 387 | 6.4195
364 | 9.026e-05 | 388 | 6.782
365 | 2.164e-06 | 389 | 6.8804
366 | 3.918e-05 | 390 | 6.4729
367 | 1.243e-05 | 391 | 6.6031
368 | 5.039e-05 | 393 | 6.1268
369 | 9.707e-05 | 394 | 8.2434
370 | 3.232e-05 | 395 | 6.833
371 | 1.495e-05 | 396 | 6.4467
372 | -1.566e-06 | 397 | 6.5042
373 | 5.91e-05 | 398 | 6.3274
374 | 7.124e-05 | 399 | 7.1498
375 | -1.218e-05 | 400 | 6.6421
376 | 2.07e-05 | 402 | 6.2728
377 | 2.809e-05 | 403 | 6.1647
378 | 0.0001007 | 405 | 6.1763
379 | -3.919e-06 | 408 | 6.8099
380 | 4.785e-06 | 409 | 6.6772
381 | -1.471e-05 | 410 | 6.9747
382 | 2.874e-05 | 411 | 6.5758
383 | 2.948e-05 | 413 | 6.7328
384 | 4.896e-05 | 414 | 6.4135
385 | 4.26e-05 | 415 | 6.5028
386 | -1.915e-05 | 417 | 6.3656
387 | 3.806e-05 | 418 | 6.2152
388 | 1.652e-05 | 419 | 6.2363
389 | 1.317e-05 | 420 | 5.9855
390 | 3.366e-05 | 421 | 5.3537
391 | 2.494e-05 | 422 | 4.3256
392 | -2.031e-05 | 423 | 3.1879
393 | 7.468e-05 | 424 | 1.8761
394 | 5.709e-07 | 425 | 0.56575
395 | 1.469e-05 | 426 | 0.06474
396 | 3.575e-05 | 427 | 0.02315
397 | 3.132e-05 | 428 | 0.0161
398 | 4.705e-05 | 429 | 0.01511
399 | 7.082e-06 | 430 | 0.00953
400 | 2.28e-05 | 431 | 0.00718
401 | -4.528e-06 | 432 | 0.00957
402 | 5.336e-05 | 433 | 0.0045
403 | 6.843e-05 | 434 | 0.00815
404 | -5.962e-06 | 435 | 0.00908
405 | 6.664e-05 | 436 | 0.00789
406 | -1.559e-05 | 437 | 0.0063
407 | -5.82e-06 | 438 | 0.00948
408 | 1.549e-05 | 439 | 0.01153
409 | 2.103e-05 | 440 | 0.00674
410 | 1.06e-05 | 441 | 0.00507
411 | 2.656e-05 | 442 | 0.00939
412 | -1.862e-05 | 443 | 0.01247
413 | 1.85e-05 | 444 | 0.00939
414 | 3.859e-05 | 445 | 0.00656
415 | 3.142e-05 | 446 | 0.00485
416 | -2.051e-05 | 447 | 0.00966
417 | 4.309e-05 | 448 | 0.01368
418 | 6.093e-05 | 449 | 0.01153
419 | 5.804e-05 | 450 | 0.00784
420 | 0.0001034 | 451 | 0.00516
421 | 0.0004429 | 452 | 0.00957
422 | 0.004725 | 453 | 0.01131
423 | 0.06488 | 454 | 0.00762
424 | 1.33 | 455 | 0.00612
425 | 27.18 | 456 | 0.00472
426 | 86.15 | 457 | 0.00617
427 | 94.81 | 458 | 0.00855
428 | 96.36 | 459 | 0.009
429 | 96.58 | 460 | 0.00608
430 | 97.83 | 461 | 0.00665
431 | 98.36 | 462 | 0.00581
432 | 97.82 | 463 | 0.00696
433 | 98.97 | 464 | 0.00753
434 | 98.14 | 465 | 0.00595
435 | 97.93 | 466 | 0.00573
436 | 98.2 | 467 | 0.00568
437 | 98.56 | 468 | 0.0086
438 | 97.84 | 469 | 0.01055
439 | 97.38 | 470 | 0.01274
440 | 98.46 | 471 | 0.01637
441 | 98.84 | 472 | 0.01466
442 | 97.86 | 473 | 0.01936
443 | 97.17 | 474 | 0.04726
444 | 97.86 | 475 | 0.1279
445 | 98.5 | 476 | 1.3647
446 | 98.89 | 477 | 1.7309
447 | 97.8 | 478 | 2.8165
448 | 96.9 | 479 | 3.6722
449 | 97.38 | 480 | 4.3933
450 | 98.21 | 481 | 4.9983
451 | 98.82 | 482 | 5.5981
452 | 97.82 | 483 | 6.0278
453 | 97.43 | 484 | 6.6222
454 | 98.26 | 485 | 7.5024
455 | 98.6 | 486 | 7.5312
456 | 98.92 | 487 | 7.3137
457 | 98.59 | 516 | 7.1527
458 | 98.05 | 538 | 6.7894
459 | 97.95 | 552 | 7.2645
460 | 98.61 | 561 | 9.8969
461 | 98.48 | 574 | 7.1772
462 | 98.67 | 576 | 7.9378
463 | 98.41 | 577 | 7.3448
464 | 98.28 | 581 | 7.6101
465 | 98.64 | 583 | 7.3544
466 | 98.69 | 587 | 7.9446
467 | 98.7 | 607 | 8.3266
468 | 98.04 | 616 | 6.9686
469 | 97.6 | 640 | 7.2945
470 | 97.11 | 641 | 7.0694
471 | 96.3 | 642 | 7.9208
472 | 96.68 | 643 | 7.1737
473 | 95.64 | 644 | 7.6015
474 | 89.69 | 646 | 7.1427
475 | 74.49 | 647 | 6.9363
476 | 4.318 | 648 | 7.3695
477 | 1.858 | 649 | 7.3496
478 | 0.1526 | 651 | 7.3822
479 | 0.02127 | 652 | 6.6964
480 | 0.004043 | 653 | 8.5176
481 | 0.001004 | 654 | 7.4486
482 | 0.0002523 | 656 | 6.7734
483 | 9.38e-05 | 657 | 7.6045
484 | 2.387e-05 | 658 | 7.0816
485 | 3.145e-06 | 659 | 6.738
486 | 2.943e-06 | 660 | 6.8422
487 | 4.856e-06 | 662 | 6.5061
488 | -2.161e-06 | 663 | 7.0081
489 | -1.078e-05 | 664 | 7.1386
490 | -2.089e-05 | 665 | 6.8091
491 | -1.927e-05 | 666 | 6.7196
492 | -2.244e-05 | 667 | 6.3254
493 | -1.093e-05 | 668 | 6.7552
494 | -2.611e-05 | 669 | 6.8222
495 | -1.166e-05 | 670 | 7.6548
496 | -1.012e-05 | 671 | 6.8945
497 | -7.248e-06 | 672 | 6.2115
498 | -1.082e-05 | 673 | 6.328
499 | -2.148e-05 | 674 | 6.2808
500 | -1.14e-05 | 675 | 6.1606
501 | -1.435e-05 | 676 | 6.2195
502 | -1.4e-05 | 677 | 6.1902
503 | -2.382e-05 | 678 | 6.1974
504 | -9.662e-06 | 679 | 5.9469
505 | -5.408e-06 | 680 | 5.8199
506 | -1.182e-05 | 681 | 5.7916
507 | -1.605e-05 | 682 | 5.7375
508 | -4.786e-06 | 683 | 5.758
509 | -1.321e-05 | 684 | 5.4993
510 | -2.059e-05 | 685 | 5.4585
511 | -1.595e-05 | 686 | 5.3766
512 | -9.055e-06 | 687 | 5.3707
513 | -8.831e-06 | 688 | 5.2103
514 | -1.518e-05 | 689 | 5.1435
515 | -1.226e-05 | 690 | 5.1134
516 | 7.035e-06 | 691 | 4.9658
517 | -1.523e-05 | 692 | 4.8837
518 | -3.892e-06 | 693 | 4.7892
519 | -4.669e-06 | 694 | 4.6759
520 | -1.022e-05 | 695 | 4.5986
521 | -9.863e-06 | 696 | 4.4798
522 | -1.276e-05 | 697 | 4.3921
523 | -6.226e-06 | 698 | 4.3251
524 | -1.017e-05 | 699 | 4.1853
525 | -1.093e-05 | 700 | 4.0802
526 | -5.284e-06 | 701 | 3.9731
527 | -6.989e-06 | 702 | 3.8668
528 | -7.726e-07 | 703 | 3.7481
529 | -1.165e-05 | 704 | 3.634
530 | -1.569e-05 | 705 | 3.5243
531 | -1.962e-05 | 706 | 3.3932
532 | -7.948e-06 | 707 | 3.2616
533 | -1.021e-05 | 708 | 3.1335
534 | -2.091e-05 | 709 | 2.9796
535 | -8.642e-06 | 710 | 2.8348
536 | -1.202e-05 | 711 | 2.6678
537 | -9.127e-06 | 712 | 2.4823
538 | 1.624e-05 | 713 | 2.2839
539 | -9.778e-06 | 714 | 2.0634
540 | -9.865e-06 | 715 | 1.808
541 | -1.299e-05 | 716 | 1.5005
542 | -1.096e-05 | 717 | 1.1214
543 | -8.223e-06 | 718 | 0.65404
544 | -1.073e-05 | 719 | 0.29328
545 | -1.263e-05 | 720 | 0.32185
546 | -2.744e-05 | 721 | 0.60067
547 | -1.004e-05 | 722 | 0.83327
548 | -1.253e-05 | 723 | 0.97224
549 | -1.054e-05 | 724 | 1.0612
550 | -1.423e-05 | 725 | 1.1002
551 | -1.276e-05 | 726 | 1.1074
552 | 5.439e-06 | 727 | 1.0853
553 | -6.059e-06 | 728 | 1.0409
554 | -2.014e-05 | 729 | 0.97143
555 | -3.617e-05 | 730 | 0.8814
556 | -1.795e-05 | 731 | 0.76271
557 | -1.325e-05 | 732 | 0.62288
558 | -2.21e-05 | 733 | 0.46699
559 | -1.346e-05 | 734 | 0.30382
560 | -2.026e-05 | 735 | 0.17574
561 | 1.268e-08 | 736 | 0.13194
562 | -4.95e-06 | 737 | 0.18682
563 | -1.846e-05 | 738 | 0.30207
564 | -2.585e-05 | 739 | 0.43522
565 | -1.429e-05 | 740 | 0.55752
566 | -1.932e-05 | 741 | 0.65936
567 | -1.554e-05 | 742 | 0.74065
568 | -1.848e-05 | 743 | 0.81079
569 | -6.07e-06 | 744 | 0.8671
570 | -1.138e-05 | 745 | 0.90588
571 | -1.474e-05 | 746 | 0.93629
572 | -8.836e-07 | 747 | 0.959
573 | -2.851e-05 | 748 | 0.97224
574 | 6.649e-06 | 749 | 0.97922
575 | -5.235e-07 | 750 | 0.9784
576 | 1.154e-06 | 751 | 0.97428
577 | 4.521e-06 | 752 | 0.96859
578 | -5.602e-06 | 753 | 0.95585
579 | -1.932e-06 | 754 | 0.94615
580 | -2.261e-05 | 755 | 0.93517
581 | 2.454e-06 | 756 | 0.92665
582 | -7.39e-06 | 757 | 0.9201
583 | 4.422e-06 | 758 | 0.91186
584 | -3.958e-05 | 759 | 0.90904
585 | -1.16e-05 | 760 | 0.90553
586 | -1.113e-05 | 761 | 0.91151
587 | 1.136e-06 | 762 | 0.91614
588 | -2.047e-05 | 763 | 0.92518
589 | -9.004e-06 | 764 | 0.93181
590 | -1.821e-05 | 765 | 0.94654
591 | -3.331e-05 | 766 | 0.95429
592 | -1.401e-05 | 767 | 0.96377
593 | -4.61e-06 | 768 | 0.97184
594 | -3.505e-05 | 769 | 0.98464
595 | -1.664e-05 | 770 | 0.99311
596 | -1.666e-05 | 771 | 0.99957
597 | -4.053e-05 | 772 | 1.0031
598 | -9.946e-06 | 773 | 1.0101
599 | -5.347e-06 | 774 | 1.0104
600 | -1.084e-05 | 775 | 1.0072
601 | -3.14e-05 | 776 | 1.0126
602 | -1.438e-05 | 777 | 1.0019
603 | -1.537e-05 | 778 | 1.0009
604 | -1.567e-05 | 779 | 0.9914
605 | -1.38e-05 | 780 | 0.97922
606 | -2.115e-05 | 781 | 0.97184
607 | 4.714e-07 | 782 | 0.96138
608 | -5.08e-06 | 783 | 0.945
609 | -1.113e-05 | 784 | 0.92738
610 | -1.639e-05 | 785 | 0.91293
611 | -9.202e-06 | 786 | 0.8986
612 | -5.509e-06 | 787 | 0.88074
613 | -1.501e-05 | 788 | 0.86582
614 | -3.263e-06 | 789 | 0.83773
615 | -1.222e-05 | 790 | 0.8242
616 | 1.075e-05 | 791 | 0.79778
617 | -1.903e-05 | 792 | 0.77057
618 | -1.786e-05 | 793 | 0.74788
619 | -8.464e-06 | 794 | 0.72079
620 | -1.411e-05 | 795 | 0.69315
621 | -8.568e-06 | 796 | 0.66194
622 | -7.367e-06 | 797 | 0.6347
623 | -1.264e-05 | 798 | 0.60276
624 | -1.039e-05 | 799 | 0.57594
625 | -1.691e-05 | 800 | 0.5447
626 | -9.44e-06
627 | -1.433e-05
628 | -1.156e-05
629 | -1.27e-05
630 | -5.048e-06
631 | -1.321e-05
632 | -1.688e-05
633 | -1.553e-06
634 | -9.066e-06
635 | -8.413e-06
636 | -2.999e-05
637 | -6.487e-06
638 | -1.247e-05
639 | -8.024e-06
640 | 5.076e-06
641 | 8.524e-06
642 | 1.2e-06
643 | 6.703e-06
644 | 2.503e-06
645 | -1.984e-06
646 | 7.199e-06
647 | 1.158e-05
648 | 4.271e-06
649 | 4.471e-06
650 | -4.122e-06
651 | 4.148e-06
652 | 2.012e-05
653 | 3.037e-07
654 | 3.56e-06
655 | -3.522e-06
656 | 1.685e-05
657 | 2.486e-06
658 | 8.288e-06
659 | 1.828e-05
660 | 1.438e-05
661 | -3.366e-06
662 | 3.118e-05
663 | 9.814e-06
664 | 7.267e-06
665 | 1.552e-05
666 | 1.907e-05
667 | 4.727e-05
668 | 1.757e-05
669 | 1.506e-05
670 | 2.214e-06
671 | 1.275e-05
672 | 6.144e-05
673 | 4.699e-05
674 | 5.238e-05
675 | 6.909e-05
676 | 6.032e-05
677 | 6.454e-05
678 | 6.347e-05
679 | 0.000113
680 | 0.0001514
681 | 0.0001616
682 | 0.000183
683 | 0.0001746
684 | 0.0003167
685 | 0.0003479
686 | 0.0004201
687 | 0.0004259
688 | 0.0006162
689 | 0.0007186
690 | 0.0007702
691 | 0.001082
692 | 0.001307
693 | 0.001625
694 | 0.002109
695 | 0.00252
696 | 0.003313
697 | 0.004054
698 | 0.00473
699 | 0.006526
700 | 0.008314
701 | 0.01064
702 | 0.01359
703 | 0.01786
704 | 0.02323
705 | 0.0299
706 | 0.04044
707 | 0.05475
708 | 0.07353
709 | 0.1048
710 | 0.1463
711 | 0.2149
712 | 0.3294
713 | 0.5201
714 | 0.8641
715 | 1.556
716 | 3.159
717 | 7.561
718 | 22.18
719 | 50.9
720 | 47.66
721 | 25.08
722 | 14.68
723 | 10.66
724 | 8.686
725 | 7.939
726 | 7.81
727 | 8.216
728 | 9.102
729 | 10.68
730 | 13.14
731 | 17.27
732 | 23.83
733 | 34.12
734 | 49.68
735 | 66.72
736 | 73.8
737 | 65.04
738 | 49.88
739 | 36.71
740 | 27.7
741 | 21.91
742 | 18.17
743 | 15.46
744 | 13.58
745 | 12.42
746 | 11.58
747 | 10.99
748 | 10.66
749 | 10.49
750 | 10.51
751 | 10.61
752 | 10.75
753 | 11.07
754 | 11.32
755 | 11.61
756 | 11.84
757 | 12.02
758 | 12.25
759 | 12.33
760 | 12.43
761 | 12.26
762 | 12.13
763 | 11.88
764 | 11.7
765 | 11.31
766 | 11.11
767 | 10.87
768 | 10.67
769 | 10.36
770 | 10.16
771 | 10.01
772 | 9.929
773 | 9.77
774 | 9.764
775 | 9.836
776 | 9.715
777 | 9.957
778 | 9.98
779 | 10.2
780 | 10.49
781 | 10.67
782 | 10.93
783 | 11.35
784 | 11.82
785 | 12.22
786 | 12.63
787 | 13.16
788 | 13.62
789 | 14.53
790 | 14.99
791 | 15.93
792 | 16.96
793 | 17.87
794 | 19.02
795 | 20.27
796 | 21.78
797 | 23.19
798 | 24.96
799 | 26.55
800 | 28.53