## sheet1 -1
Incident spot |  | Focus spot
X Position(mm) | Intensity(a.u.) | X Position(mm) | Intensity(a.u.)
-14.9625 | 0 | -9.975 | 0
-14.8875 | 0 | -9.925 | 0
-14.8125 | 0 | -9.875 | 0
-14.7375 | 0 | -9.825 | 0
-14.6625 | 0 | -9.775 | 0 | PB Cylindrical Lens Array Intensity VS X Position This file indicates a typical data and there may be differences between product batches. If you have any questions, please contact LBTEK Technical Support. To quote this data, please indicate that the data source is from LBTEK.
-14.5875 | 0 | -9.725 | 0
-14.5125 | 0 | -9.675 | 0
-14.4375 | 0 | -9.625 | 0.00311
-14.3625 | 0 | -9.575 | 0.00934
-14.2875 | 0 | -9.525 | 0.01558
-14.2125 | 0 | -9.475 | 0.01558
-14.1375 | 0 | -9.425 | 0.00934
-14.0625 | 0 | -9.375 | 0.00311
-13.9875 | 0 | -9.325 | 0
-13.9125 | 0 | -9.275 | 0 | LBTEK Mall：www.lbtek.com Tel：0731-84165699 LBTEK Technical Support E-mail：service@lbtek.com
-13.8375 | 0 | -9.225 | 0
-13.7625 | 0 | -9.175 | 0
-13.6875 | 0 | -9.125 | 0
-13.6125 | 0 | -9.075 | 0 | =DISPIMG("ID_C30661C1C5194983A6491E57E64B4389",1)
-13.5375 | 0 | -9.025 | 0
-13.4625 | 0 | -8.975 | 0
-13.3875 | 0.00073252 | -8.925 | 0
-13.3125 | 0.0018 | -8.875 | 0
-13.2375 | 0.00287 | -8.825 | 0
-13.1625 | 0.00248 | -8.775 | 0
-13.0875 | 0.00141 | -8.725 | 0
-13.0125 | 0.00033809 | -8.675 | 0
-12.9375 | 0 | -8.625 | 0.0036
-12.8625 | 0 | -8.575 | 0.01078
-12.7875 | 0 | -8.525 | 0.01798
-12.7125 | 0 | -8.475 | 0.01798
-12.6375 | 0 | -8.425 | 0.01078
-12.5625 | 0 | -8.375 | 0.0036
-12.4875 | 0 | -8.325 | 0
-12.4125 | 0 | -8.275 | 0
-12.3375 | 0 | -8.225 | 0
-12.2625 | 0 | -8.175 | 0
-12.1875 | 0 | -8.125 | 0
-12.1125 | 0 | -8.075 | 0
-12.0375 | 0 | -8.025 | 0
-11.9625 | 0 | -7.975 | 0
-11.8875 | 0 | -7.925 | 0
-11.8125 | 0 | -7.875 | 0
-11.7375 | 0 | -7.825 | 0
-11.6625 | 0 | -7.775 | 0
-11.5875 | 0 | -7.725 | 0
-11.5125 | 0 | -7.675 | 0
-11.4375 | 0 | -7.625 | 0.00848
-11.3625 | 0 | -7.575 | 0.02542
-11.2875 | 0 | -7.525 | 0.04237
-11.2125 | 0 | -7.475 | 0.04237
-11.1375 | 0 | -7.425 | 0.02542
-11.0625 | 0 | -7.375 | 0.00848
-10.9875 | 0 | -7.325 | 0
-10.9125 | 0 | -7.275 | 0
-10.8375 | 5.6348e-05 | -7.225 | 0
-10.7625 | 0.00056348 | -7.175 | 0
-10.6875 | 0.00101 | -7.125 | 0
-10.6125 | 0.0013 | -7.075 | 0
-10.5375 | 0.00084521 | -7.025 | 0
-10.4625 | 0.00039443 | -6.975 | 0
-10.3875 | 0 | -6.925 | 0
-10.3125 | 0 | -6.875 | 0
-10.2375 | 0 | -6.825 | 0
-10.1625 | 0 | -6.775 | 0
-10.0875 | 0.0022 | -6.725 | 0
-10.0125 | 0.00513 | -6.675 | 0
-9.9375 | 0.00806 | -6.625 | 0.01894
-9.8625 | 0.00738 | -6.575 | 0.0568
-9.7875 | 0.00614 | -6.525 | 0.09467
-9.7125 | 0.00789 | -6.475 | 0.09467
-9.6375 | 0.01088 | -6.425 | 0.0568
-9.5625 | 0.01482 | -6.375 | 0.01894
-9.4875 | 0.01375 | -6.325 | 0
-9.4125 | 0.01499 | -6.275 | 0
-9.3375 | 0.01583 | -6.225 | 0
-9.2625 | 0.01781 | -6.175 | 0
-9.1875 | 0.01561 | -6.125 | 0
-9.1125 | 0.01048 | -6.075 | 0
-9.0375 | 0.00738 | -6.025 | 0
-8.9625 | 0.00592 | -5.975 | 0
-8.8875 | 0.00783 | -5.925 | 0
-8.8125 | 0.00811 | -5.875 | 0
-8.7375 | 0.01026 | -5.825 | 0
-8.6625 | 0.01026 | -5.775 | 0
-8.5875 | 0.01054 | -5.725 | 0
-8.5125 | 0.00975 | -5.675 | 0
-8.4375 | 0.01296 | -5.625 | 0.03949
-8.3625 | 0.01995 | -5.575 | 0.11847
-8.2875 | 0.02879 | -5.525 | 0.19744
-8.2125 | 0.03567 | -5.475 | 0.19744
-8.1375 | 0.03787 | -5.425 | 0.11847
-8.0625 | 0.03465 | -5.375 | 0.03949
-7.9875 | 0.03133 | -5.325 | 0
-7.9125 | 0.0306 | -5.275 | 0
-7.8375 | 0.03415 | -5.225 | 0
-7.7625 | 0.03336 | -5.175 | 0
-7.6875 | 0.03088 | -5.125 | 0
-7.6125 | 0.0297 | -5.075 | 0
-7.5375 | 0.03601 | -5.025 | 0
-7.4625 | 0.04637 | -4.975 | 0
-7.3875 | 0.05285 | -4.925 | 0
-7.3125 | 0.05652 | -4.875 | 0
-7.2375 | 0.05652 | -4.825 | 0
-7.1625 | 0.06193 | -4.775 | 0
-7.0875 | 0.06688 | -4.725 | 0
-7.0125 | 0.07427 | -4.675 | 0
-6.9375 | 0.07539 | -4.625 | 0.06691
-6.8625 | 0.07742 | -4.575 | 0.20074
-6.7875 | 0.075 | -4.525 | 0.33457
-6.7125 | 0.07793 | -4.475 | 0.33457
-6.6375 | 0.07939 | -4.425 | 0.20074
-6.5625 | 0.08424 | -4.375 | 0.06691
-6.4875 | 0.08852 | -4.325 | 0
-6.4125 | 0.09511 | -4.275 | 0
-6.3375 | 0.10345 | -4.225 | 0
-6.2625 | 0.11016 | -4.175 | 0
-6.1875 | 0.11495 | -4.125 | 0
-6.1125 | 0.12312 | -4.075 | 0
-6.0375 | 0.13597 | -4.025 | 0
-5.9625 | 0.15225 | -3.975 | 0
-5.8875 | 0.16144 | -3.925 | 0
-5.8125 | 0.16296 | -3.875 | 0
-5.7375 | 0.16301 | -3.825 | 0
-5.6625 | 0.16606 | -3.775 | 0
-5.5875 | 0.17389 | -3.725 | 0
-5.5125 | 0.18324 | -3.675 | 0
-5.4375 | 0.19276 | -3.625 | 0.1032
-5.3625 | 0.20409 | -3.575 | 0.30958
-5.2875 | 0.21356 | -3.525 | 0.51597
-5.2125 | 0.22223 | -3.475 | 0.51597
-5.1375 | 0.22702 | -3.425 | 0.30958
-5.0625 | 0.23638 | -3.375 | 0.1032
-4.9875 | 0.24787 | -3.325 | 0
-4.9125 | 0.26213 | -3.275 | 0
-4.8375 | 0.27007 | -3.225 | 0
-4.7625 | 0.28005 | -3.175 | 0
-4.6875 | 0.29149 | -3.125 | 0
-4.6125 | 0.30585 | -3.075 | 0
-4.5375 | 0.31645 | -3.025 | 0
-4.4625 | 0.32456 | -2.975 | 0
-4.3875 | 0.33532 | -2.925 | 0
-4.3125 | 0.35059 | -2.875 | 0
-4.2375 | 0.36846 | -2.825 | 0
-4.1625 | 0.38485 | -2.775 | 0
-4.0875 | 0.39753 | -2.725 | 0
-4.0125 | 0.40807 | -2.675 | 0
-3.9375 | 0.41737 | -2.625 | 0.14353
-3.8625 | 0.43168 | -2.575 | 0.4306
-3.7875 | 0.4483 | -2.525 | 0.71767
-3.7125 | 0.46413 | -2.475 | 0.71767
-3.6375 | 0.47236 | -2.425 | 0.4306
-3.5625 | 0.48149 | -2.375 | 0.14353
-3.4875 | 0.49783 | -2.325 | 0
-3.4125 | 0.52234 | -2.275 | 0
-3.3375 | 0.54325 | -2.225 | 0
-3.2625 | 0.55824 | -2.175 | 0
-3.1875 | 0.57069 | -2.125 | 0
-3.1125 | 0.58585 | -2.075 | 0
-3.0375 | 0.60185 | -2.025 | 0
-2.9625 | 0.61306 | -1.975 | 0
-2.8875 | 0.62275 | -1.925 | 0
-2.8125 | 0.63684 | -1.875 | 0
-2.7375 | 0.65634 | -1.825 | 0
-2.6625 | 0.67792 | -1.775 | 0
-2.5875 | 0.68936 | -1.725 | 0
-2.5125 | 0.70277 | -1.675 | 0
-2.4375 | 0.71499 | -1.625 | 0.17776
-2.3625 | 0.73308 | -1.575 | 0.53329
-2.2875 | 0.74542 | -1.525 | 0.88881
-2.2125 | 0.76069 | -1.475 | 0.88881
-2.1375 | 0.77827 | -1.425 | 0.53329
-2.0625 | 0.79444 | -1.375 | 0.17776
-1.9875 | 0.80414 | -1.325 | 0
-1.9125 | 0.81264 | -1.275 | 0
-1.8375 | 0.82622 | -1.225 | 0
-1.7625 | 0.83935 | -1.175 | 0
-1.6875 | 0.84831 | -1.125 | 0
-1.6125 | 0.85445 | -1.075 | 0
-1.5375 | 0.86505 | -1.025 | 0
-1.4625 | 0.87671 | -0.975 | 0
-1.3875 | 0.88556 | -0.925 | 0
-1.3125 | 0.89474 | -0.875 | 0
-1.2375 | 0.90629 | -0.825 | 0
-1.1625 | 0.92331 | -0.775 | 0
-1.0875 | 0.9365 | -0.725 | 0
-1.0125 | 0.94579 | -0.675 | 0
-0.9375 | 0.95216 | -0.625 | 0.19882
-0.8625 | 0.95774 | -0.575 | 0.59644
-0.7875 | 0.96552 | -0.525 | 0.99407
-0.7125 | 0.97087 | -0.475 | 0.99407
-0.6375 | 0.97459 | -0.425 | 0.59644
-0.5625 | 0.97673 | -0.375 | 0.19882
-0.4875 | 0.97746 | -0.325 | 0
-0.4125 | 0.98079 | -0.275 | 0
-0.3375 | 0.98541 | -0.225 | 0
-0.2625 | 0.99273 | -0.175 | 0
-0.1875 | 1 | -0.125 | 0
-0.1125 | 0.99932 | -0.075 | 0
-0.0375 | 0.99617 | -0.025 | 0
0.0375 | 0.99296 | 0.025 | 0
0.1125 | 0.99391 | 0.075 | 0
0.1875 | 0.99611 | 0.125 | 0
0.2625 | 0.99296 | 0.175 | 0
0.3375 | 0.98912 | 0.225 | 0
0.4125 | 0.98101 | 0.275 | 0
0.4875 | 0.97555 | 0.325 | 0
0.5625 | 0.97138 | 0.375 | 0.2
0.6375 | 0.97318 | 0.425 | 0.6
0.7125 | 0.97323 | 0.475 | 1
0.7875 | 0.96974 | 0.525 | 1
0.8625 | 0.95853 | 0.575 | 0.6
0.9375 | 0.94861 | 0.625 | 0.2
1.0125 | 0.94095 | 0.675 | 0
1.0875 | 0.93599 | 0.725 | 0
1.1625 | 0.92686 | 0.775 | 0
1.2375 | 0.91548 | 0.825 | 0
1.3125 | 0.90111 | 0.875 | 0
1.3875 | 0.89255 | 0.925 | 0
1.4625 | 0.88252 | 0.975 | 0
1.5375 | 0.8748 | 1.025 | 0
1.6125 | 0.85727 | 1.075 | 0
1.6875 | 0.84234 | 1.125 | 0
1.7625 | 0.83101 | 1.175 | 0
1.8375 | 0.82611 | 1.225 | 0
1.9125 | 0.81704 | 1.275 | 0
1.9875 | 0.80064 | 1.325 | 0
2.0625 | 0.7852 | 1.375 | 0.17822
2.1375 | 0.77314 | 1.425 | 0.53464
2.2125 | 0.76126 | 1.475 | 0.89106
2.2875 | 0.74475 | 1.525 | 0.89106
2.3625 | 0.72919 | 1.575 | 0.53464
2.4375 | 0.71494 | 1.625 | 0.17822
2.5125 | 0.69984 | 1.675 | 0
2.5875 | 0.68102 | 1.725 | 0
2.6625 | 0.66896 | 1.775 | 0
2.7375 | 0.66068 | 1.825 | 0
2.8125 | 0.65329 | 1.875 | 0
2.8875 | 0.63487 | 1.925 | 0
2.9625 | 0.61458 | 1.975 | 0
3.0375 | 0.59503 | 2.025 | 0
3.1125 | 0.58044 | 2.075 | 0
3.1875 | 0.565 | 2.125 | 0
3.2625 | 0.54804 | 2.175 | 0
3.3375 | 0.53502 | 2.225 | 0
3.4125 | 0.52691 | 2.275 | 0
3.4875 | 0.51699 | 2.325 | 0
3.5625 | 0.50172 | 2.375 | 0.14445
3.6375 | 0.48093 | 2.425 | 0.43335
3.7125 | 0.46701 | 2.475 | 0.72224
3.7875 | 0.4527 | 2.525 | 0.72224
3.8625 | 0.43867 | 2.575 | 0.43335
3.9375 | 0.41731 | 2.625 | 0.14445
4.0125 | 0.40029 | 2.675 | 0
4.0875 | 0.3875 | 2.725 | 0
4.1625 | 0.37995 | 2.775 | 0
4.2375 | 0.36947 | 2.825 | 0
4.3125 | 0.35657 | 2.875 | 0
4.3875 | 0.33955 | 2.925 | 0
4.4625 | 0.32321 | 2.975 | 0
4.5375 | 0.30963 | 3.025 | 0
4.6125 | 0.30546 | 3.075 | 0
4.6875 | 0.30191 | 3.125 | 0
4.7625 | 0.29385 | 3.175 | 0
4.8375 | 0.27616 | 3.225 | 0
4.9125 | 0.26095 | 3.275 | 0
4.9875 | 0.2499 | 3.325 | 0
5.0625 | 0.24156 | 3.375 | 0.10301
5.1375 | 0.22843 | 3.425 | 0.30902
5.2125 | 0.21333 | 3.475 | 0.51504
5.2875 | 0.20319 | 3.525 | 0.51504
5.3625 | 0.19739 | 3.575 | 0.30902
5.4375 | 0.19654 | 3.625 | 0.10301
5.5125 | 0.1913 | 3.675 | 0
5.5875 | 0.18617 | 3.725 | 0
5.6625 | 0.17316 | 3.775 | 0
5.7375 | 0.1607 | 3.825 | 0
5.8125 | 0.14864 | 3.875 | 0
5.8875 | 0.14216 | 3.925 | 0
5.9625 | 0.13811 | 3.975 | 0
6.0375 | 0.13174 | 4.025 | 0
6.1125 | 0.12442 | 4.075 | 0
6.1875 | 0.1163 | 4.125 | 0
6.2625 | 0.11112 | 4.175 | 0
6.3375 | 0.10712 | 4.225 | 0
6.4125 | 0.10407 | 4.275 | 0
6.4875 | 0.09934 | 4.325 | 0
6.5625 | 0.09596 | 4.375 | 0.06634
6.6375 | 0.08875 | 4.425 | 0.19903
6.7125 | 0.08446 | 4.475 | 0.33172
6.7875 | 0.07759 | 4.525 | 0.33172
6.8625 | 0.07393 | 4.575 | 0.19903
6.9375 | 0.06621 | 4.625 | 0.06634
7.0125 | 0.06086 | 4.675 | 0
7.0875 | 0.0564 | 4.725 | 0
7.1625 | 0.05516 | 4.775 | 0
7.2375 | 0.05246 | 4.825 | 0
7.3125 | 0.0506 | 4.875 | 0
7.3875 | 0.05066 | 4.925 | 0
7.4625 | 0.0497 | 4.975 | 0
7.5375 | 0.04699 | 5.025 | 0
7.6125 | 0.04158 | 5.075 | 0
7.6875 | 0.04074 | 5.125 | 0
7.7625 | 0.03973 | 5.175 | 0
7.8375 | 0.03719 | 5.225 | 0
7.9125 | 0.0284 | 5.275 | 0
7.9875 | 0.02417 | 5.325 | 0
8.0625 | 0.02547 | 5.375 | 0.03814
8.1375 | 0.03477 | 5.425 | 0.11444
8.2125 | 0.03758 | 5.475 | 0.19073
8.2875 | 0.03415 | 5.525 | 0.19073
8.3625 | 0.02305 | 5.575 | 0.11444
8.4375 | 0.01679 | 5.625 | 0.03814
8.5125 | 0.01319 | 5.675 | 0
8.5875 | 0.01358 | 5.725 | 0
8.6625 | 0.01026 | 5.775 | 0
8.7375 | 0.00744 | 5.825 | 0
8.8125 | 0.00535 | 5.875 | 0
8.8875 | 0.00716 | 5.925 | 0
8.9625 | 0.00918 | 5.975 | 0
9.0375 | 0.01071 | 6.025 | 0
9.1125 | 0.01093 | 6.075 | 0
9.1875 | 0.0124 | 6.125 | 0
9.2625 | 0.01347 | 6.175 | 0
9.3375 | 0.01262 | 6.225 | 0
9.4125 | 0.01138 | 6.275 | 0
9.4875 | 0.00834 | 6.325 | 0
9.5625 | 0.0071 | 6.375 | 0.02006
9.6375 | 0.00361 | 6.425 | 0.06019
9.7125 | 0.00321 | 6.475 | 0.10031
9.7875 | 0.00394 | 6.525 | 0.10031
9.8625 | 0.008 | 6.575 | 0.06019
9.9375 | 0.00941 | 6.625 | 0.02006
10.0125 | 0.00868 | 6.675 | 0
10.0875 | 0.00451 | 6.725 | 0
10.1625 | 0.00169 | 6.775 | 0
10.2375 | 0 | 6.825 | 0
10.3125 | 0 | 6.875 | 0
10.3875 | 0 | 6.925 | 0
10.4625 | 0 | 6.975 | 0
10.5375 | 0.00022539 | 7.025 | 0
10.6125 | 0.00039443 | 7.075 | 0
10.6875 | 0.00056348 | 7.125 | 0
10.7625 | 0.00039443 | 7.175 | 0
10.8375 | 0.00016904 | 7.225 | 0
10.9125 | 0 | 7.275 | 0
10.9875 | 0 | 7.325 | 0
11.0625 | 0 | 7.375 | 0.00836
11.1375 | 0 | 7.425 | 0.0251
11.2125 | 0 | 7.475 | 0.04182
11.2875 | 0 | 7.525 | 0.04182
11.3625 | 0 | 7.575 | 0.0251
11.4375 | 0 | 7.625 | 0.00836
11.5125 | 0 | 7.675 | 0
11.5875 | 0 | 7.725 | 0
11.6625 | 0 | 7.775 | 0
11.7375 | 0 | 7.825 | 0
11.8125 | 0 | 7.875 | 0
11.8875 | 0 | 7.925 | 0
11.9625 | 0 | 7.975 | 0
12.0375 | 0 | 8.025 | 0
12.1125 | 0 | 8.075 | 0
12.1875 | 0 | 8.125 | 0
12.2625 | 0 | 8.175 | 0
12.3375 | 0 | 8.225 | 0
12.4125 | 0 | 8.275 | 0
12.4875 | 0 | 8.325 | 0
12.5625 | 0 | 8.375 | 0.00428
12.6375 | 0 | 8.425 | 0.01283
12.7125 | 0 | 8.475 | 0.02138
12.7875 | 0 | 8.525 | 0.02138
12.8625 | 0 | 8.575 | 0.01283
12.9375 | 0 | 8.625 | 0.00428
13.0125 | 0 | 8.675 | 0
13.0875 | 0 | 8.725 | 0
13.1625 | 0 | 8.775 | 0
13.2375 | 0 | 8.825 | 0
13.3125 | 0 | 8.875 | 0
13.3875 | 0 | 8.925 | 0
13.4625 | 0 | 8.975 | 0
13.5375 | 0 | 9.025 | 0
13.6125 | 0 | 9.075 | 0
13.6875 | 0 | 9.125 | 0
13.7625 | 0 | 9.175 | 0
13.8375 | 0 | 9.225 | 0
13.9125 | 0 | 9.275 | 0
13.9875 | 0 | 9.325 | 0
14.0625 | 0 | 9.375 | 0.00153
14.1375 | 0 | 9.425 | 0.00458
14.2125 | 0 | 9.475 | 0.00763
14.2875 | 0 | 9.525 | 0.00763
14.3625 | 0 | 9.575 | 0.00458
14.4375 | 0 | 9.625 | 0.00153
14.5125 | 0 | 9.675 | 0
14.5875 | 0 | 9.725 | 0
14.6625 | 0 | 9.775 | 0
14.7375 | 0 | 9.825 | 0
14.8125 | 0 | 9.875 | 0
14.8875 | 0 | 9.925 | 0
14.9625 | 0 | 9.975 | 0