## ET580_25x
WaveLength | Transmission | WaveLength | OD
nm | % | nm | /
290 | 8.035e-05 | 290 | 6.095
290.5 | 0.00011 | 290.5 | 5.9586
291 | 4.51e-05 | 291 | 6.3458
291.5 | 4.671e-05 | 291.5 | 6.3306 | ET580/25x Transmission and OD Plot of ET580/25x This file indicates a typical data and there may be differences between product batches. If you have any questions, please contact LBTEK Technical Support. To quote this data, please indicate that the data source is from LBTEK.
292 | 9.199e-05 | 292 | 6.0363
292.5 | 1.819e-05 | 292.5 | 6.7402
293 | 3.199e-05 | 293 | 6.495
293.5 | 7.776e-05 | 293.5 | 6.1092
294 | 7.964e-05 | 294 | 6.0989
294.5 | 3.802e-05 | 294.5 | 6.42
295 | 0.000102 | 295 | 5.9914
295.5 | 6.906e-05 | 295.5 | 6.1608
296 | 4.225e-05 | 296 | 6.3742
296.5 | 5.266e-05 | 296.5 | 6.2785 | LBTEK Mall：www.lbtek.com Tel：400-060-6986 LBTEK Technical Support E-mail：service@lbtek.com
297 | 9.861e-05 | 297 | 6.0061
297.5 | 8.803e-05 | 297.5 | 6.0554
298 | 8.17e-05 | 298 | 6.0878
298.5 | 3.445e-05 | 298.5 | 6.4628
299 | 1.294e-05 | 299 | 6.8881
299.5 | 6.394e-05 | 299.5 | 6.1942
300 | 6.552e-05 | 300 | 6.1836
300.5 | 1.254e-05 | 300.5 | 6.9017
301 | 0.0001114 | 301 | 5.9531
301.5 | 0.000107 | 301.5 | 5.9706
302 | 5.452e-05 | 302 | 6.2634
302.5 | 7.223e-05 | 302.5 | 6.1413
303 | 2.419e-05 | 303 | 6.6164
303.5 | 1.448e-06 | 303.5 | 7.8392
304 | 6.604e-05 | 304 | 6.1802
304.5 | 7.902e-05 | 304.5 | 6.1023
305 | 4.109e-05 | 305 | 6.3863
305.5 | 8.218e-05 | 305.5 | 6.0852
306 | 4.788e-05 | 306 | 6.3198
306.5 | 4.37e-05 | 306.5 | 6.3595
307 | 5.774e-05 | 307 | 6.2385
307.5 | 8.602e-06 | 307.5 | 7.0654
308 | -2.563e-05 | 308.5 | 6.9846
308.5 | 1.036e-05 | 310 | 6.7515
309 | -1.736e-05 | 310.5 | 6.7088
309.5 | -2.646e-06 | 311 | 6.3493
310 | 1.772e-05 | 311.5 | 6.4307
310.5 | 1.955e-05 | 312 | 6.2918
311 | 4.474e-05 | 312.5 | 6.5571
311.5 | 3.709e-05 | 313 | 6.4965
312 | 5.108e-05 | 313.5 | 6.585
312.5 | 2.773e-05 | 314 | 6.4096
313 | 3.188e-05 | 314.5 | 7.1836
313.5 | 2.6e-05 | 315.5 | 6.3305
314 | 3.894e-05 | 316 | 6.6782
314.5 | 6.552e-06 | 316.5 | 6.7169
315 | -3.265e-06 | 318 | 6.7031
315.5 | 4.672e-05 | 318.5 | 6.4057
316 | 2.098e-05 | 319 | 6.4253
316.5 | 1.919e-05 | 319.5 | 6.8321
317 | -1.181e-05 | 320.5 | 7.2448
317.5 | -8.082e-06 | 321 | 6.5867
318 | 1.981e-05 | 321.5 | 6.6139
318.5 | 3.929e-05 | 322 | 6.2953
319 | 3.756e-05 | 322.5 | 6.2729
319.5 | 1.472e-05 | 323 | 6.3788
320 | -2.776e-05 | 323.5 | 6.54
320.5 | 5.691e-06 | 324 | 7.0617
321 | 2.59e-05 | 324.5 | 6.6609
321.5 | 2.433e-05 | 327.5 | 7.0175
322 | 5.067e-05 | 328.5 | 7.2987
322.5 | 5.334e-05 | 329.5 | 6.8614
323 | 4.18e-05 | 330 | 6.2166
323.5 | 2.884e-05 | 330.5 | 6.3145
324 | 8.675e-06 | 331 | 6.4761
324.5 | 2.183e-05 | 331.5 | 7.0383
325 | -2.035e-05 | 332 | 6.7604
325.5 | -1.693e-05 | 333 | 6.7229
326 | -5.946e-06 | 334 | 6.8441
326.5 | -1.29e-05 | 335.5 | 6.8425
327 | -7.882e-06 | 336 | 6.7319
327.5 | 9.604e-06 | 336.5 | 7.0792
328 | -3.282e-07 | 337 | 6.6098
328.5 | 5.027e-06 | 337.5 | 6.9555
329 | -1.774e-05 | 338 | 6.8962
329.5 | 1.376e-05 | 339 | 6.333
330 | 6.073e-05 | 339.5 | 6.9052
330.5 | 4.847e-05 | 340 | 6.5141
331 | 3.341e-05 | 340.5 | 6.4378
331.5 | 9.155e-06 | 341 | 6.3556
332 | 1.736e-05 | 341.5 | 6.2945
332.5 | -5.085e-06 | 342.5 | 7.4477
333 | 1.893e-05 | 344.5 | 6.3748
333.5 | -7.204e-07 | 345 | 6.7305
334 | 1.432e-05 | 345.5 | 6.8453
334.5 | -2.753e-06 | 346 | 6.9698
335 | -1.829e-06 | 347 | 6.7135
335.5 | 1.437e-05 | 347.5 | 6.7314
336 | 1.854e-05 | 348.5 | 6.763
336.5 | 8.334e-06 | 349 | 7.3963
337 | 2.456e-05 | 349.5 | 7.2213
337.5 | 1.108e-05 | 350 | 6.983
338 | 1.27e-05 | 351 | 6.7486
338.5 | -1.879e-05 | 351.5 | 6.8111
339 | 4.645e-05 | 352.5 | 7.3064
339.5 | 1.244e-05 | 353 | 6.6185
340 | 3.061e-05 | 353.5 | 6.6658
340.5 | 3.649e-05 | 354 | 6.8274
341 | 4.41e-05 | 354.5 | 7.4191
341.5 | 5.076e-05 | 355 | 6.856
342 | -6.229e-07 | 356 | 7.311
342.5 | 3.567e-06 | 356.5 | 7.8386
343 | -2.695e-05 | 358 | 7.6371
343.5 | -1.077e-05 | 359 | 7.3552
344 | -1.153e-05 | 359.5 | 7.1136
344.5 | 4.219e-05 | 360 | 8.2088
345 | 1.86e-05 | 360.5 | 7.5444
345.5 | 1.428e-05 | 361 | 6.5855
346 | 1.072e-05 | 361.5 | 6.9555
346.5 | -2.921e-06 | 363 | 7.259
347 | 1.934e-05 | 363.5 | 6.9901
347.5 | 1.856e-05 | 364 | 6.6755
348 | -1.378e-05 | 364.5 | 6.961
348.5 | 1.726e-05 | 365 | 6.9285
349 | 4.015e-06 | 366.5 | 6.9872
349.5 | 6.007e-06 | 367.5 | 7.223
350 | 1.04e-05 | 368 | 7.052
350.5 | -9.827e-06 | 368.5 | 7.0844
351 | 1.784e-05 | 369 | 7.1161
351.5 | 1.545e-05 | 370.5 | 7.1902
352 | -6.669e-06 | 371 | 7.8928
352.5 | 4.939e-06 | 371.5 | 6.8931
353 | 2.407e-05 | 372.5 | 7.3063
353.5 | 2.159e-05 | 373.5 | 6.8517
354 | 1.488e-05 | 374.5 | 6.803
354.5 | 3.81e-06 | 375 | 7.3128
355 | 1.393e-05 | 376 | 7.0127
355.5 | -1.423e-05 | 376.5 | 6.833
356 | 4.886e-06 | 377 | 7.1965
356.5 | 1.45e-06 | 377.5 | 7.7399
357 | -7.694e-06 | 378 | 7.2599
357.5 | -2.6e-05 | 378.5 | 6.6256
358 | 2.306e-06 | 379 | 6.2198
358.5 | -5.802e-06 | 379.5 | 6.4381
359 | 4.414e-06 | 380 | 6.4864
359.5 | 7.698e-06 | 380.5 | 6.5429
360 | 6.183e-07 | 381 | 7.4332
360.5 | 2.855e-06 | 382 | 7.7518
361 | 2.597e-05 | 383 | 7.0401
361.5 | 1.108e-05 | 384 | 7.1134
362 | -9.65e-06 | 384.5 | 6.7201
362.5 | -5.222e-06 | 385 | 6.7881
363 | 5.508e-06 | 385.5 | 7.3427
363.5 | 1.023e-05 | 386.5 | 7.8336
364 | 2.111e-05 | 387 | 6.7335
364.5 | 1.094e-05 | 387.5 | 6.8184
365 | 1.179e-05 | 388 | 6.8297
365.5 | -1.504e-05 | 388.5 | 8.2602
366 | -2.334e-05 | 389 | 7.8517
366.5 | 1.03e-05 | 389.5 | 6.7572
367 | -5.426e-06 | 390 | 6.6985
367.5 | 5.984e-06 | 390.5 | 8.3104
368 | 8.871e-06 | 391 | 7.0492
368.5 | 8.234e-06 | 392 | 7.3008
369 | 7.655e-06 | 393 | 7.6996
369.5 | -2.072e-06 | 393.5 | 7.0767
370 | -1.071e-05 | 394.5 | 6.9574
370.5 | 6.453e-06 | 395 | 6.8453
371 | 1.28e-06 | 395.5 | 6.7695
371.5 | 1.279e-05 | 396 | 7.551
372 | -4.806e-06 | 397.5 | 6.9122
372.5 | 4.94e-06 | 398 | 6.9245
373 | -7.569e-07 | 398.5 | 7.2203
373.5 | 1.407e-05 | 399 | 8.1487
374 | -4.353e-06 | 399.5 | 7.7942
374.5 | 1.574e-05 | 400 | 6.9469
375 | 4.866e-06 | 400.5 | 7.138
375.5 | -1.672e-06 | 401.5 | 7.5116
376 | 9.711e-06 | 402 | 7.413
376.5 | 1.469e-05 | 403 | 7.4065
377 | 6.36e-06 | 404 | 8.3093
377.5 | 1.82e-06 | 406 | 6.6686
378 | 5.496e-06 | 406.5 | 7.0667
378.5 | 2.368e-05 | 407 | 6.6247
379 | 6.029e-05 | 407.5 | 6.297
379.5 | 3.647e-05 | 408 | 5.9359
380 | 3.263e-05 | 408.5 | 5.8526
380.5 | 2.865e-05 | 409 | 5.9481
381 | 3.688e-06 | 409.5 | 6.1052
381.5 | -8.655e-06 | 410 | 6.4104
382 | 1.771e-06 | 410.5 | 6.5962
382.5 | -4.88e-06 | 411 | 6.4026
383 | 9.117e-06 | 411.5 | 6.4041
383.5 | -2.491e-06 | 412 | 6.2018
384 | 7.702e-06 | 412.5 | 6.0846
384.5 | 1.905e-05 | 413 | 6.2073
385 | 1.629e-05 | 413.5 | 6.766
385.5 | 4.543e-06 | 414 | 7.6972
386 | -1.381e-05 | 415 | 7.1644
386.5 | 1.467e-06 | 415.5 | 6.706
387 | 1.847e-05 | 416 | 7.0437
387.5 | 1.519e-05 | 416.5 | 7.3389
388 | 1.48e-05 | 417 | 6.9905
388.5 | 5.493e-07 | 417.5 | 6.3939
389 | 1.407e-06 | 418 | 6.1803
389.5 | 1.749e-05 | 418.5 | 6.0705
390 | 2.002e-05 | 419 | 6.3781
390.5 | 4.893e-07 | 419.5 | 6.9846
391 | 8.93e-06 | 420 | 7.3029
391.5 | -1.027e-05 | 420.5 | 7.0972
392 | 5.003e-06 | 423 | 7.5235
392.5 | -3.311e-06 | 424.5 | 7.1217
393 | 1.997e-06 | 425 | 6.9726
393.5 | 8.381e-06 | 425.5 | 6.7265
394 | -3.859e-06 | 426 | 6.8063
394.5 | 1.103e-05 | 426.5 | 7.5286
395 | 1.428e-05 | 427 | 7.0797
395.5 | 1.7e-05 | 427.5 | 6.7445
396 | 2.812e-06 | 428 | 6.7493
396.5 | -2.973e-07 | 428.5 | 6.7711
397 | -8.906e-06 | 429 | 7.1882
397.5 | 1.224e-05 | 430 | 6.9863
398 | 1.19e-05 | 430.5 | 7.2136
398.5 | 6.022e-06 | 431 | 7.2464
399 | 7.1e-07 | 432.5 | 7.0116
399.5 | 1.606e-06 | 434.5 | 7.4981
400 | 1.13e-05 | 436 | 6.4817
400.5 | 7.278e-06 | 436.5 | 6.1389
401 | -1.02e-06 | 437 | 5.942
401.5 | 3.079e-06 | 437.5 | 5.8354
402 | 3.864e-06 | 438 | 5.794
402.5 | -3.951e-06 | 438.5 | 6.0555
403 | 3.922e-06 | 439 | 6.8844
403.5 | -2.573e-06 | 439.5 | 7.3261
404 | 4.906e-07 | 441.5 | 7.8661
404.5 | -2.236e-06 | 442 | 7.3254
405 | -4.3e-06 | 442.5 | 7.3463
405.5 | -5.187e-06 | 443 | 8.3359
406 | 2.145e-05 | 443.5 | 7.5336
406.5 | 8.576e-06 | 444 | 7.581
407 | 2.373e-05 | 444.5 | 7.4781
407.5 | 5.047e-05 | 445.5 | 7.1887
408 | 0.0001159 | 446 | 7.1096
408.5 | 0.0001404 | 446.5 | 7.345
409 | 0.0001127 | 447.5 | 7.0514
409.5 | 7.849e-05 | 448.5 | 7.2889
410 | 3.887e-05 | 449 | 7.0248
410.5 | 2.534e-05 | 449.5 | 7.2634
411 | 3.957e-05 | 450 | 7.0215
411.5 | 3.944e-05 | 450.5 | 7.4389
412 | 6.284e-05 | 451.5 | 7.4533
412.5 | 8.231e-05 | 452 | 6.5002
413 | 6.205e-05 | 452.5 | 6.1829
413.5 | 1.714e-05 | 453 | 6.1799
414 | 2.008e-06 | 453.5 | 6.4506
414.5 | -7.411e-07 | 454 | 6.659
415 | 6.849e-06 | 454.5 | 6.5158
415.5 | 1.968e-05 | 455 | 6.0778
416 | 9.042e-06 | 455.5 | 5.6392
416.5 | 4.582e-06 | 456 | 5.5452
417 | 1.022e-05 | 456.5 | 5.8072
417.5 | 4.037e-05 | 457 | 6.3808
418 | 6.602e-05 | 457.5 | 6.9147
418.5 | 8.502e-05 | 458.5 | 6.9961
419 | 4.187e-05 | 459 | 7.0733
419.5 | 1.036e-05 | 459.5 | 6.5981
420 | 4.979e-06 | 460 | 6.3056
420.5 | 7.994e-06 | 460.5 | 6.1906
421 | -2.489e-06 | 461 | 6.1379
421.5 | -5.552e-06 | 461.5 | 6.6369
422 | -2.898e-06 | 462 | 6.5835
422.5 | -1.591e-06 | 462.5 | 6.7359
423 | 2.996e-06 | 463 | 7.0051
423.5 | -2.335e-06 | 463.5 | 6.6371
424 | -5.551e-06 | 464 | 6.5646
424.5 | 7.556e-06 | 464.5 | 6.4546
425 | 1.065e-05 | 465 | 6.3676
425.5 | 1.877e-05 | 465.5 | 6.6486
426 | 1.562e-05 | 466 | 7.1307
426.5 | 2.961e-06 | 466.5 | 7.2203
427 | 8.324e-06 | 467.5 | 6.6706
427.5 | 1.801e-05 | 468 | 6.3143
428 | 1.781e-05 | 468.5 | 6.4209
428.5 | 1.694e-05 | 469 | 6.5084
429 | 6.484e-06 | 469.5 | 6.8854
429.5 | -1.074e-05 | 470 | 7.278
430 | 1.032e-05 | 470.5 | 6.8292
430.5 | 6.115e-06 | 471 | 6.9076
431 | 5.67e-06 | 471.5 | 7.1374
431.5 | -8.769e-07 | 472 | 7.4849
432 | -1.101e-06 | 472.5 | 7.0659
432.5 | 9.736e-06 | 473 | 6.7414
433 | -5.671e-06 | 473.5 | 6.9931
433.5 | -3.007e-06 | 474.5 | 7.1464
434 | -4.262e-06 | 475 | 7.0814
434.5 | 3.176e-06 | 475.5 | 6.7265
435 | -3.54e-06 | 476 | 6.5682
435.5 | -2.713e-06 | 476.5 | 6.8684
436 | 3.298e-05 | 477 | 7.1142
436.5 | 7.263e-05 | 477.5 | 6.8918
437 | 0.0001143 | 478 | 7.2468
437.5 | 0.0001461 | 478.5 | 7.2378
438 | 0.0001607 | 479 | 7.0402
438.5 | 8.8e-05 | 479.5 | 6.7662
439 | 1.305e-05 | 480 | 6.6934
439.5 | 4.72e-06 | 480.5 | 6.2991
440 | -1.352e-05 | 481 | 6.1447
440.5 | -1.028e-05 | 481.5 | 6.0129
441 | -1.022e-06 | 482 | 6.1334
441.5 | 1.361e-06 | 482.5 | 6.2232
442 | 4.727e-06 | 483 | 6.6468
442.5 | 4.505e-06 | 483.5 | 7.1966
443 | 4.614e-07 | 484 | 6.9735
443.5 | 2.927e-06 | 484.5 | 7.5634
444 | 2.624e-06 | 485 | 7.0983
444.5 | 3.326e-06 | 485.5 | 7.0282
445 | -2.96e-06 | 486 | 7.2411
445.5 | 6.476e-06 | 486.5 | 7.0921
446 | 7.77e-06 | 487 | 7.0799
446.5 | 4.518e-06 | 487.5 | 6.9618
447 | -5.353e-06 | 488 | 7.0134
447.5 | 8.883e-06 | 488.5 | 7.073
448 | -3.367e-06 | 489 | 6.8914
448.5 | 5.141e-06 | 489.5 | 6.7433
449 | 9.445e-06 | 490 | 7.0428
449.5 | 5.453e-06 | 490.5 | 6.6351
450 | 9.517e-06 | 491 | 7.1663
450.5 | 3.64e-06 | 491.5 | 6.8661
451 | -8.975e-06 | 492 | 6.4083
451.5 | 3.521e-06 | 492.5 | 6.3277
452 | 3.161e-05 | 493 | 6.2917
452.5 | 6.563e-05 | 493.5 | 6.3671
453 | 6.609e-05 | 494 | 6.5741
453.5 | 3.543e-05 | 494.5 | 6.6343
454 | 2.193e-05 | 495 | 6.5361
454.5 | 3.049e-05 | 495.5 | 6.3737
455 | 8.359e-05 | 496 | 6.1427
455.5 | 0.0002295 | 496.5 | 6.0318
456 | 0.000285 | 497 | 6.0473
456.5 | 0.0001559 | 497.5 | 5.9927
457 | 4.161e-05 | 498 | 6.0709
457.5 | 1.217e-05 | 498.5 | 6.0686
458 | -3.415e-08 | 499 | 6.4453
458.5 | 1.009e-05 | 499.5 | 6.8147
459 | 8.447e-06 | 500 | 7.5143
459.5 | 2.523e-05 | 501 | 7.146
460 | 4.948e-05 | 501.5 | 6.9562
460.5 | 6.447e-05 | 502 | 7.1965
461 | 7.279e-05 | 502.5 | 7.0333
461.5 | 2.307e-05 | 503 | 6.8658
462 | 2.609e-05 | 503.5 | 6.5585
462.5 | 1.837e-05 | 504 | 6.511
463 | 9.884e-06 | 504.5 | 6.6262
463.5 | 2.306e-05 | 505 | 6.8133
464 | 2.725e-05 | 505.5 | 6.714
464.5 | 3.511e-05 | 506 | 6.5114
465 | 4.289e-05 | 506.5 | 6.3297
465.5 | 2.246e-05 | 507 | 6.2658
466 | 7.401e-06 | 507.5 | 6.2964
466.5 | 6.021e-06 | 508 | 6.5137
467 | -3.509e-07 | 508.5 | 6.6101
467.5 | 2.135e-05 | 509 | 6.9825
468 | 4.85e-05 | 509.5 | 7.095
468.5 | 3.794e-05 | 510 | 6.8687
469 | 3.102e-05 | 510.5 | 6.5251
469.5 | 1.302e-05 | 511 | 6.2259
470 | 5.272e-06 | 511.5 | 6.2025
470.5 | 1.482e-05 | 512 | 6.2353
471 | 1.237e-05 | 512.5 | 6.3012
471.5 | 7.288e-06 | 513 | 6.2388
472 | 3.274e-06 | 513.5 | 6.0851
472.5 | 8.592e-06 | 514 | 5.8639
473 | 1.814e-05 | 514.5 | 5.7846
473.5 | 1.016e-05 | 515 | 6.0019
474 | -7.636e-06 | 515.5 | 6.4108
474.5 | 7.138e-06 | 516 | 6.7635
475 | 8.291e-06 | 516.5 | 7.0052
475.5 | 1.877e-05 | 517 | 6.8348
476 | 2.703e-05 | 517.5 | 6.7825
476.5 | 1.354e-05 | 518 | 6.8589
477 | 7.687e-06 | 518.5 | 6.9763
477.5 | 1.283e-05 | 519 | 6.4093
478 | 5.665e-06 | 519.5 | 6.3152
478.5 | 5.784e-06 | 520 | 6.3047
479 | 9.115e-06 | 520.5 | 6.6612
479.5 | 1.713e-05 | 522 | 7.6196
480 | 2.026e-05 | 523 | 8.0888
480.5 | 5.022e-05 | 523.5 | 7.3642
481 | 7.167e-05 | 526 | 7.6619
481.5 | 9.708e-05 | 527 | 7.2452
482 | 7.356e-05 | 527.5 | 6.7857
482.5 | 5.981e-05 | 528 | 6.6343
483 | 2.255e-05 | 528.5 | 6.2372
483.5 | 6.359e-06 | 529 | 6.5555
484 | 1.063e-05 | 529.5 | 6.5327
484.5 | 2.733e-06 | 530 | 6.9094
485 | 7.975e-06 | 530.5 | 6.9825
485.5 | 9.371e-06 | 531 | 6.8709
486 | 5.74e-06 | 531.5 | 6.7394
486.5 | 8.09e-06 | 532 | 6.3292
487 | 8.319e-06 | 532.5 | 6.2346
487.5 | 1.092e-05 | 533 | 6.1157
488 | 9.697e-06 | 533.5 | 6.0846
488.5 | 8.452e-06 | 534 | 6.1392
489 | 1.284e-05 | 534.5 | 6.1055
489.5 | 1.806e-05 | 535 | 6.1283
490 | 9.062e-06 | 535.5 | 6.0595
490.5 | 2.317e-05 | 536 | 6.079
491 | 6.818e-06 | 536.5 | 6.038
491.5 | 1.361e-05 | 537 | 5.9884
492 | 3.906e-05 | 537.5 | 6.036
492.5 | 4.702e-05 | 538 | 5.9397
493 | 5.109e-05 | 538.5 | 5.9256
493.5 | 4.294e-05 | 539 | 5.9169
494 | 2.666e-05 | 539.5 | 5.9423
494.5 | 2.321e-05 | 540 | 6.1231
495 | 2.91e-05 | 540.5 | 6.2136
495.5 | 4.23e-05 | 541 | 6.3273
496 | 7.2e-05 | 541.5 | 6.2778
496.5 | 9.294e-05 | 542 | 6.0209
497 | 8.967e-05 | 542.5 | 6.0603
497.5 | 0.0001017 | 543 | 6.154
498 | 8.494e-05 | 543.5 | 6.379
498.5 | 8.538e-05 | 544 | 6.6733
499 | 3.587e-05 | 544.5 | 6.5549
499.5 | 1.532e-05 | 545 | 6.8277
500 | 3.06e-06 | 545.5 | 6.9179
500.5 | -2.08e-06 | 546 | 6.6203
501 | 7.145e-06 | 546.5 | 6.3062
501.5 | 1.106e-05 | 547 | 6.1068
502 | 6.361e-06 | 547.5 | 6.1319
502.5 | 9.262e-06 | 548 | 6.5452
503 | 1.362e-05 | 548.5 | 6.8248
503.5 | 2.764e-05 | 549 | 7.7428
504 | 3.083e-05 | 549.5 | 7.0691
504.5 | 2.365e-05 | 550 | 7.0983
505 | 1.537e-05 | 551.5 | 7.3427
505.5 | 1.932e-05 | 552 | 7.527
506 | 3.08e-05 | 552.5 | 6.994
506.5 | 4.681e-05 | 553 | 7.7084
507 | 5.422e-05 | 553.5 | 7.5325
507.5 | 5.054e-05 | 554 | 6.7104
508 | 3.064e-05 | 554.5 | 7.8834
508.5 | 2.454e-05 | 555 | 7.0574
509 | 1.041e-05 | 555.5 | 6.8784
509.5 | 8.035e-06 | 556 | 6.9905
510 | 1.353e-05 | 556.5 | 7.3686
510.5 | 2.985e-05 | 557 | 7.2047
511 | 5.944e-05 | 558 | 7.035
511.5 | 6.273e-05 | 558.5 | 7.126
512 | 5.817e-05 | 559 | 6.8827
512.5 | 4.998e-05 | 559.5 | 6.7929
513 | 5.77e-05 | 560 | 6.5415
513.5 | 8.22e-05 | 560.5 | 6.3571
514 | 0.0001368 | 561 | 6.1894
514.5 | 0.0001642 | 561.5 | 5.8383
515 | 9.956e-05 | 562 | 5.4928
515.5 | 3.883e-05 | 562.5 | 5.1976
516 | 1.724e-05 | 563 | 4.8099
516.5 | 9.88e-06 | 563.5 | 4.3723
517 | 1.463e-05 | 564 | 3.8592
517.5 | 1.65e-05 | 564.5 | 3.3151
518 | 1.384e-05 | 565 | 2.7053
518.5 | 1.056e-05 | 565.5 | 1.9622
519 | 3.897e-05 | 566 | 1.1757
519.5 | 4.84e-05 | 566.5 | 0.573
520 | 4.958e-05 | 567 | 0.2423
520.5 | 2.182e-05 | 567.5 | 0.10607
521 | -1.108e-06 | 568 | 0.06677
521.5 | -1.743e-07 | 568.5 | 0.04755
522 | 2.401e-06 | 569 | 0.02961
522.5 | -9.131e-06 | 569.5 | 0.01516
523 | 8.151e-07 | 570 | 0.00546
523.5 | 4.323e-06 | 570.5 | 0.00174
524 | -8.898e-06 | 571 | 0.00122
524.5 | -1.056e-06 | 571.5 | 0.00135
525 | -8.548e-06 | 572 | 0.002
525.5 | -2.68e-06 | 572.5 | 0.00445
526 | 2.178e-06 | 573 | 0.00838
526.5 | -6.883e-07 | 573.5 | 0.00975
527 | 5.686e-06 | 574 | 0.00807
527.5 | 1.638e-05 | 574.5 | 0.00454
528 | 2.321e-05 | 575 | 0.00144
528.5 | 5.792e-05 | 575.5 | 0.00104
529 | 2.783e-05 | 576 | 0.00314
529.5 | 2.933e-05 | 576.5 | 0.00445
530 | 1.232e-05 | 577 | 0.00432
530.5 | 1.041e-05 | 577.5 | 0.00358
531 | 1.346e-05 | 578 | 0.00165
531.5 | 1.822e-05 | 578.5 | 0.00126
532 | 4.686e-05 | 579 | 0
532.5 | 5.826e-05 | 579.5 | 0.00022
533 | 7.661e-05 | 580 | 0.00104
533.5 | 8.231e-05 | 580.5 | 0.00196
534 | 7.258e-05 | 581 | 0.00362
534.5 | 7.844e-05 | 581.5 | 0.00358
535 | 7.443e-05 | 582 | 0.00415
535.5 | 8.72e-05 | 582.5 | 0.00406
536 | 8.337e-05 | 583 | 0.00283
536.5 | 9.163e-05 | 583.5 | 0.00235
537 | 0.0001027 | 584 | 0.00305
537.5 | 9.204e-05 | 584.5 | 0.00511
538 | 0.0001149 | 585 | 0.00962
538.5 | 0.0001187 | 585.5 | 0.01011
539 | 0.0001211 | 586 | 0.00855
539.5 | 0.0001142 | 586.5 | 0.00432
540 | 7.532e-05 | 587 | 0.00205
540.5 | 6.115e-05 | 587.5 | 0.00288
541 | 4.707e-05 | 588 | 0.00723
541.5 | 5.275e-05 | 588.5 | 0.01233
542 | 9.53e-05 | 589 | 0.01484
542.5 | 8.704e-05 | 589.5 | 0.01345
543 | 7.015e-05 | 590 | 0.01251
543.5 | 4.178e-05 | 590.5 | 0.01122
544 | 2.122e-05 | 591 | 0.01211
544.5 | 2.787e-05 | 591.5 | 0.01149
545 | 1.487e-05 | 592 | 0.0086
545.5 | 1.208e-05 | 592.5 | 0.00709
546 | 2.397e-05 | 593 | 0.02264
546.5 | 4.941e-05 | 593.5 | 0.0653
547 | 7.819e-05 | 594 | 0.11407
547.5 | 7.38e-05 | 594.5 | 0.13978
548 | 2.85e-05 | 595 | 0.2374
548.5 | 1.497e-05 | 595.5 | 0.54806
549 | 1.808e-06 | 596 | 1.5436
549.5 | 8.528e-06 | 596.5 | 2.0997
550 | 7.974e-06 | 597 | 2.83
550.5 | -8.984e-07 | 597.5 | 3.4468
551 | -3.611e-06 | 598 | 3.988
551.5 | 4.543e-06 | 598.5 | 4.4735
552 | 2.972e-06 | 599 | 4.9066
552.5 | 1.014e-05 | 599.5 | 5.2762
553 | 1.957e-06 | 600 | 5.6284
553.5 | 2.934e-06 | 600.5 | 5.9598
554 | 1.948e-05 | 601 | 6.1306
554.5 | 1.308e-06 | 601.5 | 6.4489
555 | 8.762e-06 | 602 | 6.7082
555.5 | 1.323e-05 | 602.5 | 6.7685
556 | 1.022e-05 | 603 | 6.7981
556.5 | 4.28e-06 | 603.5 | 7.3567
557 | 6.241e-06 | 604 | 7.1685
557.5 | -1.532e-06 | 606 | 7.6842
558 | 9.225e-06 | 606.5 | 7.2308
558.5 | 7.482e-06 | 607 | 7.4439
559 | 1.31e-05 | 608 | 7.9776
559.5 | 1.611e-05 | 609.5 | 7.0829
560 | 2.874e-05 | 610 | 8.4179
560.5 | 4.394e-05 | 613.5 | 6.9961
561 | 6.465e-05 | 614 | 7.0367
561.5 | 0.0001451 | 614.5 | 7.1751
562 | 0.0003215 | 615.5 | 7.9285
562.5 | 0.0006345 | 616 | 7.0355
563 | 0.001549 | 617.5 | 7.3551
563.5 | 0.004243 | 619 | 7.0214
564 | 0.01383 | 619.5 | 6.9682
564.5 | 0.04841 | 620 | 6.6417
565 | 0.1971 | 620.5 | 6.1081
565.5 | 1.091 | 621 | 5.9183
566 | 6.673 | 621.5 | 5.9201
566.5 | 26.73 | 622 | 6.3163
567 | 57.24 | 622.5 | 7.0023
567.5 | 78.33 | 623.5 | 7.4441
568 | 85.75 | 624 | 7.9851
568.5 | 89.63 | 625.5 | 6.9702
569 | 93.41 | 626 | 7.1083
569.5 | 96.57 | 626.5 | 7.9393
570 | 98.75 | 627 | 6.7642
570.5 | 99.6 | 627.5 | 7.0112
571 | 99.72 | 628 | 6.7729
571.5 | 99.69 | 628.5 | 6.6654
572 | 99.54 | 629 | 6.7926
572.5 | 98.98 | 629.5 | 6.4841
573 | 98.09 | 630 | 6.5406
573.5 | 97.78 | 630.5 | 6.6105
574 | 98.16 | 631 | 6.4974
574.5 | 98.96 | 631.5 | 6.3032
575 | 99.67 | 632 | 6.1357
575.5 | 99.76 | 632.5 | 5.978
576 | 99.28 | 633 | 5.7688
576.5 | 98.98 | 633.5 | 5.5889
577 | 99.01 | 634 | 5.4725
577.5 | 99.18 | 634.5 | 5.5743
578 | 99.62 | 635 | 5.6917
578.5 | 99.71 | 635.5 | 5.9194
579 | 100 | 636 | 6.1194
579.5 | 99.95 | 636.5 | 6.1764
580 | 99.76 | 637 | 6.3499
580.5 | 99.55 | 637.5 | 6.4857
581 | 99.17 | 638 | 6.4337
581.5 | 99.18 | 638.5 | 6.4617
582 | 99.05 | 639 | 6.5275
582.5 | 99.07 | 639.5 | 6.4678
583 | 99.35 | 640 | 6.6351
583.5 | 99.46 | 640.5 | 6.3461
584 | 99.3 | 641 | 6.3534
584.5 | 98.83 | 641.5 | 6.2869
585 | 97.81 | 642 | 6.365
585.5 | 97.7 | 642.5 | 6.345
586 | 98.05 | 643 | 6.145
586.5 | 99.01 | 643.5 | 6.1373
587 | 99.53 | 644 | 6.1242
587.5 | 99.34 | 644.5 | 5.8996
588 | 98.35 | 645 | 5.9859
588.5 | 97.2 | 645.5 | 5.9543
589 | 96.64 | 646 | 5.983
589.5 | 96.95 | 646.5 | 6.0379
590 | 97.16 | 647 | 6.1834
590.5 | 97.45 | 647.5 | 6.1691
591 | 97.25 | 648 | 6.3642
591.5 | 97.39 | 648.5 | 6.3844
592 | 98.04 | 649 | 6.586
592.5 | 98.38 | 649.5 | 6.5983
593 | 94.92 | 650 | 6.4831
593.5 | 86.04 | 650.5 | 6.524
594 | 76.9 | 651 | 6.568
594.5 | 72.48 | 651.5 | 6.5414
595 | 57.89 | 652 | 6.4905
595.5 | 28.31 | 652.5 | 6.5748
596 | 2.86 | 653 | 6.7817
596.5 | 0.7949 | 653.5 | 6.6979
597 | 0.1479 | 654 | 6.3889
597.5 | 0.03574 | 654.5 | 6.4817
598 | 0.01028 | 655 | 6.3391
598.5 | 0.003361 | 655.5 | 6.3472
599 | 0.00124 | 656 | 6.2731
599.5 | 0.0005294 | 656.5 | 6.2407
600 | 0.0002353 | 657 | 6.1254
600.5 | 0.0001097 | 657.5 | 6.1274
601 | 7.403e-05 | 658 | 6.0884
601.5 | 3.557e-05 | 658.5 | 6.0997
602 | 1.958e-05 | 659 | 6.1988
602.5 | 1.704e-05 | 659.5 | 6.2347
603 | 1.592e-05 | 660 | 6.2716
603.5 | 4.398e-06 | 660.5 | 6.2694
604 | 6.784e-06 | 661 | 6.4739
604.5 | -1.826e-06 | 661.5 | 6.5558
605 | -6.247e-06 | 662 | 6.4576
605.5 | -2.381e-06 | 662.5 | 6.5773
606 | 2.069e-06 | 663 | 6.7862
606.5 | 5.877e-06 | 663.5 | 7.0098
607 | 3.598e-06 | 664 | 6.9558
607.5 | -3.001e-06 | 664.5 | 7.1801
608 | 1.053e-06 | 665 | 6.8303
608.5 | -5.268e-06 | 665.5 | 7.2661
609 | -8.869e-06 | 666 | 7.3209
609.5 | 8.262e-06 | 666.5 | 6.9578
610 | 3.82e-07 | 667 | 7.4303
610.5 | -5.791e-06 | 667.5 | 7.0544
611 | -1.834e-07 | 668 | 6.7018
611.5 | -5.837e-06 | 668.5 | 6.4825
612 | -3.74e-06 | 669 | 6.6064
612.5 | -4.46e-06 | 669.5 | 6.2094
613 | -7.293e-08 | 670 | 5.8831
613.5 | 1.009e-05 | 670.5 | 5.5935
614 | 9.189e-06 | 671 | 5.5683
614.5 | 6.682e-06 | 671.5 | 5.6643
615 | -1.43e-06 | 672 | 5.9901
615.5 | 1.179e-06 | 672.5 | 6.2845
616 | 9.215e-06 | 673 | 6.338
616.5 | -4.665e-06 | 673.5 | 6.7854
617 | -1.461e-05 | 674 | 6.4919
617.5 | 4.415e-06 | 674.5 | 6.7409
618 | -5.213e-06 | 675 | 7.2828
618.5 | -4.035e-06 | 675.5 | 6.6994
619 | 9.519e-06 | 676 | 7.1923
619.5 | 1.076e-05 | 676.5 | 6.9923
620 | 2.282e-05 | 677 | 7.0308
620.5 | 7.797e-05 | 677.5 | 7.0333
621 | 0.0001207 | 678 | 6.6123
621.5 | 0.0001202 | 678.5 | 6.6187
622 | 4.827e-05 | 679 | 6.8164
622.5 | 9.946e-06 | 679.5 | 6.9226
623 | -1.793e-06 | 680 | 6.8891
623.5 | 3.597e-06 | 680.5 | 6.9363
624 | 1.035e-06 | 681 | 6.7778
624.5 | -7.404e-06 | 681.5 | 6.8778
625 | -4.314e-06 | 682 | 6.7937
625.5 | 1.071e-05 | 682.5 | 6.7058
626 | 7.793e-06 | 683 | 6.6405
626.5 | 1.15e-06 | 683.5 | 6.6529
627 | 1.721e-05 | 684 | 6.6043
627.5 | 9.746e-06 | 684.5 | 6.6478
628 | 1.687e-05 | 685 | 6.5166
628.5 | 2.161e-05 | 685.5 | 6.7331
629 | 1.612e-05 | 686 | 6.5514
629.5 | 3.28e-05 | 686.5 | 6.4861
630 | 2.88e-05 | 687 | 6.5993
630.5 | 2.452e-05 | 687.5 | 6.4878
631 | 3.181e-05 | 688 | 6.2791
631.5 | 4.975e-05 | 688.5 | 6.2521
632 | 7.317e-05 | 689 | 6.0198
632.5 | 0.0001052 | 689.5 | 5.9788
633 | 0.0001703 | 690 | 5.9055
633.5 | 0.0002577 | 690.5 | 5.8824
634 | 0.0003369 | 691 | 5.8395
634.5 | 0.0002665 | 691.5 | 5.967
635 | 0.0002034 | 692 | 5.9855
635.5 | 0.0001204 | 692.5 | 6.1318
636 | 7.596e-05 | 693 | 6.3018
636.5 | 6.662e-05 | 693.5 | 6.4352
637 | 4.468e-05 | 694 | 6.7783
637.5 | 3.268e-05 | 694.5 | 6.3791
638 | 3.684e-05 | 695 | 6.3807
638.5 | 3.454e-05 | 695.5 | 6.36
639 | 2.968e-05 | 696 | 6.3985
639.5 | 3.406e-05 | 696.5 | 6.308
640 | 2.317e-05 | 697 | 6.2451
640.5 | 4.507e-05 | 697.5 | 6.3768
641 | 4.432e-05 | 698 | 6.0675
641.5 | 5.165e-05 | 698.5 | 6.0343
642 | 4.315e-05 | 699 | 5.9504
642.5 | 4.519e-05 | 699.5 | 5.8077
643 | 7.162e-05 | 700 | 5.7739
643.5 | 7.289e-05 | 700.5 | 5.8564
644 | 7.512e-05 | 701 | 5.8834
644.5 | 0.000126 | 701.5 | 5.9382
645 | 0.0001033 | 702 | 6.0619
645.5 | 0.0001111 | 702.5 | 6.0746
646 | 0.000104 | 703 | 6.0888
646.5 | 9.164e-05 | 703.5 | 6.2852
647 | 6.555e-05 | 704 | 6.1313
647.5 | 6.775e-05 | 704.5 | 6.2686
648 | 4.323e-05 | 705 | 6.1149
648.5 | 4.127e-05 | 705.5 | 6.1398
649 | 2.594e-05 | 706 | 6.2299
649.5 | 2.522e-05 | 706.5 | 6.2789
650 | 3.288e-05 | 707 | 6.5303
650.5 | 2.992e-05 | 707.5 | 6.2886
651 | 2.704e-05 | 708 | 6.236
651.5 | 2.875e-05 | 708.5 | 6.2011
652 | 3.232e-05 | 709 | 6.1741
652.5 | 2.662e-05 | 709.5 | 6.2605
653 | 1.653e-05 | 710 | 6.2591
653.5 | 2.005e-05 | 710.5 | 6.1691
654 | 4.084e-05 | 711 | 6.1339
654.5 | 3.298e-05 | 711.5 | 6.2218
655 | 4.58e-05 | 712 | 6.3219
655.5 | 4.496e-05 | 712.5 | 6.1732
656 | 5.332e-05 | 713 | 6.186
656.5 | 5.745e-05 | 713.5 | 6.267
657 | 7.492e-05 | 714 | 6.3343
657.5 | 7.458e-05 | 714.5 | 6.2592
658 | 8.159e-05 | 715 | 6.5046
658.5 | 7.949e-05 | 715.5 | 6.1832
659 | 6.327e-05 | 716 | 6.1291
659.5 | 5.825e-05 | 716.5 | 6.3678
660 | 5.351e-05 | 717 | 6.4707
660.5 | 5.378e-05 | 717.5 | 6.2163
661 | 3.358e-05 | 718 | 6.1302
661.5 | 2.781e-05 | 718.5 | 6.195
662 | 3.487e-05 | 719 | 5.9614
662.5 | 2.647e-05 | 719.5 | 5.8094
663 | 1.636e-05 | 720 | 5.6582
663.5 | 9.776e-06 | 720.5 | 5.5608
664 | 1.107e-05 | 721 | 5.4487
664.5 | 6.606e-06 | 721.5 | 5.6339
665 | 1.478e-05 | 722 | 5.9205
665.5 | 5.419e-06 | 722.5 | 5.971
666 | 4.776e-06 | 723 | 6.0957
666.5 | 1.102e-05 | 723.5 | 6.2981
667 | 3.713e-06 | 724 | 6.2399
667.5 | 8.823e-06 | 724.5 | 6.6338
668 | 1.987e-05 | 725 | 6.5265
668.5 | 3.292e-05 | 725.5 | 6.9115
669 | 2.475e-05 | 726 | 7.4624
669.5 | 6.175e-05 | 727 | 6.5707
670 | 0.0001309 | 727.5 | 6.7149
670.5 | 0.000255 | 728 | 6.5538
671 | 0.0002702 | 728.5 | 6.6328
671.5 | 0.0002166 | 729 | 6.7533
672 | 0.0001023 | 729.5 | 6.8303
672.5 | 5.194e-05 | 730 | 6.7064
673 | 4.592e-05 | 730.5 | 6.5352
673.5 | 1.639e-05 | 731 | 6.4678
674 | 3.222e-05 | 731.5 | 6.3241
674.5 | 1.816e-05 | 732 | 6.5894
675 | 5.214e-06 | 732.5 | 6.3378
675.5 | 1.998e-05 | 733 | 6.3202
676 | 6.422e-06 | 733.5 | 5.9788
676.5 | 1.018e-05 | 734 | 5.8339
677 | 9.316e-06 | 734.5 | 5.7295
677.5 | 9.261e-06 | 735 | 5.7604
678 | 2.442e-05 | 735.5 | 6.0308
678.5 | 2.406e-05 | 736 | 6.034
679 | 1.526e-05 | 736.5 | 6.0026
679.5 | 1.195e-05 | 737 | 6.6165
680 | 1.291e-05 | 737.5 | 6.4782
680.5 | 1.158e-05 | 738 | 6.2678
681 | 1.668e-05 | 738.5 | 6.4813
681.5 | 1.325e-05 | 739 | 6.7014
682 | 1.608e-05 | 739.5 | 6.3572
682.5 | 1.969e-05 | 740 | 6.4034
683 | 2.288e-05 | 740.5 | 6.6994
683.5 | 2.224e-05 | 741 | 6.6906
684 | 2.487e-05 | 741.5 | 6.7703
684.5 | 2.25e-05 | 742 | 7.173
685 | 3.044e-05 | 742.5 | 6.8365
685.5 | 1.849e-05 | 743 | 6.7252
686 | 2.809e-05 | 743.5 | 6.5105
686.5 | 3.265e-05 | 744 | 6.5574
687 | 2.516e-05 | 744.5 | 6.4511
687.5 | 3.252e-05 | 745 | 6.4313
688 | 5.259e-05 | 745.5 | 6.7775
688.5 | 5.596e-05 | 746 | 6.4662
689 | 9.554e-05 | 746.5 | 6.7385
689.5 | 0.000105 | 747 | 6.4524
690 | 0.0001243 | 747.5 | 6.4966
690.5 | 0.0001311 | 748 | 6.7245
691 | 0.0001447 | 748.5 | 6.3681
691.5 | 0.0001079 | 749 | 6.1517
692 | 0.0001034 | 749.5 | 6.3409
692.5 | 7.383e-05 | 750 | 6.253
693 | 4.991e-05 | 750.5 | 6.3549
693.5 | 3.671e-05 | 751 | 6.2592
694 | 1.666e-05 | 751.5 | 6.4036
694.5 | 4.177e-05 | 752 | 6.9274
695 | 4.162e-05 | 752.5 | 7.1823
695.5 | 4.365e-05 | 753 | 6.4268
696 | 3.995e-05 | 753.5 | 6.1547
696.5 | 4.92e-05 | 754 | 6.1809
697 | 5.687e-05 | 754.5 | 6.0937
697.5 | 4.2e-05 | 755 | 6.0877
698 | 8.561e-05 | 755.5 | 5.8354
698.5 | 9.24e-05 | 756 | 5.8027
699 | 0.0001121 | 756.5 | 5.5367
699.5 | 0.0001557 | 757 | 5.2936
700 | 0.0001683 | 757.5 | 5.4169
700.5 | 0.0001392 | 758 | 5.5738
701 | 0.0001308 | 758.5 | 5.7817
701.5 | 0.0001153 | 759 | 6.039
702 | 8.671e-05 | 759.5 | 6.1064
702.5 | 8.421e-05 | 760 | 6.3307
703 | 8.151e-05 | 760.5 | 6.4853
703.5 | 5.186e-05 | 761 | 6.994
704 | 7.391e-05 | 761.5 | 6.338
704.5 | 5.388e-05 | 762 | 6.9427
705 | 7.675e-05 | 762.5 | 6.7857
705.5 | 7.248e-05 | 764.5 | 6.8292
706 | 5.89e-05 | 765 | 7.7268
706.5 | 5.261e-05 | 766 | 7.1992
707 | 2.949e-05 | 766.5 | 6.4095
707.5 | 5.145e-05 | 767 | 6.6735
708 | 5.808e-05 | 767.5 | 6.5167
708.5 | 6.293e-05 | 768 | 6.2134
709 | 6.698e-05 | 768.5 | 6.1724
709.5 | 5.489e-05 | 769 | 6.073
710 | 5.507e-05 | 769.5 | 6.1752
710.5 | 6.775e-05 | 770 | 5.8898
711 | 7.347e-05 | 770.5 | 5.7252
711.5 | 6e-05 | 771 | 5.5827
712 | 4.765e-05 | 771.5 | 5.6743
712.5 | 6.711e-05 | 772 | 5.9698
713 | 6.516e-05 | 772.5 | 6.1211
713.5 | 5.407e-05 | 773 | 6.3301
714 | 4.631e-05 | 773.5 | 6.205
714.5 | 5.506e-05 | 774 | 6.311
715 | 3.129e-05 | 774.5 | 6.9442
715.5 | 6.558e-05 | 775 | 6.8398
716 | 7.429e-05 | 775.5 | 6.2769
716.5 | 4.288e-05 | 776 | 6.5998
717 | 3.383e-05 | 776.5 | 6.5036
717.5 | 6.077e-05 | 777.5 | 6.8063
718 | 7.409e-05 | 778 | 6.2742
718.5 | 6.382e-05 | 778.5 | 6.5505
719 | 0.0001093 | 779 | 6.4103
719.5 | 0.0001551 | 779.5 | 6.4664
720 | 0.0002197 | 780 | 6.2967
720.5 | 0.0002749 | 780.5 | 6.2057
721 | 0.0003559 | 781 | 6.5759
721.5 | 0.0002323 | 781.5 | 6.3201
722 | 0.0001201 | 782 | 6.2131
722.5 | 0.0001069 | 782.5 | 5.8735
723 | 8.023e-05 | 783 | 5.5989
723.5 | 5.034e-05 | 783.5 | 5.7215
724 | 5.756e-05 | 784 | 5.8233
724.5 | 2.324e-05 | 784.5 | 6.2024
725 | 2.975e-05 | 785 | 6.1755
725.5 | 1.226e-05 | 785.5 | 6.513
726 | 3.448e-06 | 786 | 6.334
726.5 | -2.054e-06 | 786.5 | 6.6007
727 | 2.687e-05 | 787 | 7.1844
727.5 | 1.928e-05 | 787.5 | 6.1987
728 | 2.794e-05 | 788 | 7.4013
728.5 | 2.329e-05 | 788.5 | 6.5902
729 | 1.765e-05 | 789 | 6.529
729.5 | 1.478e-05 | 790 | 6.9021
730 | 1.966e-05 | 790.5 | 6.3509
730.5 | 2.916e-05 | 791 | 7.0031
731 | 3.406e-05 | 791.5 | 6.4291
731.5 | 4.741e-05 | 792 | 6.0998
732 | 2.574e-05 | 792.5 | 6.4419
732.5 | 4.594e-05 | 793 | 6.901
733 | 4.784e-05 | 794 | 6.9957
733.5 | 0.000105 | 795 | 6.5786
734 | 0.0001466 | 795.5 | 6.2667
734.5 | 0.0001864 | 797 | 5.9817
735 | 0.0001736 | 797.5 | 6.0693
735.5 | 9.315e-05 | 798 | 6.6938
736 | 9.247e-05 | 798.5 | 5.9918
736.5 | 9.94e-05 | 799 | 5.9876
737 | 2.418e-05 | 799.5 | 5.6098
737.5 | 3.325e-05 | 800 | 6.0365
738 | 5.398e-05 | 800.5 | 6.064
738.5 | 3.301e-05 | 801 | 6.0934
739 | 1.989e-05 | 801.5 | 6.1166
739.5 | 4.393e-05 | 802 | 6.1409
740 | 3.95e-05 | 802.5 | 6.1835
740.5 | 1.998e-05 | 803 | 6.2308
741 | 2.039e-05 | 803.5 | 6.5109
741.5 | 1.697e-05 | 804 | 7.5405
742 | 6.715e-06 | 804.5 | 6.4613
742.5 | 1.457e-05 | 805 | 6.1787
743 | 1.883e-05 | 805.5 | 6.2077
743.5 | 3.087e-05 | 806 | 6.2389
744 | 2.771e-05 | 806.5 | 6.2543
744.5 | 3.539e-05 | 807 | 6.2703
745 | 3.704e-05 | 807.5 | 6.4088
745.5 | 1.669e-05 | 808 | 6.6137
746 | 3.418e-05 | 808.5 | 6.4576
746.5 | 1.826e-05 | 809 | 6.3429
747 | 3.529e-05 | 809.5 | 6.358
747.5 | 3.187e-05 | 810 | 6.3737
748 | 1.886e-05 | 810.5 | 6.3381
748.5 | 4.285e-05 | 811 | 6.3053
749 | 7.051e-05 | 811.5 | 6.3897
749.5 | 4.561e-05 | 812 | 6.4944
750 | 5.585e-05 | 812.5 | 6.4298
750.5 | 4.417e-05 | 813 | 6.3736
751 | 5.506e-05 | 813.5 | 6.2575
751.5 | 3.948e-05 | 814 | 6.166
752 | 1.182e-05 | 814.5 | 6.2412
752.5 | 6.572e-06 | 815 | 6.3321
753 | 3.743e-05 | 815.5 | 6.1601
753.5 | 7.003e-05 | 816 | 6.0371
754 | 6.594e-05 | 816.5 | 6.1141
754.5 | 8.06e-05 | 817 | 6.2077
755 | 8.172e-05 | 817.5 | 6.2855
755.5 | 0.0001461 | 818 | 6.3803
756 | 0.0001575 | 818.5 | 6.205
756.5 | 0.0002906 | 819 | 6.0804
757 | 0.0005086 | 819.5 | 6.2007
757.5 | 0.0003829 | 820 | 6.3675
758 | 0.0002668 | 820.5 | 6.3674
758.5 | 0.0001653 | 821 | 6.3673
759 | 9.14e-05 | 821.5 | 6.4639
759.5 | 7.827e-05 | 822 | 6.5882
760 | 4.67e-05 | 822.5 | 6.4698
760.5 | 3.271e-05 | 823 | 6.377
761 | 1.014e-05 | 823.5 | 6.2838
761.5 | 4.592e-05 | 824 | 6.207
762 | 1.141e-05 | 824.5 | 6.4117
762.5 | 1.638e-05 | 825 | 6.8119
763 | -1.568e-05 | 825.5 | 6.6381
763.5 | -1.177e-05 | 826 | 6.5143
764 | -1.128e-05 | 826.5 | 6.6769
764.5 | 1.482e-05 | 827 | 6.9401
765 | 1.876e-06 | 827.5 | 6.7176
765.5 | -1.458e-05 | 828 | 6.5714
766 | 6.322e-06 | 828.5 | 6.5642
766.5 | 3.895e-05 | 829 | 6.5569
767 | 2.121e-05 | 829.5 | 6.3598
767.5 | 3.043e-05 | 830 | 6.2248
768 | 6.118e-05 | 830.5 | 6.1749
768.5 | 6.723e-05 | 831 | 6.1301
769 | 8.453e-05 | 831.5 | 6.0196
769.5 | 6.68e-05 | 832 | 5.9314
770 | 0.0001289 | 832.5 | 5.9825
770.5 | 0.0001883 | 833 | 6.0404
771 | 0.0002614 | 833.5 | 5.9508
771.5 | 0.0002117 | 834 | 5.8765
772 | 0.0001072 | 834.5 | 5.8817
772.5 | 7.567e-05 | 835 | 5.8874
773 | 4.676e-05 | 835.5 | 5.8627
773.5 | 6.237e-05 | 836 | 5.8389
774 | 4.886e-05 | 836.5 | 5.7942
774.5 | 1.137e-05 | 837 | 5.7535
775 | 1.446e-05 | 837.5 | 5.7286
775.5 | 5.286e-05 | 838 | 5.7049
776 | 2.513e-05 | 838.5 | 5.7252
776.5 | 3.136e-05 | 839 | 5.7462
777 | -2.526e-06 | 839.5 | 5.7247
777.5 | 1.562e-05 | 840 | 5.7042
778 | 5.319e-05 | 840.5 | 5.7014
778.5 | 2.815e-05 | 841 | 5.6988
779 | 3.888e-05 | 841.5 | 5.6919
779.5 | 3.417e-05 | 842 | 5.6849
780 | 5.05e-05 | 842.5 | 5.7383
780.5 | 6.228e-05 | 843 | 5.7992
781 | 2.655e-05 | 843.5 | 5.754
781.5 | 4.785e-05 | 844 | 5.7129
782 | 6.122e-05 | 844.5 | 5.7093
782.5 | 0.0001338 | 845 | 5.706
783 | 0.0002518 | 845.5 | 5.7385
783.5 | 0.0001899 | 846 | 5.7734
784 | 0.0001502 | 846.5 | 5.7589
784.5 | 6.275e-05 | 847 | 5.7447
785 | 6.676e-05 | 847.5 | 5.7547
785.5 | 3.069e-05 | 848 | 5.765
786 | 4.634e-05 | 848.5 | 5.7929
786.5 | 2.508e-05 | 849 | 5.8228
787 | 6.541e-06 | 849.5 | 5.8431
787.5 | 6.328e-05 | 850 | 5.8646
788 | 3.969e-06 | 850.5 | 5.8861
788.5 | 2.569e-05 | 851 | 5.9087
789 | 2.958e-05 | 851.5 | 5.9458
789.5 | -4.185e-06 | 852 | 5.9867
790 | 1.253e-05 | 852.5 | 5.9465
790.5 | 4.458e-05 | 853 | 5.9097
791 | 9.928e-06 | 853.5 | 5.9961
791.5 | 3.723e-05 | 854 | 6.1039
792 | 7.946e-05 | 854.5 | 6.1652
792.5 | 3.615e-05 | 855 | 6.2367
793 | 1.256e-05 | 855.5 | 6.2283
793.5 | -1.779e-05 | 856 | 6.22
794 | 1.01e-05 | 856.5 | 6.2683
794.5 | -1.212e-06 | 857 | 6.3227
795 | 2.639e-05 | 857.5 | 6.2441
795.5 | 5.411e-05 | 858 | 6.1776
796 | -2.146e-05 | 858.5 | 6.2624
796.5 | -1.311e-05 | 859 | 6.3676
797 | 0.0001043 | 859.5 | 6.2817
797.5 | 8.525e-05 | 860 | 6.2101
798 | 2.024e-05 | 860.5 | 6.2511
798.5 | 0.0001019 | 861 | 6.2963
799 | 0.0001029 | 861.5 | 6.2179
799.5 | 0.0002456 | 862 | 6.1514
800 | 9.195e-05 | 862.5 | 6.0768
800.5 | 8.629e-05 | 863 | 6.0132
801 | 8.064e-05 | 863.5 | 5.9642
801.5 | 7.646e-05 | 864 | 5.9205
802 | 7.229e-05 | 864.5 | 5.8642
802.5 | 6.554e-05 | 865 | 5.8147
803 | 5.878e-05 | 865.5 | 5.7577
803.5 | 3.084e-05 | 866 | 5.7073
804 | 2.881e-06 | 866.5 | 5.6763
804.5 | 3.457e-05 | 867 | 5.6476
805 | 6.627e-05 | 867.5 | 5.6187
805.5 | 6.198e-05 | 868 | 5.5918
806 | 5.769e-05 | 868.5 | 5.5967
806.5 | 5.568e-05 | 869 | 5.6017
807 | 5.367e-05 | 869.5 | 5.5677
807.5 | 3.901e-05 | 870 | 5.5361
808 | 2.434e-05 | 870.5 | 5.5336
808.5 | 3.487e-05 | 871 | 5.5311
809 | 4.54e-05 | 871.5 | 5.518
809.5 | 4.385e-05 | 872 | 5.5054
810 | 4.23e-05 | 872.5 | 5.4999
810.5 | 4.591e-05 | 873 | 5.4943
811 | 4.951e-05 | 873.5 | 5.5251
811.5 | 4.077e-05 | 874 | 5.558
812 | 3.203e-05 | 874.5 | 5.5552
812.5 | 3.717e-05 | 875 | 5.5525
813 | 4.231e-05 | 875.5 | 5.5575
813.5 | 5.527e-05 | 876 | 5.5626
814 | 6.823e-05 | 876.5 | 5.6178
814.5 | 5.738e-05 | 877 | 5.6811
815 | 4.655e-05 | 877.5 | 5.6966
815.5 | 6.917e-05 | 878 | 5.7129
816 | 9.181e-05 | 878.5 | 5.7587
816.5 | 7.69e-05 | 879 | 5.8099
817 | 6.199e-05 | 879.5 | 5.8642
817.5 | 5.182e-05 | 880 | 5.9263
818 | 4.166e-05 | 880.5 | 5.9634
818.5 | 6.237e-05 | 881 | 6.0042
819 | 8.309e-05 | 881.5 | 6.0273
819.5 | 6.299e-05 | 882 | 6.0518
820 | 4.29e-05 | 882.5 | 6.1292
820.5 | 4.291e-05 | 883 | 6.2234
821 | 4.292e-05 | 883.5 | 6.202
821.5 | 3.436e-05 | 884 | 6.1816
822 | 2.581e-05 | 884.5 | 6.2964
822.5 | 3.39e-05 | 885 | 6.4527
823 | 4.198e-05 | 885.5 | 6.4181
823.5 | 5.203e-05 | 886 | 6.386
824 | 6.208e-05 | 886.5 | 6.4844
824.5 | 3.875e-05 | 887 | 6.6117
825 | 1.542e-05 | 887.5 | 6.4744
825.5 | 2.301e-05 | 888 | 6.3703
826 | 3.06e-05 | 888.5 | 6.6253
826.5 | 2.104e-05 | 889 | 7.3197
827 | 1.148e-05 | 889.5 | 7.0932
827.5 | 1.916e-05 | 890 | 6.945
828 | 2.683e-05 | 890.5 | 6.8294
828.5 | 2.728e-05 | 891 | 6.7383
829 | 2.774e-05 | 891.5 | 6.735
829.5 | 4.367e-05 | 892 | 6.7319
830 | 5.959e-05 | 892.5 | 6.61
830.5 | 6.685e-05 | 893 | 6.5149
831 | 7.411e-05 | 893.5 | 6.6796
831.5 | 9.558e-05 | 894 | 6.9489
832 | 0.0001171 | 894.5 | 6.7589
832.5 | 0.0001041 | 895 | 6.6275
833 | 9.112e-05 | 895.5 | 6.3802
833.5 | 0.000112 | 896 | 6.2237
834 | 0.0001329 | 896.5 | 6.2499
834.5 | 0.0001313 | 897 | 6.2779
835 | 0.0001296 | 897.5 | 6.1185
835.5 | 0.0001372 | 898 | 6.0023
836 | 0.0001449 | 898.5 | 5.919
836.5 | 0.0001606 | 899 | 5.8492
837 | 0.0001764 | 899.5 | 5.8401
837.5 | 0.0001868 | 900 | 5.8315
838 | 0.0001973 | 900.5 | 5.7734
838.5 | 0.0001883 | 901 | 5.7222
839 | 0.0001794 | 901.5 | 5.704
839.5 | 0.0001885 | 902 | 5.6866
840 | 0.0001976 | 902.5 | 5.697
840.5 | 0.0001989 | 903 | 5.7077
841 | 0.0002001 | 903.5 | 5.6968
841.5 | 0.0002033 | 904 | 5.6859
842 | 0.0002066 | 904.5 | 5.7007
842.5 | 0.0001827 | 905 | 5.7158
843 | 0.0001588 | 905.5 | 5.7324
843.5 | 0.0001762 | 906 | 5.7496
844 | 0.0001937 | 906.5 | 5.7657
844.5 | 0.0001953 | 907 | 5.7828
845 | 0.0001968 | 907.5 | 5.7921
845.5 | 0.0001826 | 908 | 5.8019
846 | 0.0001685 | 908.5 | 5.8533
846.5 | 0.0001742 | 909 | 5.9115
847 | 0.00018 | 909.5 | 5.9066
847.5 | 0.0001759 | 910 | 5.9017
848 | 0.0001718 | 910.5 | 5.8827
848.5 | 0.0001611 | 911 | 5.8646
849 | 0.0001504 | 911.5 | 5.8153
849.5 | 0.0001435 | 912 | 5.7711
850 | 0.0001366 | 912.5 | 5.7565
850.5 | 0.00013 | 913 | 5.7421
851 | 0.0001234 | 913.5 | 5.6838
851.5 | 0.0001133 | 914 | 5.6325
852 | 0.0001031 | 914.5 | 5.6024
852.5 | 0.0001131 | 915 | 5.5741
853 | 0.0001231 | 915.5 | 5.545
853.5 | 0.0001009 | 916 | 5.5177
854 | 7.873e-05 | 916.5 | 5.4825
854.5 | 6.836e-05 | 917 | 5.4501
855 | 5.799e-05 | 917.5 | 5.42
855.5 | 5.912e-05 | 918 | 5.3919
856 | 6.026e-05 | 918.5 | 5.3701
856.5 | 5.392e-05 | 919 | 5.3494
857 | 4.757e-05 | 919.5 | 5.3505
857.5 | 5.7e-05 | 920 | 5.3516
858 | 6.643e-05 | 920.5 | 5.3454
858.5 | 5.465e-05 | 921 | 5.3394
859 | 4.289e-05 | 921.5 | 5.3562
859.5 | 5.227e-05 | 922 | 5.3736
860 | 6.164e-05 | 922.5 | 5.3866
860.5 | 5.609e-05 | 923 | 5.4
861 | 5.055e-05 | 923.5 | 5.4356
861.5 | 6.055e-05 | 924 | 5.4743
862 | 7.056e-05 | 924.5 | 5.5043
862.5 | 8.379e-05 | 925 | 5.5367
863 | 9.701e-05 | 925.5 | 5.5464
863.5 | 0.0001086 | 926 | 5.5564
864 | 0.0001201 | 926.5 | 5.5746
864.5 | 0.0001367 | 927 | 5.5938
865 | 0.0001532 | 927.5 | 5.5976
865.5 | 0.0001747 | 928 | 5.6015
866 | 0.0001962 | 928.5 | 5.586
866.5 | 0.0002107 | 929 | 5.5711
867 | 0.0002251 | 929.5 | 5.5702
867.5 | 0.0002406 | 930 | 5.5694
868 | 0.000256 | 930.5 | 5.5113
868.5 | 0.0002531 | 931 | 5.4602
869 | 0.0002502 | 931.5 | 5.4713
869.5 | 0.0002706 | 932 | 5.4828
870 | 0.000291 | 932.5 | 5.4857
870.5 | 0.0002927 | 933 | 5.4885
871 | 0.0002944 | 933.5 | 5.51
871.5 | 0.0003034 | 934 | 5.5327
872 | 0.0003123 | 934.5 | 5.5769
872.5 | 0.0003163 | 935 | 5.6262
873 | 0.0003204 | 935.5 | 5.6698
873.5 | 0.0002985 | 936 | 5.7183
874 | 0.0002767 | 936.5 | 5.7964
874.5 | 0.0002785 | 937 | 5.8914
875 | 0.0002802 | 937.5 | 5.9303
875.5 | 0.000277 | 938 | 5.9731
876 | 0.0002738 | 938.5 | 6.112
876.5 | 0.0002411 | 939 | 6.3177
877 | 0.0002084 | 939.5 | 6.239
877.5 | 0.0002011 | 940 | 6.1726
878 | 0.0001937 | 940.5 | 6.2569
878.5 | 0.0001743 | 941 | 6.3615
879 | 0.0001549 | 941.5 | 6.3301
879.5 | 0.0001367 | 942 | 6.3009
880 | 0.0001185 | 942.5 | 6.3825
880.5 | 0.0001088 | 943 | 6.4831
881 | 9.905e-05 | 943.5 | 6.5318
881.5 | 9.39e-05 | 944 | 6.5869
882 | 8.875e-05 | 944.5 | 6.7282
882.5 | 7.427e-05 | 945 | 6.9389
883 | 5.978e-05 | 945.5 | 6.7452
883.5 | 6.28e-05 | 946 | 6.6117
884 | 6.582e-05 | 946.5 | 6.521
884.5 | 5.054e-05 | 947 | 6.446
885 | 3.526e-05 | 947.5 | 6.4125
885.5 | 3.819e-05 | 948 | 6.3814
886 | 4.112e-05 | 948.5 | 6.3342
886.5 | 3.278e-05 | 949 | 6.2917
887 | 2.445e-05 | 949.5 | 6.1669
887.5 | 3.354e-05 | 950 | 6.07
888 | 4.263e-05 | 950.5 | 6.0521
888.5 | 2.37e-05 | 951 | 6.0349
889 | 4.79e-06 | 951.5 | 5.8931
889.5 | 8.068e-06 | 952 | 5.7862
890 | 1.135e-05 | 952.5 | 5.6609
890.5 | 1.481e-05 | 953 | 5.5637
891 | 1.827e-05 | 953.5 | 5.4974
891.5 | 1.841e-05 | 954 | 5.4398
892 | 1.854e-05 | 954.5 | 5.3976
892.5 | 2.455e-05 | 955 | 5.3591
893 | 3.056e-05 | 955.5 | 5.32
893.5 | 2.091e-05 | 956 | 5.2841
894 | 1.125e-05 | 956.5 | 5.2903
894.5 | 1.742e-05 | 957 | 5.2967
895 | 2.358e-05 | 957.5 | 5.3281
895.5 | 4.167e-05 | 958 | 5.3619
896 | 5.975e-05 | 958.5 | 5.3907
896.5 | 5.625e-05 | 959 | 5.4216
897 | 5.274e-05 | 959.5 | 5.4642
897.5 | 7.612e-05 | 960 | 5.5114
898 | 9.947e-05 | 960.5 | 5.5265
898.5 | 0.0001205 | 961 | 5.5423
899 | 0.0001415 | 961.5 | 5.5619
899.5 | 0.0001445 | 962 | 5.5824
900 | 0.0001474 | 962.5 | 5.5822
900.5 | 0.0001685 | 963 | 5.582
901 | 0.0001896 | 963.5 | 5.5805
901.5 | 0.0001977 | 964 | 5.5792
902 | 0.0002058 | 964.5 | 5.5804
902.5 | 0.0002009 | 965 | 5.5817
903 | 0.000196 | 965.5 | 5.6182
903.5 | 0.000201 | 966 | 5.6582
904 | 0.0002061 | 966.5 | 5.6847
904.5 | 0.0001992 | 967 | 5.7127
905 | 0.0001924 | 967.5 | 5.7688
905.5 | 0.0001852 | 968 | 5.8336
906 | 0.000178 | 968.5 | 5.8962
906.5 | 0.0001715 | 969 | 5.9694
907 | 0.0001649 | 969.5 | 6.0336
907.5 | 0.0001614 | 970 | 6.109
908 | 0.0001578 | 970.5 | 6.1998
908.5 | 0.0001402 | 971 | 6.3148
909 | 0.0001226 | 971.5 | 6.3791
909.5 | 0.000124 | 972 | 6.4547
910 | 0.0001254 | 972.5 | 6.5239
910.5 | 0.000131 | 973 | 6.6063
911 | 0.0001366 | 973.5 | 6.644
911.5 | 0.000153 | 974 | 6.6855
912 | 0.0001694 | 974.5 | 6.6741
912.5 | 0.0001752 | 975 | 6.6631
913 | 0.0001811 | 975.5 | 6.5926
913.5 | 0.0002071 | 976 | 6.532
914 | 0.0002331 | 976.5 | 6.7852
914.5 | 0.0002498 | 977 | 7.4647
915 | 0.0002666 | 977.5 | 6.9423
915.5 | 0.0002851 | 978 | 6.7118
916 | 0.0003036 | 978.5 | 6.9382
916.5 | 0.0003292 | 979 | 7.4389
917 | 0.0003547 | 979.5 | 6.8159
917.5 | 0.0003802 | 980 | 6.5702
918 | 0.0004056 | 980.5 | 6.7147
918.5 | 0.0004265 | 981 | 6.9329
919 | 0.0004473 | 981.5 | 6.9855
919.5 | 0.0004462 | 982 | 7.0454
920 | 0.000445 | 982.5 | 6.9465
920.5 | 0.0004514 | 983 | 6.8665
921 | 0.0004577 | 983.5 | 6.8259
921.5 | 0.0004404 | 984 | 6.7889
922 | 0.0004231 | 984.5 | 6.6218
922.5 | 0.0004106 | 985 | 6.5014
923 | 0.0003981 | 985.5 | 6.5578
923.5 | 0.0003668 | 986 | 6.6227
924 | 0.0003355 | 986.5 | 6.5409
924.5 | 0.0003131 | 987 | 6.4721
925 | 0.0002906 | 987.5 | 6.4474
925.5 | 0.0002842 | 988 | 6.4241
926 | 0.0002777 | 988.5 | 6.3537
926.5 | 0.0002663 | 989 | 6.2932
927 | 0.0002548 | 989.5 | 6.3456
927.5 | 0.0002526 | 990 | 6.4054
928 | 0.0002503 | 990.5 | 6.3377
928.5 | 0.0002594 | 991 | 6.2792
929 | 0.0002685 | 991.5 | 6.2559
929.5 | 0.000269 | 992 | 6.2337
930 | 0.0002695 | 992.5 | 6.2227
930.5 | 0.0003081 | 993 | 6.212
931 | 0.0003466 | 993.5 | 6.2194
931.5 | 0.0003378 | 994 | 6.227
932 | 0.000329 | 994.5 | 6.1612
932.5 | 0.0003268 | 995 | 6.104
933 | 0.0003247 | 995.5 | 5.9859
933.5 | 0.000309 | 996 | 5.8928
934 | 0.0002933 | 996.5 | 5.8294
934.5 | 0.0002649 | 997 | 5.7739
935 | 0.0002365 | 997.5 | 5.7302
935.5 | 0.0002139 | 998 | 5.6906
936 | 0.0001913 | 998.5 | 5.6819
936.5 | 0.0001598 | 999 | 5.6735
937 | 0.0001284 | 999.5 | 5.6786
937.5 | 0.0001174 | 1000 | 5.6838
938 | 0.0001064 | 1000.5 | 5.7632
938.5 | 7.727e-05 | 1001 | 5.8604
939 | 4.812e-05 | 1001.5 | 5.9017
939.5 | 5.767e-05 | 1002 | 5.9473
940 | 6.721e-05 | 1002.5 | 6.0537
940.5 | 5.535e-05 | 1003 | 6.1948
941 | 4.35e-05 | 1003.5 | 6.2696
941.5 | 4.676e-05 | 1004 | 6.36
942 | 5.002e-05 | 1004.5 | 6.4158
942.5 | 4.145e-05 | 1005 | 6.4798
943 | 3.288e-05 | 1005.5 | 6.5874
943.5 | 2.939e-05 | 1006 | 6.7307
944 | 2.589e-05 | 1006.5 | 7.182
944.5 | 1.87e-05 | 1007.5 | 7.3053
945 | 1.151e-05 | 1008 | 6.8145
945.5 | 1.798e-05 | 1008.5 | 6.9104
946 | 2.445e-05 | 1009 | 7.0339
946.5 | 3.013e-05 | 1009.5 | 7.4985
947 | 3.581e-05 | 1011.5 | 7.5138
947.5 | 3.868e-05 | 1012 | 7.0841
948 | 4.155e-05 | 1012.5 | 6.8274
948.5 | 4.632e-05 | 1013 | 6.6672
949 | 5.109e-05 | 1013.5 | 6.914
949.5 | 6.809e-05 | 1014 | 7.5426
950 | 8.511e-05 | 1014.5 | 7.0717
950.5 | 8.87e-05 | 1015 | 6.8508
951 | 9.228e-05 | 1015.5 | 6.8658
951.5 | 0.0001279 | 1016 | 6.8814
952 | 0.0001636 | 1016.5 | 6.8742
952.5 | 0.0002183 | 1017 | 6.8674
953 | 0.0002731 | 1017.5 | 7.1601
953.5 | 0.0003181 | 1018 | 8.5659
954 | 0.0003632 | 1018.5 | 6.7724
954.5 | 0.0004003 | 1019 | 6.4747
955 | 0.0004374 | 1019.5 | 6.6968
955.5 | 0.0004786 | 1020 | 7.1741
956 | 0.0005199 | 1022.5 | 7.5637
956.5 | 0.0005125 | 1023 | 7.1767
957 | 0.000505 | 1023.5 | 6.8639
957.5 | 0.0004698 | 1024 | 6.684
958 | 0.0004346 | 1024.5 | 6.743
958.5 | 0.0004067 | 1025 | 6.8116
959 | 0.0003788 | 1025.5 | 6.568
959.5 | 0.0003434 | 1026 | 6.413
960 | 0.000308 | 1026.5 | 6.3874
960.5 | 0.0002975 | 1027 | 6.3634
961 | 0.0002869 | 1027.5 | 6.2188
961.5 | 0.0002742 | 1028 | 6.1104
962 | 0.0002616 | 1028.5 | 6.1726
962.5 | 0.0002617 | 1029 | 6.2453
963 | 0.0002618 | 1029.5 | 6.1632
963.5 | 0.0002627 | 1030 | 6.0943
964 | 0.0002635 | 1030.5 | 6.0983
964.5 | 0.0002628 | 1031 | 6.1023
965 | 0.000262 | 1031.5 | 6.1248
965.5 | 0.0002409 | 1032 | 6.1484
966 | 0.0002197 | 1032.5 | 6.1405
966.5 | 0.0002067 | 1033 | 6.1326
967 | 0.0001938 | 1033.5 | 6.2419
967.5 | 0.0001703 | 1034 | 6.3876
968 | 0.0001467 | 1034.5 | 6.3256
968.5 | 0.000127 | 1035 | 6.2713
969 | 0.0001073 | 1035.5 | 6.2431
969.5 | 9.256e-05 | 1036 | 6.2165
970 | 7.78e-05 | 1036.5 | 6.2881
970.5 | 6.312e-05 | 1037 | 6.3739
971 | 4.844e-05 | 1037.5 | 6.2858
971.5 | 4.177e-05 | 1038 | 6.2127
972 | 3.51e-05 | 1038.5 | 6.2869
972.5 | 2.993e-05 | 1039 | 6.3764
973 | 2.476e-05 | 1039.5 | 6.369
973.5 | 2.27e-05 | 1040 | 6.3617
974 | 2.063e-05 | 1040.5 | 6.267
974.5 | 2.118e-05 | 1041 | 6.1893
975 | 2.172e-05 | 1041.5 | 6.2327
975.5 | 2.555e-05 | 1042 | 6.2809
976 | 2.938e-05 | 1042.5 | 6.2545
976.5 | 1.64e-05 | 1043 | 6.2296
977 | 3.43e-06 | 1043.5 | 6.0809
977.5 | 1.142e-05 | 1044 | 5.9706
978 | 1.942e-05 | 1044.5 | 5.9923
978.5 | 1.153e-05 | 1045 | 6.015
979 | 3.64e-06 | 1045.5 | 5.8798
979.5 | 1.528e-05 | 1046 | 5.7768
980 | 2.69e-05 | 1046.5 | 5.7474
980.5 | 1.929e-05 | 1047 | 5.7196
981 | 1.167e-05 | 1047.5 | 5.668
981.5 | 1.034e-05 | 1048 | 5.6216
982 | 9.008e-06 | 1048.5 | 5.6334
982.5 | 1.131e-05 | 1049 | 5.6453
983 | 1.36e-05 | 1049.5 | 5.6712
983.5 | 1.493e-05 | 1050 | 5.6988
984 | 1.626e-05 | 1050.5 | 5.743
984.5 | 2.389e-05 | 1051 | 5.7924
985 | 3.152e-05 | 1051.5 | 5.8693
985.5 | 2.768e-05 | 1052 | 5.9634
986 | 2.384e-05 | 1052.5 | 5.9788
986.5 | 2.878e-05 | 1053 | 5.9953
987 | 3.372e-05 | 1053.5 | 6.096
987.5 | 3.569e-05 | 1054 | 6.2274
988 | 3.766e-05 | 1054.5 | 6.3128
988.5 | 4.429e-05 | 1055 | 6.4195
989 | 5.091e-05 | 1055.5 | 6.3192
989.5 | 4.512e-05 | 1056 | 6.2378
990 | 3.932e-05 | 1056.5 | 6.3551
990.5 | 4.595e-05 | 1057 | 6.5158
991 | 5.258e-05 | 1057.5 | 6.4042
991.5 | 5.548e-05 | 1058 | 6.3153
992 | 5.838e-05 | 1058.5 | 6.3699
992.5 | 5.988e-05 | 1059 | 6.4324
993 | 6.138e-05 | 1059.5 | 6.4264
993.5 | 6.034e-05 | 1060 | 6.4206
994 | 5.93e-05 | 1060.5 | 6.449
994.5 | 6.9e-05 | 1061 | 6.4795
995 | 7.871e-05 | 1061.5 | 6.5318
995.5 | 0.0001033 | 1062 | 6.5914
996 | 0.000128 | 1062.5 | 6.5122
996.5 | 0.0001481 | 1063 | 6.4454
997 | 0.0001683 | 1063.5 | 6.4074
997.5 | 0.0001861 | 1064 | 6.3724
998 | 0.0002039 | 1064.5 | 6.3543
998.5 | 0.000208 | 1065 | 6.337
999 | 0.0002121 | 1065.5 | 6.3583
999.5 | 0.0002096 | 1066 | 6.3808
1000 | 0.0002071 | 1066.5 | 6.2318
1000.5 | 0.0001725 | 1067 | 6.121
1001 | 0.0001379 | 1067.5 | 6.1579
1001.5 | 0.0001254 | 1068 | 6.1983
1002 | 0.0001129 | 1068.5 | 6.1051
1002.5 | 8.836e-05 | 1069 | 6.0285
1003 | 6.386e-05 | 1069.5 | 5.9504
1003.5 | 5.375e-05 | 1070 | 5.8844
1004 | 4.365e-05 | 1070.5 | 5.8536
1004.5 | 3.839e-05 | 1071 | 5.8245
1005 | 3.313e-05 | 1071.5 | 5.8005
1005.5 | 2.586e-05 | 1072 | 5.7778
1006 | 1.859e-05 | 1072.5 | 5.7501
1006.5 | 6.577e-06 | 1073 | 5.724
1007 | -5.436e-06 | 1073.5 | 5.7016
1007.5 | 4.951e-06 | 1074 | 5.6805
1008 | 1.533e-05 | 1074.5 | 5.6726
1008.5 | 1.229e-05 | 1075 | 5.6651
1009 | 9.25e-06 | 1075.5 | 5.6655
1009.5 | 3.173e-06 | 1076 | 5.6659
1010 | -2.898e-06 | 1076.5 | 5.7001
1010.5 | -2.51e-06 | 1077 | 5.7368
1011 | -2.121e-06 | 1077.5 | 5.7565
1011.5 | 3.063e-06 | 1078 | 5.777
1012 | 8.239e-06 | 1078.5 | 5.7986
1012.5 | 1.488e-05 | 1079 | 5.8216
1013 | 2.152e-05 | 1079.5 | 5.8265
1013.5 | 1.219e-05 | 1080 | 5.8312
1014 | 2.867e-06 | 1080.5 | 5.8871
1014.5 | 8.479e-06 | 1081 | 5.9508
1015 | 1.41e-05 | 1081.5 | 5.9496
1015.5 | 1.362e-05 | 1082 | 5.9489
1016 | 1.314e-05 | 1082.5 | 5.9893
1016.5 | 1.336e-05 | 1083 | 6.0336
1017 | 1.357e-05 | 1083.5 | 6.0374
1017.5 | 6.916e-06 | 1084 | 6.0414
1018 | 2.717e-07 | 1084.5 | 6.0299
1018.5 | 1.689e-05 | 1085 | 6.0187
1019 | 3.352e-05 | 1085.5 | 6.0255
1019.5 | 2.01e-05 | 1086 | 6.0324
1020 | 6.698e-06 | 1086.5 | 5.9784
1020.5 | -9.684e-07 | 1087 | 5.9303
1021 | -8.632e-06 | 1087.5 | 5.9248
1021.5 | -4.914e-06 | 1088 | 5.9194
1022 | -1.193e-06 | 1088.5 | 5.9386
1022.5 | 2.731e-06 | 1089 | 5.9586
1023 | 6.657e-06 | 1089.5 | 5.8996
1023.5 | 1.368e-05 | 1090 | 5.8474
1024 | 2.07e-05 | 1090.5 | 5.8508
1024.5 | 1.807e-05 | 1091 | 5.8539
1025 | 1.543e-05 | 1091.5 | 5.8147
1025.5 | 2.704e-05 | 1092 | 5.7789
1026 | 3.864e-05 | 1092.5 | 5.7617
1026.5 | 4.098e-05 | 1093 | 5.745
1027 | 4.331e-05 | 1093.5 | 5.7014
1027.5 | 6.042e-05 | 1094 | 5.6617
1028 | 7.756e-05 | 1094.5 | 5.6426
1028.5 | 6.72e-05 | 1095 | 5.6242
1029 | 5.685e-05 | 1095.5 | 5.6002
1029.5 | 6.867e-05 | 1096 | 5.5774
1030 | 8.049e-05 | 1096.5 | 5.5471
1030.5 | 7.975e-05 | 1097 | 5.5188
1031 | 7.901e-05 | 1097.5 | 5.5103
1031.5 | 7.503e-05 | 1098 | 5.5018
1032 | 7.105e-05 | 1098.5 | 5.4713
1032.5 | 7.236e-05 | 1099 | 5.4428
1033 | 7.368e-05 | 1099.5 | 5.4487
1033.5 | 5.73e-05 | 1100 | 5.4546
1034 | 4.096e-05 | 1100.5 | 5.4417
1034.5 | 4.725e-05 | 1101 | 5.4291
1035 | 5.354e-05 | 1101.5 | 5.427
1035.5 | 5.714e-05 | 1102 | 5.4249
1036 | 6.074e-05 | 1102.5 | 5.4282
1036.5 | 5.151e-05 | 1103 | 5.4314
1037 | 4.228e-05 | 1103.5 | 5.4397
1037.5 | 5.178e-05 | 1104 | 5.4481
1038 | 6.128e-05 | 1104.5 | 5.4484
1038.5 | 5.165e-05 | 1105 | 5.4488
1039 | 4.203e-05 | 1105.5 | 5.443
1039.5 | 4.276e-05 | 1106 | 5.4372
1040 | 4.348e-05 | 1106.5 | 5.4355
1040.5 | 5.408e-05 | 1107 | 5.4337
1041 | 6.467e-05 | 1107.5 | 5.4128
1041.5 | 5.852e-05 | 1108 | 5.393
1042 | 5.237e-05 | 1108.5 | 5.3772
1042.5 | 5.566e-05 | 1109 | 5.3619
1043 | 5.894e-05 | 1109.5 | 5.3465
1043.5 | 8.3e-05 | 1110 | 5.3315
1044 | 0.000107
1044.5 | 0.0001018
1045 | 9.66e-05
1045.5 | 0.0001319
1046 | 0.0001672
1046.5 | 0.0001789
1047 | 0.0001907
1047.5 | 0.0002148
1048 | 0.000239
1048.5 | 0.0002326
1049 | 0.0002263
1049.5 | 0.0002132
1050 | 0.0002001
1050.5 | 0.0001807
1051 | 0.0001613
1051.5 | 0.0001351
1052 | 0.0001088
1052.5 | 0.000105
1053 | 0.0001011
1053.5 | 8.016e-05
1054 | 5.924e-05
1054.5 | 4.866e-05
1055 | 3.806e-05
1055.5 | 4.795e-05
1056 | 5.784e-05
1056.5 | 4.415e-05
1057 | 3.049e-05
1057.5 | 3.943e-05
1058 | 4.838e-05
1058.5 | 4.267e-05
1059 | 3.695e-05
1059.5 | 3.746e-05
1060 | 3.797e-05
1060.5 | 3.556e-05
1061 | 3.315e-05
1061.5 | 2.939e-05
1062 | 2.562e-05
1062.5 | 3.075e-05
1063 | 3.586e-05
1063.5 | 3.914e-05
1064 | 4.242e-05
1064.5 | 4.423e-05
1065 | 4.603e-05
1065.5 | 4.382e-05
1066 | 4.161e-05
1066.5 | 5.864e-05
1067 | 7.568e-05
1067.5 | 6.951e-05
1068 | 6.334e-05
1068.5 | 7.85e-05
1069 | 9.364e-05
1069.5 | 0.0001121
1070 | 0.0001305
1070.5 | 0.0001401
1071 | 0.0001498
1071.5 | 0.0001583
1072 | 0.0001668
1072.5 | 0.0001778
1073 | 0.0001888
1073.5 | 0.0001988
1074 | 0.0002087
1074.5 | 0.0002125
1075 | 0.0002162
1075.5 | 0.000216
1076 | 0.0002158
1076.5 | 0.0001995
1077 | 0.0001833
1077.5 | 0.0001752
1078 | 0.0001671
1078.5 | 0.000159
1079 | 0.0001508
1079.5 | 0.0001491
1080 | 0.0001475
1080.5 | 0.0001297
1081 | 0.000112
1081.5 | 0.0001123
1082 | 0.0001125
1082.5 | 0.0001025
1083 | 9.256e-05
1083.5 | 9.174e-05
1084 | 9.091e-05
1084.5 | 9.335e-05
1085 | 9.579e-05
1085.5 | 9.43e-05
1086 | 9.282e-05
1086.5 | 0.0001051
1087 | 0.0001174
1087.5 | 0.0001189
1088 | 0.0001204
1088.5 | 0.0001152
1089 | 0.00011
1089.5 | 0.000126
1090 | 0.0001421
1090.5 | 0.000141
1091 | 0.00014
1091.5 | 0.0001532
1092 | 0.0001664
1092.5 | 0.0001731
1093 | 0.0001799
1093.5 | 0.0001989
1094 | 0.0002179
1094.5 | 0.0002277
1095 | 0.0002376
1095.5 | 0.0002511
1096 | 0.0002646
1096.5 | 0.0002837
1097 | 0.0003028
1097.5 | 0.0003088
1098 | 0.0003149
1098.5 | 0.0003378
1099 | 0.0003607
1099.5 | 0.0003559
1100 | 0.0003511
1100.5 | 0.0003617
1101 | 0.0003723
1101.5 | 0.0003741
1102 | 0.0003759
1102.5 | 0.0003731
1103 | 0.0003703
1103.5 | 0.0003633
1104 | 0.0003564
1104.5 | 0.0003561
1105 | 0.0003558
1105.5 | 0.0003606
1106 | 0.0003654
1106.5 | 0.0003669
1107 | 0.0003684
1107.5 | 0.0003865
1108 | 0.0004046
1108.5 | 0.0004196
1109 | 0.0004346
1109.5 | 0.0004503
1110 | 0.0004661