## ET395_25x
WaveLength | Transmission | WaveLength | OD
nm | % | nm | /
300 | 2.487e-05 | 300 | 6.6043
300.5 | 4.818e-06 | 300.5 | 7.3171
301 | -1.255e-05 | 301.5 | 6.4921
301.5 | 3.22e-05 | 302.5 | 6.406 | ET395/25x Transmission and OD Plot of ET395/25x This file indicates a typical data and there may be differences between product batches. If you have any questions, please contact LBTEK Technical Support. To quote this data, please indicate that the data source is from LBTEK.
302 | -1.467e-05 | 303.5 | 6.9223
302.5 | 3.926e-05 | 304 | 6.776
303 | -2.032e-05 | 304.5 | 8.2247
303.5 | 1.196e-05 | 305 | 6.1452
304 | 1.675e-05 | 305.5 | 6.6085
304.5 | 5.961e-07 | 306 | 6.8861
305 | 7.159e-05 | 306.5 | 6.1517
305.5 | 2.463e-05 | 307.5 | 6.2242
306 | 1.3e-05 | 308 | 6.3684
306.5 | 7.052e-05 | 308.5 | 6.3947 | LBTEK Mall：www.lbtek.com Tel：400-060-6986 LBTEK Technical Support E-mail：service@lbtek.com
307 | -1.441e-05 | 309 | 6.6859
307.5 | 5.967e-05 | 309.5 | 6.4304
308 | 4.282e-05 | 310 | 6.5807
308.5 | 4.03e-05 | 310.5 | 6.7375
309 | 2.061e-05 | 311 | 6.6486
309.5 | 3.712e-05 | 311.5 | 7.1188
310 | 2.626e-05 | 312 | 6.4878
310.5 | 1.83e-05 | 312.5 | 5.9834
311 | 2.246e-05 | 313 | 5.8182
311.5 | 7.607e-06 | 313.5 | 5.4618
312 | 3.252e-05 | 314 | 5.4054
312.5 | 0.0001039 | 314.5 | 5.6187
313 | 0.000152 | 315 | 6.19
313.5 | 0.0003453 | 315.5 | 6.1315
314 | 0.0003932 | 316.5 | 6.2495
314.5 | 0.0002406 | 317.5 | 6.4439
315 | 6.456e-05 | 318 | 6.727
315.5 | 7.388e-05 | 318.5 | 6.1203
316 | -3.176e-05 | 319 | 6.0312
316.5 | 5.63e-05 | 319.5 | 5.7162
317 | -3.472e-05 | 320 | 5.9743
317.5 | 3.598e-05 | 320.5 | 5.7476
318 | 1.875e-05 | 321 | 5.6455
318.5 | 7.58e-05 | 321.5 | 5.5906
319 | 9.306e-05 | 322 | 5.4923
319.5 | 0.0001922 | 322.5 | 5.656
320 | 0.0001061 | 323 | 5.7335
320.5 | 0.0001788 | 323.5 | 5.8703
321 | 0.0002262 | 324 | 6.2377
321.5 | 0.0002567 | 324.5 | 6.0197
322 | 0.0003219 | 325 | 5.7335
322.5 | 0.0002208 | 325.5 | 5.4946
323 | 0.0001847 | 326 | 5.3407
323.5 | 0.0001348 | 326.5 | 5.2493
324 | 5.785e-05 | 327 | 5.2473
324.5 | 9.557e-05 | 327.5 | 5.4044
325 | 0.0001847 | 328 | 5.4254
325.5 | 0.0003202 | 328.5 | 5.5322
326 | 0.0004563 | 329 | 5.6972
326.5 | 0.0005632 | 329.5 | 5.6449
327 | 0.0005658 | 330 | 5.6147
327.5 | 0.0003941 | 330.5 | 5.706
328 | 0.0003755 | 331 | 5.8955
328.5 | 0.0002936 | 331.5 | 5.7729
329 | 0.0002008 | 332 | 5.7397
329.5 | 0.0002265 | 332.5 | 5.8312
330 | 0.0002428 | 333 | 5.8362
330.5 | 0.0001968 | 333.5 | 5.9914
331 | 0.0001272 | 334 | 5.7867
331.5 | 0.0001687 | 334.5 | 5.7016
332 | 0.0001821 | 335 | 5.6906
332.5 | 0.0001475 | 335.5 | 5.8959
333 | 0.0001458 | 336 | 5.9666
333.5 | 0.000102 | 336.5 | 6.1853
334 | 0.0001634 | 337 | 6.0621
334.5 | 0.0001988 | 337.5 | 5.8732
335 | 0.0002039 | 338 | 5.8022
335.5 | 0.0001271 | 338.5 | 5.9307
336 | 0.000108 | 339 | 6.0903
336.5 | 6.527e-05 | 339.5 | 5.961
337 | 8.668e-05 | 340 | 5.9187
337.5 | 0.0001339 | 340.5 | 5.8133
338 | 0.0001577 | 341 | 5.6552
338.5 | 0.0001173 | 341.5 | 5.7138
339 | 8.122e-05 | 342 | 5.6594
339.5 | 0.0001094 | 342.5 | 5.6245
340 | 0.0001206 | 343 | 5.4786
340.5 | 0.0001537 | 343.5 | 5.5209
341 | 0.0002212 | 344 | 5.6223
341.5 | 0.0001933 | 344.5 | 5.672
342 | 0.0002191 | 345 | 5.2325
342.5 | 0.0002374 | 345.5 | 5.0165
343 | 0.0003322 | 346 | 5.1658
343.5 | 0.0003014 | 346.5 | 5.5812
344 | 0.0002386 | 347 | 5.8468
344.5 | 0.0002128 | 347.5 | 5.649
345 | 0.0005855 | 348 | 5.6232
345.5 | 0.0009626 | 348.5 | 5.6313
346 | 0.0006826 | 349 | 5.8996
346.5 | 0.0002623 | 349.5 | 5.9974
347 | 0.0001423 | 350 | 5.9706
347.5 | 0.0002244 | 350.5 | 5.8778
348 | 0.0002381 | 351 | 5.5242
348.5 | 0.0002337 | 351.5 | 5.1404
349 | 0.000126 | 352 | 5.0053
349.5 | 0.0001006 | 352.5 | 5.335
350 | 0.000107 | 353 | 5.9161
350.5 | 0.0001325 | 353.5 | 5.9374
351 | 0.0002991 | 354 | 5.988
351.5 | 0.0007237 | 354.5 | 5.9277
352 | 0.0009879 | 355 | 5.8016
352.5 | 0.0004624 | 355.5 | 5.6724
353 | 0.0001213 | 356 | 5.8066
353.5 | 0.0001155 | 356.5 | 5.9622
354 | 0.0001028 | 357 | 5.5471
354.5 | 0.0001181 | 357.5 | 5.3513
355 | 0.0001579 | 358 | 5.5114
355.5 | 0.0002126 | 358.5 | 6.0907
356 | 0.0001561 | 359 | 5.6517
356.5 | 0.0001091 | 359.5 | 5.3759
357 | 0.0002837 | 360 | 5.4877
357.5 | 0.0004454 | 360.5 | 5.7645
358 | 0.000308 | 361 | 5.6398
358.5 | 8.116e-05 | 361.5 | 5.6745
359 | 0.000223 | 362 | 6.227
359.5 | 0.0004208 | 362.5 | 6.4797
360 | 0.0003253 | 363 | 6.3644
360.5 | 0.000172 | 363.5 | 6.4751
361 | 0.0002292 | 364 | 6.0707
361.5 | 0.0002116 | 364.5 | 6.0831
362 | 5.93e-05 | 365 | 6.3903
362.5 | 3.314e-05 | 365.5 | 6.3301
363 | 4.321e-05 | 366 | 6.2793
363.5 | 3.349e-05 | 366.5 | 6.484
364 | 8.498e-05 | 367 | 5.0898
364.5 | 8.259e-05 | 367.5 | 4.6295
365 | 4.071e-05 | 368 | 4.5786
365.5 | 4.676e-05 | 368.5 | 4.9108
366 | 5.256e-05 | 369 | 5.8959
366.5 | 3.281e-05 | 369.5 | 6.4965
367 | 0.0008133 | 370 | 6.3853
367.5 | 0.002347 | 370.5 | 7.1556
368 | 0.002639 | 371 | 6.6366
368.5 | 0.001228 | 371.5 | 6.4325
369 | 0.0001271 | 372 | 6.414
369.5 | 3.188e-05 | 372.5 | 6.2792
370 | 4.118e-05 | 373 | 6.1012
370.5 | 6.988e-06 | 373.5 | 6.2988
371 | 2.309e-05 | 374 | 6.3719
371.5 | 3.694e-05 | 374.5 | 6.739
372 | 3.855e-05 | 375 | 6.52
372.5 | 5.258e-05 | 375.5 | 6.5092
373 | 7.921e-05 | 376 | 6.2617
373.5 | 5.026e-05 | 376.5 | 6.413
374 | 4.247e-05 | 377 | 6.4422
374.5 | 1.824e-05 | 377.5 | 6.1194
375 | 3.02e-05 | 378 | 6.1695
375.5 | 3.096e-05 | 378.5 | 5.7158
376 | 5.474e-05 | 379 | 4.971
376.5 | 3.864e-05 | 379.5 | 4.2913
377 | 3.612e-05 | 380 | 3.6212
377.5 | 7.597e-05 | 380.5 | 2.9352
378 | 6.768e-05 | 381 | 2.1066
378.5 | 0.0001924 | 381.5 | 1.1313
379 | 0.001069 | 382 | 0.501
379.5 | 0.005113 | 382.5 | 0.17836
380 | 0.02392 | 383 | 0.05557
380.5 | 0.1161 | 383.5 | 0.02928
381 | 0.7823 | 384 | 0.02535
381.5 | 7.391 | 384.5 | 0.02177
382 | 31.55 | 385 | 0.02145
382.5 | 66.32 | 385.5 | 0.02315
383 | 87.99 | 386 | 0.02273
383.5 | 93.48 | 386.5 | 0.01904
384 | 94.33 | 387 | 0.01854
384.5 | 95.11 | 387.5 | 0.02045
385 | 95.18 | 388 | 0.02278
385.5 | 94.81 | 388.5 | 0.02572
386 | 94.9 | 389 | 0.0248
386.5 | 95.71 | 389.5 | 0.02109
387 | 95.82 | 390 | 0.01814
387.5 | 95.4 | 390.5 | 0.01624
388 | 94.89 | 391 | 0.01498
388.5 | 94.25 | 391.5 | 0.01516
389 | 94.45 | 392 | 0.01601
389.5 | 95.26 | 392.5 | 0.01565
390 | 95.91 | 393 | 0.01516
390.5 | 96.33 | 393.5 | 0.01597
391 | 96.61 | 394 | 0.01841
391.5 | 96.57 | 394.5 | 0.0195
392 | 96.38 | 395 | 0.01909
392.5 | 96.46 | 395.5 | 0.02068
393 | 96.57 | 396 | 0.02141
393.5 | 96.39 | 396.5 | 0.02187
394 | 95.85 | 397 | 0.02145
394.5 | 95.61 | 397.5 | 0.02567
395 | 95.7 | 398 | 0.02951
395.5 | 95.35 | 398.5 | 0.03255
396 | 95.19 | 399 | 0.03475
396.5 | 95.09 | 399.5 | 0.03292
397 | 95.18 | 400 | 0.02965
397.5 | 94.26 | 400.5 | 0.02942
398 | 93.43 | 401 | 0.03003
398.5 | 92.78 | 401.5 | 0.02905
399 | 92.31 | 402 | 0.02854
399.5 | 92.7 | 402.5 | 0.02919
400 | 93.4 | 403 | 0.02858
400.5 | 93.45 | 403.5 | 0.02863
401 | 93.32 | 404 | 0.02752
401.5 | 93.53 | 404.5 | 0.02854
402 | 93.64 | 405 | 0.0271
402.5 | 93.5 | 405.5 | 0.02618
403 | 93.63 | 406 | 0.02365
403.5 | 93.62 | 406.5 | 0.02984
404 | 93.86 | 407 | 0.0476
404.5 | 93.64 | 407.5 | 0.13644
405 | 93.95 | 408 | 0.5236
405.5 | 94.15 | 408.5 | 1.3907
406 | 94.7 | 409 | 1.9846
406.5 | 93.36 | 409.5 | 2.9948
407 | 89.62 | 410 | 3.63
407.5 | 73.04 | 410.5 | 4.2002
408 | 29.95 | 411 | 4.7878
408.5 | 4.067 | 411.5 | 5.5539
409 | 1.036 | 412 | 6.0506
409.5 | 0.1012 | 412.5 | 6.3659
410 | 0.02344 | 413 | 6.5471
410.5 | 0.006307 | 413.5 | 6.6021
411 | 0.00163 | 414 | 6.8768
411.5 | 0.0002793 | 414.5 | 6.7093
412 | 8.9e-05 | 415 | 6.9069
412.5 | 4.306e-05 | 415.5 | 6.8877
413 | 2.837e-05 | 416 | 6.8881
413.5 | 2.5e-05 | 416.5 | 7.1051
414 | 1.328e-05 | 417 | 6.833
414.5 | 1.953e-05 | 417.5 | 6.8386
415 | 1.239e-05 | 418 | 7.0438
415.5 | 1.295e-05 | 418.5 | 6.7781
416 | 1.294e-05 | 419 | 7.1677
416.5 | 7.851e-06 | 419.5 | 7.0649
417 | 1.469e-05 | 420 | 6.9539
417.5 | 1.45e-05 | 420.5 | 7.6114
418 | 9.04e-06 | 421 | 7.0894
418.5 | 1.667e-05 | 421.5 | 6.9914
419 | 6.796e-06 | 422 | 6.8824
419.5 | 8.612e-06 | 422.5 | 6.8074
420 | 1.112e-05 | 423 | 6.9045
420.5 | 2.447e-06 | 423.5 | 7.4132
421 | 8.139e-06 | 424 | 7.0662
421.5 | 1.02e-05 | 424.5 | 6.8536
422 | 1.311e-05 | 425 | 6.8312
422.5 | 1.558e-05 | 425.5 | 5.4865
423 | 1.246e-05 | 426 | 5.1451
423.5 | 3.862e-06 | 426.5 | 5.2159
424 | 8.586e-06 | 427 | 5.7044
424.5 | 1.401e-05 | 427.5 | 7.3079
425 | 1.475e-05 | 428 | 7.4093
425.5 | 0.0003262 | 428.5 | 8.7875
426 | 0.000716 | 429 | 8.9352
426.5 | 0.0006083 | 429.5 | 7.5038
427 | 0.0001975 | 430.5 | 7.0372
427.5 | 4.922e-06 | 431 | 7.3784
428 | 3.897e-06 | 431.5 | 7.0928
428.5 | 1.631e-07 | 432 | 7.3388
429 | 1.161e-07 | 432.5 | 7.3375
429.5 | 3.135e-06 | 433 | 7.1634
430 | -1.625e-06 | 433.5 | 8.7447
430.5 | 9.179e-06 | 434 | 7.2783
431 | 4.184e-06 | 434.5 | 6.8601
431.5 | 8.076e-06 | 435 | 6.5901
432 | 4.584e-06 | 435.5 | 6.0804
432.5 | 4.597e-06 | 436 | 5.9606
433 | 6.864e-06 | 436.5 | 5.8706
433.5 | 1.8e-07 | 437 | 5.9714
434 | 5.269e-06 | 437.5 | 6.0171
434.5 | 1.38e-05 | 438 | 5.9208
435 | 2.57e-05 | 438.5 | 6.1386
435.5 | 8.311e-05 | 439 | 6.3322
436 | 0.0001095 | 439.5 | 6.6861
436.5 | 0.0001347 | 440 | 6.6887
437 | 0.0001068 | 440.5 | 6.481
437.5 | 9.614e-05 | 441 | 6.4948
438 | 0.00012 | 441.5 | 6.3655
438.5 | 7.268e-05 | 442 | 6.1454
439 | 4.654e-05 | 442.5 | 6.198
439.5 | 2.06e-05 | 443 | 6.3407
440 | 2.048e-05 | 443.5 | 6.4165
440.5 | 3.304e-05 | 444 | 6.2192
441 | 3.2e-05 | 444.5 | 6.1373
441.5 | 4.31e-05 | 445 | 5.8962
442 | 7.155e-05 | 445.5 | 5.769
442.5 | 6.339e-05 | 446 | 5.6548
443 | 4.563e-05 | 446.5 | 5.7053
443.5 | 3.833e-05 | 447 | 5.7109
444 | 6.037e-05 | 447.5 | 5.7926
444.5 | 7.29e-05 | 448 | 5.8914
445 | 0.000127 | 448.5 | 6.2322
445.5 | 0.0001702 | 449 | 6.4548
446 | 0.0002214 | 449.5 | 6.5496
446.5 | 0.0001971 | 450 | 6.9027
447 | 0.0001946 | 450.5 | 6.7484
447.5 | 0.0001612 | 451 | 6.6932
448 | 0.0001284 | 451.5 | 6.3384
448.5 | 5.858e-05 | 452 | 6.0351
449 | 3.509e-05 | 452.5 | 5.7338
449.5 | 2.821e-05 | 453 | 5.6326
450 | 1.251e-05 | 453.5 | 5.6398
450.5 | 1.785e-05 | 454 | 5.6358
451 | 2.027e-05 | 454.5 | 5.6755
451.5 | 4.588e-05 | 455 | 5.7245
452 | 9.224e-05 | 455.5 | 5.8911
452.5 | 0.0001846 | 456 | 6.1794
453 | 0.000233 | 456.5 | 6.4882
453.5 | 0.0002292 | 457 | 6.6838
454 | 0.0002313 | 457.5 | 6.8125
454.5 | 0.0002111 | 458 | 6.4905
455 | 0.0001886 | 458.5 | 6.3575
455.5 | 0.0001285 | 459 | 6.0833
456 | 6.616e-05 | 459.5 | 6.0115
456.5 | 3.249e-05 | 460 | 6.0877
457 | 2.071e-05 | 460.5 | 6.253
457.5 | 1.54e-05 | 461 | 6.4588
458 | 3.232e-05 | 461.5 | 6.767
458.5 | 4.39e-05 | 462 | 6.6878
459 | 8.254e-05 | 462.5 | 6.2934
459.5 | 9.738e-05 | 463 | 6.0681
460 | 8.172e-05 | 463.5 | 6.0365
460.5 | 5.584e-05 | 464 | 6.156
461 | 3.477e-05 | 464.5 | 6.348
461.5 | 1.71e-05 | 465 | 6.6847
462 | 2.052e-05 | 465.5 | 6.6745
462.5 | 5.089e-05 | 466 | 6.6912
463 | 8.549e-05 | 466.5 | 6.3636
463.5 | 9.193e-05 | 467 | 6.2554
464 | 6.983e-05 | 467.5 | 5.9768
464.5 | 4.487e-05 | 468 | 5.9119
465 | 2.067e-05 | 468.5 | 6.1067
465.5 | 2.116e-05 | 469 | 6.2076
466 | 2.036e-05 | 469.5 | 6.4116
466.5 | 4.329e-05 | 470 | 6.3461
467 | 5.554e-05 | 470.5 | 6.2636
467.5 | 0.0001055 | 471 | 6.118
468 | 0.0001225 | 471.5 | 6.0569
468.5 | 7.822e-05 | 472 | 6.0355
469 | 6.2e-05 | 472.5 | 6.132
469.5 | 3.876e-05 | 473 | 6.1312
470 | 4.507e-05 | 473.5 | 6.2138
470.5 | 5.45e-05 | 474 | 6.2091
471 | 7.621e-05 | 474.5 | 6.0575
471.5 | 8.771e-05 | 475 | 5.9838
472 | 9.215e-05 | 475.5 | 5.9662
472.5 | 7.379e-05 | 476 | 5.994
473 | 7.392e-05 | 476.5 | 5.9465
473.5 | 6.112e-05 | 477 | 6.0792
474 | 6.179e-05 | 477.5 | 6.0008
474.5 | 8.759e-05 | 478 | 5.9558
475 | 0.0001038 | 478.5 | 5.8697
475.5 | 0.0001081 | 479 | 5.7862
476 | 0.0001014 | 479.5 | 5.8874
476.5 | 0.0001131 | 480 | 5.9523
477 | 8.333e-05 | 480.5 | 6.0318
477.5 | 9.982e-05 | 481 | 6.1057
478 | 0.0001107 | 481.5 | 6.0804
478.5 | 0.000135 | 482 | 6.0039
479 | 0.0001636 | 482.5 | 5.9991
479.5 | 0.0001296 | 483 | 6.0198
480 | 0.0001116 | 483.5 | 6.093
480.5 | 9.293e-05 | 484 | 6.2966
481 | 7.84e-05 | 484.5 | 6.4712
481.5 | 8.31e-05 | 485 | 6.5827
482 | 9.91e-05 | 485.5 | 6.5588
482.5 | 0.0001002 | 486 | 6.7224
483 | 9.555e-05 | 486.5 | 6.743
483.5 | 8.072e-05 | 487 | 6.6472
484 | 5.051e-05 | 487.5 | 6.4548
484.5 | 3.379e-05 | 488 | 6.3467
485 | 2.614e-05 | 488.5 | 6.2104
485.5 | 2.762e-05 | 489 | 6.208
486 | 1.895e-05 | 489.5 | 6.124
486.5 | 1.807e-05 | 490 | 6.0765
487 | 2.253e-05 | 490.5 | 6.1174
487.5 | 3.509e-05 | 491 | 5.9355
488 | 4.501e-05 | 491.5 | 5.9274
488.5 | 6.16e-05 | 492 | 5.8752
489 | 6.195e-05 | 492.5 | 5.8416
489.5 | 7.517e-05 | 493 | 5.8811
490 | 8.386e-05 | 493.5 | 5.9508
490.5 | 7.631e-05 | 494 | 5.9726
491 | 0.000116 | 494.5 | 6.0128
491.5 | 0.0001182 | 495 | 6.1056
492 | 0.0001333 | 495.5 | 6.1853
492.5 | 0.000144 | 496 | 6.187
493 | 0.0001315 | 496.5 | 6.2673
493.5 | 0.000112 | 497 | 6.2234
494 | 0.0001065 | 497.5 | 6.2642
494.5 | 9.709e-05 | 498 | 6.2584
495 | 7.841e-05 | 498.5 | 6.1579
495.5 | 6.526e-05 | 499 | 6.0628
496 | 6.502e-05 | 499.5 | 5.9543
496.5 | 5.404e-05 | 500 | 5.8425
497 | 5.978e-05 | 500.5 | 5.8145
497.5 | 5.443e-05 | 501 | 5.7804
498 | 5.516e-05 | 501.5 | 5.8564
498.5 | 6.951e-05 | 502 | 6.0058
499 | 8.653e-05 | 502.5 | 6.0483
499.5 | 0.0001111 | 503 | 6.0532
500 | 0.0001437 | 503.5 | 6.1332
500.5 | 0.0001533 | 504 | 6.1406
501 | 0.0001658 | 504.5 | 6.0873
501.5 | 0.0001392 | 505 | 6.1327
502 | 9.867e-05 | 505.5 | 6.2993
502.5 | 8.947e-05 | 506 | 6.4953
503 | 8.847e-05 | 506.5 | 6.5369
503.5 | 7.359e-05 | 507 | 6.721
504 | 7.235e-05 | 507.5 | 6.7972
504.5 | 8.178e-05 | 508 | 7.2061
505 | 7.367e-05 | 508.5 | 7.45
505.5 | 5.02e-05 | 509 | 7.3423
506 | 3.197e-05 | 509.5 | 8.3847
506.5 | 2.905e-05 | 510 | 7.7642
507 | 1.901e-05 | 510.5 | 7.36
507.5 | 1.595e-05 | 511 | 7.4904
508 | 6.221e-06 | 511.5 | 7.5661
508.5 | 3.548e-06 | 512.5 | 9.0428
509 | 4.547e-06 | 513 | 7.8102
509.5 | 4.124e-07 | 513.5 | 7.239
510 | 1.721e-06 | 515 | 7.3501
510.5 | 4.365e-06 | 516 | 7.1435
511 | 3.233e-06 | 517 | 9.0338
511.5 | 2.716e-06 | 517.5 | 7.8495
512 | -2.894e-06 | 518 | 7.7884
512.5 | 9.061e-08 | 519 | 7.671
513 | 1.548e-06 | 519.5 | 8.8745
513.5 | 5.767e-06 | 520 | 7.5068
514 | -4.239e-06 | 520.5 | 7.5183
514.5 | -2.766e-09 | 521 | 8.658
515 | 4.466e-06 | 522 | 7.5766
515.5 | -9.832e-07 | 523 | 7.4017
516 | 7.186e-06 | 523.5 | 7.1494
516.5 | -4.026e-07 | 524 | 6.6207
517 | 9.251e-08 | 524.5 | 6.7352
517.5 | 1.414e-06 | 525 | 6.9602
518 | 1.628e-06 | 525.5 | 6.9792
518.5 | -1.225e-07 | 526 | 6.9069
519 | 2.133e-06 | 526.5 | 6.9634
519.5 | 1.335e-07 | 527 | 7.4216
520 | 3.113e-06 | 527.5 | 7.4323
520.5 | 3.032e-06 | 528 | 7.6568
521 | 2.198e-07 | 528.5 | 7.7416
521.5 | -2.594e-07 | 529 | 7.0221
522 | 2.651e-06 | 529.5 | 6.9473
522.5 | -2.158e-07 | 530 | 7.3446
523 | 3.966e-06 | 530.5 | 7.8122
523.5 | 7.09e-06 | 531 | 7.2775
524 | 2.395e-05 | 531.5 | 7.1528
524.5 | 1.84e-05 | 532 | 7.263
525 | 1.096e-05 | 532.5 | 7.1974
525.5 | 1.049e-05 | 533 | 7.2533
526 | 1.239e-05 | 533.5 | 6.8416
526.5 | 1.088e-05 | 534 | 6.9796
527 | 3.788e-06 | 534.5 | 7.644
527.5 | 3.696e-06 | 535 | 7.1746
528 | 2.204e-06 | 535.5 | 7.0262
528.5 | 1.813e-06 | 536 | 6.8811
529 | 9.503e-06 | 536.5 | 6.959
529.5 | 1.129e-05 | 537 | 6.7807
530 | 4.523e-06 | 537.5 | 7.0421
530.5 | 1.541e-06 | 538 | 7.0298
531 | 5.278e-06 | 538.5 | 7.0238
531.5 | 7.034e-06 | 539 | 7.1632
532 | 5.457e-06 | 539.5 | 7.1142
532.5 | 6.347e-06 | 540 | 6.7765
533 | 5.581e-06 | 540.5 | 6.7029
533.5 | 1.44e-05 | 541 | 6.5912
534 | 1.048e-05 | 541.5 | 6.5884
534.5 | 2.27e-06 | 542 | 6.3555
535 | 6.69e-06 | 542.5 | 6.3876
535.5 | 9.415e-06 | 543 | 6.4306
536 | 1.315e-05 | 543.5 | 6.4439
536.5 | 1.099e-05 | 544 | 6.3961
537 | 1.657e-05 | 544.5 | 6.6488
537.5 | 9.076e-06 | 545 | 6.4206
538 | 9.337e-06 | 545.5 | 6.5967
538.5 | 9.466e-06 | 546 | 6.4252
539 | 6.868e-06 | 546.5 | 6.2868
539.5 | 7.688e-06 | 547 | 6.2918
540 | 1.673e-05 | 547.5 | 6.2454
540.5 | 1.982e-05 | 548 | 6.0476
541 | 2.563e-05 | 548.5 | 6.0178
541.5 | 2.58e-05 | 549 | 5.9893
542 | 4.411e-05 | 549.5 | 5.8771
542.5 | 4.096e-05 | 550 | 5.9427
543 | 3.71e-05 | 550.5 | 5.9821
543.5 | 3.598e-05 | 551 | 5.9267
544 | 4.017e-05 | 551.5 | 5.942
544.5 | 2.245e-05 | 552 | 5.9314
545 | 3.797e-05 | 552.5 | 5.8851
545.5 | 2.531e-05 | 553 | 5.961
546 | 3.757e-05 | 553.5 | 5.9337
546.5 | 5.167e-05 | 554 | 5.8965
547 | 5.108e-05 | 554.5 | 5.8639
547.5 | 5.683e-05 | 555 | 5.8038
548 | 8.963e-05 | 555.5 | 5.8719
548.5 | 9.598e-05 | 556 | 5.8401
549 | 0.0001025 | 556.5 | 5.848
549.5 | 0.0001327 | 557 | 5.8732
550 | 0.0001141 | 557.5 | 5.9197
550.5 | 0.0001042 | 558 | 5.8742
551 | 0.0001184 | 558.5 | 5.8891
551.5 | 0.0001143 | 559 | 5.9642
552 | 0.0001171 | 559.5 | 5.9516
552.5 | 0.0001303 | 560 | 5.9183
553 | 0.0001094 | 560.5 | 5.9485
553.5 | 0.0001165 | 561 | 5.8794
554 | 0.0001269 | 561.5 | 5.8489
554.5 | 0.0001368 | 562 | 5.8462
555 | 0.0001571 | 562.5 | 5.8668
555.5 | 0.0001343 | 563 | 5.908
556 | 0.0001445 | 563.5 | 5.9566
556.5 | 0.0001419 | 564 | 5.9918
557 | 0.0001339 | 564.5 | 5.9846
557.5 | 0.0001203 | 565 | 6.0926
558 | 0.0001336 | 565.5 | 6.1291
558.5 | 0.0001291 | 566 | 6.2948
559 | 0.0001086 | 566.5 | 6.3153
559.5 | 0.0001118 | 567 | 6.3405
560 | 0.0001207 | 567.5 | 6.4316
560.5 | 0.0001126 | 568 | 6.5286
561 | 0.000132 | 568.5 | 6.5349
561.5 | 0.0001416 | 569 | 6.6369
562 | 0.0001425 | 569.5 | 6.4961
562.5 | 0.0001359 | 570 | 6.5899
563 | 0.0001236 | 570.5 | 6.5391
563.5 | 0.0001105 | 571 | 6.4046
564 | 0.0001019 | 571.5 | 6.3842
564.5 | 0.0001036 | 572 | 6.4622
565 | 8.079e-05 | 572.5 | 6.5544
565.5 | 7.429e-05 | 573 | 6.5575
566 | 5.072e-05 | 573.5 | 6.447
566.5 | 4.838e-05 | 574 | 6.487
567 | 4.566e-05 | 574.5 | 6.5399
567.5 | 3.702e-05 | 575 | 6.4248
568 | 2.961e-05 | 575.5 | 6.4549
568.5 | 2.918e-05 | 576 | 6.4467
569 | 2.307e-05 | 576.5 | 6.4093
569.5 | 3.191e-05 | 577 | 6.3973
570 | 2.571e-05 | 577.5 | 6.3259
570.5 | 2.89e-05 | 578 | 6.1758
571 | 3.939e-05 | 578.5 | 6.1357
571.5 | 4.129e-05 | 579 | 6.0966
572 | 3.45e-05 | 579.5 | 6.0592
572.5 | 2.79e-05 | 580 | 5.9598
573 | 2.77e-05 | 580.5 | 5.9073
573.5 | 3.573e-05 | 581 | 5.8184
574 | 3.258e-05 | 581.5 | 5.8413
574.5 | 2.885e-05 | 582 | 5.8639
575 | 3.76e-05 | 582.5 | 5.8894
575.5 | 3.508e-05 | 583 | 5.9101
576 | 3.575e-05 | 583.5 | 5.9292
576.5 | 3.897e-05 | 584 | 5.9686
577 | 4.006e-05 | 584.5 | 6.0558
577.5 | 4.722e-05 | 585 | 6.0183
578 | 6.671e-05 | 585.5 | 6.0261
578.5 | 7.316e-05 | 586 | 6.167
579 | 8.006e-05 | 586.5 | 6.1419
579.5 | 8.726e-05 | 587 | 6.2363
580 | 0.0001097 | 587.5 | 6.4116
580.5 | 0.0001238 | 588 | 6.4238
581 | 0.0001519 | 588.5 | 6.5648
581.5 | 0.0001441 | 589 | 6.7703
582 | 0.0001368 | 589.5 | 7.0154
582.5 | 0.000129 | 590 | 6.8854
583 | 0.000123 | 590.5 | 7.2566
583.5 | 0.0001177 | 591 | 7.0363
584 | 0.0001075 | 591.5 | 6.9813
584.5 | 8.794e-05 | 592 | 7.1497
585 | 9.588e-05 | 592.5 | 7.1886
585.5 | 9.416e-05 | 593.5 | 7.053
586 | 6.808e-05 | 594 | 7.2273
586.5 | 7.212e-05 | 594.5 | 7.0637
587 | 5.803e-05 | 595 | 7.0218
587.5 | 3.876e-05 | 595.5 | 6.8745
588 | 3.769e-05 | 596 | 6.945
588.5 | 2.724e-05 | 596.5 | 6.8392
589 | 1.697e-05 | 597 | 6.7075
589.5 | 9.651e-06 | 597.5 | 6.5599
590 | 1.302e-05 | 598 | 6.5393
590.5 | 5.538e-06 | 598.5 | 6.2876
591 | 9.199e-06 | 599 | 6.0446
591.5 | 1.044e-05 | 599.5 | 5.8887
592 | 7.084e-06 | 600 | 5.8277
592.5 | 6.477e-06 | 600.5 | 5.8582
593 | -2.822e-07 | 601 | 5.9776
593.5 | 8.851e-06 | 601.5 | 6.1868
594 | 5.925e-06 | 602 | 6.3535
594.5 | 8.635e-06 | 602.5 | 6.401
595 | 9.511e-06 | 603 | 6.6601
595.5 | 1.335e-05 | 603.5 | 6.5082
596 | 1.135e-05 | 604 | 6.7064
596.5 | 1.448e-05 | 604.5 | 6.755
597 | 1.961e-05 | 605 | 6.5805
597.5 | 2.755e-05 | 605.5 | 6.7373
598 | 2.889e-05 | 606 | 6.6126
598.5 | 5.157e-05 | 606.5 | 6.6861
599 | 9.025e-05 | 607 | 6.6838
599.5 | 0.0001292 | 607.5 | 6.901
600 | 0.0001487 | 608 | 6.8116
600.5 | 0.0001386 | 608.5 | 7.0456
601 | 0.0001053 | 609 | 7.1422
601.5 | 6.504e-05 | 609.5 | 7.0098
602 | 4.431e-05 | 610 | 7.1756
602.5 | 3.972e-05 | 610.5 | 7.3019
603 | 2.187e-05 | 611 | 7.727
603.5 | 3.103e-05 | 611.5 | 7.9252
604 | 1.966e-05 | 612.5 | 7.2927
604.5 | 1.758e-05 | 613 | 7.1968
605 | 2.627e-05 | 614 | 8.4505
605.5 | 1.831e-05 | 615 | 7.564
606 | 2.44e-05 | 615.5 | 7.2447
606.5 | 2.06e-05 | 616.5 | 7.4345
607 | 2.071e-05 | 617 | 7.7791
607.5 | 1.256e-05 | 617.5 | 7.4605
608 | 1.543e-05 | 618 | 7.4636
608.5 | 9.003e-06 | 618.5 | 7.4716
609 | 7.207e-06 | 619 | 7.243
609.5 | 9.777e-06 | 619.5 | 7.6899
610 | 6.674e-06 | 620 | 7.5291
610.5 | 4.99e-06 | 620.5 | 7.5388
611 | 1.875e-06 | 621 | 7.2663
611.5 | 1.188e-06 | 621.5 | 7.1226
612 | -1.706e-07 | 622 | 7.4525
612.5 | 5.097e-06 | 622.5 | 6.8668
613 | 6.356e-06 | 623 | 7.1359
613.5 | -2.938e-06 | 623.5 | 6.8604
614 | 3.544e-07 | 624 | 6.7479
614.5 | -5.752e-07 | 624.5 | 6.8392
615 | 2.729e-06 | 625 | 6.7708
615.5 | 5.692e-06 | 625.5 | 6.9889
616 | -5.21e-08 | 626 | 7.0505
616.5 | 3.677e-06 | 626.5 | 6.8529
617 | 1.663e-06 | 627 | 6.9226
617.5 | 3.463e-06 | 627.5 | 6.8735
618 | 3.439e-06 | 628 | 7.008
618.5 | 3.376e-06 | 628.5 | 7.1294
619 | 5.715e-06 | 629 | 7.0073
619.5 | 2.042e-06 | 629.5 | 6.8248
620 | 2.957e-06 | 630 | 6.8398
620.5 | 2.892e-06 | 630.5 | 6.6253
621 | 5.416e-06 | 631 | 6.8677
621.5 | 7.54e-06 | 631.5 | 6.6801
622 | 3.528e-06 | 632 | 6.5545
622.5 | 1.359e-05 | 632.5 | 6.3945
623 | 7.313e-06 | 633 | 6.2795
623.5 | 1.379e-05 | 633.5 | 6.1053
624 | 1.787e-05 | 634 | 6.0457
624.5 | 1.448e-05 | 634.5 | 5.8658
625 | 1.695e-05 | 635 | 5.7049
625.5 | 1.026e-05 | 635.5 | 5.6218
626 | 8.902e-06 | 636 | 5.5432
626.5 | 1.403e-05 | 636.5 | 5.4881
627 | 1.195e-05 | 637 | 5.4498
627.5 | 1.338e-05 | 637.5 | 5.3971
628 | 9.817e-06 | 638 | 5.3685
628.5 | 7.424e-06 | 638.5 | 5.3637
629 | 9.834e-06 | 639 | 5.3638
629.5 | 1.497e-05 | 639.5 | 5.4024
630 | 1.446e-05 | 640 | 5.4724
630.5 | 2.37e-05 | 640.5 | 5.5865
631 | 1.356e-05 | 641 | 5.6885
631.5 | 2.089e-05 | 641.5 | 5.8105
632 | 2.789e-05 | 642 | 5.9423
632.5 | 4.032e-05 | 642.5 | 6.0394
633 | 5.254e-05 | 643 | 6.1596
633.5 | 7.847e-05 | 643.5 | 6.2222
634 | 9.002e-05 | 644 | 6.2493
634.5 | 0.0001362 | 644.5 | 6.3185
635 | 0.0001973 | 645 | 6.3585
635.5 | 0.0002389 | 645.5 | 6.3671
636 | 0.0002863 | 646 | 6.3645
636.5 | 0.000325 | 646.5 | 6.4003
637 | 0.000355 | 647 | 6.3592
637.5 | 0.0004008 | 647.5 | 6.3632
638 | 0.0004281 | 648 | 6.3217
638.5 | 0.0004328 | 648.5 | 6.2549
639 | 0.0004327 | 649 | 6.17
639.5 | 0.0003959 | 649.5 | 6.1208
640 | 0.000337 | 650 | 6.0539
640.5 | 0.0002591 | 650.5 | 5.9126
641 | 0.0002049 | 651 | 5.9066
641.5 | 0.0001547 | 651.5 | 5.8781
642 | 0.0001142 | 652 | 5.8492
642.5 | 9.132e-05 | 652.5 | 5.9187
643 | 6.925e-05 | 653 | 5.9416
643.5 | 5.995e-05 | 653.5 | 6.022
644 | 5.633e-05 | 654 | 6.1389
644.5 | 4.803e-05 | 654.5 | 6.2162
645 | 4.38e-05 | 655 | 6.2403
645.5 | 4.294e-05 | 655.5 | 6.3819
646 | 4.32e-05 | 656 | 6.3516
646.5 | 3.978e-05 | 656.5 | 6.3589
647 | 4.373e-05 | 657 | 6.3595
647.5 | 4.333e-05 | 657.5 | 6.4143
648 | 4.768e-05 | 658 | 6.3741
648.5 | 5.56e-05 | 658.5 | 6.3925
649 | 6.76e-05 | 659 | 6.2971
649.5 | 7.571e-05 | 659.5 | 6.3157
650 | 8.833e-05 | 660 | 6.2358
650.5 | 0.0001223 | 660.5 | 6.1145
651 | 0.000124 | 661 | 6.0127
651.5 | 0.0001324 | 661.5 | 5.959
652 | 0.0001415 | 662 | 5.87
652.5 | 0.0001206 | 662.5 | 5.808
653 | 0.0001144 | 663 | 5.8726
653.5 | 9.506e-05 | 663.5 | 5.9489
654 | 7.263e-05 | 664 | 6.0492
654.5 | 6.078e-05 | 664.5 | 6.1108
655 | 5.751e-05 | 665 | 6.2102
655.5 | 4.15e-05 | 665.5 | 6.3135
656 | 4.45e-05 | 666 | 6.3472
656.5 | 4.376e-05 | 666.5 | 6.4739
657 | 4.37e-05 | 667 | 6.4733
657.5 | 3.852e-05 | 667.5 | 6.5403
658 | 4.226e-05 | 668 | 6.5773
658.5 | 4.05e-05 | 668.5 | 6.5869
659 | 5.045e-05 | 669 | 6.6904
659.5 | 4.834e-05 | 669.5 | 6.5962
660 | 5.81e-05 | 670 | 6.5717
660.5 | 7.683e-05 | 670.5 | 6.5715
661 | 9.712e-05 | 671 | 6.5582
661.5 | 0.0001099 | 671.5 | 6.5616
662 | 0.0001349 | 672 | 6.3883
662.5 | 0.0001556 | 672.5 | 6.2683
663 | 0.0001341 | 673 | 6.2872
663.5 | 0.0001125 | 673.5 | 6.1795
664 | 8.928e-05 | 674 | 6.0318
664.5 | 7.749e-05 | 674.5 | 6.0096
665 | 6.163e-05 | 675 | 5.8495
665.5 | 4.858e-05 | 675.5 | 5.9034
666 | 4.496e-05 | 676 | 5.8517
666.5 | 3.358e-05 | 676.5 | 5.845
667 | 3.363e-05 | 677 | 5.9101
667.5 | 2.882e-05 | 677.5 | 6.0102
668 | 2.647e-05 | 678 | 6.095
668.5 | 2.589e-05 | 678.5 | 6.2378
669 | 2.04e-05 | 679 | 6.2782
669.5 | 2.534e-05 | 679.5 | 6.2302
670 | 2.681e-05 | 680 | 6.3895
670.5 | 2.682e-05 | 680.5 | 6.3484
671 | 2.766e-05 | 681 | 6.416
671.5 | 2.744e-05 | 681.5 | 6.4274
672 | 4.09e-05 | 682 | 6.4687
672.5 | 5.391e-05 | 682.5 | 6.5131
673 | 5.162e-05 | 683 | 6.3813
673.5 | 6.615e-05 | 683.5 | 6.3447
674 | 9.293e-05 | 684 | 6.3262
674.5 | 9.782e-05 | 684.5 | 6.3641
675 | 0.0001414 | 685 | 6.3119
675.5 | 0.0001249 | 685.5 | 6.2412
676 | 0.0001407 | 686 | 6.1792
676.5 | 0.0001429 | 686.5 | 6.0346
677 | 0.000123 | 687 | 5.9918
677.5 | 9.768e-05 | 687.5 | 5.9978
678 | 8.035e-05 | 688 | 5.8726
678.5 | 5.784e-05 | 688.5 | 5.833
679 | 5.27e-05 | 689 | 5.8303
679.5 | 5.886e-05 | 689.5 | 5.7815
680 | 4.079e-05 | 690 | 5.8294
680.5 | 4.483e-05 | 690.5 | 5.845
681 | 3.837e-05 | 691 | 5.838
681.5 | 3.738e-05 | 691.5 | 5.8611
682 | 3.399e-05 | 692 | 5.8798
682.5 | 3.068e-05 | 692.5 | 5.8407
683 | 4.156e-05 | 693 | 5.8294
683.5 | 4.522e-05 | 693.5 | 5.8627
684 | 4.718e-05 | 694 | 5.8633
684.5 | 4.324e-05 | 694.5 | 5.8536
685 | 4.876e-05 | 695 | 5.8277
685.5 | 5.738e-05 | 695.5 | 5.8545
686 | 6.619e-05 | 696 | 5.7657
686.5 | 9.235e-05 | 696.5 | 5.7768
687 | 0.0001019 | 697 | 5.7786
687.5 | 0.0001005 | 697.5 | 5.7632
688 | 0.0001341 | 698 | 5.721
688.5 | 0.0001469 | 698.5 | 5.7989
689 | 0.0001478 | 699 | 5.8036
689.5 | 0.0001654 | 699.5 | 5.8642
690 | 0.0001481 | 700 | 5.9041
690.5 | 0.0001429 | 700.5 | 5.8851
691 | 0.0001452 | 701 | 5.9622
691.5 | 0.0001377 | 701.5 | 5.9726
692 | 0.0001319 | 702 | 5.9927
692.5 | 0.0001443 | 702.5 | 6.0514
693 | 0.0001481 | 703 | 6.0395
693.5 | 0.0001372 | 703.5 | 6.0307
694 | 0.000137 | 704 | 5.9889
694.5 | 0.0001401 | 704.5 | 5.9226
695 | 0.0001487 | 705 | 5.952
695.5 | 0.0001398 | 705.5 | 5.8723
696 | 0.0001715 | 706 | 5.7729
696.5 | 0.0001672 | 706.5 | 5.7104
697 | 0.0001665 | 707 | 5.7199
697.5 | 0.0001725 | 707.5 | 5.7665
698 | 0.0001901 | 708 | 5.7282
698.5 | 0.0001589 | 708.5 | 5.7688
699 | 0.0001572 | 709 | 5.8099
699.5 | 0.0001367 | 709.5 | 5.9017
700 | 0.0001247 | 710 | 6.0842
700.5 | 0.0001303 | 710.5 | 6.1808
701 | 0.0001091 | 711 | 6.1758
701.5 | 0.0001065 | 711.5 | 6.2743
702 | 0.0001017 | 712 | 6.543
702.5 | 8.884e-05 | 712.5 | 6.5594
703 | 9.131e-05 | 713 | 6.5123
703.5 | 9.318e-05 | 713.5 | 6.6842
704 | 0.0001026 | 714 | 6.4096
704.5 | 0.0001195 | 714.5 | 6.6796
705 | 0.0001117 | 715 | 6.5133
705.5 | 0.0001342 | 715.5 | 6.6684
706 | 0.0001687 | 716 | 6.8483
706.5 | 0.0001948 | 716.5 | 6.8623
707 | 0.0001906 | 717 | 6.7501
707.5 | 0.0001712 | 717.5 | 6.4853
708 | 0.000187 | 718 | 6.6364
708.5 | 0.0001703 | 718.5 | 6.6832
709 | 0.0001549 | 719 | 6.383
709.5 | 0.0001254 | 719.5 | 6.4028
710 | 8.238e-05 | 720 | 6.4581
710.5 | 6.595e-05 | 720.5 | 6.2998
711 | 6.671e-05 | 721 | 6.0302
711.5 | 5.318e-05 | 721.5 | 6.0087
712 | 2.864e-05 | 722 | 5.9104
712.5 | 2.758e-05 | 722.5 | 5.8462
713 | 3.074e-05 | 723 | 5.8844
713.5 | 2.069e-05 | 723.5 | 6.0394
714 | 3.894e-05 | 724 | 5.9961
714.5 | 2.091e-05 | 724.5 | 6.2363
715 | 3.067e-05 | 725 | 6.4325
715.5 | 2.146e-05 | 725.5 | 6.4751
716 | 1.418e-05 | 726 | 6.9097
716.5 | 1.373e-05 | 726.5 | 6.514
717 | 1.778e-05 | 727 | 7.0132
717.5 | 3.271e-05 | 727.5 | 6.4942
718 | 2.31e-05 | 728 | 6.6629
718.5 | 2.074e-05 | 728.5 | 7.1087
719 | 4.14e-05 | 729 | 7.1779
719.5 | 3.955e-05 | 729.5 | 7.4065
720 | 3.483e-05 | 730 | 7.1144
720.5 | 5.014e-05 | 730.5 | 6.7131
721 | 9.329e-05 | 731 | 8.0612
721.5 | 9.802e-05 | 731.5 | 7.5972
722 | 0.0001229 | 732 | 7.2053
722.5 | 0.0001425 | 732.5 | 7.2489
723 | 0.0001305 | 733 | 6.9219
723.5 | 9.132e-05 | 733.5 | 6.9147
724 | 0.0001009 | 734 | 7.1047
724.5 | 5.804e-05 | 734.5 | 6.66
725 | 3.694e-05 | 735 | 7.136
725.5 | 3.349e-05 | 735.5 | 7.2946
726 | 1.231e-05 | 736 | 7.0242
726.5 | 3.062e-05 | 736.5 | 6.9838
727 | 9.7e-06 | 737 | 6.7752
727.5 | 3.205e-05 | 737.5 | 7.1114
728 | 2.173e-05 | 738 | 6.7219
728.5 | 7.785e-06 | 738.5 | 6.6216
729 | 6.639e-06 | 739 | 6.6146
729.5 | 3.922e-06 | 739.5 | 6.7387
730 | 7.685e-06 | 740 | 6.8374
730.5 | 1.936e-05 | 740.5 | 6.6959
731 | 8.686e-07 | 741 | 6.3157
731.5 | 2.528e-06 | 741.5 | 6.6267
732 | 6.233e-06 | 742 | 6.7892
732.5 | 5.637e-06 | 742.5 | 7.1089
733 | 1.197e-05 | 743 | 7.4785
733.5 | 1.217e-05 | 743.5 | 6.8125
734 | 7.858e-06 | 744 | 6.8306
734.5 | 2.188e-05 | 744.5 | 7.0455
735 | 7.311e-06 | 745 | 7.1211
735.5 | 5.074e-06 | 746 | 7.5965
736 | 9.458e-06 | 746.5 | 6.9311
736.5 | 1.038e-05 | 747 | 7.3913
737 | 1.678e-05 | 749 | 6.991
737.5 | 7.738e-06 | 750.5 | 7.3383
738 | 1.897e-05 | 751 | 7.3248
738.5 | 2.39e-05 | 751.5 | 6.7501
739 | 2.429e-05 | 752 | 6.6321
739.5 | 1.825e-05 | 752.5 | 7.0455
740 | 1.454e-05 | 753 | 7.1334
740.5 | 2.014e-05 | 753.5 | 6.5796
741 | 4.834e-05 | 754 | 6.8333
741.5 | 2.362e-05 | 754.5 | 7.5461
742 | 1.625e-05 | 755 | 7.0798
742.5 | 7.782e-06 | 755.5 | 6.823
743 | 3.323e-06 | 756 | 6.9974
743.5 | 1.54e-05 | 756.5 | 6.4036
744 | 1.477e-05 | 757 | 6.1965
744.5 | 9.006e-06 | 757.5 | 6.3624
745 | 7.566e-06 | 758 | 6.3018
745.5 | -1.869e-05 | 758.5 | 6.1875
746 | 2.532e-06 | 759 | 6.0588
746.5 | 1.172e-05 | 759.5 | 6.0199
747 | 4.062e-06 | 760 | 5.8489
747.5 | -2.257e-06 | 760.5 | 6.2541
748 | -3.7e-07 | 761 | 6.3531
748.5 | -5.163e-06 | 761.5 | 6.253
749 | 1.021e-05 | 762 | 6.451
749.5 | -2.081e-05 | 762.5 | 6.4066
750 | -2.302e-06 | 763 | 6.8036
750.5 | 4.589e-06 | 763.5 | 6.6853
751 | 4.734e-06 | 764 | 6.5722
751.5 | 1.778e-05 | 764.5 | 8.0232
752 | 2.333e-05 | 766 | 7.06
752.5 | 9.005e-06 | 766.5 | 6.9101
753 | 7.356e-06 | 767 | 6.5923
753.5 | 2.633e-05 | 767.5 | 6.4888
754 | 1.468e-05 | 768 | 6.626
754.5 | 2.844e-06 | 768.5 | 6.6996
755 | 8.322e-06 | 769 | 7.9735
755.5 | 1.503e-05 | 769.5 | 6.688
756 | 1.006e-05 | 770 | 6.9531
756.5 | 3.948e-05 | 770.5 | 6.5367
757 | 6.36e-05 | 771 | 6.5103
757.5 | 4.341e-05 | 771.5 | 7.1366
758 | 4.991e-05 | 772 | 6.8887
758.5 | 6.493e-05 | 772.5 | 7.1759
759 | 8.733e-05 | 773 | 6.6596
759.5 | 9.551e-05 | 773.5 | 6.9825
760 | 0.0001416 | 774 | 6.8938
760.5 | 5.571e-05 | 774.5 | 6.2093
761 | 4.435e-05 | 775 | 6.7604
761.5 | 5.584e-05 | 775.5 | 6.7975
762 | 3.54e-05 | 776 | 6.6075
762.5 | 3.921e-05 | 776.5 | 6.0721
763 | 1.572e-05 | 777 | 6.0936
763.5 | 2.064e-05 | 777.5 | 6.1904
764 | 2.678e-05 | 778 | 6.0702
764.5 | 9.48e-07 | 778.5 | 6.1698
765 | -7.631e-06 | 779 | 6.1225
765.5 | -7.51e-07 | 779.5 | 5.9953
766 | 8.71e-06 | 780 | 5.9389
766.5 | 1.23e-05 | 780.5 | 5.9187
767 | 2.557e-05 | 781 | 5.8582
767.5 | 3.245e-05 | 781.5 | 5.8176
768 | 2.366e-05 | 782 | 5.9768
768.5 | 1.997e-05 | 782.5 | 5.923
769 | 1.063e-06 | 783 | 5.937
769.5 | 2.051e-05 | 783.5 | 5.9322
770 | 1.114e-05 | 784 | 5.9531
770.5 | 2.906e-05 | 784.5 | 5.8453
771 | 3.088e-05 | 785 | 6.0006
771.5 | 7.302e-06 | 785.5 | 5.8807
772 | 1.292e-05 | 786 | 5.8545
772.5 | 6.67e-06 | 786.5 | 6
773 | 2.19e-05 | 787 | 6.0254
773.5 | 1.041e-05 | 787.5 | 5.9974
774 | 1.277e-05 | 788 | 5.8545
774.5 | 6.176e-05 | 788.5 | 5.8742
775 | 1.736e-05 | 789 | 6.0054
775.5 | 1.594e-05 | 789.5 | 5.8147
776 | 2.469e-05 | 790 | 6.1738
776.5 | 8.47e-05 | 790.5 | 5.9801
777 | 8.061e-05 | 791 | 6.0476
777.5 | 6.451e-05 | 791.5 | 5.9574
778 | 8.507e-05 | 792 | 6.0346
778.5 | 6.764e-05 | 792.5 | 5.9551
779 | 7.543e-05 | 793 | 6.3146
779.5 | 0.0001011 | 793.5 | 6.0879
780 | 0.0001151 | 794 | 6.2721
780.5 | 0.0001206 | 794.5 | 5.9606
781 | 0.0001386 | 795 | 6.289
781.5 | 0.0001522 | 795.5 | 6.2695
782 | 0.0001055 | 796 | 6.107
782.5 | 0.0001194 | 796.5 | 7.005
783 | 0.0001156 | 797 | 6.1946
783.5 | 0.0001169 | 797.5 | 6.3982
784 | 0.0001114 | 798 | 7.0762
784.5 | 0.0001428 | 798.5 | 6.465
785 | 9.986e-05 | 799 | 6.5748
785.5 | 0.0001316 | 799.5 | 6.1918
786 | 0.0001398 | 800 | 6.1736
786.5 | 0.0001 | 800.5 | 6.1765
787 | 9.431e-05 | 801 | 6.1793
787.5 | 0.0001006 | 801.5 | 6.2467
788 | 0.0001398 | 802 | 6.3264
788.5 | 0.0001336 | 802.5 | 6.2975
789 | 9.877e-05 | 803 | 6.2703
789.5 | 0.0001532 | 803.5 | 6.4369
790 | 6.702e-05 | 804 | 6.7102
790.5 | 0.0001047 | 804.5 | 6.5316
791 | 8.961e-05 | 805 | 6.4055
791.5 | 0.0001103 | 805.5 | 6.6763
792 | 9.234e-05 | 806 | 7.5449
792.5 | 0.0001109 | 806.5 | 6.648
793 | 4.846e-05 | 807 | 6.3755
793.5 | 8.168e-05 | 807.5 | 6.4099
794 | 5.344e-05 | 808 | 6.4474
794.5 | 0.0001095 | 808.5 | 6.5374
795 | 5.14e-05 | 809 | 6.6509
795.5 | 5.377e-05 | 809.5 | 6.7867
796 | 7.817e-05 | 810 | 6.9855
796.5 | 9.886e-06 | 810.5 | 6.6842
797 | 6.389e-05 | 811 | 6.5084
797.5 | 3.998e-05 | 811.5 | 6.6562
798 | 8.391e-06 | 812 | 6.8817
798.5 | 3.428e-05 | 814 | 7.1043
799 | 2.662e-05 | 816 | 7.7254
799.5 | 6.43e-05 | 816.5 | 7.9901
800 | 6.705e-05 | 817 | 8.7838
800.5 | 6.661e-05 | 817.5 | 6.5389
801 | 6.617e-05 | 818 | 6.2391
801.5 | 5.666e-05 | 818.5 | 6.268
802 | 4.716e-05 | 819 | 6.299
802.5 | 5.041e-05 | 819.5 | 6.4374
803 | 5.366e-05 | 820 | 6.6413
803.5 | 3.657e-05 | 820.5 | 6.5442
804 | 1.949e-05 | 821 | 6.465
804.5 | 2.94e-05 | 821.5 | 6.4646
805 | 3.931e-05 | 822 | 6.4642
805.5 | 2.107e-05 | 822.5 | 6.4224
806 | 2.852e-06 | 823 | 6.3844
806.5 | 2.249e-05 | 823.5 | 6.2591
807 | 4.212e-05 | 824 | 6.162
807.5 | 3.891e-05 | 824.5 | 6.2374
808 | 3.569e-05 | 825 | 6.3285
808.5 | 2.901e-05 | 825.5 | 6.3832
809 | 2.234e-05 | 826 | 6.4458
809.5 | 1.634e-05 | 826.5 | 6.3578
810 | 1.034e-05 | 827 | 6.2847
810.5 | 2.069e-05 | 827.5 | 6.3261
811 | 3.102e-05 | 828 | 6.3717
811.5 | 2.207e-05 | 828.5 | 6.3918
812 | 1.313e-05 | 829 | 6.4128
812.5 | -1.538e-06 | 829.5 | 6.2812
813 | -1.62e-05 | 830 | 6.1803
813.5 | -4.162e-06 | 830.5 | 6.8407
814 | 7.866e-06 | 832 | 6.6908
814.5 | -2.346e-06 | 832.5 | 6.9706
815 | -1.255e-05 | 833 | 7.9851
815.5 | -5.335e-06 | 833.5 | 6.7665
816 | 1.882e-06 | 834 | 6.4789
816.5 | 1.023e-06 | 834.5 | 6.7354
817 | 1.645e-07 | 835 | 7.4444
817.5 | 2.891e-05 | 837 | 7.7876
818 | 5.766e-05 | 837.5 | 6.9606
818.5 | 5.395e-05 | 838 | 6.6934
819 | 5.023e-05 | 838.5 | 6.6282
819.5 | 3.653e-05 | 839 | 6.5715
820 | 2.284e-05 | 839.5 | 6.7997
820.5 | 2.856e-05 | 840 | 7.3098
821 | 3.428e-05 | 840.5 | 6.8827
821.5 | 3.431e-05 | 841 | 6.6718
822 | 3.434e-05 | 841.5 | 6.8422
822.5 | 3.781e-05 | 842 | 7.1262
823 | 4.127e-05 | 842.5 | 7.2063
823.5 | 5.507e-05 | 843 | 7.3048
824 | 6.886e-05 | 843.5 | 6.7361
824.5 | 5.789e-05 | 844 | 6.4981
825 | 4.694e-05 | 844.5 | 6.656
825.5 | 4.138e-05 | 845 | 6.9062
826 | 3.583e-05 | 845.5 | 6.919
826.5 | 4.387e-05 | 846 | 6.9322
827 | 5.191e-05 | 846.5 | 6.7841
827.5 | 4.72e-05 | 847 | 6.6737
828 | 4.249e-05 | 847.5 | 6.5786
828.5 | 4.057e-05 | 848 | 6.5006
829 | 3.865e-05 | 848.5 | 6.6527
829.5 | 5.234e-05 | 849 | 6.8887
830 | 6.602e-05 | 849.5 | 7.096
830.5 | 1.443e-05 | 850 | 7.5064
831 | -3.713e-05 | 850.5 | 7.25
831.5 | -8.372e-06 | 851 | 7.0899
832 | 2.038e-05 | 851.5 | 6.9416
832.5 | 1.07e-05 | 852 | 6.8312
833 | 1.035e-06 | 852.5 | 7.277
833.5 | 1.712e-05 | 853.5 | 7.2245
834 | 3.32e-05 | 854 | 6.7929
834.5 | 1.839e-05 | 854.5 | 7.0319
835 | 3.594e-06 | 855 | 7.6047
835.5 | -5.231e-06 | 855.5 | 7.0651
836 | -1.405e-05 | 856 | 6.8318
836.5 | -6.208e-06 | 856.5 | 7.2849
837 | 1.631e-06 | 857.5 | 8.6749
837.5 | 1.095e-05 | 858 | 7.3219
838 | 2.026e-05 | 859.5 | 7.9983
838.5 | 2.354e-05 | 860 | 6.8589
839 | 2.682e-05 | 860.5 | 6.7749
839.5 | 1.586e-05 | 861 | 6.7049
840 | 4.9e-06 | 861.5 | 6.6043
840.5 | 1.31e-05 | 862 | 6.5226
841 | 2.129e-05 | 862.5 | 6.5712
841.5 | 1.438e-05 | 863 | 6.6258
842 | 7.478e-06 | 863.5 | 6.549
842.5 | 6.218e-06 | 864 | 6.4839
843 | 4.957e-06 | 864.5 | 6.6694
843.5 | 1.836e-05 | 865 | 7
844 | 3.176e-05 | 865.5 | 7.4803
844.5 | 2.208e-05 | 866.5 | 7.2968
845 | 1.241e-05 | 867 | 6.8703
845.5 | 1.205e-05 | 867.5 | 7.3015
846 | 1.169e-05 | 868.5 | 6.7786
846.5 | 1.644e-05 | 869 | 6.4344
847 | 2.12e-05 | 869.5 | 6.5733
847.5 | 2.639e-05 | 870 | 6.7786
848 | 3.158e-05 | 870.5 | 6.93
848.5 | 2.225e-05 | 871 | 7.1639
849 | 1.292e-05 | 871.5 | 8.0336
849.5 | 8.016e-06 | 872.5 | 7.0956
850 | 3.116e-06 | 873 | 6.6769
850.5 | 5.624e-06 | 875 | 6.787
851 | 8.13e-06 | 875.5 | 6.7199
851.5 | 1.144e-05 | 876 | 6.6619
852 | 1.475e-05 | 876.5 | 6.618
852.5 | 5.285e-06 | 877 | 6.5781
853 | -4.189e-06 | 877.5 | 6.727
853.5 | 5.963e-06 | 878 | 6.9551
854 | 1.611e-05 | 878.5 | 6.848
854.5 | 9.292e-06 | 879 | 6.7619
855 | 2.485e-06 | 879.5 | 6.636
855.5 | 8.608e-06 | 880 | 6.5386
856 | 1.473e-05 | 880.5 | 6.8824
856.5 | 5.189e-06 | 881.5 | 6.8179
857 | -4.344e-06 | 882 | 6.4799
857.5 | 2.114e-07 | 882.5 | 6.7031
858 | 4.766e-06 | 883 | 7.1866
858.5 | -3.537e-06 | 883.5 | 7.0362
859 | -1.183e-05 | 884 | 6.9245
859.5 | 1.004e-06 | 884.5 | 7.0353
860 | 1.384e-05 | 885 | 7.184
860.5 | 1.679e-05 | 885.5 | 6.9905
861 | 1.973e-05 | 886 | 6.857
861.5 | 2.487e-05 | 886.5 | 6.6273
862 | 3.002e-05 | 887 | 6.4779
862.5 | 2.684e-05 | 887.5 | 6.7726
863 | 2.367e-05 | 888 | 8.3224
863.5 | 2.825e-05 | 888.5 | 7.4583
864 | 3.282e-05 | 889 | 7.188
864.5 | 2.141e-05 | 889.5 | 6.7404
865 | 1e-05 | 890 | 6.5248
865.5 | 3.309e-06 | 890.5 | 6.4231
866 | -3.379e-06 | 891 | 6.3407
866.5 | 5.049e-06 | 891.5 | 6.3704
867 | 1.348e-05 | 892 | 6.4022
867.5 | 4.994e-06 | 892.5 | 6.4636
868 | -3.486e-06 | 893 | 6.5352
868.5 | 1.665e-05 | 893.5 | 6.3195
869 | 3.678e-05 | 894 | 6.1761
869.5 | 2.671e-05 | 894.5 | 6.2183
870 | 1.665e-05 | 895 | 6.2651
870.5 | 1.175e-05 | 895.5 | 6.2483
871 | 6.856e-06 | 896 | 6.232
871.5 | 9.256e-07 | 896.5 | 6.238
872 | -4.998e-06 | 897 | 6.244
872.5 | 8.024e-06 | 897.5 | 6.2203
873 | 2.104e-05 | 898 | 6.1976
873.5 | -3.374e-06 | 898.5 | 6.2152
874 | -2.779e-05 | 899 | 6.2336
874.5 | -5.715e-06 | 899.5 | 6.2342
875 | 1.633e-05 | 900 | 6.2347
875.5 | 1.906e-05 | 900.5 | 6.1799
876 | 2.178e-05 | 901 | 6.1312
876.5 | 2.41e-05 | 901.5 | 6.2079
877 | 2.642e-05 | 902 | 6.3009
877.5 | 1.875e-05 | 902.5 | 6.2742
878 | 1.109e-05 | 903 | 6.2489
878.5 | 1.419e-05 | 903.5 | 6.3709
879 | 1.73e-05 | 904 | 6.5411
879.5 | 2.312e-05 | 904.5 | 6.6076
880 | 2.893e-05 | 905 | 6.6863
880.5 | 1.311e-05 | 905.5 | 6.7445
881 | -2.717e-06 | 906 | 6.8116
881.5 | 1.521e-05 | 906.5 | 6.6336
882 | 3.312e-05 | 907 | 6.5077
882.5 | 1.981e-05 | 907.5 | 6.4122
883 | 6.507e-06 | 908 | 6.3339
883.5 | 9.201e-06 | 908.5 | 6.3935
884 | 1.19e-05 | 909 | 6.4627
884.5 | 9.219e-06 | 909.5 | 6.4861
885 | 6.546e-06 | 910 | 6.511
885.5 | 1.022e-05 | 910.5 | 6.3585
886 | 1.39e-05 | 911 | 6.246
886.5 | 2.359e-05 | 911.5 | 6.1894
887 | 3.327e-05 | 912 | 6.1392
887.5 | 1.688e-05 | 912.5 | 6.1765
888 | 4.76e-07 | 913 | 6.2171
888.5 | 3.481e-06 | 913.5 | 6.1429
889 | 6.486e-06 | 914 | 6.0795
889.5 | 1.818e-05 | 914.5 | 6.0185
890 | 2.987e-05 | 915 | 5.965
890.5 | 3.775e-05 | 915.5 | 5.9151
891 | 4.563e-05 | 916 | 5.8703
891.5 | 4.262e-05 | 916.5 | 5.8623
892 | 3.961e-05 | 917 | 5.8542
892.5 | 3.439e-05 | 917.5 | 5.8374
893 | 2.916e-05 | 918 | 5.8213
893.5 | 4.792e-05 | 918.5 | 5.8429
894 | 6.667e-05 | 919 | 5.8655
894.5 | 6.049e-05 | 919.5 | 5.8542
895 | 5.431e-05 | 920 | 5.8429
895.5 | 5.646e-05 | 920.5 | 5.9007
896 | 5.861e-05 | 921 | 5.967
896.5 | 5.781e-05 | 921.5 | 5.9355
897 | 5.701e-05 | 922 | 5.9062
897.5 | 6.022e-05 | 922.5 | 5.937
898 | 6.344e-05 | 923 | 5.9702
898.5 | 6.092e-05 | 923.5 | 5.9923
899 | 5.84e-05 | 924 | 6.016
899.5 | 5.832e-05 | 924.5 | 6.0324
900 | 5.825e-05 | 925 | 6.0494
900.5 | 6.609e-05 | 925.5 | 6.0913
901 | 7.393e-05 | 926 | 6.1377
901.5 | 6.196e-05 | 926.5 | 6.124
902 | 5.001e-05 | 927 | 6.1107
902.5 | 5.319e-05 | 927.5 | 6.1514
903 | 5.638e-05 | 928 | 6.1963
903.5 | 4.257e-05 | 928.5 | 6.2162
904 | 2.877e-05 | 929 | 6.2371
904.5 | 2.468e-05 | 929.5 | 6.2017
905 | 2.059e-05 | 930 | 6.169
905.5 | 1.801e-05 | 930.5 | 6.1828
906 | 1.543e-05 | 931 | 6.197
906.5 | 2.325e-05 | 931.5 | 6.1581
907 | 3.107e-05 | 932 | 6.1224
907.5 | 3.871e-05 | 932.5 | 6.1311
908 | 4.636e-05 | 933 | 6.14
908.5 | 4.041e-05 | 933.5 | 6.1106
909 | 3.446e-05 | 934 | 6.0832
909.5 | 3.265e-05 | 934.5 | 6.101
910 | 3.083e-05 | 935 | 6.1195
910.5 | 4.38e-05 | 935.5 | 6.1906
911 | 5.676e-05 | 936 | 6.2758
911.5 | 6.466e-05 | 936.5 | 6.1742
912 | 7.257e-05 | 937 | 6.092
912.5 | 6.661e-05 | 937.5 | 6.0744
913 | 6.066e-05 | 938 | 6.0576
913.5 | 7.196e-05 | 938.5 | 6.0135
914 | 8.327e-05 | 939 | 5.9735
914.5 | 9.583e-05 | 939.5 | 5.9809
915 | 0.0001084 | 940 | 5.9889
915.5 | 0.0001216 | 940.5 | 5.9427
916 | 0.0001348 | 941 | 5.901
916.5 | 0.0001373 | 941.5 | 5.8861
917 | 0.0001399 | 942 | 5.8719
917.5 | 0.0001454 | 942.5 | 5.8831
918 | 0.0001509 | 943 | 5.8941
918.5 | 0.0001436 | 943.5 | 5.8778
919 | 0.0001363 | 944 | 5.8617
919.5 | 0.0001399 | 944.5 | 5.8768
920 | 0.0001436 | 945 | 5.8925
920.5 | 0.0001257 | 945.5 | 5.8658
921 | 0.0001079 | 946 | 5.8404
921.5 | 0.000116 | 946.5 | 5.821
922 | 0.0001241 | 947 | 5.8022
922.5 | 0.0001156 | 947.5 | 5.8251
923 | 0.0001071 | 948 | 5.8489
923.5 | 0.0001018 | 948.5 | 5.8374
924 | 9.639e-05 | 949 | 5.8262
924.5 | 9.282e-05 | 949.5 | 5.8453
925 | 8.925e-05 | 950 | 5.8649
925.5 | 8.104e-05 | 950.5 | 5.8639
926 | 7.283e-05 | 951 | 5.8627
926.5 | 7.516e-05 | 951.5 | 5.852
927 | 7.75e-05 | 952 | 5.8416
927.5 | 7.057e-05 | 952.5 | 5.8292
928 | 6.364e-05 | 953 | 5.8173
928.5 | 6.079e-05 | 953.5 | 5.852
929 | 5.793e-05 | 954 | 5.8894
929.5 | 6.285e-05 | 954.5 | 5.8401
930 | 6.777e-05 | 955 | 5.7953
930.5 | 6.565e-05 | 955.5 | 5.8395
931 | 6.353e-05 | 956 | 5.8887
931.5 | 6.949e-05 | 956.5 | 5.8661
932 | 7.544e-05 | 957 | 5.845
932.5 | 7.394e-05 | 957.5 | 5.8248
933 | 7.244e-05 | 958 | 5.8058
933.5 | 7.751e-05 | 958.5 | 5.8254
934 | 8.257e-05 | 959 | 5.8456
934.5 | 7.926e-05 | 959.5 | 5.9059
935 | 7.595e-05 | 960 | 5.9759
935.5 | 6.447e-05 | 960.5 | 5.9314
936 | 5.299e-05 | 961 | 5.8911
936.5 | 6.695e-05 | 961.5 | 5.8526
937 | 8.091e-05 | 962 | 5.8173
937.5 | 8.425e-05 | 962.5 | 5.833
938 | 8.758e-05 | 963 | 5.8489
938.5 | 9.694e-05 | 963.5 | 5.8193
939 | 0.0001063 | 964 | 5.7916
939.5 | 0.0001045 | 964.5 | 5.7937
940 | 0.0001026 | 965 | 5.7959
940.5 | 0.0001141 | 965.5 | 5.7794
941 | 0.0001256 | 966 | 5.7637
941.5 | 0.00013 | 966.5 | 5.7744
942 | 0.0001343 | 967 | 5.7854
942.5 | 0.0001309 | 967.5 | 5.8259
943 | 0.0001276 | 968 | 5.8703
943.5 | 0.0001325 | 968.5 | 5.8821
944 | 0.0001375 | 969 | 5.8945
944.5 | 0.0001328 | 969.5 | 5.841
945 | 0.0001281 | 970 | 5.7937
945.5 | 0.0001362 | 970.5 | 5.8024
946 | 0.0001444 | 971 | 5.8114
946.5 | 0.000151 | 971.5 | 5.8425
947 | 0.0001577 | 972 | 5.8758
947.5 | 0.0001496 | 972.5 | 5.8945
948 | 0.0001416 | 973 | 5.914
948.5 | 0.0001454 | 973.5 | 5.9237
949 | 0.0001492 | 974 | 5.9337
949.5 | 0.0001428 | 974.5 | 5.9094
950 | 0.0001365 | 975 | 5.8864
950.5 | 0.0001368 | 975.5 | 5.9489
951 | 0.0001372 | 976 | 6.0217
951.5 | 0.0001406 | 976.5 | 5.9914
952 | 0.000144 | 977 | 5.9634
952.5 | 0.0001482 | 977.5 | 5.9817
953 | 0.0001523 | 978 | 6.001
953.5 | 0.0001406 | 978.5 | 5.95
954 | 0.000129 | 979 | 5.9045
954.5 | 0.0001445 | 979.5 | 5.9582
955 | 0.0001602 | 980 | 6.02
955.5 | 0.0001447 | 980.5 | 6.019
956 | 0.0001292 | 981 | 6.0181
956.5 | 0.0001361 | 981.5 | 5.9897
957 | 0.0001429 | 982 | 5.963
957.5 | 0.0001497 | 982.5 | 5.9073
958 | 0.0001564 | 983 | 5.8579
958.5 | 0.0001495 | 983.5 | 5.8908
959 | 0.0001427 | 984 | 5.9263
959.5 | 0.0001242 | 984.5 | 5.9454
960 | 0.0001057 | 985 | 5.965
960.5 | 0.0001171 | 985.5 | 5.9408
961 | 0.0001285 | 986 | 5.9176
961.5 | 0.0001404 | 986.5 | 5.9326
962 | 0.0001523 | 987 | 5.9481
962.5 | 0.0001469 | 987.5 | 5.9431
963 | 0.0001416 | 988 | 5.9378
963.5 | 0.0001516 | 988.5 | 5.9062
964 | 0.0001616 | 989 | 5.8768
964.5 | 0.0001608 | 989.5 | 5.9003
965 | 0.00016 | 990 | 5.9256
965.5 | 0.0001662 | 990.5 | 5.8608
966 | 0.0001723 | 991 | 5.8046
966.5 | 0.0001681 | 991.5 | 5.819
967 | 0.0001639 | 992 | 5.8342
967.5 | 0.0001493 | 992.5 | 5.8483
968 | 0.0001348 | 993 | 5.8633
968.5 | 0.0001312 | 993.5 | 5.8697
969 | 0.0001275 | 994 | 5.8761
969.5 | 0.0001442 | 994.5 | 5.8567
970 | 0.0001608 | 995 | 5.838
970.5 | 0.0001576 | 995.5 | 5.8333
971 | 0.0001544 | 996 | 5.8286
971.5 | 0.0001437 | 996.5 | 5.9021
972 | 0.0001331 | 997 | 5.9905
972.5 | 0.0001275 | 997.5 | 5.9172
973 | 0.0001219 | 998 | 5.8542
973.5 | 0.0001192 | 998.5 | 5.8529
974 | 0.0001165 | 999 | 5.8514
974.5 | 0.0001232 | 999.5 | 5.8993
975 | 0.0001299 | 1000 | 5.9531
975.5 | 0.0001125 | 1000.5 | 5.9274
976 | 9.513e-05 | 1001 | 5.9031
976.5 | 0.000102 | 1001.5 | 5.8681
977 | 0.0001088 | 1002 | 5.8359
977.5 | 0.0001043 | 1002.5 | 5.8434
978 | 9.976e-05 | 1003 | 5.8514
978.5 | 0.0001122 | 1003.5 | 5.848
979 | 0.0001246 | 1004 | 5.8447
979.5 | 0.0001101 | 1004.5 | 5.857
980 | 9.55e-05 | 1005 | 5.8697
980.5 | 9.571e-05 | 1005.5 | 5.8658
981 | 9.591e-05 | 1006 | 5.8623
981.5 | 0.0001024 | 1006.5 | 5.8861
982 | 0.0001089 | 1007 | 5.9115
982.5 | 0.0001238 | 1007.5 | 5.852
983 | 0.0001387 | 1008 | 5.8
983.5 | 0.0001286 | 1008.5 | 5.835
984 | 0.0001185 | 1009 | 5.8732
984.5 | 0.0001134 | 1009.5 | 5.8884
985 | 0.0001084 | 1010 | 5.9045
985.5 | 0.0001146 | 1010.5 | 5.9303
986 | 0.0001209 | 1011 | 5.9578
986.5 | 0.0001168 | 1011.5 | 5.9076
987 | 0.0001127 | 1012 | 5.8623
987.5 | 0.000114 | 1012.5 | 5.8831
988 | 0.0001154 | 1013 | 5.9048
988.5 | 0.0001241 | 1013.5 | 5.9101
989 | 0.0001328 | 1014 | 5.9151
989.5 | 0.0001258 | 1014.5 | 5.8959
990 | 0.0001187 | 1015 | 5.8775
990.5 | 0.0001378 | 1015.5 | 5.8542
991 | 0.0001568 | 1016 | 5.8321
991.5 | 0.0001517 | 1016.5 | 5.9165
992 | 0.0001465 | 1017 | 6.0215
992.5 | 0.0001418 | 1017.5 | 5.9256
993 | 0.000137 | 1018 | 5.8471
993.5 | 0.000135 | 1018.5 | 5.8841
994 | 0.000133 | 1019 | 5.9245
994.5 | 0.0001391 | 1019.5 | 5.8952
995 | 0.0001452 | 1020 | 5.8674
995.5 | 0.0001468 | 1020.5 | 5.8921
996 | 0.0001484 | 1021 | 5.9183
996.5 | 0.0001253 | 1021.5 | 5.8914
997 | 0.0001022 | 1022 | 5.8661
997.5 | 0.000121 | 1022.5 | 5.8542
998 | 0.0001399 | 1023 | 5.8429
998.5 | 0.0001403 | 1023.5 | 5.8633
999 | 0.0001408 | 1024 | 5.8847
999.5 | 0.0001261 | 1024.5 | 5.8784
1000 | 0.0001114 | 1025 | 5.8719
1000.5 | 0.0001182 | 1025.5 | 5.8904
1001 | 0.000125 | 1026 | 5.9097
1001.5 | 0.0001355 | 1026.5 | 5.9055
1002 | 0.0001459 | 1027 | 5.901
1002.5 | 0.0001434 | 1027.5 | 5.8529
1003 | 0.0001408 | 1028 | 5.8097
1003.5 | 0.0001419 | 1028.5 | 5.8345
1004 | 0.000143 | 1029 | 5.8604
1004.5 | 0.000139 | 1029.5 | 5.8627
1005 | 0.000135 | 1030 | 5.8649
1005.5 | 0.0001362 | 1030.5 | 5.9101
1006 | 0.0001373 | 1031 | 5.9606
1006.5 | 0.00013 | 1031.5 | 5.9531
1007 | 0.0001226 | 1032 | 5.9458
1007.5 | 0.0001406 | 1032.5 | 5.961
1008 | 0.0001585 | 1033 | 5.9772
1008.5 | 0.0001462 | 1033.5 | 5.9772
1009 | 0.0001339 | 1034 | 5.9772
1009.5 | 0.0001293 | 1034.5 | 5.9763
1010 | 0.0001246 | 1035 | 5.9759
1010.5 | 0.0001174 | 1035.5 | 5.9825
1011 | 0.0001102 | 1036 | 5.9897
1011.5 | 0.0001237 | 1036.5 | 5.9602
1012 | 0.0001373 | 1037 | 5.9326
1012.5 | 0.0001309 | 1037.5 | 5.9527
1013 | 0.0001245 | 1038 | 5.9735
1013.5 | 0.000123 | 1038.5 | 5.9386
1014 | 0.0001216 | 1039 | 5.9062
1014.5 | 0.0001271 | 1039.5 | 5.9318
1015 | 0.0001326 | 1040 | 5.959
1015.5 | 0.0001399 | 1040.5 | 5.9169
1016 | 0.0001472 | 1041 | 5.8784
1016.5 | 0.0001212 | 1041.5 | 5.9492
1017 | 9.517e-05 | 1042 | 6.0337
1017.5 | 0.0001187 | 1042.5 | 5.9706
1018 | 0.0001422 | 1043 | 5.9154
1018.5 | 0.0001306 | 1043.5 | 5.9172
1019 | 0.000119 | 1044 | 5.919
1019.5 | 0.0001273 | 1044.5 | 5.8976
1020 | 0.0001357 | 1045 | 5.8771
1020.5 | 0.0001282 | 1045.5 | 5.8931
1021 | 0.0001207 | 1046 | 5.9101
1021.5 | 0.0001284 | 1046.5 | 5.8854
1022 | 0.0001361 | 1047 | 5.862
1022.5 | 0.0001399 | 1047.5 | 5.8407
1023 | 0.0001436 | 1048 | 5.8205
1023.5 | 0.000137 | 1048.5 | 5.8548
1024 | 0.0001304 | 1049 | 5.8925
1024.5 | 0.0001323 | 1049.5 | 5.9197
1025 | 0.0001343 | 1050 | 5.9485
1025.5 | 0.0001287 | 1050.5 | 5.9465
1026 | 0.0001231 | 1051 | 5.9446
1026.5 | 0.0001243 | 1051.5 | 5.9768
1027 | 0.0001256 | 1052 | 6.0118
1027.5 | 0.0001403 | 1052.5 | 5.9792
1028 | 0.000155 | 1053 | 5.9489
1028.5 | 0.0001464 | 1053.5 | 5.93
1029 | 0.0001379 | 1054 | 5.9119
1029.5 | 0.0001372 | 1054.5 | 5.9718
1030 | 0.0001365 | 1055 | 6.0412
1030.5 | 0.000123 | 1055.5 | 6.0677
1031 | 0.0001095 | 1056 | 6.096
1031.5 | 0.0001114 | 1056.5 | 6.079
1032 | 0.0001133 | 1057 | 6.0627
1032.5 | 0.0001094 | 1057.5 | 6.0924
1033 | 0.0001054 | 1058 | 6.1241
1033.5 | 0.0001054 | 1058.5 | 6.1277
1034 | 0.0001054 | 1059 | 6.1312
1034.5 | 0.0001056 | 1059.5 | 6.0809
1035 | 0.0001057 | 1060 | 6.0357
1035.5 | 0.0001041 | 1060.5 | 6.0617
1036 | 0.0001024 | 1061 | 6.0894
1036.5 | 0.0001096 | 1061.5 | 6.1061
1037 | 0.0001168 | 1062 | 6.1234
1037.5 | 0.0001115 | 1062.5 | 6.0861
1038 | 0.0001063 | 1063 | 6.0517
1038.5 | 0.0001152 | 1063.5 | 6.0265
1039 | 0.0001241 | 1064 | 6.0027
1039.5 | 0.000117 | 1064.5 | 5.9706
1040 | 0.0001099 | 1065 | 5.9408
1040.5 | 0.0001211 | 1065.5 | 5.965
1041 | 0.0001323 | 1066 | 5.991
1041.5 | 0.0001124 | 1066.5 | 5.9586
1042 | 9.253e-05 | 1067 | 5.9285
1042.5 | 0.000107 | 1067.5 | 5.9662
1043 | 0.0001215 | 1068 | 6.0076
1043.5 | 0.000121 | 1068.5 | 5.9614
1044 | 0.0001205 | 1069 | 5.9201
1044.5 | 0.0001266 | 1069.5 | 5.8891
1045 | 0.0001327 | 1070 | 5.8604
1045.5 | 0.0001279 | 1070.5 | 5.8554
1046 | 0.000123 | 1071 | 5.8508
1046.5 | 0.0001302 | 1071.5 | 5.8928
1047 | 0.0001374 | 1072 | 5.9389
1047.5 | 0.0001443 | 1072.5 | 5.9555
1048 | 0.0001512 | 1073 | 5.9726
1048.5 | 0.0001397 | 1073.5 | 6.0067
1049 | 0.0001281 | 1074 | 6.0437
1049.5 | 0.0001203 | 1074.5 | 6.0111
1050 | 0.0001126 | 1075 | 5.9809
1050.5 | 0.0001131 | 1075.5 | 5.9948
1051 | 0.0001136 | 1076 | 6.0097
1051.5 | 0.0001055 | 1076.5 | 6.0507
1052 | 9.731e-05 | 1077 | 6.0959
1052.5 | 0.0001049 | 1077.5 | 6.0571
1053 | 0.0001125 | 1078 | 6.0214
1053.5 | 0.0001175 | 1078.5 | 6.0513
1054 | 0.0001225 | 1079 | 6.0835
1054.5 | 0.0001067 | 1079.5 | 6.1124
1055 | 9.095e-05 | 1080 | 6.1433
1055.5 | 8.556e-05 | 1080.5 | 6.1391
1056 | 8.017e-05 | 1081 | 6.135
1056.5 | 8.336e-05 | 1081.5 | 6.2253
1057 | 8.655e-05 | 1082 | 6.3394
1057.5 | 8.084e-05 | 1082.5 | 6.2259
1058 | 7.514e-05 | 1083 | 6.136
1058.5 | 7.453e-05 | 1083.5 | 6.1439
1059 | 7.393e-05 | 1084 | 6.1518
1059.5 | 8.301e-05 | 1084.5 | 6.2154
1060 | 9.21e-05 | 1085 | 6.2898
1060.5 | 8.675e-05 | 1085.5 | 6.276
1061 | 8.14e-05 | 1086 | 6.2626
1061.5 | 7.833e-05 | 1086.5 | 6.3067
1062 | 7.526e-05 | 1087 | 6.3558
1062.5 | 8.201e-05 | 1087.5 | 6.4275
1063 | 8.877e-05 | 1088 | 6.5137
1063.5 | 9.408e-05 | 1088.5 | 6.4193
1064 | 9.938e-05 | 1089 | 6.3419
1064.5 | 0.000107 | 1089.5 | 6.282
1065 | 0.0001146 | 1090 | 6.2294
1065.5 | 0.0001084 | 1090.5 | 6.2601
1066 | 0.0001021 | 1091 | 6.2932
1066.5 | 0.00011 | 1091.5 | 6.3286
1067 | 0.0001179 | 1092 | 6.3672
1067.5 | 0.0001081 | 1092.5 | 6.3214
1068 | 9.826e-05 | 1093 | 6.2799
1068.5 | 0.0001093 | 1093.5 | 6.2811
1069 | 0.0001202 | 1094 | 6.2822
1069.5 | 0.0001291 | 1094.5 | 6.2172
1070 | 0.0001379 | 1095 | 6.1605
1070.5 | 0.0001395 | 1095.5 | 6.2469
1071 | 0.000141 | 1096 | 6.3549
1071.5 | 0.000128 | 1096.5 | 6.2941
1072 | 0.0001151 | 1097 | 6.2408
1072.5 | 0.0001108 | 1097.5 | 6.2108
1073 | 0.0001065 | 1098 | 6.1827
1073.5 | 9.847e-05 | 1098.5 | 6.2036
1074 | 9.043e-05 | 1099 | 6.2254
1074.5 | 9.747e-05 | 1099.5 | 6.1901
1075 | 0.0001045 | 1100 | 6.1575
1075.5 | 0.0001012 | 1100.5 | 6.181
1076 | 9.78e-05 | 1101 | 6.2059
1076.5 | 8.899e-05 | 1101.5 | 6.15
1077 | 8.018e-05 | 1102 | 6.1005
1077.5 | 8.769e-05 | 1102.5 | 6.1475
1078 | 9.519e-05 | 1103 | 6.2002
1078.5 | 8.885e-05 | 1103.5 | 6.1462
1079 | 8.25e-05 | 1104 | 6.0984
1079.5 | 7.72e-05 | 1104.5 | 6.0385
1080 | 7.189e-05 | 1105 | 5.9859
1080.5 | 7.259e-05 | 1105.5 | 5.9867
1081 | 7.329e-05 | 1106 | 5.988
1081.5 | 5.953e-05 | 1106.5 | 5.9277
1082 | 4.577e-05 | 1107 | 5.8752
1082.5 | 5.945e-05 | 1107.5 | 5.8533
1083 | 7.311e-05 | 1108 | 5.8324
1083.5 | 7.18e-05 | 1108.5 | 5.8257
1084 | 7.05e-05 | 1109 | 5.819
1084.5 | 6.09e-05 | 1109.5 | 5.7807
1085 | 5.131e-05 | 1110 | 5.7454
1085.5 | 5.296e-05 | 1110.5 | 5.688
1086 | 5.462e-05 | 1111 | 5.6373
1086.5 | 4.935e-05 | 1111.5 | 5.543
1087 | 4.408e-05 | 1112 | 5.4655
1087.5 | 3.737e-05 | 1112.5 | 5.4324
1088 | 3.064e-05 | 1113 | 5.4017
1088.5 | 3.808e-05 | 1113.5 | 5.3331
1089 | 4.551e-05 | 1114 | 5.274
1089.5 | 5.224e-05 | 1114.5 | 5.2038
1090 | 5.896e-05 | 1115 | 5.1432
1090.5 | 5.494e-05 | 1115.5 | 5.0677
1091 | 5.091e-05 | 1116 | 5.0033
1091.5 | 4.692e-05 | 1116.5 | 4.9038
1092 | 4.293e-05 | 1117 | 4.8228
1092.5 | 4.771e-05 | 1117.5 | 4.6925
1093 | 5.249e-05 | 1118 | 4.5926
1093.5 | 5.235e-05 | 1118.5 | 4.4519
1094 | 5.222e-05 | 1119 | 4.3459
1094.5 | 6.065e-05 | 1119.5 | 4.1492
1095 | 6.91e-05 | 1120 | 4.0141
1095.5 | 5.664e-05 | 1120.5 | 3.5569
1096 | 4.417e-05 | 1121 | 3.339
1096.5 | 5.081e-05 | 1121.5 | 2.5114
1097 | 5.744e-05 | 1122 | 2.2442
1097.5 | 6.154e-05 | 1122.5 | 1.7902
1098 | 6.566e-05 | 1123 | 1.5733
1098.5 | 6.258e-05 | 1123.5 | 1.4936
1099 | 5.951e-05 | 1124 | 1.4262
1099.5 | 6.455e-05 | 1124.5 | 1.5319
1100 | 6.958e-05 | 1125 | 1.672
1100.5 | 6.591e-05 | 1125.5 | 1.869
1101 | 6.224e-05 | 1126 | 2.2397
1101.5 | 7.079e-05 | 1126.5 | 2.5134
1102 | 7.934e-05 | 1127 | 3.4285
1102.5 | 7.121e-05 | 1127.5 | 3.5396
1103 | 6.307e-05 | 1128 | 3.6889
1103.5 | 7.141e-05 | 1128.5 | 3.7535
1104 | 7.973e-05 | 1129 | 3.8297
1104.5 | 9.151e-05 | 1129.5 | 3.8703
1105 | 0.0001033 | 1130 | 3.9154
1105.5 | 0.0001031 | 1130.5 | 3.9404
1106 | 0.0001028 | 1131 | 3.9674
1106.5 | 0.0001181 | 1131.5 | 3.9796
1107 | 0.0001333 | 1132 | 3.9918
1107.5 | 0.0001402 | 1132.5 | 3.9944
1108 | 0.0001471 | 1133 | 3.997
1108.5 | 0.0001494 | 1133.5 | 3.9914
1109 | 0.0001517 | 1134 | 3.9859
1109.5 | 0.0001657 | 1134.5 | 3.9726
1110 | 0.0001797 | 1135 | 3.9602
1110.5 | 0.0002051 | 1135.5 | 3.9393
1111 | 0.0002305 | 1136 | 3.9197
1111.5 | 0.0002864 | 1136.5 | 3.8928
1112 | 0.0003424 | 1137 | 3.8671
1112.5 | 0.0003695 | 1137.5 | 3.8359
1113 | 0.0003966 | 1138 | 3.8069
1113.5 | 0.0004644 | 1138.5 | 3.768
1114 | 0.0005321 | 1139 | 3.7321
1114.5 | 0.0006255 | 1139.5 | 3.6859
1115 | 0.0007191 | 1140 | 3.6442
1115.5 | 0.0008556 | 1140.5 | 3.5928
1116 | 0.0009924 | 1141 | 3.5467
1116.5 | 0.001248 | 1141.5 | 3.4847
1117 | 0.001504 | 1142 | 3.4305
1117.5 | 0.00203 | 1142.5 | 3.3603
1118 | 0.002555 | 1143 | 3.2998
1118.5 | 0.003533 | 1143.5 | 3.2205
1119 | 0.004509 | 1144 | 3.1534
1119.5 | 0.007092 | 1144.5 | 3.0595
1120 | 0.00968 | 1145 | 2.9825
1120.5 | 0.02774 | 1145.5 | 2.8732
1121 | 0.04581 | 1146 | 2.786
1121.5 | 0.308 | 1146.5 | 2.6562
1122 | 0.5699 | 1147 | 2.5566
1122.5 | 1.621 | 1147.5 | 2.4084
1123 | 2.671 | 1148 | 2.2978
1123.5 | 3.209 | 1148.5 | 2.1202
1124 | 3.748 | 1149 | 1.9944
1124.5 | 2.938 | 1149.5 | 1.7298
1125 | 2.128 | 1150 | 1.5667
1125.5 | 1.352 | 1150.5 | 1.1677
1126 | 0.5758 | 1151 | 0.96337
1126.5 | 0.3066 | 1151.5 | 0.67634
1127 | 0.03728 | 1152 | 0.50515
1127.5 | 0.02887 | 1152.5 | 0.61744
1128 | 0.02047 | 1153 | 0.7693
1128.5 | 0.01764 | 1153.5 | 0.92775
1129 | 0.0148 | 1154 | 1.1795
1129.5 | 0.01348 | 1154.5 | 1.3037
1130 | 0.01215 | 1155 | 1.4785
1130.5 | 0.01147 | 1155.5 | 1.5553
1131 | 0.01078 | 1156 | 1.6486
1131.5 | 0.01048 | 1156.5 | 1.6899
1132 | 0.01019 | 1157 | 1.7356
1132.5 | 0.01013 | 1157.5 | 1.7523
1133 | 0.01007 | 1158 | 1.7695
1133.5 | 0.0102 | 1158.5 | 1.7652
1134 | 0.01033 | 1159 | 1.761
1134.5 | 0.01065 | 1159.5 | 1.7385
1135 | 0.01096 | 1160 | 1.7171
1135.5 | 0.0115 | 1160.5 | 1.6761
1136 | 0.01203 | 1161 | 1.6385
1136.5 | 0.0128 | 1161.5 | 1.58
1137 | 0.01358 | 1162 | 1.5286
1137.5 | 0.01459 | 1162.5 | 1.4499
1138 | 0.0156 | 1163 | 1.3833
1138.5 | 0.01706 | 1163.5 | 1.2733
1139 | 0.01853 | 1164 | 1.1857
1139.5 | 0.02061 | 1164.5 | 1.0368
1140 | 0.02269 | 1165 | 0.92628
1140.5 | 0.02554 | 1165.5 | 0.72125
1141 | 0.0284 | 1166 | 0.58253
1141.5 | 0.03276 | 1166.5 | 0.38458
1142 | 0.03711 | 1167 | 0.24918
1142.5 | 0.04362 | 1167.5 | 0.26664
1143 | 0.05014 | 1168 | 0.28483
1143.5 | 0.06019 | 1168.5 | 0.41556
1144 | 0.07025 | 1169 | 0.60328
1144.5 | 0.0872 | 1169.5 | 0.72446
1145 | 0.1041 | 1170 | 0.89279
1145.5 | 0.1339 | 1170.5 | 0.98674
1146 | 0.1637 | 1171 | 1.1068
1146.5 | 0.2207 | 1171.5 | 1.1802
1147 | 0.2776 | 1172 | 1.2687
1147.5 | 0.3905 | 1172.5 | 1.3218
1148 | 0.5037 | 1173 | 1.3826
1148.5 | 0.7582 | 1173.5 | 1.4224
1149 | 1.013 | 1174 | 1.4664
1149.5 | 1.863 | 1174.5 | 1.4951
1150 | 2.712 | 1175 | 1.5258
1150.5 | 6.797 | 1175.5 | 1.5435
1151 | 10.88 | 1176 | 1.5619
1151.5 | 21.07 | 1176.5 | 1.5714
1152 | 31.25 | 1177 | 1.581
1152.5 | 24.13 | 1177.5 | 1.5819
1153 | 17.01 | 1178 | 1.5829
1153.5 | 11.81 | 1178.5 | 1.5761
1154 | 6.614 | 1179 | 1.5694
1154.5 | 4.969 | 1179.5 | 1.5546
1155 | 3.323 | 1180 | 1.5402
1155.5 | 2.784 | 1180.5 | 1.5174
1156 | 2.246 | 1181 | 1.4958
1156.5 | 2.042 | 1181.5 | 1.4666
1157 | 1.838 | 1182 | 1.4394
1157.5 | 1.769 | 1182.5 | 1.4018
1158 | 1.7 | 1183 | 1.3671
1158.5 | 1.717 | 1183.5 | 1.3222
1159 | 1.734 | 1184 | 1.2815
1159.5 | 1.826 | 1184.5 | 1.2275
1160 | 1.918 | 1185 | 1.1793
1160.5 | 2.108 | 1185.5 | 1.1151
1161 | 2.299 | 1186 | 1.0592
1161.5 | 2.63 | 1186.5 | 0.98548
1162 | 2.961 | 1187 | 0.92263
1162.5 | 3.549 | 1187.5 | 0.83654
1163 | 4.137 | 1188 | 0.76472
1163.5 | 5.329 | 1188.5 | 0.6702
1164 | 6.521 | 1189 | 0.59261
1164.5 | 9.188 | 1189.5 | 0.49282
1165 | 11.85 | 1190 | 0.41173
1165.5 | 19 | 1190.5 | 0.3203
1166 | 26.15 | 1191 | 0.24474
1166.5 | 41.25 | 1191.5 | 0.19111
1167 | 56.34 | 1192 | 0.14333
1167.5 | 54.12 | 1192.5 | 0.13841
1168 | 51.9 | 1193 | 0.13359
1168.5 | 38.41 | 1193.5 | 0.16437
1169 | 24.93 | 1194 | 0.19757
1169.5 | 18.86 | 1194.5 | 0.23882
1170 | 12.8 | 1195 | 0.28441
1170.5 | 10.31 | 1195.5 | 0.32349
1171 | 7.819 | 1196 | 0.36653
1171.5 | 6.604 | 1196.5 | 0.39848
1172 | 5.387 | 1197 | 0.43286
1172.5 | 4.766 | 1197.5 | 0.45469
1173 | 4.144 | 1198 | 0.47769
1173.5 | 3.781 | 1198.5 | 0.48972
1174 | 3.417 | 1199 | 0.50224
1174.5 | 3.198 | 1199.5 | 0.50473
1175 | 2.98 | 1200 | 0.50724
1175.5 | 2.861
1176 | 2.742
1176.5 | 2.683
1177 | 2.624
1177.5 | 2.619
1178 | 2.613
1178.5 | 2.654
1179 | 2.695
1179.5 | 2.789
1180 | 2.883
1180.5 | 3.038
1181 | 3.193
1181.5 | 3.415
1182 | 3.636
1182.5 | 3.965
1183 | 4.294
1183.5 | 4.762
1184 | 5.23
1184.5 | 5.923
1185 | 6.618
1185.5 | 7.672
1186 | 8.725
1186.5 | 10.34
1187 | 11.95
1187.5 | 14.57
1188 | 17.19
1188.5 | 21.37
1189 | 25.55
1189.5 | 32.15
1190 | 38.75
1190.5 | 47.83
1191 | 56.92
1191.5 | 64.4
1192 | 71.89
1192.5 | 72.71
1193 | 73.52
1193.5 | 68.49
1194 | 63.45
1194.5 | 57.7
1195 | 51.95
1195.5 | 47.48
1196 | 43
1196.5 | 39.95
1197 | 36.91
1197.5 | 35.1
1198 | 33.29
1198.5 | 32.38
1199 | 31.46
1199.5 | 31.28
1200 | 31.1