## ET600_50m
WaveLength | Transmission | WaveLength | OD
nm | % | nm | /
300 | 1.182e-05 | 300 | 6.9274
300.5 | 1.209e-05 | 300.5 | 6.9176
301 | 6.411e-05 | 301 | 6.1931
301.5 | 9.689e-05 | 301.5 | 6.0137 | ET600/50m Transmission and OD Plot of ET600/50m This file indicates a typical data and there may be differences between product batches. If you have any questions, please contact LBTEK Technical Support. To quote this data, please indicate that the data source is from LBTEK.
302 | 2.123e-06 | 302 | 7.673
302.5 | 3.057e-05 | 302.5 | 6.5147
303 | 3.533e-05 | 303 | 6.4519
303.5 | 0.0001403 | 303.5 | 5.8529
304 | -1.458e-05 | 304.5 | 6.1018
304.5 | 7.91e-05 | 305 | 6.263
305 | 5.457e-05 | 305.5 | 6.2033
305.5 | 6.262e-05 | 306 | 6.0648
306 | 8.613e-05 | 306.5 | 6.0997
306.5 | 7.948e-05 | 307.5 | 6.3778 | LBTEK Mall：www.lbtek.com Tel：400-060-6986 LBTEK Technical Support E-mail：service@lbtek.com
307 | -2.76e-05 | 308.5 | 5.9489
307.5 | 4.19e-05 | 309 | 8.5602
308 | -9.495e-05 | 309.5 | 7.3477
308.5 | 0.0001125 | 310.5 | 6.5635
309 | 2.753e-07 | 311 | 5.9034
309.5 | 4.491e-06 | 312 | 6.223
310 | -3.226e-05 | 312.5 | 6.8207
310.5 | 2.732e-05 | 313 | 6.8884
311 | 0.0001249 | 313.5 | 5.7645
311.5 | -3.269e-06 | 314 | 6.3856
312 | 5.984e-05 | 315.5 | 6.5518
312.5 | 1.511e-05 | 318 | 5.7781
313 | 1.293e-05 | 318.5 | 6.3316
313.5 | 0.000172 | 319.5 | 6.7913
314 | 4.115e-05 | 321 | 6.137
314.5 | -7.758e-05 | 321.5 | 5.7058
315 | -4.099e-05 | 322 | 6.4161
315.5 | 2.807e-05 | 322.5 | 5.7655
316 | -4.146e-05 | 323 | 5.9726
316.5 | -0.0001555 | 323.5 | 6.1199
317 | -8.903e-05 | 324 | 6.2305
317.5 | -5.384e-06 | 324.5 | 5.6921
318 | 0.0001667 | 325 | 6.2885
318.5 | 4.66e-05 | 325.5 | 6.6265
319 | -0.0001888 | 326.5 | 6.3083
319.5 | 1.617e-05 | 327 | 6.0742
320 | -1.845e-05 | 328 | 6.2332
320.5 | -1.515e-05 | 328.5 | 8.0612
321 | 7.294e-05 | 329 | 6.061
321.5 | 0.0001969 | 331 | 6.5522
322 | 3.836e-05 | 331.5 | 6.3132
322.5 | 0.0001716 | 333 | 6.3074
323 | 0.0001065 | 333.5 | 6.1591
323.5 | 7.587e-05 | 334 | 6.5755
324 | 5.882e-05 | 335 | 6.7156
324.5 | 0.0002032 | 336 | 6.3774
325 | 5.146e-05 | 337.5 | 7.016
325.5 | 2.363e-05 | 338 | 8.1468
326 | -2.615e-05 | 338.5 | 6.1783
326.5 | 4.917e-05 | 339.5 | 6.4789
327 | 8.429e-05 | 341.5 | 7.2287
327.5 | -7.086e-05 | 342 | 6.1233
328 | 5.845e-05 | 342.5 | 6.5168
328.5 | 8.685e-07 | 343 | 6.8236
329 | 8.689e-05 | 343.5 | 6.3946
329.5 | -3.926e-05 | 344 | 6.1479
330 | -1.073e-05 | 344.5 | 6.8817
330.5 | -1.387e-05 | 345 | 5.863
331 | 2.804e-05 | 345.5 | 5.9543
331.5 | 4.862e-05 | 346.5 | 5.923
332 | -3.771e-06 | 347.5 | 5.8554
332.5 | -5.775e-05 | 348 | 6.2152
333 | 4.927e-05 | 348.5 | 6.1613
333.5 | 6.933e-05 | 349.5 | 6.3419
334 | 2.658e-05 | 350.5 | 6.1871
334.5 | -3.949e-05 | 351 | 6.5759
335 | 1.925e-05 | 351.5 | 6.1452
335.5 | -7.808e-05 | 352.5 | 6.6572
336 | 4.194e-05 | 353 | 7.1392
336.5 | -2.568e-05 | 354 | 6.0852
337 | -9.326e-05 | 355 | 6.0712
337.5 | 9.638e-06 | 356.5 | 6.4215
338 | 7.132e-07 | 357.5 | 6.3798
338.5 | 6.633e-05 | 358 | 6.0517
339 | -8.286e-06 | 358.5 | 6.8642
339.5 | 3.32e-05 | 359 | 5.9516
340 | -7.523e-06 | 359.5 | 6.493
340.5 | -3.182e-06 | 360 | 6.4099
341 | -6.245e-05 | 360.5 | 6.2325
341.5 | 5.906e-06 | 361 | 8.5317
342 | 7.529e-05 | 361.5 | 6.5837
342.5 | 3.042e-05 | 362 | 6.6813
343 | 1.501e-05 | 363 | 6.0305
343.5 | 4.031e-05 | 363.5 | 6.4947
344 | 7.113e-05 | 365 | 6.4973
344.5 | 1.313e-05 | 366 | 6.6423
345 | 0.0001371 | 367 | 6.486
345.5 | 0.0001111 | 367.5 | 6.4445
346 | -1.841e-05 | 368 | 6.2714
346.5 | 0.0001194 | 369 | 5.9234
347 | -6.931e-06 | 370 | 6.5302
347.5 | 0.0001395 | 372 | 6.2687
348 | 6.092e-05 | 373.5 | 6.6883
348.5 | 6.898e-05 | 374 | 6.2531
349 | -1.331e-05 | 374.5 | 6.137
349.5 | 4.551e-05 | 375.5 | 6.2781
350 | -3.307e-05 | 376 | 7.0392
350.5 | 6.499e-05 | 376.5 | 7.7859
351 | 2.655e-05 | 377 | 6.3039
351.5 | 7.159e-05 | 377.5 | 6.3072
352 | -8.645e-05 | 378 | 6.1623
352.5 | 2.202e-05 | 379 | 6.7647
353 | 7.258e-06 | 379.5 | 6.3014
353.5 | -4.983e-05 | 380 | 6.9694
354 | 8.219e-05 | 381 | 6.1228
354.5 | -4.177e-05 | 382 | 6.9359
355 | 8.488e-05 | 382.5 | 7.1045
355.5 | -1.8e-05 | 383 | 6.9062
356 | -2.195e-05 | 383.5 | 6.4521
356.5 | 3.789e-05 | 384 | 6.3296
357 | -4.749e-07 | 384.5 | 6.426
357.5 | 4.171e-05 | 385 | 6.3068
358 | 8.878e-05 | 385.5 | 6.8811
358.5 | 1.367e-05 | 386.5 | 6.8551
359 | 0.0001118 | 387 | 6.6071
359.5 | 3.214e-05 | 387.5 | 6.3535
360 | 3.891e-05 | 388 | 6.5616
360.5 | 5.855e-05 | 388.5 | 6.5794
361 | 2.94e-07 | 389.5 | 6.691
361.5 | 2.608e-05 | 390 | 6.0898
362 | 2.083e-05 | 390.5 | 6.4188
362.5 | -6.164e-07 | 391 | 6.4669
363 | 9.322e-05 | 391.5 | 6.2105
363.5 | 3.201e-05 | 392 | 6.2544
364 | -6.726e-05 | 392.5 | 6.3884
364.5 | -6.975e-06 | 393 | 6.6398
365 | 3.182e-05 | 393.5 | 6.3018
365.5 | -1.181e-05 | 394 | 6.1935
366 | 2.279e-05 | 394.5 | 5.8841
366.5 | -1.948e-05 | 395 | 6.3315
367 | 3.266e-05 | 395.5 | 6.5334
367.5 | 3.593e-05 | 396 | 6.3396
368 | 5.353e-05 | 396.5 | 6.8844
368.5 | -1.824e-05 | 397 | 6.4707
369 | 0.0001193 | 397.5 | 6.373
369.5 | -6.657e-06 | 398 | 6.3505
370 | 2.95e-05 | 398.5 | 7.5204
370.5 | -2.701e-05 | 399 | 6.6117
371 | -3.531e-05 | 399.5 | 6.5936
371.5 | -6.362e-05 | 400 | 6.5719
372 | 5.387e-05 | 400.5 | 7.0961
372.5 | -1.211e-05 | 401 | 8.7533
373 | -3.287e-05 | 401.5 | 6.5077
373.5 | 2.05e-05 | 402.5 | 6.6076
374 | 5.583e-05 | 403 | 6.6423
374.5 | 7.294e-05 | 403.5 | 6.9638
375 | -1.1e-05 | 404 | 6.4589
375.5 | 5.271e-05 | 404.5 | 6.4094
376 | 9.138e-06 | 405 | 6.6075
376.5 | 1.637e-06 | 405.5 | 6.5117
377 | 4.967e-05 | 406.5 | 6.6753
377.5 | 4.929e-05 | 407.5 | 6.3533
378 | 6.881e-05 | 408 | 7.3014
378.5 | -1.747e-05 | 408.5 | 6.5129
379 | 1.719e-05 | 409 | 7.1259
379.5 | 4.996e-05 | 409.5 | 6.5887
380 | 1.073e-05 | 410 | 6.6334
380.5 | -3.151e-05 | 410.5 | 6.3067
381 | 7.537e-05 | 411 | 6.4304
381.5 | -2.408e-05 | 411.5 | 6.2582
382 | 1.159e-05 | 412 | 6.5063
382.5 | 7.862e-06 | 412.5 | 6.8398
383 | 1.241e-05 | 413 | 7.0652
383.5 | 3.531e-05 | 413.5 | 7.1
384 | 4.682e-05 | 414 | 7.3383
384.5 | 3.75e-05 | 414.5 | 7.3957
385 | 4.934e-05 | 415 | 6.4899
385.5 | 1.315e-05 | 415.5 | 7.0622
386 | -3.779e-06 | 416.5 | 6.7711
386.5 | 1.396e-05 | 417 | 6.8911
387 | 2.471e-05 | 418 | 6.5042
387.5 | 4.431e-05 | 418.5 | 7.0729
388 | 2.744e-05 | 419 | 7.1462
388.5 | 2.634e-05 | 419.5 | 6.608
389 | -4.681e-06 | 420 | 6.8257
389.5 | 2.037e-05 | 421 | 6.7493
390 | 8.132e-05 | 421.5 | 7.4087
390.5 | 3.812e-05 | 422 | 6.4388
391 | 3.413e-05 | 422.5 | 6.4089
391.5 | 6.159e-05 | 423 | 7.4075
392 | 5.567e-05 | 423.5 | 7.0921
392.5 | 4.089e-05 | 424 | 7.3392
393 | 2.292e-05 | 424.5 | 6.5432
393.5 | 4.991e-05 | 425 | 6.9143
394 | 6.405e-05 | 425.5 | 6.9341
394.5 | 0.0001306 | 426 | 6.743
395 | 4.661e-05 | 426.5 | 6.7645
395.5 | 2.928e-05 | 427.5 | 6.4381
396 | 4.575e-05 | 428.5 | 6.9397
396.5 | 1.305e-05 | 429.5 | 6.9201
397 | 3.383e-05 | 430 | 7.3055
397.5 | 4.236e-05 | 431 | 7.869
398 | 4.462e-05 | 431.5 | 7.2524
398.5 | 3.017e-06 | 432 | 6.5923
399 | 2.445e-05 | 432.5 | 7.0641
399.5 | 2.549e-05 | 433.5 | 7.5767
400 | 2.68e-05 | 434 | 6.5065
400.5 | 8.015e-06 | 434.5 | 6.3785
401 | 1.765e-07 | 435 | 6.4512
401.5 | 3.107e-05 | 435.5 | 6.7435
402 | -1.477e-05 | 436 | 6.5291
402.5 | 2.468e-05 | 436.5 | 6.8097
403 | 2.279e-05 | 437 | 7.2228
403.5 | 1.087e-05 | 437.5 | 6.5248
404 | 3.476e-05 | 438 | 6.6921
404.5 | 3.896e-05 | 438.5 | 6.4851
405 | 2.469e-05 | 439 | 7.2054
405.5 | 3.078e-05 | 439.5 | 6.8294
406 | -7.184e-06 | 440 | 6.547
406.5 | 2.112e-05 | 441.5 | 7.0319
407 | -1.781e-05 | 442 | 7.1445
407.5 | 4.433e-05 | 442.5 | 6.7535
408 | 4.996e-06 | 443 | 6.4938
408.5 | 3.07e-05 | 444 | 6.8303
409 | 7.483e-06 | 444.5 | 7.0367
409.5 | 2.578e-05 | 445 | 6.8102
410 | 2.326e-05 | 445.5 | 7.015
410.5 | 4.935e-05 | 446 | 6.513
411 | 3.712e-05 | 446.5 | 7.3357
411.5 | 5.518e-05 | 447 | 6.4661
412 | 3.117e-05 | 447.5 | 6.6511
412.5 | 1.446e-05 | 448 | 6.4413
413 | 8.606e-06 | 448.5 | 6.754
413.5 | 7.944e-06 | 449 | 6.427
414 | 4.589e-06 | 449.5 | 6.5343
414.5 | 4.021e-06 | 450 | 6.712
415 | 3.237e-05 | 450.5 | 6.8729
415.5 | 8.665e-06 | 451 | 6.5502
416 | -1.928e-05 | 451.5 | 6.7986
416.5 | 1.694e-05 | 452 | 6.668
417 | 1.285e-05 | 452.5 | 6.6796
417.5 | -5.047e-06 | 453 | 6.5857
418 | 3.132e-05 | 453.5 | 7.1784
418.5 | 8.454e-06 | 454 | 6.5582
419 | 7.141e-06 | 454.5 | 6.6949
419.5 | 2.466e-05 | 455 | 7.1813
420 | 1.494e-05 | 455.5 | 6.9176
420.5 | -1.861e-06 | 456 | 6.8327
421 | 1.781e-05 | 456.5 | 6.4412
421.5 | 3.902e-06 | 457 | 6.5972
422 | 3.641e-05 | 457.5 | 7.1446
422.5 | 3.9e-05 | 458 | 6.6091
423 | 3.913e-06 | 458.5 | 6.604
423.5 | 8.09e-06 | 459 | 6.5931
424 | 4.579e-06 | 459.5 | 6.8726
424.5 | 2.863e-05 | 460 | 7.0651
425 | 1.218e-05 | 460.5 | 7.2933
425.5 | 1.164e-05 | 461.5 | 6.6977
426 | 1.807e-05 | 462 | 6.6247
426.5 | 1.72e-05 | 462.5 | 6.7474
427 | -1.032e-05 | 463 | 7.0086
427.5 | 3.647e-05 | 463.5 | 6.6276
428 | -8.327e-06 | 464 | 6.7983
428.5 | 1.149e-05 | 464.5 | 7.351
429 | -3.732e-06 | 465 | 6.708
429.5 | 1.202e-05 | 466 | 6.7426
430 | 4.949e-06 | 466.5 | 6.6273
430.5 | -7.885e-06 | 467 | 7.0489
431 | 1.352e-06 | 467.5 | 7.3212
431.5 | 5.592e-06 | 469 | 6.7055
432 | 2.557e-05 | 469.5 | 6.9759
432.5 | 8.627e-06 | 470 | 6.6442
433 | -8.717e-06 | 470.5 | 6.8193
433.5 | 2.65e-06 | 471 | 7.377
434 | 3.115e-05 | 471.5 | 6.6893
434.5 | 4.183e-05 | 472 | 7.1685
435 | 3.538e-05 | 472.5 | 7.2524
435.5 | 1.805e-05 | 473 | 7.1136
436 | 2.957e-05 | 473.5 | 6.572
436.5 | 1.55e-05 | 474 | 6.6737
437 | 5.987e-06 | 474.5 | 6.4773
437.5 | 2.987e-05 | 475 | 6.4605
438 | 2.032e-05 | 475.5 | 6.8658
438.5 | 3.273e-05 | 476 | 7.4839
439 | 6.231e-06 | 476.5 | 6.6394
439.5 | 1.481e-05 | 477 | 6.4014
440 | 2.838e-05 | 477.5 | 6.9374
440.5 | -8.793e-07 | 478 | 6.6544
441 | -1.942e-05 | 478.5 | 6.4414
441.5 | 9.291e-06 | 479.5 | 6.5594
442 | 7.169e-06 | 480 | 6.6131
442.5 | 1.764e-05 | 480.5 | 6.5763
443 | 3.208e-05 | 481 | 6.7354
443.5 | -1.309e-05 | 481.5 | 7.1503
444 | 1.478e-05 | 482 | 7.1859
444.5 | 9.189e-06 | 482.5 | 6.7254
445 | 1.548e-05 | 483 | 6.9772
445.5 | 9.661e-06 | 483.5 | 6.5092
446 | 3.069e-05 | 484 | 7.1737
446.5 | 4.616e-06 | 485 | 7.6142
447 | 3.419e-05 | 485.5 | 7.5699
447.5 | 2.233e-05 | 486.5 | 6.8908
448 | 3.62e-05 | 487 | 6.5972
448.5 | 1.762e-05 | 487.5 | 7.495
449 | 3.741e-05 | 488.5 | 6.7242
449.5 | 2.922e-05 | 489 | 6.7051
450 | 1.941e-05 | 489.5 | 6.9374
450.5 | 1.34e-05 | 490 | 6.6849
451 | 2.817e-05 | 490.5 | 6.5103
451.5 | 1.59e-05 | 491 | 6.856
452 | 2.148e-05 | 491.5 | 7.0457
452.5 | 2.091e-05 | 492 | 6.5748
453 | 2.596e-05 | 492.5 | 6.532
453.5 | 6.632e-06 | 493 | 6.5352
454 | 2.766e-05 | 493.5 | 6.5214
454.5 | 2.019e-05 | 494 | 6.6064
455 | 6.588e-06 | 494.5 | 6.6633
455.5 | 1.209e-05 | 495 | 6.3787
456 | 1.47e-05 | 495.5 | 7.2133
456.5 | 3.621e-05 | 496 | 7.4232
457 | 2.528e-05 | 496.5 | 6.46
457.5 | 7.168e-06 | 497 | 6.5618
458 | 2.46e-05 | 497.5 | 6.7921
458.5 | 2.489e-05 | 498 | 6.6531
459 | 2.552e-05 | 498.5 | 6.7542
459.5 | 1.341e-05 | 499 | 6.4831
460 | 8.608e-06 | 499.5 | 6.5763
460.5 | 5.09e-06 | 500 | 6.4955
461 | -3.175e-07 | 500.5 | 6.2485
461.5 | 2.006e-05 | 501 | 6.3841
462 | 2.373e-05 | 501.5 | 6.4124
462.5 | 1.789e-05 | 502 | 6.3836
463 | 9.803e-06 | 502.5 | 6.3928
463.5 | 2.357e-05 | 503 | 6.3691
464 | 1.591e-05 | 503.5 | 6.2991
464.5 | 4.457e-06 | 504 | 6.4566
465 | 1.959e-05 | 504.5 | 6.6052
465.5 | -2.369e-07 | 505 | 7.4681
466 | 1.809e-05 | 505.5 | 6.6929
466.5 | 2.359e-05 | 506 | 6.6278
467 | 8.936e-06 | 506.5 | 6.909
467.5 | 4.773e-06 | 507 | 6.6817
468 | -9.429e-07 | 507.5 | 6.7762
468.5 | -1.178e-05 | 508 | 7.6962
469 | 1.97e-05 | 508.5 | 8.7469
469.5 | 1.057e-05 | 509 | 7.529
470 | 2.269e-05 | 509.5 | 6.9817
470.5 | 1.516e-05 | 510 | 6.6369
471 | 4.198e-06 | 510.5 | 6.6968
471.5 | 2.045e-05 | 511 | 6.6201
472 | 6.784e-06 | 511.5 | 6.9931
472.5 | 5.593e-06 | 512 | 6.7844
473 | 7.699e-06 | 512.5 | 6.7479
473.5 | 2.679e-05 | 513.5 | 6.9136
474 | 2.12e-05 | 514 | 6.9382
474.5 | 3.332e-05 | 514.5 | 6.6782
475 | 3.463e-05 | 515 | 7.0775
475.5 | 1.362e-05 | 515.5 | 6.5166
476 | 3.282e-06 | 516 | 6.6582
476.5 | 2.294e-05 | 516.5 | 6.6165
477 | 3.968e-05 | 517 | 6.7421
477.5 | 1.155e-05 | 517.5 | 6.8248
478 | 2.216e-05 | 518 | 7.2255
478.5 | 3.619e-05 | 518.5 | 7.1849
479 | -1.622e-06 | 519 | 7.0844
479.5 | 2.758e-05 | 519.5 | 6.8788
480 | 2.437e-05 | 520 | 6.7286
480.5 | 2.653e-05 | 520.5 | 6.8055
481 | 1.839e-05 | 521 | 6.4199
481.5 | 7.075e-06 | 522 | 6.8904
482 | 6.518e-06 | 522.5 | 6.542
482.5 | 1.882e-05 | 523 | 6.8055
483 | 1.054e-05 | 523.5 | 6.8377
483.5 | 3.096e-05 | 524.5 | 6.9772
484 | 6.704e-06 | 525 | 6.5465
484.5 | -9.169e-07 | 525.5 | 6.7312
485 | 2.431e-06 | 526 | 7.1765
485.5 | 2.692e-06 | 527 | 6.5857
486 | -8.967e-06 | 527.5 | 7.6631
486.5 | 1.286e-05 | 528 | 7.027
487 | 2.528e-05 | 528.5 | 7.301
487.5 | 3.199e-06 | 529 | 7.1477
488 | -5.45e-07 | 530 | 7.1561
488.5 | 1.887e-05 | 530.5 | 6.4969
489 | 1.972e-05 | 531 | 7.2797
489.5 | 1.155e-05 | 531.5 | 6.7201
490 | 2.066e-05 | 532 | 7.2411
490.5 | 3.088e-05 | 533 | 7.4437
491 | 1.393e-05 | 534 | 6.7632
491.5 | 9.002e-06 | 534.5 | 6.9602
492 | 2.662e-05 | 535 | 7.3404
492.5 | 2.938e-05 | 535.5 | 7.0142
493 | 2.916e-05 | 536 | 6.9277
493.5 | 3.01e-05 | 536.5 | 6.6019
494 | 2.475e-05 | 537 | 8.8386
494.5 | 2.171e-05 | 537.5 | 7.6942
495 | 4.181e-05 | 538 | 6.3911
495.5 | 6.12e-06 | 538.5 | 6.2384
496 | 3.774e-06 | 539.5 | 6.5979
496.5 | 3.467e-05 | 540 | 6.9245
497 | 2.743e-05 | 540.5 | 7.3324
497.5 | 1.614e-05 | 541 | 6.6494
498 | 2.223e-05 | 541.5 | 6.7402
498.5 | 1.761e-05 | 542 | 6.8357
499 | 3.288e-05 | 542.5 | 6.9543
499.5 | 2.653e-05 | 543.5 | 6.6974
500 | 3.195e-05 | 544 | 6.6972
500.5 | 5.643e-05 | 544.5 | 7.335
501 | 4.13e-05 | 545 | 7.3244
501.5 | 3.869e-05 | 545.5 | 7.2261
502 | 4.134e-05 | 546 | 7.1406
502.5 | 4.048e-05 | 546.5 | 8.1346
503 | 4.275e-05 | 547 | 6.6415
503.5 | 5.022e-05 | 547.5 | 6.8205
504 | 3.495e-05 | 548 | 6.7454
504.5 | 2.482e-05 | 548.5 | 6.9143
505 | 3.403e-06 | 549 | 6.7206
505.5 | 2.028e-05 | 549.5 | 6.7876
506 | 2.356e-05 | 550.5 | 6.7592
506.5 | 1.233e-05 | 551 | 7.4118
507 | 2.081e-05 | 551.5 | 6.8807
507.5 | 1.674e-05 | 552 | 7.1103
508 | 2.013e-06 | 552.5 | 7.0111
508.5 | 1.791e-07 | 553 | 6.8996
509 | 2.958e-06 | 553.5 | 7.0076
509.5 | 1.043e-05 | 554 | 6.7356
510 | 2.307e-05 | 554.5 | 6.6944
510.5 | 2.01e-05 | 556.5 | 6.6362
511 | 2.398e-05 | 557 | 7.0949
511.5 | 1.016e-05 | 557.5 | 7.1708
512 | 1.643e-05 | 558.5 | 8.3953
512.5 | 1.787e-05 | 559 | 6.7597
513 | -8.383e-06 | 559.5 | 6.9838
513.5 | 1.22e-05 | 560 | 7.0737
514 | 1.153e-05 | 560.5 | 6.5277
514.5 | 2.098e-05 | 561 | 6.9404
515 | 8.366e-06 | 561.5 | 6.5552
515.5 | 3.044e-05 | 562 | 6.4171
516 | 2.197e-05 | 562.5 | 6.4599
516.5 | 2.418e-05 | 563 | 6.6784
517 | 1.811e-05 | 563.5 | 7.1604
517.5 | 1.497e-05 | 564 | 6.6165
518 | 5.95e-06 | 564.5 | 6.9658
518.5 | 6.533e-06 | 565 | 6.5324
519 | 8.233e-06 | 565.5 | 6.5311
519.5 | 1.322e-05 | 566 | 6.4255
520 | 1.868e-05 | 566.5 | 6.3895
520.5 | 1.565e-05 | 567 | 6.4972
521 | 3.803e-05 | 567.5 | 6.3727
521.5 | -1.05e-05 | 568 | 6.0809
522 | 1.287e-05 | 568.5 | 5.8611
522.5 | 2.871e-05 | 569 | 5.5943
523 | 1.565e-05 | 569.5 | 5.2486
523.5 | 1.453e-05 | 570 | 4.9311
524 | -3.347e-06 | 570.5 | 4.5596
524.5 | 1.054e-05 | 571 | 4.1709
525 | 2.841e-05 | 571.5 | 3.7547
525.5 | 1.857e-05 | 572 | 3.3106
526 | 6.66e-06 | 572.5 | 2.8356
526.5 | -1.308e-05 | 573 | 2.3157
527 | 2.596e-05 | 573.5 | 1.7657
527.5 | 2.172e-06 | 574 | 1.1867
528 | 9.397e-06 | 574.5 | 0.66075
528.5 | 5e-06 | 575 | 0.30034
529 | 7.117e-06 | 575.5 | 0.10111
529.5 | -4.328e-07 | 576 | 0.0248
530 | 6.98e-06 | 576.5 | 0.00988
530.5 | 3.185e-05 | 577 | 0.00829
531 | 5.252e-06 | 577.5 | 0.00758
531.5 | 1.905e-05 | 578 | 0.00573
532 | 5.74e-06 | 578.5 | 0.00445
532.5 | -8.686e-07 | 579 | 0.00379
533 | 3.6e-06 | 579.5 | 0.00375
533.5 | -5.409e-06 | 580 | 0.00419
534 | 1.725e-05 | 580.5 | 0.00406
534.5 | 1.096e-05 | 581 | 0.00476
535 | 4.567e-06 | 581.5 | 0.00454
535.5 | 9.679e-06 | 582 | 0.00454
536 | 1.181e-05 | 582.5 | 0.00415
536.5 | 2.501e-05 | 583 | 0.00362
537 | 1.45e-07 | 583.5 | 0.00274
537.5 | 2.022e-06 | 584 | 0.00309
538 | 4.063e-05 | 584.5 | 0.00323
538.5 | 5.776e-05 | 585 | 0.00344
539 | -5.127e-06 | 585.5 | 0.00467
539.5 | 2.524e-05 | 586 | 0.00674
540 | 1.19e-05 | 586.5 | 0.00758
540.5 | 4.652e-06 | 587 | 0.00824
541 | 2.242e-05 | 587.5 | 0.00807
541.5 | 1.819e-05 | 588 | 0.00838
542 | 1.46e-05 | 588.5 | 0.00731
542.5 | 1.111e-05 | 589 | 0.0063
543 | -6.859e-06 | 589.5 | 0.00564
543.5 | 2.007e-05 | 590 | 0.00604
544 | 2.008e-05 | 590.5 | 0.00436
544.5 | 4.624e-06 | 591 | 0.00476
545 | 4.738e-06 | 591.5 | 0.00401
545.5 | 5.942e-06 | 592 | 0.00458
546 | 7.235e-06 | 592.5 | 0.00454
546.5 | 7.335e-07 | 593 | 0.00546
547 | 2.283e-05 | 593.5 | 0.00573
547.5 | 1.512e-05 | 594 | 0.00705
548 | 1.797e-05 | 594.5 | 0.00767
548.5 | 1.218e-05 | 595 | 0.00869
549 | 1.903e-05 | 595.5 | 0.00979
549.5 | 1.631e-05 | 596 | 0.00939
550 | -1.894e-05 | 596.5 | 0.00926
550.5 | 1.741e-05 | 597 | 0.00815
551 | 3.874e-06 | 597.5 | 0.00656
551.5 | 1.316e-05 | 598 | 0.00529
552 | 7.757e-06 | 598.5 | 0.00423
552.5 | 9.748e-06 | 599 | 0.00323
553 | 1.26e-05 | 599.5 | 0.00327
553.5 | 9.826e-06 | 600 | 0.00454
554 | 1.838e-05 | 600.5 | 0.00415
554.5 | 2.021e-05 | 601 | 0.00445
555 | -4.414e-06 | 601.5 | 0.00581
555.5 | -4.193e-06 | 602 | 0.00559
556 | -3.684e-06 | 602.5 | 0.00507
556.5 | 2.311e-05 | 603 | 0.0052
557 | 8.038e-06 | 603.5 | 0.00406
557.5 | 6.749e-06 | 604 | 0.00384
558 | -1.332e-05 | 604.5 | 0.00327
558.5 | 4.024e-07 | 605 | 0.00476
559 | 1.739e-05 | 605.5 | 0.00498
559.5 | 1.038e-05 | 606 | 0.00604
560 | 8.44e-06 | 606.5 | 0.00723
560.5 | 2.967e-05 | 607 | 0.00723
561 | 1.147e-05 | 607.5 | 0.0074
561.5 | 2.785e-05 | 608 | 0.00824
562 | 3.827e-05 | 608.5 | 0.00749
562.5 | 3.468e-05 | 609 | 0.00705
563 | 2.097e-05 | 609.5 | 0.007
563.5 | 6.912e-06 | 610 | 0.00807
564 | 2.418e-05 | 610.5 | 0.00829
564.5 | 1.082e-05 | 611 | 0.00891
565 | 2.935e-05 | 611.5 | 0.00948
565.5 | 2.944e-05 | 612 | 0.00802
566 | 3.754e-05 | 612.5 | 0.00939
566.5 | 4.079e-05 | 613 | 0.00767
567 | 3.183e-05 | 613.5 | 0.00524
567.5 | 4.239e-05 | 614 | 0.00375
568 | 8.301e-05 | 614.5 | 0.00366
568.5 | 0.0001377 | 615 | 0.00358
569 | 0.0002545 | 615.5 | 0.00537
569.5 | 0.0005641 | 616 | 0.00727
570 | 0.001172 | 616.5 | 0.00798
570.5 | 0.002757 | 617 | 0.00997
571 | 0.006747 | 617.5 | 0.01131
571.5 | 0.01759 | 618 | 0.011
572 | 0.04891 | 618.5 | 0.01002
572.5 | 0.146 | 619 | 0.00979
573 | 0.4834 | 619.5 | 0.01033
573.5 | 1.715 | 620 | 0.01073
574 | 6.505 | 620.5 | 0.01131
574.5 | 21.84 | 621 | 0.01113
575 | 50.08 | 621.5 | 0.01051
575.5 | 79.23 | 622 | 0.00997
576 | 94.45 | 622.5 | 0.00762
576.5 | 97.75 | 623 | 0.00727
577 | 98.11 | 623.5 | 0.01006
577.5 | 98.27 | 624 | 0.01583
578 | 98.69 | 624.5 | 0.0461
578.5 | 98.98 | 625 | 0.13799
579 | 99.13 | 625.5 | 0.32587
579.5 | 99.14 | 626 | 0.73424
580 | 99.04 | 626.5 | 1.0484
580.5 | 99.07 | 627 | 1.5397
581 | 98.91 | 627.5 | 1.9363
581.5 | 98.96 | 628 | 2.3523
582 | 98.96 | 628.5 | 2.7385
582.5 | 99.05 | 629 | 3.1066
583 | 99.17 | 629.5 | 3.4536
583.5 | 99.37 | 630 | 3.776
584 | 99.29 | 630.5 | 4.0912
584.5 | 99.26 | 631 | 4.3852
585 | 99.21 | 631.5 | 4.6572
585.5 | 98.93 | 632 | 4.9393
586 | 98.46 | 632.5 | 5.1653
586.5 | 98.27 | 633 | 5.4196
587 | 98.12 | 633.5 | 5.6594
587.5 | 98.16 | 634 | 5.8202
588 | 98.09 | 634.5 | 6.06
588.5 | 98.33 | 635 | 6.1916
589 | 98.56 | 635.5 | 6.4876
589.5 | 98.71 | 636 | 6.5342
590 | 98.62 | 636.5 | 6.6238
590.5 | 99 | 637 | 7.1233
591 | 98.91 | 637.5 | 6.9386
591.5 | 99.08 | 638.5 | 7.2003
592 | 98.95 | 639 | 7.9104
592.5 | 98.96 | 640 | 6.9905
593 | 98.75 | 640.5 | 7.1095
593.5 | 98.69 | 641.5 | 7.035
594 | 98.39 | 642 | 6.9477
594.5 | 98.25 | 642.5 | 6.9935
595 | 98.02 | 643 | 7.0542
595.5 | 97.77 | 643.5 | 6.7133
596 | 97.86 | 644 | 6.8011
596.5 | 97.89 | 645 | 6.9267
597 | 98.14 | 645.5 | 6.7892
597.5 | 98.5 | 646.5 | 6.6979
598 | 98.79 | 647 | 7.035
598.5 | 99.03 | 647.5 | 7.2838
599 | 99.26 | 648 | 6.9326
599.5 | 99.25 | 648.5 | 7.2291
600 | 98.96 | 649 | 6.6613
600.5 | 99.05 | 649.5 | 6.8383
601 | 98.98 | 650 | 8.2255
601.5 | 98.67 | 650.5 | 6.7095
602 | 98.72 | 651 | 6.7786
602.5 | 98.84 | 651.5 | 6.9722
603 | 98.81 | 652 | 6.5028
603.5 | 99.07 | 652.5 | 6.9658
604 | 99.12 | 653 | 6.7474
604.5 | 99.25 | 653.5 | 7.588
605 | 98.91 | 654 | 6.9226
605.5 | 98.86 | 654.5 | 7.1548
606 | 98.62 | 655 | 7.0041
606.5 | 98.35 | 655.5 | 6.7873
607 | 98.35 | 656 | 6.909
607.5 | 98.31 | 656.5 | 6.6467
608 | 98.12 | 657.5 | 6.7637
608.5 | 98.29 | 658 | 7.7934
609 | 98.39 | 658.5 | 7.1344
609.5 | 98.4 | 659 | 7.3388
610 | 98.16 | 660 | 7.0097
610.5 | 98.11 | 661 | 6.9066
611 | 97.97 | 661.5 | 7.639
611.5 | 97.84 | 662 | 7.119
612 | 98.17 | 662.5 | 6.8982
612.5 | 97.86 | 663 | 6.7226
613 | 98.25 | 663.5 | 6.9014
613.5 | 98.8 | 664 | 7.3962
614 | 99.14 | 664.5 | 6.9389
614.5 | 99.16 | 665 | 6.6796
615 | 99.18 | 665.5 | 7.329
615.5 | 98.77 | 666 | 6.6278
616 | 98.34 | 666.5 | 6.6872
616.5 | 98.18 | 667 | 7.3048
617 | 97.73 | 667.5 | 6.8116
617.5 | 97.43 | 668 | 7.1588
618 | 97.5 | 668.5 | 6.6923
618.5 | 97.72 | 669 | 7.226
619 | 97.77 | 669.5 | 7.0433
619.5 | 97.65 | 670.5 | 6.6977
620 | 97.56 | 671 | 7.0902
620.5 | 97.43 | 671.5 | 6.7791
621 | 97.47 | 672 | 6.5702
621.5 | 97.61 | 672.5 | 6.7719
622 | 97.73 | 673 | 6.8289
622.5 | 98.26 | 674.5 | 7.3935
623 | 98.34 | 675 | 7.5904
623.5 | 97.71 | 675.5 | 7.6623
624 | 96.42 | 676 | 6.8205
624.5 | 89.93 | 677.5 | 6.9566
625 | 72.78 | 678 | 6.687
625.5 | 47.22 | 678.5 | 6.6366
626 | 18.44 | 679.5 | 7.1247
626.5 | 8.946 | 680 | 6.6942
627 | 2.886 | 680.5 | 7.6245
627.5 | 1.158 | 682 | 8.1047
628 | 0.4443 | 683 | 6.473
628.5 | 0.1826 | 683.5 | 6.9726
629 | 0.07824 | 685 | 6.9539
629.5 | 0.03519 | 685.5 | 6.5577
630 | 0.01675 | 686 | 6.7302
630.5 | 0.008106 | 686.5 | 6.7619
631 | 0.004119 | 688 | 6.8778
631.5 | 0.002202 | 688.5 | 6.6474
632 | 0.00115 | 689 | 6.857
632.5 | 0.0006834 | 689.5 | 7.0822
633 | 0.0003805 | 690 | 6.5986
633.5 | 0.0002191 | 690.5 | 6.7127
634 | 0.0001513 | 691 | 6.7652
634.5 | 8.71e-05 | 691.5 | 6.4976
635 | 6.433e-05 | 692.5 | 6.4581
635.5 | 3.254e-05 | 693 | 7.1422
636 | 2.923e-05 | 693.5 | 7.7385
636.5 | 2.378e-05 | 694.5 | 6.6269
637 | 7.528e-06 | 695 | 6.8156
637.5 | 1.152e-05 | 695.5 | 6.4717
638 | -2.904e-06 | 696 | 6.6716
638.5 | 6.305e-06 | 696.5 | 6.7744
639 | 1.229e-06 | 697 | 6.6983
639.5 | -6.072e-06 | 697.5 | 7.0387
640 | 1.022e-05 | 698 | 6.5996
640.5 | 7.772e-06 | 698.5 | 6.8735
641 | -2.136e-06 | 699.5 | 7.2072
641.5 | 9.225e-06 | 701 | 6.3994
642 | 1.128e-05 | 701.5 | 6.3903
642.5 | 1.015e-05 | 702.5 | 7.753
643 | 8.827e-06 | 703 | 7.3873
643.5 | 1.935e-05 | 704 | 6.4963
644 | 1.581e-05 | 704.5 | 7.5507
644.5 | -4.822e-06 | 706 | 6.4675
645 | 1.184e-05 | 707 | 6.4393
645.5 | 1.625e-05 | 708 | 7.1296
646 | -4.745e-06 | 709.5 | 6.9755
646.5 | 2.005e-05 | 710 | 6.3895
647 | 9.225e-06 | 710.5 | 6.0349
647.5 | 5.203e-06 | 711.5 | 7.1
648 | 1.168e-05 | 712 | 6.215
648.5 | 5.901e-06 | 712.5 | 6.8745
649 | 2.181e-05 | 713 | 6.1434
649.5 | 1.451e-05 | 714.5 | 6.2133
650 | 5.95e-07 | 715 | 6.3407
650.5 | 1.952e-05 | 715.5 | 6.5384
651 | 1.665e-05 | 716 | 6.2844
651.5 | 1.066e-05 | 716.5 | 6.5151
652 | 3.142e-05 | 717 | 6.6519
652.5 | 1.082e-05 | 718 | 6.2646
653 | 1.789e-05 | 719.5 | 6.5774
653.5 | 2.582e-06 | 721 | 6.8557
654 | 1.195e-05 | 722.5 | 7.5312
654.5 | 7.002e-06 | 724.5 | 6.2235
655 | 9.907e-06 | 725 | 7.3495
655.5 | 1.632e-05 | 725.5 | 6.9821
656 | 1.233e-05 | 726 | 7.4482
656.5 | 2.256e-05 | 726.5 | 6.4897
657 | -4.986e-06 | 727 | 8.2861
657.5 | 1.723e-05 | 727.5 | 7.0932
658 | 1.609e-06 | 728 | 6.7817
658.5 | 7.339e-06 | 728.5 | 6.6776
659 | 4.584e-06 | 729 | 7.1128
659.5 | -8.642e-06 | 730 | 6.8216
660 | 9.78e-06 | 731 | 6.5805
660.5 | -2.601e-06 | 731.5 | 6.475
661 | 1.24e-05 | 732 | 6.2559
661.5 | 2.296e-06 | 733 | 6.4962
662 | 7.604e-06 | 733.5 | 5.8655
662.5 | 1.264e-05 | 734 | 5.9245
663 | 1.894e-05 | 734.5 | 5.5316
663.5 | 1.255e-05 | 735 | 5.1999
664 | 4.016e-06 | 735.5 | 4.7321
664.5 | 1.151e-05 | 736 | 4.3378
665 | 2.091e-05 | 736.5 | 4.0562
665.5 | 4.688e-06 | 737 | 3.9176
666 | 2.356e-05 | 737.5 | 3.8925
666.5 | 2.055e-05 | 738 | 3.8952
667 | 4.957e-06 | 738.5 | 3.9027
667.5 | 1.543e-05 | 739 | 3.9197
668 | 6.938e-06 | 739.5 | 3.9352
668.5 | 2.031e-05 | 740 | 3.9654
669 | 5.943e-06 | 740.5 | 3.9996
669.5 | 9.052e-06 | 741 | 4.0208
670 | -8.517e-07 | 741.5 | 4.0542
670.5 | 2.006e-05 | 742 | 4.051
671 | 8.125e-06 | 742.5 | 4.0516
671.5 | 1.663e-05 | 743 | 4.0374
672 | 2.69e-05 | 743.5 | 4.0612
672.5 | 1.691e-05 | 744 | 4.0618
673 | 1.483e-05 | 744.5 | 4.0601
673.5 | -1.154e-06 | 745 | 4.1
674 | -2.866e-06 | 745.5 | 4.1109
674.5 | 4.041e-06 | 746 | 4.155
675 | 2.568e-06 | 746.5 | 4.2208
675.5 | 2.176e-06 | 747 | 4.2764
676 | 1.512e-05 | 747.5 | 4.3452
676.5 | -4.181e-06 | 748 | 4.3918
677 | -4.633e-06 | 748.5 | 4.4072
677.5 | 1.105e-05 | 749 | 4.4307
678 | 2.056e-05 | 749.5 | 4.4415
678.5 | 2.309e-05 | 750 | 4.4389
679 | -2.028e-05 | 750.5 | 4.4066
679.5 | 7.504e-06 | 751 | 4.3711
680 | 2.022e-05 | 751.5 | 4.3618
680.5 | 2.374e-06 | 752 | 4.3339
681 | -2.939e-06 | 752.5 | 4.3195
681.5 | -1.506e-06 | 753 | 4.321
682 | 7.857e-07 | 753.5 | 4.3436
682.5 | -1.684e-06 | 754 | 4.3568
683 | 3.365e-05 | 754.5 | 4.3419
683.5 | 1.065e-05 | 755 | 4.4073
684 | -1.629e-06 | 755.5 | 4.4212
684.5 | -2.831e-08 | 756 | 4.5129
685 | 1.112e-05 | 756.5 | 4.5328
685.5 | 2.769e-05 | 757 | 4.5735
686 | 1.861e-05 | 757.5 | 4.6904
686.5 | 1.73e-05 | 758 | 4.6596
687 | -7.777e-06 | 758.5 | 4.7291
687.5 | -7.386e-07 | 759 | 4.7383
688 | 1.325e-05 | 759.5 | 4.7042
688.5 | 2.252e-05 | 760 | 4.7592
689 | 1.39e-05 | 760.5 | 4.7582
689.5 | 8.275e-06 | 761 | 4.7208
690 | 2.52e-05 | 761.5 | 4.6855
690.5 | 1.938e-05 | 762 | 4.6564
691 | 1.717e-05 | 762.5 | 4.586
691.5 | 3.18e-05 | 763 | 4.5348
692 | -1.883e-06 | 763.5 | 4.4901
692.5 | 3.483e-05 | 764 | 4.4738
693 | 7.207e-06 | 764.5 | 4.4231
693.5 | 1.826e-06 | 765 | 4.4353
694 | -2.306e-05 | 765.5 | 4.4164
694.5 | 2.361e-05 | 766 | 4.4161
695 | 1.529e-05 | 766.5 | 4.4322
695.5 | 3.375e-05 | 767 | 4.4204
696 | 2.13e-05 | 767.5 | 4.4624
696.5 | 1.681e-05 | 768 | 4.4459
697 | 2.003e-05 | 768.5 | 4.4894
697.5 | 9.148e-06 | 769 | 4.5613
698 | 2.514e-05 | 769.5 | 4.5254
698.5 | 1.338e-05 | 770 | 4.6131
699 | -3.923e-07 | 770.5 | 4.6665
699.5 | 6.206e-06 | 771 | 4.6434
700 | -1.54e-05 | 771.5 | 4.6273
700.5 | -1.224e-05 | 772 | 4.669
701 | 3.987e-05 | 772.5 | 4.5983
701.5 | 4.071e-05 | 773 | 4.6156
702 | -3.919e-05 | 773.5 | 4.6306
702.5 | 1.766e-06 | 774 | 4.587
703 | 4.099e-06 | 774.5 | 4.5943
703.5 | -5.454e-05 | 775 | 4.5461
704 | 3.189e-05 | 775.5 | 4.5541
704.5 | 2.814e-06 | 776 | 4.5143
705 | -1.406e-05 | 776.5 | 4.4692
705.5 | -1.695e-05 | 777 | 4.4347
706 | 3.408e-05 | 777.5 | 4.4286
706.5 | -2.776e-05 | 778 | 4.4327
707 | 3.637e-05 | 778.5 | 4.4165
707.5 | -6.779e-06 | 779 | 4.4222
708 | 7.42e-06 | 779.5 | 4.4106
708.5 | -9.565e-06 | 780 | 4.4357
709 | -3.811e-06 | 780.5 | 4.4722
709.5 | 1.058e-05 | 781 | 4.4267
710 | 4.078e-05 | 781.5 | 4.4123
710.5 | 9.227e-05 | 782 | 4.3905
711 | -1.007e-05 | 782.5 | 4.4688
711.5 | 7.944e-06 | 783 | 4.4516
712 | 6.096e-05 | 783.5 | 4.4704
712.5 | 1.335e-05 | 784 | 4.4921
713 | 7.187e-05 | 784.5 | 4.4993
713.5 | -1.679e-05 | 785 | 4.5174
714 | -2.694e-05 | 785.5 | 4.5213
714.5 | 6.12e-05 | 786 | 4.5349
715 | 4.563e-05 | 786.5 | 4.5303
715.5 | 2.895e-05 | 787 | 4.5376
716 | 5.195e-05 | 787.5 | 4.564
716.5 | 3.054e-05 | 788 | 4.5302
717 | 2.229e-05 | 788.5 | 4.528
717.5 | -6.375e-06 | 789 | 4.5583
718 | 5.437e-05 | 789.5 | 4.5029
718.5 | -4.056e-05 | 790 | 4.4566
719 | -2.604e-05 | 790.5 | 4.5072
719.5 | 2.646e-05 | 791 | 4.5693
720 | -5.57e-06 | 791.5 | 4.4995
720.5 | -6.165e-07 | 792 | 4.4823
721 | 1.394e-05 | 792.5 | 4.5204
721.5 | -1.787e-05 | 793 | 4.4564
722 | -2.782e-05 | 793.5 | 4.4648
722.5 | 2.943e-06 | 794 | 4.5147
723 | -5.85e-06 | 794.5 | 4.5339
723.5 | -8.901e-06 | 795 | 4.5043
724 | -7.386e-06 | 795.5 | 4.5043
724.5 | 5.977e-05 | 796 | 4.4323
725 | 4.472e-06 | 796.5 | 4.5129
725.5 | 1.042e-05 | 797 | 4.4415
726 | 3.563e-06 | 797.5 | 4.4903
726.5 | 3.238e-05 | 798 | 4.4776
727 | 5.175e-07 | 798.5 | 4.4815
727.5 | 8.068e-06 | 799 | 4.4207
728 | 1.653e-05 | 799.5 | 4.4201
728.5 | 2.101e-05 | 800 | 4.4836
729 | 7.713e-06 | 800.5 | 4.4811
729.5 | -4.151e-05 | 801 | 4.4786
730 | 1.508e-05 | 801.5 | 4.4753
730.5 | -1.741e-05 | 802 | 4.472
731 | 2.627e-05 | 802.5 | 4.4667
731.5 | 3.35e-05 | 803 | 4.4614
732 | 5.547e-05 | 803.5 | 4.4602
732.5 | -1.396e-05 | 804 | 4.4589
733 | 3.19e-05 | 804.5 | 4.4525
733.5 | 0.0001363 | 805 | 4.446
734 | 0.000119 | 805.5 | 4.4395
734.5 | 0.000294 | 806 | 4.433
735 | 0.0006311 | 806.5 | 4.4318
735.5 | 0.001853 | 807 | 4.4306
736 | 0.004594 | 807.5 | 4.4252
736.5 | 0.008787 | 808 | 4.4196
737 | 0.01209 | 808.5 | 4.4157
737.5 | 0.01281 | 809 | 4.4118
738 | 0.01273 | 809.5 | 4.4106
738.5 | 0.01251 | 810 | 4.4094
739 | 0.01203 | 810.5 | 4.4035
739.5 | 0.01161 | 811 | 4.3977
740 | 0.01083 | 811.5 | 4.3951
740.5 | 0.01001 | 812 | 4.3925
741 | 0.009533 | 812.5 | 4.3905
741.5 | 0.008826 | 813 | 4.3886
742 | 0.008893 | 813.5 | 4.3871
742.5 | 0.00888 | 814 | 4.3857
743 | 0.009174 | 814.5 | 4.3805
743.5 | 0.008686 | 815 | 4.3754
744 | 0.008674 | 815.5 | 4.3721
744.5 | 0.008707 | 816 | 4.369
745 | 0.007944 | 816.5 | 4.3659
745.5 | 0.007746 | 817 | 4.3629
746 | 0.006999 | 817.5 | 4.361
746.5 | 0.006014 | 818 | 4.359
747 | 0.005292 | 818.5 | 4.3563
747.5 | 0.004517 | 819 | 4.3536
748 | 0.004057 | 819.5 | 4.3515
748.5 | 0.003916 | 820 | 4.3495
749 | 0.003709 | 820.5 | 4.346
749.5 | 0.003618 | 821 | 4.3426
750 | 0.00364 | 821.5 | 4.337
750.5 | 0.003921 | 822 | 4.3316
751 | 0.004255 | 822.5 | 4.3273
751.5 | 0.004347 | 823 | 4.3229
752 | 0.004635 | 823.5 | 4.321
752.5 | 0.004792 | 824 | 4.3191
753 | 0.004775 | 824.5 | 4.3138
753.5 | 0.004533 | 825 | 4.3085
754 | 0.004397 | 825.5 | 4.3026
754.5 | 0.004551 | 826 | 4.2968
755 | 0.003915 | 826.5 | 4.2906
755.5 | 0.003791 | 827 | 4.2845
756 | 0.00307 | 827.5 | 4.2786
756.5 | 0.002932 | 828 | 4.2728
757 | 0.00267 | 828.5 | 4.2646
757.5 | 0.00204 | 829 | 4.2566
758 | 0.00219 | 829.5 | 4.2483
758.5 | 0.001866 | 830 | 4.2401
759 | 0.001827 | 830.5 | 4.2317
759.5 | 0.001976 | 831 | 4.2234
760 | 0.001741 | 831.5 | 4.2132
760.5 | 0.001745 | 832 | 4.2032
761 | 0.001902 | 832.5 | 4.1936
761.5 | 0.002063 | 833 | 4.1842
762 | 0.002206 | 833.5 | 4.1724
762.5 | 0.002594 | 834 | 4.1611
763 | 0.002919 | 834.5 | 4.1489
763.5 | 0.003235 | 835 | 4.137
764 | 0.003359 | 835.5 | 4.1244
764.5 | 0.003775 | 836 | 4.112
765 | 0.00367 | 836.5 | 4.0992
765.5 | 0.003834 | 837 | 4.0869
766 | 0.003836 | 837.5 | 4.0736
766.5 | 0.003697 | 838 | 4.0606
767 | 0.003798 | 838.5 | 4.0458
767.5 | 0.003448 | 839 | 4.0313
768 | 0.003582 | 839.5 | 4.0167
768.5 | 0.00324 | 840 | 4.0026
769 | 0.002746 | 840.5 | 3.988
769.5 | 0.002983 | 841 | 3.9735
770 | 0.002437 | 841.5 | 3.9586
770.5 | 0.002155 | 842 | 3.9442
771 | 0.002273 | 842.5 | 3.9285
771.5 | 0.002359 | 843 | 3.9136
772 | 0.002143 | 843.5 | 3.8986
772.5 | 0.002522 | 844 | 3.8841
773 | 0.002423 | 844.5 | 3.8687
773.5 | 0.002341 | 845 | 3.8542
774 | 0.002588 | 845.5 | 3.8389
774.5 | 0.002545 | 846 | 3.8242
775 | 0.002844 | 846.5 | 3.8094
775.5 | 0.002792 | 847 | 3.7951
776 | 0.00306 | 847.5 | 3.7804
776.5 | 0.003395 | 848 | 3.7662
777 | 0.003675 | 848.5 | 3.7518
777.5 | 0.003727 | 849 | 3.738
778 | 0.003692 | 849.5 | 3.724
778.5 | 0.003833 | 850 | 3.7106
779 | 0.003783 | 850.5 | 3.697
779.5 | 0.003885 | 851 | 3.684
780 | 0.003667 | 851.5 | 3.6714
780.5 | 0.003371 | 852 | 3.6594
781 | 0.003744 | 852.5 | 3.6469
781.5 | 0.00387 | 853 | 3.6345
782 | 0.004069 | 853.5 | 3.6221
782.5 | 0.003398 | 854 | 3.6101
783 | 0.003535 | 854.5 | 3.5989
783.5 | 0.003385 | 855 | 3.588
784 | 0.00322 | 855.5 | 3.5763
784.5 | 0.003167 | 856 | 3.5648
785 | 0.003038 | 856.5 | 3.5542
785.5 | 0.003011 | 857 | 3.5439
786 | 0.002918 | 857.5 | 3.5333
786.5 | 0.002949 | 858 | 3.5229
787 | 0.0029 | 858.5 | 3.5126
787.5 | 0.002729 | 859 | 3.5024
788 | 0.00295 | 859.5 | 3.4921
788.5 | 0.002965 | 860 | 3.4823
789 | 0.002765 | 860.5 | 3.472
789.5 | 0.003141 | 861 | 3.4619
790 | 0.003495 | 861.5 | 3.4515
790.5 | 0.00311 | 862 | 3.4414
791 | 0.002696 | 862.5 | 3.431
791.5 | 0.003166 | 863 | 3.4208
792 | 0.003294 | 863.5 | 3.4099
792.5 | 0.003017 | 864 | 3.3995
793 | 0.003496 | 864.5 | 3.3882
793.5 | 0.003429 | 865 | 3.3773
794 | 0.003057 | 865.5 | 3.3657
794.5 | 0.002925 | 866 | 3.3545
795 | 0.003131 | 866.5 | 3.3424
795.5 | 0.003131 | 867 | 3.3307
796 | 0.003696 | 867.5 | 3.318
796.5 | 0.00307 | 868 | 3.3056
797 | 0.003618 | 868.5 | 3.2921
797.5 | 0.003234 | 869 | 3.2791
798 | 0.00333 | 869.5 | 3.265
798.5 | 0.0033 | 870 | 3.2515
799 | 0.003796 | 870.5 | 3.2366
799.5 | 0.003801 | 871 | 3.2222
800 | 0.003284 | 871.5 | 3.2063
800.5 | 0.003303 | 872 | 3.1911
801 | 0.003322 | 872.5 | 3.1741
801.5 | 0.003347 | 873 | 3.1578
802 | 0.003373 | 873.5 | 3.1403
802.5 | 0.003414 | 874 | 3.1235
803 | 0.003456 | 874.5 | 3.1045
803.5 | 0.003466 | 875 | 3.0862
804 | 0.003476 | 875.5 | 3.0668
804.5 | 0.003528 | 876 | 3.0483
805 | 0.003581 | 876.5 | 3.0273
805.5 | 0.003635 | 877 | 3.0073
806 | 0.00369 | 877.5 | 2.9851
806.5 | 0.0037 | 878 | 2.9638
807 | 0.00371 | 878.5 | 2.9408
807.5 | 0.003757 | 879 | 2.9186
808 | 0.003805 | 879.5 | 2.8945
808.5 | 0.00384 | 880 | 2.8716
809 | 0.003874 | 880.5 | 2.8459
809.5 | 0.003885 | 881 | 2.8219
810 | 0.003896 | 881.5 | 2.7959
810.5 | 0.003949 | 882 | 2.7711
811 | 0.004002 | 882.5 | 2.7438
811.5 | 0.004026 | 883 | 2.7178
812 | 0.00405 | 883.5 | 2.6887
812.5 | 0.004069 | 884 | 2.6613
813 | 0.004087 | 884.5 | 2.6312
813.5 | 0.004101 | 885 | 2.6031
814 | 0.004114 | 885.5 | 2.572
814.5 | 0.004164 | 886 | 2.543
815 | 0.004213 | 886.5 | 2.511
815.5 | 0.004245 | 887 | 2.4813
816 | 0.004276 | 887.5 | 2.4482
816.5 | 0.004306 | 888 | 2.4175
817 | 0.004336 | 888.5 | 2.3827
817.5 | 0.004355 | 889 | 2.3506
818 | 0.004375 | 889.5 | 2.3154
818.5 | 0.004402 | 890 | 2.283
819 | 0.00443 | 890.5 | 2.2472
819.5 | 0.004451 | 891 | 2.2142
820 | 0.004472 | 891.5 | 2.1763
820.5 | 0.004508 | 892 | 2.1414
821 | 0.004544 | 892.5 | 2.1042
821.5 | 0.004602 | 893 | 2.0701
822 | 0.00466 | 893.5 | 2.0319
822.5 | 0.004707 | 894 | 1.997
823 | 0.004754 | 894.5 | 1.9602
823.5 | 0.004775 | 895 | 1.9259
824 | 0.004796 | 895.5 | 1.8921
824.5 | 0.004855 | 896 | 1.8607
825 | 0.004915 | 896.5 | 1.8321
825.5 | 0.004982 | 897 | 1.8049
826 | 0.005049 | 897.5 | 1.7752
826.5 | 0.005122 | 898 | 1.7471
827 | 0.005194 | 898.5 | 1.716
827.5 | 0.005265 | 899 | 1.6872
828 | 0.005336 | 899.5 | 1.6529
828.5 | 0.005438 | 900 | 1.6211
829 | 0.005539 | 900.5 | 1.5852
829.5 | 0.005646 | 901 | 1.5521
830 | 0.005753 | 901.5 | 1.5147
830.5 | 0.005866 | 902 | 1.4803
831 | 0.005979 | 902.5 | 1.4412
831.5 | 0.006121 | 903 | 1.4054
832 | 0.006263 | 903.5 | 1.3655
832.5 | 0.006404 | 904 | 1.3291
833 | 0.006544 | 904.5 | 1.2882
833.5 | 0.006723 | 905 | 1.2509
834 | 0.006901 | 905.5 | 1.2084
834.5 | 0.007098 | 906 | 1.1697
835 | 0.007294 | 906.5 | 1.1266
835.5 | 0.00751 | 907 | 1.0874
836 | 0.007727 | 907.5 | 1.0419
836.5 | 0.007957 | 908 | 1.0007
837 | 0.008187 | 908.5 | 0.9535
837.5 | 0.008442 | 909 | 0.9108
838 | 0.008697 | 909.5 | 0.8617
838.5 | 0.009 | 910 | 0.81759
839 | 0.009304 | 910.5 | 0.7665
839.5 | 0.009622 | 911 | 0.72056
840 | 0.009941 | 911.5 | 0.66837
840.5 | 0.01028 | 912 | 0.6216
841 | 0.01063 | 912.5 | 0.56912
841.5 | 0.011 | 913 | 0.5223
842 | 0.01137 | 913.5 | 0.47031
842.5 | 0.01179 | 914 | 0.424
843 | 0.0122 | 914.5 | 0.37799
843.5 | 0.01263 | 915 | 0.33639
844 | 0.01306 | 915.5 | 0.30225
844.5 | 0.01353 | 916 | 0.27059
845 | 0.01399 | 916.5 | 0.25641
845.5 | 0.01449 | 917 | 0.2426
846 | 0.01499 | 917.5 | 0.25088
846.5 | 0.01551 | 918 | 0.25932
847 | 0.01603 | 918.5 | 0.28769
847.5 | 0.01658 | 919 | 0.31813
848 | 0.01713 | 919.5 | 0.35843
848.5 | 0.01771 | 920 | 0.40296
849 | 0.01828 | 920.5 | 0.44953
849.5 | 0.01888 | 921 | 0.50155
850 | 0.01947 | 921.5 | 0.55068
850.5 | 0.02009 | 922 | 0.60607
851 | 0.0207 | 922.5 | 0.65131
851.5 | 0.02131 | 923 | 0.70202
852 | 0.02191 | 923.5 | 0.74449
852.5 | 0.02255 | 924 | 0.79156
853 | 0.0232 | 924.5 | 0.83062
853.5 | 0.02387 | 925 | 0.87387
854 | 0.02454 | 925.5 | 0.90728
854.5 | 0.02518 | 926 | 0.94386
855 | 0.02582 | 926.5 | 0.97306
855.5 | 0.02653 | 927 | 1.0045
856 | 0.02724 | 927.5 | 1.0306
856.5 | 0.02791 | 928 | 1.0583
857 | 0.02858 | 928.5 | 1.0789
857.5 | 0.02929 | 929 | 1.1006
858 | 0.03 | 929.5 | 1.117
858.5 | 0.03072 | 930 | 1.1342
859 | 0.03145 | 930.5 | 1.1465
859.5 | 0.0322 | 931 | 1.1592
860 | 0.03294 | 931.5 | 1.1674
860.5 | 0.03373 | 932 | 1.1757
861 | 0.03452 | 932.5 | 1.1799
861.5 | 0.03536 | 933 | 1.1841
862 | 0.03619 | 933.5 | 1.1845
862.5 | 0.03707 | 934 | 1.1848
863 | 0.03795 | 934.5 | 1.1811
863.5 | 0.03891 | 935 | 1.1774
864 | 0.03986 | 935.5 | 1.1698
864.5 | 0.04091 | 936 | 1.1623
865 | 0.04195 | 936.5 | 1.1514
865.5 | 0.04308 | 937 | 1.1408
866 | 0.04421 | 937.5 | 1.1266
866.5 | 0.04546 | 938 | 1.1128
867 | 0.0467 | 938.5 | 1.0956
867.5 | 0.04809 | 939 | 1.079
868 | 0.04948 | 939.5 | 1.0594
868.5 | 0.05104 | 940 | 1.0406
869 | 0.05259 | 940.5 | 1.0193
869.5 | 0.05432 | 941 | 0.99913
870 | 0.05604 | 941.5 | 0.97716
870.5 | 0.058 | 942 | 0.95664
871 | 0.05995 | 942.5 | 0.93554
871.5 | 0.06219 | 943 | 0.91542
872 | 0.06441 | 943.5 | 0.89654
872.5 | 0.06697 | 944 | 0.87844
873 | 0.06953 | 944.5 | 0.8636
873.5 | 0.07239 | 945 | 0.84924
874 | 0.07524 | 945.5 | 0.83983
874.5 | 0.07862 | 946 | 0.83062
875 | 0.08199 | 946.5 | 0.82769
875.5 | 0.08574 | 947 | 0.82478
876 | 0.08948 | 947.5 | 0.82827
876.5 | 0.09391 | 948 | 0.8315
877 | 0.09834 | 948.5 | 0.84043
877.5 | 0.1035 | 949 | 0.84924
878 | 0.1087 | 949.5 | 0.86265
878.5 | 0.1146 | 950 | 0.87648
879 | 0.1206 | 950.5 | 0.89211
879.5 | 0.1275 | 951 | 0.90798
880 | 0.1344 | 951.5 | 0.92445
880.5 | 0.1426 | 952 | 0.94157
881 | 0.1507 | 952.5 | 0.95782
881.5 | 0.16 | 953 | 0.9751
882 | 0.1694 | 953.5 | 0.9897
882.5 | 0.1804 | 954 | 1.0052
883 | 0.1915 | 954.5 | 1.0181
883.5 | 0.2048 | 955 | 1.0315
884 | 0.2181 | 955.5 | 1.0413
884.5 | 0.2338 | 956 | 1.0515
885 | 0.2494 | 956.5 | 1.0582
885.5 | 0.2679 | 957 | 1.065
886 | 0.2864 | 957.5 | 1.0685
886.5 | 0.3083 | 958 | 1.0721
887 | 0.3301 | 958.5 | 1.0719
887.5 | 0.3563 | 959 | 1.0718
888 | 0.3824 | 959.5 | 1.0674
888.5 | 0.4143 | 960 | 1.063
889 | 0.4461 | 960.5 | 1.0553
889.5 | 0.4837 | 961 | 1.0478
890 | 0.5212 | 961.5 | 1.0355
890.5 | 0.566 | 962 | 1.0236
891 | 0.6107 | 962.5 | 1.0073
891.5 | 0.6664 | 963 | 0.99183
892 | 0.7221 | 963.5 | 0.97062
892.5 | 0.7866 | 964 | 0.95039
893 | 0.8509 | 964.5 | 0.92518
893.5 | 0.9291 | 965 | 0.90136
894 | 1.007 | 965.5 | 0.87063
894.5 | 1.096 | 966 | 0.84194
895 | 1.186 | 966.5 | 0.80688
895.5 | 1.282 | 967 | 0.77417
896 | 1.378 | 967.5 | 0.734
896.5 | 1.472 | 968 | 0.69745
897 | 1.567 | 968.5 | 0.65072
897.5 | 1.678 | 969 | 0.60854
898 | 1.79 | 969.5 | 0.55799
898.5 | 1.923 | 970 | 0.51258
899 | 2.055 | 970.5 | 0.4583
899.5 | 2.224 | 971 | 0.41005
900 | 2.393 | 971.5 | 0.3533
900.5 | 2.599 | 972 | 0.30303
901 | 2.805 | 972.5 | 0.25274
901.5 | 3.057 | 973 | 0.20768
902 | 3.309 | 973.5 | 0.17128
902.5 | 3.621 | 974 | 0.13769
903 | 3.932 | 974.5 | 0.12424
903.5 | 4.31 | 975 | 0.11126
904 | 4.687 | 975.5 | 0.12177
904.5 | 5.15 | 976 | 0.13259
905 | 5.612 | 976.5 | 0.16197
905.5 | 6.189 | 977 | 0.19355
906 | 6.766 | 977.5 | 0.23336
906.5 | 7.472 | 978 | 0.27712
907 | 8.178 | 978.5 | 0.31903
907.5 | 9.081 | 979 | 0.36542
908 | 9.984 | 979.5 | 0.40727
908.5 | 11.13 | 980 | 0.45358
909 | 12.28 | 980.5 | 0.49174
909.5 | 13.75 | 981 | 0.53343
910 | 15.22 | 981.5 | 0.56767
910.5 | 17.12 | 982 | 0.60485
911 | 19.03 | 982.5 | 0.63526
911.5 | 21.46 | 983 | 0.66797
912 | 23.9 | 983.5 | 0.69422
912.5 | 26.97 | 984 | 0.72239
913 | 30.04 | 984.5 | 0.74545
913.5 | 33.86 | 985 | 0.77006
914 | 37.67 | 985.5 | 0.78995
914.5 | 41.88 | 986 | 0.81107
915 | 46.09 | 986.5 | 0.82798
915.5 | 49.86 | 987 | 0.84588
916 | 53.63 | 987.5 | 0.85981
916.5 | 55.41 | 988 | 0.87387
917 | 57.2 | 988.5 | 0.88572
917.5 | 56.12 | 989 | 0.89757
918 | 55.04 | 989.5 | 0.90763
918.5 | 51.56 | 990 | 0.91793
919 | 48.07 | 990.5 | 0.92555
919.5 | 43.81 | 991 | 0.9333
920 | 39.54 | 991.5 | 0.93855
920.5 | 35.52 | 992 | 0.94386
921 | 31.51 | 992.5 | 0.94731
921.5 | 28.14 | 993 | 0.95117
922 | 24.77 | 993.5 | 0.9535
922.5 | 22.32 | 994 | 0.95585
923 | 19.86 | 994.5 | 0.95624
923.5 | 18.01 | 995 | 0.95624
924 | 16.16 | 995.5 | 0.95546
924.5 | 14.77 | 996 | 0.95429
925 | 13.37 | 996.5 | 0.95156
925.5 | 12.38 | 997 | 0.94923
926 | 11.38 | 997.5 | 0.94462
926.5 | 10.64 | 998 | 0.93968
927 | 9.897 | 998.5 | 0.93367
927.5 | 9.32 | 999 | 0.92775
928 | 8.744 | 999.5 | 0.91973
928.5 | 8.338 | 1000 | 0.91186
929 | 7.933 | 1000.5 | 0.9017
929.5 | 7.638 | 1001 | 0.89177
930 | 7.342 | 1001.5 | 0.88008
930.5 | 7.137 | 1002 | 0.86838
931 | 6.931 | 1002.5 | 0.85449
931.5 | 6.802 | 1003 | 0.84103
932 | 6.672 | 1003.5 | 0.82507
932.5 | 6.608 | 1004 | 0.80939
933 | 6.545 | 1004.5 | 0.79129
933.5 | 6.539 | 1005 | 0.77392
934 | 6.534 | 1005.5 | 0.75375
934.5 | 6.59 | 1006 | 0.73471
935 | 6.646 | 1006.5 | 0.71332
935.5 | 6.764 | 1007 | 0.69272
936 | 6.882 | 1007.5 | 0.66979
936.5 | 7.057 | 1008 | 0.6482
937 | 7.231 | 1008.5 | 0.62562
937.5 | 7.471 | 1009 | 0.60415
938 | 7.712 | 1009.5 | 0.58303
938.5 | 8.024 | 1010 | 0.56288
939 | 8.336 | 1010.5 | 0.54485
939.5 | 8.722 | 1011 | 0.52754
940 | 9.107 | 1011.5 | 0.51527
940.5 | 9.565 | 1012 | 0.50335
941 | 10.02 | 1012.5 | 0.49812
941.5 | 10.54 | 1013 | 0.49309
942 | 11.05 | 1013.5 | 0.49716
942.5 | 11.6 | 1014 | 0.50128
943 | 12.15 | 1014.5 | 0.51385
943.5 | 12.69 | 1015 | 0.52695
944 | 13.23 | 1015.5 | 0.54653
944.5 | 13.69 | 1016 | 0.56719
945 | 14.15 | 1016.5 | 0.59278
945.5 | 14.46 | 1017 | 0.61979
946 | 14.77 | 1017.5 | 0.64685
946.5 | 14.87 | 1018 | 0.67592
947 | 14.97 | 1018.5 | 0.70597
947.5 | 14.85 | 1019 | 0.73802
948 | 14.74 | 1019.5 | 0.76675
948.5 | 14.44 | 1020 | 0.79751
949 | 14.15 | 1020.5 | 0.82623
949.5 | 13.72 | 1021 | 0.85699
950 | 13.29 | 1021.5 | 0.88339
950.5 | 12.82 | 1022 | 0.91151
951 | 12.36 | 1022.5 | 0.93517
951.5 | 11.9 | 1023 | 0.96059
952 | 11.44 | 1023.5 | 0.98255
952.5 | 11.02 | 1024 | 1.0057
953 | 10.59 | 1024.5 | 1.0245
953.5 | 10.24 | 1025 | 1.0442
954 | 9.881 | 1025.5 | 1.0599
954.5 | 9.591 | 1026 | 1.0763
955 | 9.301 | 1026.5 | 1.0896
955.5 | 9.092 | 1027 | 1.1033
956 | 8.882 | 1027.5 | 1.1134
956.5 | 8.746 | 1028 | 1.1238
957 | 8.61 | 1028.5 | 1.1309
957.5 | 8.541 | 1029 | 1.1381
958 | 8.471 | 1029.5 | 1.1424
958.5 | 8.474 | 1030 | 1.1468
959 | 8.476 | 1030.5 | 1.1475
959.5 | 8.563 | 1031 | 1.1482
960 | 8.65 | 1031.5 | 1.1466
960.5 | 8.804 | 1032 | 1.145
961 | 8.958 | 1032.5 | 1.1395
961.5 | 9.215 | 1033 | 1.1342
962 | 9.472 | 1033.5 | 1.1249
962.5 | 9.833 | 1034 | 1.1158
963 | 10.19 | 1034.5 | 1.1039
963.5 | 10.7 | 1035 | 1.0923
964 | 11.21 | 1035.5 | 1.0762
964.5 | 11.88 | 1036 | 1.0608
965 | 12.55 | 1036.5 | 1.0412
965.5 | 13.47 | 1037 | 1.0224
966 | 14.39 | 1037.5 | 0.99783
966.5 | 15.6 | 1038 | 0.97469
967 | 16.82 | 1038.5 | 0.94692
967.5 | 18.45 | 1039 | 0.92118
968 | 20.07 | 1039.5 | 0.8884
968.5 | 22.35 | 1040 | 0.85792
969 | 24.63 | 1040.5 | 0.8193
969.5 | 27.67 | 1041 | 0.78357
970 | 30.72 | 1041.5 | 0.74088
970.5 | 34.81 | 1042 | 0.70202
971 | 38.9 | 1042.5 | 0.65189
971.5 | 44.33 | 1043 | 0.60713
972 | 49.77 | 1043.5 | 0.55222
972.5 | 55.88 | 1044 | 0.50349
973 | 61.99 | 1044.5 | 0.446
973.5 | 67.41 | 1045 | 0.39545
974 | 72.83 | 1045.5 | 0.33592
974.5 | 75.12 | 1046 | 0.2835
975 | 77.4 | 1046.5 | 0.23388
975.5 | 75.55 | 1047 | 0.18936
976 | 73.69 | 1047.5 | 0.15852
976.5 | 68.87 | 1048 | 0.12965
977 | 64.04 | 1048.5 | 0.12691
977.5 | 58.43 | 1049 | 0.12419
978 | 52.83 | 1049.5 | 0.14929
978.5 | 47.97 | 1050 | 0.17587
979 | 43.11 | 1050.5 | 0.21667
979.5 | 39.15 | 1051 | 0.26185
980 | 35.19 | 1051.5 | 0.30998
980.5 | 32.23 | 1052 | 0.36432
981 | 29.28 | 1052.5 | 0.41308
981.5 | 27.06 | 1053 | 0.46801
982 | 24.84 | 1053.5 | 0.51343
982.5 | 23.16 | 1054 | 0.56431
983 | 21.48 | 1054.5 | 0.60625
983.5 | 20.22 | 1055 | 0.65267
984 | 18.95 | 1055.5 | 0.68931
984.5 | 17.97 | 1056 | 0.72932
985 | 16.98 | 1056.5 | 0.7612
985.5 | 16.22 | 1057 | 0.79561
986 | 15.45 | 1057.5 | 0.8242
986.5 | 14.86 | 1058 | 0.85449
987 | 14.26 | 1058.5 | 0.87844
987.5 | 13.81 | 1059 | 0.90344
988 | 13.37 | 1059.5 | 0.92409
988.5 | 13.01 | 1060 | 0.94577
989 | 12.66 | 1060.5 | 0.96257
989.5 | 12.37 | 1061 | 0.98005
990 | 12.08 | 1061.5 | 0.99311
990.5 | 11.87 | 1062 | 1.0068
991 | 11.66 | 1062.5 | 1.0171
991.5 | 11.52 | 1063 | 1.0277
992 | 11.38 | 1063.5 | 1.0357
992.5 | 11.29 | 1064 | 1.0438
993 | 11.19 | 1064.5 | 1.048
993.5 | 11.13 | 1065 | 1.0522
994 | 11.07 | 1065.5 | 1.0545
994.5 | 11.06 | 1066 | 1.0568
995 | 11.06 | 1066.5 | 1.0566
995.5 | 11.08 | 1067 | 1.0565
996 | 11.11 | 1067.5 | 1.0536
996.5 | 11.18 | 1068 | 1.0507
997 | 11.24 | 1068.5 | 1.0455
997.5 | 11.36 | 1069 | 1.0402
998 | 11.49 | 1069.5 | 1.0339
998.5 | 11.65 | 1070 | 1.0276
999 | 11.81 | 1070.5 | 1.0177
999.5 | 12.03 | 1071 | 1.008
1000 | 12.25 | 1071.5 | 0.9974
1000.5 | 12.54 | 1072 | 0.98674
1001 | 12.83 | 1072.5 | 0.97469
1001.5 | 13.18 | 1073 | 0.96337
1002 | 13.54 | 1073.5 | 0.94885
1002.5 | 13.98 | 1074 | 0.93442
1003 | 14.42 | 1074.5 | 0.91937
1003.5 | 14.96 | 1075 | 0.90483
1004 | 15.51 | 1075.5 | 0.88907
1004.5 | 16.17 | 1076 | 0.87387
1005 | 16.83 | 1076.5 | 0.85699
1005.5 | 17.63 | 1077 | 0.84103
1006 | 18.42 | 1077.5 | 0.82333
1006.5 | 19.35 | 1078 | 0.80632
1007 | 20.29 | 1078.5 | 0.78888
1007.5 | 21.39 | 1079 | 0.77237
1008 | 22.48 | 1079.5 | 0.75473
1008.5 | 23.68 | 1080 | 0.73802
1009 | 24.88 | 1080.5 | 0.72148
1009.5 | 26.12 | 1081 | 0.70553
1010 | 27.36 | 1081.5 | 0.68909
1010.5 | 28.52 | 1082 | 0.67325
1011 | 29.68 | 1082.5 | 0.65956
1011.5 | 30.53 | 1083 | 0.64628
1012 | 31.38 | 1083.5 | 0.63246
1012.5 | 31.76 | 1084 | 0.61925
1013 | 32.13 | 1084.5 | 0.60765
1013.5 | 31.83 | 1085 | 0.59636
1014 | 31.53 | 1085.5 | 0.58737
1014.5 | 30.63 | 1086 | 0.5784
1015 | 29.72 | 1086.5 | 0.57073
1015.5 | 28.41 | 1087 | 0.56336
1016 | 27.09 | 1087.5 | 0.55674
1016.5 | 25.54 | 1088 | 0.55021
1017 | 24 | 1088.5 | 0.54653
1017.5 | 22.55 | 1089 | 0.54288
1018 | 21.09 | 1089.5 | 0.54121
1018.5 | 19.68 | 1090 | 0.53955
1019 | 18.28 | 1090.5 | 0.53805
1019.5 | 17.11 | 1091 | 0.53655
1020 | 15.94 | 1091.5 | 0.5376
1020.5 | 14.92 | 1092 | 0.5388
1021 | 13.9 | 1092.5 | 0.54166
1021.5 | 13.08 | 1093 | 0.54455
1022 | 12.26 | 1093.5 | 0.54898
1022.5 | 11.61 | 1094 | 0.55346
1023 | 10.95 | 1094.5 | 0.55925
1023.5 | 10.41 | 1095 | 0.56527
1024 | 9.869 | 1095.5 | 0.57268
1024.5 | 9.451 | 1096 | 0.58004
1025 | 9.033 | 1096.5 | 0.5899
1025.5 | 8.711 | 1097 | 0.59998
1026 | 8.388 | 1097.5 | 0.61101
1026.5 | 8.136 | 1098 | 0.62233
1027 | 7.883 | 1098.5 | 0.63432
1027.5 | 7.702 | 1099 | 0.64666
1028 | 7.52 | 1099.5 | 0.66095
1028.5 | 7.398 | 1100 | 0.67551
1029 | 7.277 | 1100.5 | 0.68994
1029.5 | 7.204 | 1101 | 0.70487
1030 | 7.132 | 1101.5 | 0.72102
1030.5 | 7.121 | 1102 | 0.73802
1031 | 7.109 | 1102.5 | 0.75375
1031.5 | 7.135 | 1103 | 0.77032
1032 | 7.161 | 1103.5 | 0.78675
1032.5 | 7.252 | 1104 | 0.8041
1033 | 7.342 | 1104.5 | 0.82074
1033.5 | 7.501 | 1105 | 0.83833
1034 | 7.659 | 1105.5 | 0.8548
1034.5 | 7.873 | 1106 | 0.8716
1035 | 8.085 | 1106.5 | 0.88739
1035.5 | 8.39 | 1107 | 0.90344
1036 | 8.694 | 1107.5 | 0.91793
1036.5 | 9.096 | 1108 | 0.9333
1037 | 9.497 | 1108.5 | 0.94769
1037.5 | 10.05 | 1109 | 0.96257
1038 | 10.6 | 1109.5 | 0.97675
1038.5 | 11.3 | 1110 | 0.99097
1039 | 11.99 | 1110.5 | 1.002
1039.5 | 12.93 | 1111 | 1.0132
1040 | 13.87 | 1111.5 | 1.0229
1040.5 | 15.16 | 1112 | 1.0327
1041 | 16.46 | 1112.5 | 1.0425
1041.5 | 18.16 | 1113 | 1.0524
1042 | 19.86 | 1113.5 | 1.0601
1042.5 | 22.29 | 1114 | 1.0679
1043 | 24.71 | 1114.5 | 1.0735
1043.5 | 28.04 | 1115 | 1.0791
1044 | 31.37 | 1115.5 | 1.0824
1044.5 | 35.81 | 1116 | 1.0858
1045 | 40.23 | 1116.5 | 1.0874
1045.5 | 46.14 | 1117 | 1.089
1046 | 52.06 | 1117.5 | 1.0891
1046.5 | 58.36 | 1118 | 1.0892
1047 | 64.66 | 1118.5 | 1.0878
1047.5 | 69.42 | 1119 | 1.0864
1048 | 74.19 | 1119.5 | 1.0822
1048.5 | 74.66 | 1120 | 1.078
1049 | 75.13 | 1120.5 | 1.0707
1049.5 | 70.91 | 1121 | 1.0634
1050 | 66.7 | 1121.5 | 1.0544
1050.5 | 60.72 | 1122 | 1.0456
1051 | 54.72 | 1122.5 | 1.0351
1051.5 | 48.98 | 1123 | 1.0248
1052 | 43.22 | 1123.5 | 1.011
1052.5 | 38.63 | 1124 | 0.99783
1053 | 34.04 | 1124.5 | 0.98088
1053.5 | 30.66 | 1125 | 0.96497
1054 | 27.27 | 1125.5 | 0.94424
1054.5 | 24.76 | 1126 | 0.92409
1055 | 22.25 | 1126.5 | 0.90274
1055.5 | 20.45 | 1127 | 0.8824
1056 | 18.65 | 1127.5 | 0.85605
1056.5 | 17.33 | 1128 | 0.8315
1057 | 16.01 | 1128.5 | 0.80217
1057.5 | 14.99 | 1129 | 0.77469
1058 | 13.98 | 1129.5 | 0.74112
1058.5 | 13.23 | 1130 | 0.70997
1059 | 12.49 | 1130.5 | 0.67387
1059.5 | 11.91 | 1131 | 0.64054
1060 | 11.33 | 1131.5 | 0.59946
1060.5 | 10.9 | 1132 | 0.56209
1061 | 10.47 | 1132.5 | 0.52086
1061.5 | 10.16 | 1133 | 0.4832
1062 | 9.844 | 1133.5 | 0.43938
1062.5 | 9.613 | 1134 | 0.39968
1063 | 9.381 | 1134.5 | 0.35596
1063.5 | 9.211 | 1135 | 0.31623
1064 | 9.041 | 1135.5 | 0.282
1064.5 | 8.954 | 1136 | 0.25026
1065 | 8.868 | 1136.5 | 0.22878
1065.5 | 8.821 | 1137 | 0.20831
1066 | 8.775 | 1137.5 | 0.20482
1066.5 | 8.778 | 1138 | 0.20135
1067 | 8.78 | 1138.5 | 0.21496
1067.5 | 8.839 | 1139 | 0.229
1068 | 8.898 | 1139.5 | 0.25657
1068.5 | 9.006 | 1140 | 0.28601
1069 | 9.115 | 1140.5 | 0.32312
1069.5 | 9.25 | 1141 | 0.36371
1070 | 9.385 | 1141.5 | 0.40307
1070.5 | 9.601 | 1142 | 0.44636
1071 | 9.817 | 1142.5 | 0.48732
1071.5 | 10.06 | 1143 | 0.53254
1072 | 10.31 | 1143.5 | 0.57073
1072.5 | 10.6 | 1144 | 0.61261
1073 | 10.88 | 1144.5 | 0.6484
1073.5 | 11.25 | 1145 | 0.68761
1074 | 11.63 | 1145.5 | 0.72079
1074.5 | 12.04 | 1146 | 0.75696
1075 | 12.45 | 1146.5 | 0.78675
1075.5 | 12.91 | 1147 | 0.81901
1076 | 13.37 | 1147.5 | 0.84558
1076.5 | 13.9 | 1148 | 0.87387
1077 | 14.42 | 1148.5 | 0.89654
1077.5 | 15.02 | 1149 | 0.92046
1078 | 15.62 | 1149.5 | 0.94082
1078.5 | 16.26 | 1150 | 0.96257
1079 | 16.89 | 1150.5 | 0.98047
1079.5 | 17.59 | 1151 | 0.99913
1080 | 18.28 | 1151.5 | 1.0147
1080.5 | 18.99 | 1152 | 1.0305
1081 | 19.7 | 1152.5 | 1.0433
1081.5 | 20.46 | 1153 | 1.0565
1082 | 21.22 | 1153.5 | 1.0662
1082.5 | 21.9 | 1154 | 1.076
1083 | 22.58 | 1154.5 | 1.0834
1083.5 | 23.31 | 1155 | 1.091
1084 | 24.03 | 1155.5 | 1.0956
1084.5 | 24.68 | 1156 | 1.1002
1085 | 25.33 | 1156.5 | 1.1026
1085.5 | 25.86 | 1157 | 1.105
1086 | 26.4 | 1157.5 | 1.1051
1086.5 | 26.87 | 1158 | 1.1054
1087 | 27.33 | 1158.5 | 1.1037
1087.5 | 27.75 | 1159 | 1.102
1088 | 28.17 | 1159.5 | 1.0979
1088.5 | 28.41 | 1160 | 1.0939
1089 | 28.65 | 1160.5 | 1.0873
1089.5 | 28.76 | 1161 | 1.0808
1090 | 28.87 | 1161.5 | 1.0714
1090.5 | 28.97 | 1162 | 1.0621
1091 | 29.07 | 1162.5 | 1.05
1091.5 | 29 | 1163 | 1.0382
1092 | 28.92 | 1163.5 | 1.024
1092.5 | 28.73 | 1164 | 1.0102
1093 | 28.54 | 1164.5 | 0.99311
1093.5 | 28.25 | 1165 | 0.97675
1094 | 27.96 | 1165.5 | 0.95742
1094.5 | 27.59 | 1166 | 0.93892
1095 | 27.21 | 1166.5 | 0.91721
1095.5 | 26.75 | 1167 | 0.89654
1096 | 26.3 | 1167.5 | 0.87095
1096.5 | 25.71 | 1168 | 0.8468
1097 | 25.12 | 1168.5 | 0.81901
1097.5 | 24.49 | 1169 | 0.7929
1098 | 23.86 | 1169.5 | 0.76095
1098.5 | 23.21 | 1170 | 0.73142
1099 | 22.56 | 1170.5 | 0.69637
1099.5 | 21.83 | 1171 | 0.66394
1100 | 21.11 | 1171.5 | 0.62525
1100.5 | 20.42 | 1172 | 0.58973
1101 | 19.73 | 1172.5 | 0.54821
1101.5 | 19.01 | 1173 | 0.51032
1102 | 18.28 | 1173.5 | 0.46712
1102.5 | 17.63 | 1174 | 0.42771
1103 | 16.97 | 1174.5 | 0.38227
1103.5 | 16.34 | 1175 | 0.34123
1104 | 15.7 | 1175.5 | 0.29611
1104.5 | 15.11 | 1176 | 0.25539
1105 | 14.51 | 1176.5 | 0.21545
1105.5 | 13.97 | 1177 | 0.17895
1106 | 13.44 | 1177.5 | 0.1474
1106.5 | 12.96 | 1178 | 0.11805
1107 | 12.49 | 1178.5 | 0.09952
1107.5 | 12.08 | 1179 | 0.08176
1108 | 11.66 | 1179.5 | 0.08056
1108.5 | 11.28 | 1180 | 0.07941
1109 | 10.9 | 1180.5 | 0.09286
1109.5 | 10.55 | 1181 | 0.10679
1110 | 10.21 | 1181.5 | 0.13153
1110.5 | 9.954 | 1182 | 0.15777
1111 | 9.7 | 1182.5 | 0.18796
1111.5 | 9.487 | 1183 | 0.2204
1112 | 9.274 | 1183.5 | 0.25298
1112.5 | 9.068 | 1184 | 0.28828
1113 | 8.863 | 1184.5 | 0.32148
1113.5 | 8.708 | 1185 | 0.35734
1114 | 8.553 | 1185.5 | 0.3886
1114.5 | 8.444 | 1186 | 0.42239
1115 | 8.335 | 1186.5 | 0.45173
1115.5 | 8.271 | 1187 | 0.4832
1116 | 8.207 | 1187.5 | 0.50934
1116.5 | 8.178 | 1188 | 0.537
1117 | 8.148 | 1188.5 | 0.56051
1117.5 | 8.146 | 1189 | 0.58536
1118 | 8.143 | 1189.5 | 0.60572
1118.5 | 8.169 | 1190 | 0.62709
1119 | 8.195 | 1190.5 | 0.64474
1119.5 | 8.275 | 1191 | 0.66334
1120 | 8.356 | 1191.5 | 0.67778
1120.5 | 8.498 | 1192 | 0.6925
1121 | 8.641 | 1192.5 | 0.70509
1121.5 | 8.822 | 1193 | 0.71829
1122 | 9.003 | 1193.5 | 0.72816
1122.5 | 9.224 | 1194 | 0.73826
1123 | 9.444 | 1194.5 | 0.74521
1123.5 | 9.749 | 1195 | 0.75252
1124 | 10.05 | 1195.5 | 0.75696
1124.5 | 10.45 | 1196 | 0.7617
1125 | 10.84 | 1196.5 | 0.76397
1125.5 | 11.37 | 1197 | 0.7665
1126 | 11.91 | 1197.5 | 0.76726
1126.5 | 12.51 | 1198 | 0.76802
1127 | 13.11 | 1198.5 | 0.76624
1127.5 | 13.93 | 1199 | 0.76472
1128 | 14.74 | 1199.5 | 0.7612
1128.5 | 15.77 | 1200 | 0.75796
1129 | 16.8
1129.5 | 18.15
1130 | 19.5
1130.5 | 21.19
1131 | 22.88
1131.5 | 25.15
1132 | 27.41
1132.5 | 30.14
1133 | 32.87
1133.5 | 36.36
1134 | 39.84
1134.5 | 44.06
1135 | 48.28
1135.5 | 52.24
1136 | 56.2
1136.5 | 59.05
1137 | 61.9
1137.5 | 62.4
1138 | 62.9
1138.5 | 60.96
1139 | 59.02
1139.5 | 55.39
1140 | 51.76
1140.5 | 47.52
1141 | 43.28
1141.5 | 39.53
1142 | 35.78
1142.5 | 32.56
1143 | 29.34
1143.5 | 26.87
1144 | 24.4
1144.5 | 22.47
1145 | 20.53
1145.5 | 19.02
1146 | 17.5
1146.5 | 16.34
1147 | 15.17
1147.5 | 14.27
1148 | 13.37
1148.5 | 12.69
1149 | 12.01
1149.5 | 11.46
1150 | 10.9
1150.5 | 10.46
1151 | 10.02
1151.5 | 9.668
1152 | 9.321
1152.5 | 9.051
1153 | 8.781
1153.5 | 8.587
1154 | 8.394
1154.5 | 8.252
1155 | 8.11
1155.5 | 8.025
1156 | 7.94
1156.5 | 7.896
1157 | 7.853
1157.5 | 7.85
1158 | 7.846
1158.5 | 7.876
1159 | 7.907
1159.5 | 7.982
1160 | 8.056
1160.5 | 8.18
1161 | 8.303
1161.5 | 8.485
1162 | 8.668
1162.5 | 8.913
1163 | 9.158
1163.5 | 9.463
1164 | 9.768
1164.5 | 10.16
1165 | 10.55
1165.5 | 11.03
1166 | 11.51
1166.5 | 12.1
1167 | 12.69
1167.5 | 13.46
1168 | 14.23
1168.5 | 15.17
1169 | 16.11
1169.5 | 17.34
1170 | 18.56
1170.5 | 20.12
1171 | 21.68
1171.5 | 23.7
1172 | 25.72
1172.5 | 28.3
1173 | 30.88
1173.5 | 34.11
1174 | 37.35
1174.5 | 41.47
1175 | 45.58
1175.5 | 50.57
1176 | 55.54
1176.5 | 60.89
1177 | 66.23
1177.5 | 71.22
1178 | 76.2
1178.5 | 79.52
1179 | 82.84
1179.5 | 83.07
1180 | 83.29
1180.5 | 80.75
1181 | 78.2
1181.5 | 73.87
1182 | 69.54
1182.5 | 64.87
1183 | 60.2
1183.5 | 55.85
1184 | 51.49
1184.5 | 47.7
1185 | 43.92
1185.5 | 40.87
1186 | 37.81
1186.5 | 35.34
1187 | 32.87
1187.5 | 30.95
1188 | 29.04
1188.5 | 27.51
1189 | 25.98
1189.5 | 24.79
1190 | 23.6
1190.5 | 22.66
1191 | 21.71
1191.5 | 21
1192 | 20.3
1192.5 | 19.72
1193 | 19.13
1193.5 | 18.7
1194 | 18.27
1194.5 | 17.98
1195 | 17.68
1195.5 | 17.5
1196 | 17.31
1196.5 | 17.22
1197 | 17.12
1197.5 | 17.09
1198 | 17.06
1198.5 | 17.13
1199 | 17.19
1199.5 | 17.33
1200 | 17.46