## ET546_10x
WaveLength | Transmission | WaveLength | OD
nm | % | nm | /
300 | 1.947e-05 | 300 | 6.7106
300.5 | -4.44e-06 | 302 | 7.852
301 | -3.233e-06 | 302.5 | 6.4464
301.5 | -2.589e-06 | 304.5 | 6.5222 | ET546/10x Transmission and OD Plot of ET546/10x This file indicates a typical data and there may be differences between product batches. If you have any questions, please contact LBTEK Technical Support. To quote this data, please indicate that the data source is from LBTEK.
302 | 1.406e-06 | 305.5 | 6.7657
302.5 | 3.578e-05 | 307.5 | 6.7953
303 | -4.565e-06 | 308.5 | 6.7286
303.5 | -1.56e-05 | 309 | 7.1977
304 | -5.129e-06 | 309.5 | 6.8236
304.5 | 3.005e-05 | 310 | 6.6194
305 | -2.305e-06 | 311 | 6.6992
305.5 | 1.715e-05 | 311.5 | 6.9007
306 | -9.405e-06 | 312 | 6.1812
306.5 | -2.137e-05 | 312.5 | 6.9041 | LBTEK Mall：www.lbtek.com Tel：400-060-6986 LBTEK Technical Support E-mail：service@lbtek.com
307 | -9.26e-06 | 313 | 6.605
307.5 | 1.602e-05 | 313.5 | 6.2309
308 | -7.21e-06 | 314.5 | 6.5619
308.5 | 1.868e-05 | 315.5 | 6.6957
309 | 6.343e-06 | 316 | 6.6269
309.5 | 1.501e-05 | 316.5 | 6.6688
310 | 2.402e-05 | 317.5 | 6.6784
310.5 | -1.332e-05 | 319.5 | 6.4909
311 | 1.999e-05 | 320 | 7.018
311.5 | 1.257e-05 | 320.5 | 7.1901
312 | 6.589e-05 | 321.5 | 6.4893
312.5 | 1.247e-05 | 322.5 | 7.4364
313 | 2.483e-05 | 323 | 7.0732
313.5 | 5.876e-05 | 324 | 7.6601
314 | -1.7e-05 | 324.5 | 7.047
314.5 | 2.742e-05 | 325 | 6.4815
315 | -1.668e-05 | 325.5 | 6.7645
315.5 | 2.015e-05 | 326.5 | 6.7789
316 | 2.361e-05 | 327 | 6.9722
316.5 | 2.144e-05 | 328 | 7.0187
317 | -4.417e-06 | 330.5 | 6.7385
317.5 | 2.097e-05 | 331.5 | 6.8652
318 | -6.917e-06 | 332 | 6.8536
318.5 | -2.89e-06 | 332.5 | 6.4048
319 | -1.513e-05 | 333.5 | 6.7657
319.5 | 3.229e-05 | 334 | 6.8248
320 | 9.593e-06 | 336.5 | 7.1628
320.5 | 6.455e-06 | 337.5 | 6.7508
321 | -1.302e-05 | 339.5 | 6.3923
321.5 | 3.241e-05 | 340 | 8.8486
322 | -9.928e-06 | 340.5 | 7.4934
322.5 | 3.661e-06 | 341 | 6.9566
323 | 8.449e-06 | 341.5 | 7.1527
323.5 | -6.667e-06 | 343 | 6.8807
324 | 2.187e-06 | 344 | 6.7366
324.5 | 8.974e-06 | 344.5 | 6.6256
325 | 3.3e-05 | 345 | 6.7147
325.5 | 1.72e-05 | 345.5 | 7.5233
326 | -4.122e-06 | 346 | 8.1968
326.5 | 1.664e-05 | 346.5 | 7.5837
327 | 1.066e-05 | 347 | 6.4511
327.5 | -2.179e-05 | 347.5 | 8.8505
328 | 9.578e-06 | 348 | 6.9551
328.5 | -1.762e-05 | 350 | 6.5583
329 | -2.119e-05 | 350.5 | 6.841
329.5 | -2.894e-05 | 351 | 6.8801
330 | -2.618e-05 | 351.5 | 6.5262
330.5 | 1.826e-05 | 352 | 6.813
331 | -9.765e-06 | 352.5 | 6.9252
331.5 | 1.364e-05 | 353.5 | 6.5815
332 | 1.401e-05 | 354 | 6.472
332.5 | 3.937e-05 | 354.5 | 6.242
333 | -4.727e-06 | 355 | 6.2985
333.5 | 1.715e-05 | 355.5 | 6.311
334 | 1.497e-05 | 356 | 6.4656
334.5 | -5.724e-06 | 356.5 | 6.4963
335 | -1.018e-05 | 357 | 6.4983
335.5 | -5.506e-06 | 357.5 | 7.9337
336 | -9.398e-06 | 358 | 7.0741
336.5 | 6.873e-06 | 358.5 | 7.1933
337 | -2.199e-05 | 359 | 6.7312
337.5 | 1.775e-05 | 359.5 | 7.3274
338 | -1.628e-05 | 360 | 6.7604
338.5 | -2.816e-05 | 360.5 | 6.4198
339 | -1.656e-05 | 361 | 6.8674
339.5 | 4.052e-05 | 362 | 6.856
340 | 1.417e-07 | 362.5 | 7.144
340.5 | 3.211e-06 | 363 | 7.1963
341 | 1.105e-05 | 363.5 | 7.0538
341.5 | 7.035e-06 | 364 | 7.188
342 | -1.327e-05 | 364.5 | 6.5561
342.5 | -7.306e-06 | 365 | 7.649
343 | 1.316e-05 | 365.5 | 6.7071
343.5 | -4.96e-06 | 366 | 6.668
344 | 1.834e-05 | 366.5 | 6.9326
344.5 | 2.368e-05 | 367 | 6.7959
345 | 1.929e-05 | 368 | 6.5984
345.5 | 2.997e-06 | 368.5 | 6.9846
346 | 6.356e-07 | 369 | 6.5964
346.5 | 2.608e-06 | 369.5 | 6.6064
347 | 3.539e-05 | 370 | 6.5918
347.5 | 1.411e-07 | 370.5 | 6.6923
348 | 1.109e-05 | 371 | 7.0431
348.5 | -3.62e-06 | 371.5 | 6.8182
349 | -2.258e-05 | 372 | 6.5865
349.5 | -4.185e-06 | 372.5 | 6.6788
350 | 2.765e-05 | 373 | 7.074
350.5 | 1.442e-05 | 373.5 | 6.7762
351 | 1.318e-05 | 374 | 7.487
351.5 | 2.977e-05 | 375 | 6.8462
352 | 1.538e-05 | 375.5 | 7.2625
352.5 | 1.188e-05 | 376 | 6.8745
353 | -2.461e-06 | 376.5 | 6.8668
353.5 | 2.621e-05 | 377 | 7.1767
354 | 3.373e-05 | 377.5 | 7.3616
354.5 | 5.728e-05 | 378 | 6.6604
355 | 5.029e-05 | 380.5 | 7.1633
355.5 | 4.886e-05 | 381 | 6.9646
356 | 3.423e-05 | 381.5 | 6.9551
356.5 | 3.189e-05 | 382 | 6.6289
357 | 3.175e-05 | 382.5 | 7.2117
357.5 | 1.165e-06 | 383 | 8.2875
358 | 8.432e-06 | 383.5 | 7.4097
358.5 | 6.407e-06 | 384.5 | 6.9158
359 | 1.857e-05 | 385 | 6.9923
359.5 | 4.706e-06 | 385.5 | 7.3688
360 | 1.736e-05 | 386 | 7.0922
360.5 | 3.804e-05 | 386.5 | 7.0145
361 | 1.357e-05 | 387 | 7.4324
361.5 | -2.405e-06 | 387.5 | 7.0437
362 | 1.393e-05 | 388 | 6.8908
362.5 | 7.178e-06 | 388.5 | 6.7981
363 | 6.363e-06 | 389 | 7.1404
363.5 | 8.835e-06 | 389.5 | 6.7683
364 | 6.486e-06 | 390 | 6.9201
364.5 | 2.779e-05 | 392.5 | 7.9462
365 | 2.244e-06 | 393 | 7.4407
365.5 | 1.963e-05 | 394 | 6.7491
366 | 2.148e-05 | 394.5 | 6.6542
366.5 | 1.168e-05 | 395.5 | 8.2084
367 | 1.6e-05 | 396 | 7.1479
367.5 | -1.654e-06 | 397 | 7.021
368 | 2.521e-05 | 397.5 | 6.7088
368.5 | 1.036e-05 | 398.5 | 6.9122
369 | 2.533e-05 | 399 | 7.0759
369.5 | 2.475e-05 | 399.5 | 7.0469
370 | 2.56e-05 | 400.5 | 7.3116
370.5 | 2.031e-05 | 402 | 6.8477
371 | 9.056e-06 | 402.5 | 7.755
371.5 | 1.52e-05 | 403 | 7.568
372 | 2.591e-05 | 403.5 | 6.8871
372.5 | 2.095e-05 | 404.5 | 8.2655
373 | 8.433e-06 | 405 | 6.841
373.5 | 1.674e-05 | 405.5 | 6.7961
374 | 3.258e-06 | 406 | 7.553
374.5 | -8.946e-06 | 406.5 | 6.8105
375 | 1.425e-05 | 407 | 6.7247
375.5 | 5.464e-06 | 407.5 | 7.1123
376 | 1.335e-05 | 408 | 6.6629
376.5 | 1.359e-05 | 408.5 | 6.9594
377 | 6.658e-06 | 409 | 7.1461
377.5 | 4.349e-06 | 409.5 | 6.9007
378 | 2.186e-05 | 410 | 6.769
378.5 | -1.448e-05 | 410.5 | 6.9024
379 | -6.6e-06 | 411.5 | 7.1579
379.5 | -7.441e-06 | 412 | 7.108
380 | -1.575e-05 | 412.5 | 8.2524
380.5 | 6.866e-06 | 413 | 6.919
381 | 1.085e-05 | 413.5 | 6.9923
381.5 | 1.109e-05 | 414 | 7.0844
382 | 2.35e-05 | 414.5 | 7.3201
382.5 | 6.142e-06 | 415 | 7.2825
383 | 5.158e-07 | 415.5 | 6.8706
383.5 | 3.893e-06 | 416 | 6.6927
384 | -7.456e-06 | 416.5 | 6.9252
384.5 | 1.214e-05 | 417 | 7.1995
385 | 1.018e-05 | 417.5 | 6.6674
385.5 | 4.278e-06 | 418.5 | 6.9586
386 | 8.088e-06 | 419 | 9.0003
386.5 | 9.672e-06 | 419.5 | 7.0646
387 | 3.695e-06 | 420 | 6.7804
387.5 | 9.043e-06 | 420.5 | 7.1337
388 | 1.286e-05 | 421 | 7.1466
388.5 | 1.592e-05 | 421.5 | 6.7604
389 | 7.237e-06 | 422 | 6.9578
389.5 | 1.705e-05 | 422.5 | 7.0053
390 | 1.202e-05 | 423 | 8.146
390.5 | -3.396e-06 | 423.5 | 7.6796
391 | -1.597e-06 | 424 | 7.441
391.5 | -5.925e-06 | 424.5 | 6.9241
392 | -1.799e-06 | 425 | 8.3217
392.5 | 1.132e-06 | 425.5 | 7.1271
393 | 3.625e-06 | 426 | 7.2111
393.5 | -1.541e-06 | 427 | 6.8665
394 | 1.782e-05 | 427.5 | 7.862
394.5 | 2.217e-05 | 428 | 7.0207
395 | -1.261e-06 | 428.5 | 7.1133
395.5 | 6.189e-07 | 429 | 7.3631
396 | 7.114e-06 | 429.5 | 8.0253
396.5 | -6.01e-06 | 430 | 6.8614
397 | 9.528e-06 | 430.5 | 6.9751
397.5 | 1.955e-05 | 431 | 7.0345
398 | -1.203e-06 | 431.5 | 6.8495
398.5 | 1.224e-05 | 432 | 6.791
399 | 8.396e-06 | 432.5 | 6.8147
399.5 | 8.976e-06 | 433 | 7.2188
400 | -6.47e-06 | 433.5 | 6.9931
400.5 | 4.88e-06 | 434.5 | 7.937
401 | -4.076e-06 | 435 | 7.2786
401.5 | -7.101e-06 | 435.5 | 7.0279
402 | 1.42e-05 | 436 | 6.967
402.5 | 1.758e-06 | 436.5 | 6.7897
403 | 2.704e-06 | 437 | 7.1813
403.5 | 1.297e-05 | 437.5 | 6.8333
404 | -9.024e-07 | 438 | 7.0173
404.5 | 5.426e-07 | 438.5 | 6.8542
405 | 1.442e-05 | 439 | 6.8726
405.5 | 1.599e-05 | 439.5 | 7.1092
406 | 2.799e-06 | 440 | 7.0012
406.5 | 1.547e-05 | 440.5 | 6.5809
407 | 1.885e-05 | 441 | 6.8377
407.5 | 7.721e-06 | 441.5 | 6.712
408 | 2.173e-05 | 442 | 6.8775
408.5 | 1.098e-05 | 442.5 | 7.4907
409 | 7.144e-06 | 443 | 6.909
409.5 | 1.257e-05 | 443.5 | 7.5242
410 | 1.702e-05 | 444 | 6.7986
410.5 | 1.252e-05 | 444.5 | 6.8649
411 | -1.409e-06 | 445 | 8.4059
411.5 | 6.951e-06 | 445.5 | 6.514
412 | 7.799e-06 | 446 | 6.9492
412.5 | 5.592e-07 | 446.5 | 6.7149
413 | 1.205e-05 | 447 | 7.4623
413.5 | 1.018e-05 | 447.5 | 6.971
414 | 8.233e-06 | 448 | 6.6568
414.5 | 4.785e-06 | 448.5 | 6.7892
415 | 5.218e-06 | 449 | 7.6057
415.5 | 1.347e-05 | 449.5 | 6.9322
416 | 2.029e-05 | 450.5 | 7.0918
416.5 | 1.188e-05 | 451 | 6.8348
417 | 6.317e-06 | 451.5 | 6.8359
417.5 | 2.151e-05 | 452 | 6.8982
418 | -1.731e-06 | 452.5 | 6.6838
418.5 | 1.1e-05 | 453 | 7.068
419 | 9.994e-08 | 453.5 | 6.6876
419.5 | 8.618e-06 | 454 | 6.7265
420 | 1.658e-05 | 454.5 | 6.8005
420.5 | 7.35e-06 | 455 | 6.8058
421 | 7.135e-06 | 455.5 | 6.9423
421.5 | 1.736e-05 | 456 | 6.6584
422 | 1.102e-05 | 456.5 | 6.8904
422.5 | 9.879e-06 | 457 | 6.9158
423 | 7.145e-07 | 457.5 | 7.0161
423.5 | 2.091e-06 | 458 | 7.0456
424 | 3.622e-06 | 458.5 | 6.9183
424.5 | 1.191e-05 | 459 | 7.1356
425 | 4.768e-07 | 459.5 | 6.7642
425.5 | 7.462e-06 | 460 | 6.691
426 | 6.15e-06 | 460.5 | 6.8133
426.5 | -2.915e-07 | 461 | 6.9678
427 | 1.36e-05 | 462 | 7.2632
427.5 | 1.374e-06 | 462.5 | 7.0414
428 | 9.535e-06 | 463.5 | 6.7275
428.5 | 7.703e-06 | 464 | 6.7457
429 | 4.334e-06 | 464.5 | 7.3183
429.5 | 9.433e-07 | 465 | 7.0438
430 | 1.376e-05 | 465.5 | 8.2472
430.5 | 1.059e-05 | 466 | 7.2894
431 | 9.237e-06 | 466.5 | 7.3639
431.5 | 1.414e-05 | 467 | 6.7009
432 | 1.618e-05 | 467.5 | 6.4427
432.5 | 1.532e-05 | 468 | 7.4394
433 | 6.043e-06 | 468.5 | 7.1748
433.5 | 1.016e-05 | 469 | 8.6722
434 | -9.127e-07 | 470 | 6.9404
434.5 | 1.156e-06 | 470.5 | 7.1774
435 | 5.265e-06 | 471 | 7.1903
435.5 | 9.377e-06 | 471.5 | 8.6115
436 | 1.079e-05 | 472.5 | 7.8133
436.5 | 1.623e-05 | 473.5 | 7.4013
437 | 6.588e-06 | 474 | 7.0793
437.5 | 1.468e-05 | 475 | 7.3554
438 | 9.61e-06 | 475.5 | 6.8655
438.5 | 1.399e-05 | 476 | 8.0841
439 | 1.341e-05 | 476.5 | 7.1823
439.5 | 7.776e-06 | 477 | 6.9772
440 | 9.973e-06 | 478 | 7.4184
440.5 | 2.625e-05 | 478.5 | 7.4087
441 | 1.453e-05 | 479.5 | 7.0366
441.5 | 1.941e-05 | 480 | 7.1741
442 | 1.326e-05 | 480.5 | 7.6484
442.5 | 3.231e-06 | 481 | 6.7862
443 | 1.233e-05 | 482 | 7.1189
443.5 | 2.991e-06 | 482.5 | 8.9496
444 | 1.59e-05 | 483 | 7.7247
444.5 | 1.365e-05 | 483.5 | 7.6474
445 | 3.927e-07 | 484 | 7.116
445.5 | 3.062e-05 | 484.5 | 7.8465
446 | 1.124e-05 | 485 | 7.245
446.5 | 1.928e-05 | 485.5 | 7.8066
447 | 3.449e-06 | 486 | 7.9126
447.5 | 1.069e-05 | 486.5 | 7.739
448 | 2.204e-05 | 487 | 7.8742
448.5 | 1.625e-05 | 487.5 | 7.633
449 | 2.479e-06 | 489 | 6.8041
449.5 | 1.169e-05 | 489.5 | 7.1169
450 | -3.384e-08 | 490 | 6.945
450.5 | 8.094e-06 | 490.5 | 6.87
451 | 1.463e-05 | 491 | 7.4759
451.5 | 1.459e-05 | 491.5 | 7.2642
452 | 1.264e-05 | 492 | 7.5224
452.5 | 2.071e-05 | 492.5 | 7.3514
453 | 8.55e-06 | 493 | 7.176
453.5 | 2.053e-05 | 493.5 | 6.937
454 | 1.877e-05 | 494 | 7.4631
454.5 | 1.583e-05 | 494.5 | 7.8342
455 | 1.564e-05 | 495 | 7.7428
455.5 | 1.142e-05 | 496 | 7.2206
456 | 2.196e-05 | 496.5 | 7.6761
456.5 | 1.287e-05 | 497 | 7.9562
457 | 1.214e-05 | 497.5 | 7.1966
457.5 | 9.636e-06 | 498 | 7.1398
458 | 9.003e-06 | 498.5 | 6.8834
458.5 | 1.207e-05 | 499 | 7.0692
459 | 7.318e-06 | 499.5 | 7.1328
459.5 | 1.721e-05 | 500 | 7.0354
460 | 2.037e-05 | 500.5 | 7.2275
460.5 | 1.537e-05 | 501 | 6.9252
461 | 1.077e-05 | 501.5 | 6.9363
461.5 | -1.029e-06 | 502 | 6.9219
462 | 5.455e-06 | 502.5 | 6.9739
462.5 | 9.09e-06 | 503 | 7.4648
463 | -6.306e-07 | 503.5 | 7.3584
463.5 | 1.873e-05 | 504 | 7.9726
464 | 1.796e-05 | 505 | 7.2516
464.5 | 4.805e-06 | 505.5 | 7.3593
465 | 9.04e-06 | 506 | 7.075
465.5 | 5.66e-07 | 506.5 | 7.1006
466 | 5.136e-06 | 507 | 7.119
466.5 | 4.326e-06 | 507.5 | 7.8345
467 | 1.991e-05 | 508 | 7.3268
467.5 | 3.608e-05 | 508.5 | 7.4194
468 | 3.636e-06 | 509.5 | 7.318
468.5 | 6.687e-06 | 510 | 7.3216
469 | 2.127e-07 | 510.5 | 6.9918
469.5 | -5.384e-06 | 511 | 7.0661
470 | 1.147e-05 | 511.5 | 6.8784
470.5 | 6.646e-06 | 512 | 6.8088
471 | 6.452e-06 | 512.5 | 7.297
471.5 | 2.446e-07 | 513 | 7.1987
472 | -4.714e-06 | 513.5 | 6.9594
472.5 | 1.537e-06 | 514.5 | 7.0347
473 | -3.813e-06 | 515 | 7.3686
473.5 | 3.969e-06 | 515.5 | 6.8342
474 | 8.331e-06 | 516 | 7.19
474.5 | -8.232e-06 | 516.5 | 7.7791
475 | 4.412e-06 | 517 | 8.1827
475.5 | 1.363e-05 | 517.5 | 7.1542
476 | 8.239e-07 | 518 | 7.5817
476.5 | 6.572e-06 | 518.5 | 6.9566
477 | 1.054e-05 | 519 | 6.9208
477.5 | -7.937e-06 | 520 | 6.9341
478 | 3.816e-06 | 520.5 | 6.7978
478.5 | 3.902e-06 | 521 | 7.1688
479 | -6.608e-06 | 521.5 | 7.028
479.5 | 9.191e-06 | 522 | 7.2896
480 | 6.698e-06 | 522.5 | 7.4064
480.5 | 2.247e-06 | 523 | 6.8881
481 | 1.636e-05 | 523.5 | 7.4241
481.5 | -3.873e-07 | 524 | 6.8589
482 | 7.605e-06 | 524.5 | 6.9205
482.5 | 1.123e-07 | 525 | 7.631
483 | 1.885e-06 | 525.5 | 7.0344
483.5 | 2.252e-06 | 526.5 | 7.8677
484 | 7.656e-06 | 527 | 7.0789
484.5 | 1.424e-06 | 527.5 | 7.5538
485 | 5.689e-06 | 528 | 7.021
485.5 | 1.561e-06 | 528.5 | 7.852
486 | 1.223e-06 | 529 | 7.8794
486.5 | 1.824e-06 | 529.5 | 6.9842
487 | 1.336e-06 | 530 | 7.3054
487.5 | 2.328e-06 | 531 | 7.1955
488 | -4.262e-06 | 532 | 8.1183
488.5 | -1.381e-06 | 532.5 | 7.0511
489 | 1.57e-05 | 533 | 7.6304
489.5 | 7.641e-06 | 533.5 | 7.937
490 | 1.135e-05 | 534 | 7.2562
490.5 | 1.349e-05 | 534.5 | 7.6059
491 | 3.343e-06 | 535 | 6.7878
491.5 | 5.442e-06 | 535.5 | 6.4543
492 | 3.003e-06 | 536 | 6.2775
492.5 | 4.453e-06 | 536.5 | 6.019
493 | 6.668e-06 | 537 | 5.7489
493.5 | 1.156e-05 | 537.5 | 5.3574
494 | 3.443e-06 | 538 | 4.9355
494.5 | 1.465e-06 | 538.5 | 4.4993
495 | 1.808e-06 | 539 | 3.9983
495.5 | -5.847e-06 | 539.5 | 3.436
496 | 6.017e-06 | 540 | 2.8456
496.5 | 2.108e-06 | 540.5 | 2.1366
497 | 1.106e-06 | 541 | 1.3563
497.5 | 6.359e-06 | 541.5 | 0.68698
498 | 7.247e-06 | 542 | 0.27319
498.5 | 1.308e-05 | 542.5 | 0.08213
499 | 8.527e-06 | 543 | 0.02411
499.5 | 7.366e-06 | 543.5 | 0.01502
500 | 9.217e-06 | 544 | 0.01135
500.5 | 5.923e-06 | 544.5 | 0.00979
501 | 1.188e-05 | 545 | 0.01059
501.5 | 1.158e-05 | 545.5 | 0.01166
502 | 1.197e-05 | 546 | 0.01113
502.5 | 1.062e-05 | 546.5 | 0.01024
503 | 3.429e-06 | 547 | 0.00979
503.5 | 4.381e-06 | 547.5 | 0.00971
504 | 1.065e-06 | 548 | 0.00957
504.5 | -6.994e-06 | 548.5 | 0.01144
505 | 5.603e-06 | 549 | 0.00984
505.5 | 4.372e-06 | 549.5 | 0.01095
506 | 8.414e-06 | 550 | 0.00993
506.5 | 7.932e-06 | 550.5 | 0.01024
507 | 7.603e-06 | 551 | 0.01332
507.5 | 1.464e-06 | 551.5 | 0.01673
508 | 4.712e-06 | 552 | 0.02356
508.5 | 3.807e-06 | 552.5 | 0.06454
509 | -2.664e-06 | 553 | 0.21789
509.5 | 4.808e-06 | 553.5 | 0.55502
510 | 4.769e-06 | 554 | 1.4764
510.5 | 1.019e-05 | 554.5 | 1.87
511 | 8.588e-06 | 555 | 2.5439
511.5 | 1.323e-05 | 555.5 | 3.136
512 | 1.553e-05 | 556 | 3.6706
512.5 | 5.047e-06 | 556.5 | 4.1651
513 | 6.329e-06 | 557 | 4.6182
513.5 | 1.098e-05 | 557.5 | 4.9965
514 | -4.4e-07 | 558 | 5.3962
514.5 | 9.232e-06 | 558.5 | 5.6714
515 | 4.28e-06 | 559 | 5.9961
515.5 | 1.465e-05 | 559.5 | 6.277
516 | 6.456e-06 | 560 | 6.7789
516.5 | 1.663e-06 | 560.5 | 6.6343
517 | 6.566e-07 | 561 | 6.7254
517.5 | 7.011e-06 | 561.5 | 6.8383
518 | 2.62e-06 | 562 | 7.3167
518.5 | 1.105e-05 | 562.5 | 7.2018
519 | 1.2e-05 | 563 | 6.7203
519.5 | -4.339e-06 | 563.5 | 6.7496
520 | 1.164e-05 | 564 | 7.0825
520.5 | 1.593e-05 | 564.5 | 7.1192
521 | 6.78e-06 | 565 | 6.961
521.5 | 9.376e-06 | 565.5 | 8.5418
522 | 5.133e-06 | 566 | 6.9176
522.5 | 3.923e-06 | 566.5 | 7.2869
523 | 1.294e-05 | 567 | 7.1834
523.5 | 3.766e-06 | 567.5 | 7.4888
524 | 1.384e-05 | 568 | 7.2981
524.5 | 1.201e-05 | 569 | 6.5426
525 | 2.339e-06 | 569.5 | 7.0297
525.5 | 9.238e-06 | 570 | 7.2563
526 | -1.68e-06 | 570.5 | 8.9252
526.5 | 1.356e-06 | 571.5 | 6.8573
527 | 8.338e-06 | 572.5 | 7.2428
527.5 | 2.794e-06 | 573 | 7.1704
528 | 9.528e-06 | 574.5 | 7.768
528.5 | 1.406e-06 | 575 | 7.218
529 | 1.32e-06 | 575.5 | 6.841
529.5 | 1.037e-05 | 576 | 7.0899
530 | 4.95e-06 | 576.5 | 7.6472
530.5 | -8.4e-07 | 577 | 7.2738
531 | 6.376e-06 | 577.5 | 7.7242
531.5 | -1.279e-06 | 578.5 | 7.0852
532 | 7.616e-07 | 579 | 7.7005
532.5 | 8.89e-06 | 579.5 | 7.3108
533 | 2.342e-06 | 580 | 6.8665
533.5 | 1.156e-06 | 580.5 | 7.4532
534 | 5.544e-06 | 581 | 7.0483
534.5 | 2.478e-06 | 581.5 | 7.8058
535 | 1.63e-05 | 582 | 7.5013
535.5 | 3.513e-05 | 582.5 | 6.8077
536 | 5.278e-05 | 583.5 | 7.1406
536.5 | 9.572e-05 | 584 | 7.6934
537 | 0.0001783 | 584.5 | 7.4341
537.5 | 0.0004391 | 585 | 7.1961
538 | 0.00116 | 585.5 | 8.0507
538.5 | 0.003167 | 586 | 7.1662
539 | 0.01004 | 586.5 | 6.7368
539.5 | 0.03664 | 587.5 | 6.7486
540 | 0.1427 | 588 | 6.6529
540.5 | 0.7301 | 588.5 | 6.8608
541 | 4.402 | 589 | 6.745
541.5 | 20.56 | 589.5 | 7.1407
542 | 53.31 | 590 | 7.7959
542.5 | 82.77 | 590.5 | 7.124
543 | 94.6 | 591 | 7.1043
543.5 | 96.6 | 591.5 | 7.004
544 | 97.42 | 592 | 6.9136
544.5 | 97.77 | 592.5 | 7.0343
545 | 97.59 | 593 | 7.7881
545.5 | 97.35 | 593.5 | 7.162
546 | 97.47 | 594 | 7.0654
546.5 | 97.67 | 594.5 | 6.7584
547 | 97.77 | 595 | 7.0484
547.5 | 97.79 | 595.5 | 7.0718
548 | 97.82 | 596 | 7.3587
548.5 | 97.4 | 596.5 | 7.6807
549 | 97.76 | 597 | 6.6855
549.5 | 97.51 | 597.5 | 6.8348
550 | 97.74 | 598 | 6.8894
550.5 | 97.67 | 598.5 | 6.6938
551 | 96.98 | 599 | 7.1505
551.5 | 96.22 | 599.5 | 8.0278
552 | 94.72 | 600 | 7.0211
552.5 | 86.19 | 600.5 | 7.1907
553 | 60.55 | 601 | 7.1018
553.5 | 27.86 | 601.5 | 7.2074
554 | 3.339 | 602 | 7.1351
554.5 | 1.349 | 602.5 | 7.0626
555 | 0.2858 | 603 | 7.1052
555.5 | 0.07312 | 603.5 | 7.3989
556 | 0.02135 | 604 | 6.95
556.5 | 0.006838 | 604.5 | 7.2302
557 | 0.002409 | 605 | 7.2816
557.5 | 0.001008 | 605.5 | 7.1565
558 | 0.0004016 | 606 | 7.4643
558.5 | 0.0002131 | 606.5 | 7.0125
559 | 0.0001009 | 607 | 7.0644
559.5 | 5.285e-05 | 607.5 | 7.1204
560 | 1.664e-05 | 608 | 7.0074
560.5 | 2.321e-05 | 608.5 | 7.2143
561 | 1.882e-05 | 609 | 7.2168
561.5 | 1.451e-05 | 609.5 | 7.1309
562 | 4.823e-06 | 610 | 6.9469
562.5 | 6.284e-06 | 610.5 | 6.9582
563 | 1.904e-05 | 611.5 | 7.4405
563.5 | 1.78e-05 | 613.5 | 7.1185
564 | 8.27e-06 | 614 | 6.9048
564.5 | 7.6e-06 | 614.5 | 7.0076
565 | 1.094e-05 | 615 | 7.3728
565.5 | 2.872e-07 | 616 | 7.6463
566 | 1.209e-05 | 616.5 | 7.8145
566.5 | 5.166e-06 | 618.5 | 7.5396
567 | 6.555e-06 | 619 | 7.3988
567.5 | 3.245e-06 | 619.5 | 7.3427
568 | 5.034e-06 | 620.5 | 7.3985
568.5 | -2.054e-06 | 621 | 7.7951
569 | 2.867e-05 | 622.5 | 7.0084
569.5 | 9.34e-06 | 623 | 7.5629
570 | 5.542e-06 | 624 | 8.0354
570.5 | 1.188e-07 | 624.5 | 7.6979
571 | -1.215e-07 | 625 | 7.8122
571.5 | 1.389e-05 | 625.5 | 7.0713
572 | -4.337e-07 | 626 | 7.8794
572.5 | 5.717e-06 | 626.5 | 8.2981
573 | 6.754e-06 | 627 | 7.091
573.5 | -5.464e-06 | 632 | 6.8874
574 | -1.457e-05 | 632.5 | 7.4474
574.5 | 1.706e-06 | 636 | 7.5722
575 | 6.053e-06 | 636.5 | 7.3011
575.5 | 1.442e-05 | 637 | 7.4655
576 | 8.131e-06 | 637.5 | 7.2447
576.5 | 2.253e-06 | 638 | 7.5418
577 | 5.324e-06 | 638.5 | 7.7149
577.5 | 1.887e-06 | 639 | 7.1809
578 | -1.186e-05 | 639.5 | 7.3213
578.5 | 8.219e-06 | 640 | 7.0688
579 | 1.993e-06 | 640.5 | 7.185
579.5 | 4.889e-06 | 641.5 | 7.7176
580 | 1.36e-05 | 642 | 6.8292
580.5 | 3.522e-06 | 642.5 | 8.3036
581 | 8.947e-06 | 643 | 7.0774
581.5 | 1.564e-06 | 643.5 | 7.1308
582 | 3.153e-06 | 644.5 | 7.2408
582.5 | 1.557e-05 | 645.5 | 7.657
583 | -1.008e-06 | 646 | 7.4365
583.5 | 7.235e-06 | 646.5 | 7.2918
584 | 2.026e-06 | 647 | 7.3431
584.5 | 3.68e-06 | 647.5 | 7.4662
585 | 6.366e-06 | 648 | 7.1983
585.5 | 8.899e-07 | 648.5 | 7.3043
586 | 6.82e-06 | 649 | 7.0725
586.5 | 1.833e-05 | 649.5 | 6.9183
587 | -3.496e-06 | 651 | 7.3253
587.5 | 1.784e-05 | 652 | 7.2296
588 | 2.224e-05 | 652.5 | 6.9562
588.5 | 1.378e-05 | 653 | 7.7354
589 | 1.799e-05 | 653.5 | 7.2424
589.5 | 7.232e-06 | 654 | 6.8094
590 | 1.6e-06 | 654.5 | 7.3057
590.5 | 7.516e-06 | 655.5 | 7.4642
591 | 7.865e-06 | 656 | 6.9578
591.5 | 9.908e-06 | 656.5 | 6.9416
592 | 1.22e-05 | 657 | 7.0193
592.5 | 9.24e-06 | 657.5 | 7.3793
593 | 1.629e-06 | 658 | 7.0181
593.5 | 6.887e-06 | 658.5 | 7.4211
594 | 8.602e-06 | 660 | 7.4734
594.5 | 1.744e-05 | 660.5 | 7.3807
595 | 8.946e-06 | 661 | 7.0783
595.5 | 8.477e-06 | 661.5 | 7.8416
596 | 4.378e-06 | 662 | 7.0889
596.5 | 2.086e-06 | 663.5 | 7.0296
597 | 2.063e-05 | 664 | 7.387
597.5 | 1.463e-05 | 664.5 | 7.2803
598 | 1.29e-05 | 665 | 6.8523
598.5 | 2.024e-05 | 665.5 | 6.7298
599 | 7.071e-06 | 666 | 6.7022
599.5 | 9.38e-07 | 668 | 8.719
600 | 9.525e-06 | 668.5 | 7.4288
600.5 | 6.446e-06 | 669.5 | 7.0508
601 | 7.911e-06 | 670 | 7.0626
601.5 | 6.203e-06 | 670.5 | 7.3509
602 | 7.327e-06 | 671 | 6.9755
602.5 | 8.658e-06 | 671.5 | 6.997
603 | 7.848e-06 | 672 | 7.545
603.5 | 3.991e-06 | 672.5 | 7.1785
604 | 1.122e-05 | 673 | 6.959
604.5 | 5.885e-06 | 673.5 | 7.6863
605 | 5.229e-06 | 674 | 6.7075
605.5 | 6.974e-06 | 674.5 | 6.8732
606 | 3.433e-06 | 675 | 6.5857
606.5 | 9.716e-06 | 675.5 | 6.4384
607 | 8.621e-06 | 676 | 6.3385
607.5 | 7.578e-06 | 676.5 | 6.4074
608 | 9.832e-06 | 677 | 6.4781
608.5 | 6.105e-06 | 677.5 | 6.8781
609 | 6.07e-06 | 678 | 6.6968
609.5 | 7.398e-06 | 678.5 | 6.988
610 | 1.13e-05 | 679 | 6.9416
610.5 | 1.101e-05 | 679.5 | 6.6923
611 | -1.04e-06 | 680 | 6.753
611.5 | 3.627e-06 | 680.5 | 7.202
612 | -2.144e-06 | 681 | 7.2194
612.5 | -4.103e-06 | 681.5 | 7.5685
613 | -3.363e-06 | 682 | 8.2127
613.5 | 7.612e-06 | 682.5 | 6.6921
614 | 1.245e-05 | 683 | 6.6444
614.5 | 9.826e-06 | 683.5 | 6.4505
615 | 4.238e-06 | 684 | 6.3237
615.5 | -2.929e-06 | 684.5 | 6.1173
616 | 2.258e-06 | 685 | 6.2201
616.5 | 1.533e-06 | 685.5 | 6.4597
617 | -9.353e-06 | 686 | 6.5027
617.5 | -6.708e-07 | 686.5 | 6.7597
618 | -1.843e-06 | 687 | 7.0608
618.5 | 2.887e-06 | 687.5 | 6.9408
619 | 3.992e-06 | 688 | 6.7894
619.5 | 4.542e-06 | 688.5 | 6.9792
620 | -4.967e-06 | 689 | 6.8162
620.5 | 3.995e-06 | 689.5 | 7.3568
621 | 1.603e-06 | 690 | 6.7156
621.5 | -8.05e-09 | 690.5 | 6.7945
622 | -5.758e-06 | 691 | 7.6919
622.5 | 9.808e-06 | 691.5 | 6.8339
623 | 2.736e-06 | 692 | 6.9706
623.5 | -2.651e-06 | 692.5 | 6.7421
624 | 9.218e-07 | 693 | 6.688
624.5 | 2.005e-06 | 694.5 | 7.27
625 | 1.541e-06 | 695.5 | 7.2938
625.5 | 8.487e-06 | 696 | 6.8687
626 | 1.32e-06 | 696.5 | 6.7873
626.5 | 5.034e-07 | 697 | 6.988
627 | 8.11e-06 | 697.5 | 7.0416
627.5 | -4.407e-06 | 699.5 | 7.1417
628 | -1.542e-06 | 700 | 6.2403
628.5 | -7.14e-06 | 700.5 | 6.1791
629 | -1.127e-06 | 701 | 6.1707
629.5 | -4.443e-06 | 701.5 | 6.3134
630 | -5.342e-06 | 702 | 6.714
630.5 | -2.333e-06 | 702.5 | 7.1024
631 | -2.212e-06 | 704.5 | 7.4942
631.5 | -8.433e-06 | 705 | 7.1573
632 | 1.296e-05 | 706.5 | 7.2872
632.5 | 3.569e-06 | 707.5 | 7.6468
633 | -1.351e-05 | 708 | 6.8935
633.5 | -1.115e-05 | 708.5 | 7.162
634 | -6.072e-06 | 709 | 7.1035
634.5 | -9.815e-06 | 710 | 6.8136
635 | -4.379e-07 | 710.5 | 6.9401
635.5 | -2.985e-07 | 711 | 7.2056
636 | 2.678e-06 | 711.5 | 8.9825
636.5 | 4.999e-06 | 712 | 7.9427
637 | 3.424e-06 | 712.5 | 7.335
637.5 | 5.693e-06 | 713 | 7.2502
638 | 2.872e-06 | 713.5 | 6.6949
638.5 | 1.928e-06 | 714.5 | 6.8465
639 | 6.594e-06 | 715 | 7.3416
639.5 | 4.772e-06 | 715.5 | 6.687
640 | 8.535e-06 | 716 | 6.561
640.5 | 6.531e-06 | 716.5 | 6.7486
641 | -2.34e-06 | 717 | 7.0591
641.5 | 1.916e-06 | 717.5 | 7.0199
642 | 1.482e-05 | 718 | 7.1779
642.5 | 4.97e-07 | 718.5 | 6.5965
643 | 8.368e-06 | 719 | 6.5382
643.5 | 7.399e-06 | 719.5 | 6.8063
644 | -1.554e-06 | 720 | 6.7005
644.5 | 5.744e-06 | 720.5 | 6.9863
645 | -8.649e-07 | 721 | 6.757
645.5 | 2.203e-06 | 721.5 | 7.2596
646 | 3.66e-06 | 722 | 6.8011
646.5 | 5.108e-06 | 722.5 | 6.7878
647 | 4.538e-06 | 723 | 6.9097
647.5 | 3.418e-06 | 723.5 | 6.8871
648 | 6.334e-06 | 724 | 6.8245
648.5 | 4.963e-06 | 724.5 | 7.004
649 | 8.462e-06 | 725 | 6.6668
649.5 | 1.207e-05 | 725.5 | 6.7719
650 | -3.671e-06 | 726 | 6.9646
650.5 | -7.37e-07 | 727 | 6.7989
651 | 4.728e-06 | 727.5 | 6.7836
651.5 | -1.865e-06 | 728.5 | 6.5759
652 | 5.894e-06 | 729 | 6.8182
652.5 | 1.106e-05 | 729.5 | 7.3197
653 | 1.839e-06 | 730 | 7.2401
653.5 | 5.723e-06 | 731 | 6.8289
654 | 1.551e-05 | 731.5 | 7.4127
654.5 | 4.947e-06 | 732 | 6.8492
655 | -2.144e-06 | 732.5 | 6.5291
655.5 | 3.434e-06 | 733.5 | 6.8277
656 | 1.102e-05 | 734 | 7.7293
656.5 | 1.144e-05 | 734.5 | 6.6643
657 | 9.565e-06 | 735 | 6.848
657.5 | 4.175e-06 | 735.5 | 6.1467
658 | 9.592e-06 | 736 | 6.2817
658.5 | 3.792e-06 | 736.5 | 6.1159
659 | -1.955e-07 | 737 | 6.3266
659.5 | -1.008e-06 | 737.5 | 6.1849
660 | 3.362e-06 | 738 | 6.329
660.5 | 4.162e-06 | 738.5 | 6.5603
661 | 8.35e-06 | 739 | 6.7773
661.5 | 1.44e-06 | 739.5 | 6.7309
662 | 8.149e-06 | 740.5 | 6.5572
662.5 | -3.376e-06 | 741 | 7.4391
663 | -1.01e-06 | 741.5 | 6.8116
663.5 | 9.341e-06 | 742 | 6.6985
664 | 4.102e-06 | 742.5 | 6.4525
664.5 | 5.244e-06 | 743 | 6.8921
665 | 1.405e-05 | 743.5 | 7.3066
665.5 | 1.863e-05 | 744 | 7.03
666 | 1.985e-05 | 744.5 | 8.5984
666.5 | -8.097e-06 | 745 | 6.2991
667 | -5.003e-06 | 745.5 | 6.5034
667.5 | -2.739e-07 | 746 | 7.2193
668 | 1.91e-07 | 746.5 | 6.5522
668.5 | 3.726e-06 | 747 | 6.5889
669 | -7.883e-08 | 747.5 | 6.1965
669.5 | 8.897e-06 | 748 | 6.283
670 | 8.658e-06 | 748.5 | 5.969
670.5 | 4.458e-06 | 749 | 5.7815
671 | 1.058e-05 | 749.5 | 5.3959
671.5 | 1.007e-05 | 750 | 5.3982
672 | 2.851e-06 | 750.5 | 5.4755
672.5 | 6.63e-06 | 751 | 5.5384
673 | 1.099e-05 | 751.5 | 5.8564
673.5 | 2.059e-06 | 752 | 6.261
674 | 1.961e-05 | 752.5 | 6.0067
674.5 | 1.339e-05 | 753 | 6.449
675 | 2.596e-05 | 753.5 | 6.1822
675.5 | 3.644e-05 | 754 | 6.7926
676 | 4.587e-05 | 754.5 | 6.6052
676.5 | 3.914e-05 | 755 | 6.2984
677 | 3.326e-05 | 755.5 | 6.8315
677.5 | 1.324e-05 | 756.5 | 8.6929
678 | 2.01e-05 | 757 | 6.4878
678.5 | 1.028e-05 | 757.5 | 6.6597
679 | 1.144e-05 | 758 | 6.9893
679.5 | 2.031e-05 | 759 | 6.6098
680 | 1.766e-05 | 760 | 6.5473
680.5 | 6.28e-06 | 760.5 | 6.9208
681 | 6.034e-06 | 761 | 6.2694
681.5 | 2.701e-06 | 761.5 | 6.4484
682 | 6.128e-07 | 762 | 5.9654
682.5 | 2.032e-05 | 762.5 | 6.2885
683 | 2.268e-05 | 763 | 9.3129
683.5 | 3.544e-05 | 763.5 | 6.5875
684 | 4.746e-05 | 764 | 6.6147
684.5 | 7.633e-05 | 764.5 | 6.594
685 | 6.024e-05 | 765.5 | 6.4877
685.5 | 3.47e-05 | 766 | 6.7018
686 | 3.143e-05 | 766.5 | 6.9974
686.5 | 1.739e-05 | 767 | 6.375
687 | 8.693e-06 | 767.5 | 6.9172
687.5 | 1.146e-05 | 768 | 8.0464
688 | 1.624e-05 | 769 | 8.4992
688.5 | 1.049e-05 | 770 | 7.2598
689 | 1.527e-05 | 771 | 6.6857
689.5 | 4.397e-06 | 772 | 6.2784
690 | 1.925e-05 | 772.5 | 7.3589
690.5 | 1.605e-05 | 773.5 | 6.504
691 | 2.033e-06 | 774.5 | 7.2165
691.5 | 1.466e-05 | 777 | 6.3757
692 | 1.07e-05 | 777.5 | 8.1267
692.5 | 1.811e-05 | 778.5 | 6.6084
693 | 2.051e-05 | 780 | 7.4022
693.5 | -4.609e-07 | 780.5 | 6.4223
694 | -4.212e-06 | 781 | 5.9527
694.5 | 5.37e-06 | 782.5 | 7.3164
695 | -5.213e-06 | 783 | 7.1221
695.5 | 5.084e-06 | 783.5 | 7.7602
696 | 1.353e-05 | 784 | 6.9961
696.5 | 1.632e-05 | 784.5 | 6.3574
697 | 1.028e-05 | 785.5 | 6.6582
697.5 | 9.086e-06 | 786 | 6.6142
698 | -2.499e-06 | 786.5 | 6.6227
698.5 | -4.431e-06 | 787 | 6.9259
699 | -2.834e-06 | 789.5 | 7.2196
699.5 | 7.216e-06 | 790.5 | 6.828
700 | 5.751e-05 | 791 | 6.0858
700.5 | 6.621e-05 | 791.5 | 6.2724
701 | 6.75e-05 | 792 | 6.2675
701.5 | 4.86e-05 | 793 | 6.0045
702 | 1.932e-05 | 794 | 6.9489
702.5 | 7.899e-06 | 795.5 | 6.6036
703 | -3.948e-06 | 796 | 6.8533
703.5 | -3.358e-06 | 796.5 | 6.1983
704 | -3.695e-06 | 797 | 6.4397
704.5 | 3.205e-06 | 798 | 7.0848
705 | 6.962e-06 | 798.5 | 6.3411
705.5 | -4.721e-06 | 799.5 | 6.0081
706 | -1.5e-05 | 802 | 7.025
706.5 | 5.162e-06 | 802.5 | 7.4018
707 | -7.569e-06 | 804.5 | 8.0879
707.5 | 2.255e-06 | 805 | 6.9718
708 | 1.278e-05 | 805.5 | 6.9918
708.5 | 6.887e-06 | 806 | 7.0132
709 | 7.879e-06 | 806.5 | 6.8526
709.5 | -3.394e-06 | 807 | 6.7356
710 | 1.536e-05 | 807.5 | 6.8456
710.5 | 1.148e-05 | 808 | 6.9935
711 | 6.229e-06 | 808.5 | 6.8617
711.5 | 1.041e-07 | 809 | 6.7607
712 | 1.141e-06 | 809.5 | 6.607
712.5 | 4.624e-06 | 810 | 6.4934
713 | 5.621e-06 | 810.5 | 6.3027
713.5 | 2.019e-05 | 811 | 6.1706
714 | -1.1e-06 | 811.5 | 6.3306
714.5 | 1.424e-05 | 812 | 6.5869
715 | 4.554e-06 | 812.5 | 6.4803
715.5 | 2.056e-05 | 813 | 6.3949
716 | 2.748e-05 | 813.5 | 6.2244
716.5 | 1.784e-05 | 814 | 6.1023
717 | 8.727e-06 | 814.5 | 5.988
717.5 | 9.552e-06 | 815 | 5.8979
718 | 6.639e-06 | 815.5 | 5.9859
718.5 | 2.532e-05 | 816 | 6.0969
719 | 2.896e-05 | 816.5 | 5.9187
719.5 | 1.562e-05 | 817 | 5.7929
720 | 1.993e-05 | 817.5 | 5.7924
720.5 | 1.032e-05 | 818 | 5.7918
721 | 1.75e-05 | 818.5 | 5.7049
721.5 | 5.501e-06 | 819 | 5.6323
722 | 1.581e-05 | 819.5 | 5.6647
722.5 | 1.63e-05 | 820 | 5.6998
723 | 1.231e-05 | 820.5 | 5.6584
723.5 | 1.297e-05 | 821 | 5.6205
724 | 1.498e-05 | 821.5 | 5.601
724.5 | 9.908e-06 | 822 | 5.5824
725 | 2.154e-05 | 822.5 | 5.6486
725.5 | 1.691e-05 | 823 | 5.7268
726 | 1.085e-05 | 823.5 | 5.678
726.5 | -5.188e-06 | 824 | 5.6341
727 | 1.589e-05 | 824.5 | 5.6708
727.5 | 1.646e-05 | 825 | 5.7109
728 | -4.322e-06 | 825.5 | 5.7298
728.5 | 2.655e-05 | 826 | 5.7496
729 | 1.52e-05 | 826.5 | 5.767
729.5 | 4.79e-06 | 827 | 5.7849
730 | 5.753e-06 | 827.5 | 5.777
730.5 | -1.175e-05 | 828 | 5.7693
731 | 1.483e-05 | 828.5 | 5.8205
731.5 | 3.866e-06 | 829 | 5.8788
732 | 1.415e-05 | 829.5 | 5.9562
732.5 | 2.957e-05 | 830 | 6.0512
733 | -6.864e-06 | 830.5 | 6.0592
733.5 | 1.487e-05 | 831 | 6.0673
734 | 1.865e-06 | 831.5 | 6.1425
734.5 | 2.166e-05 | 832 | 6.2337
735 | 1.419e-05 | 832.5 | 6.3696
735.5 | 7.134e-05 | 833 | 6.5686
736 | 5.228e-05 | 833.5 | 6.3403
736.5 | 7.657e-05 | 834 | 6.1913
737 | 4.714e-05 | 834.5 | 6.3155
737.5 | 6.533e-05 | 835 | 6.49
738 | 4.688e-05 | 835.5 | 6.5201
738.5 | 2.752e-05 | 836 | 6.5524
739 | 1.67e-05 | 836.5 | 6.4808
739.5 | 1.858e-05 | 837 | 6.4195
740 | -4.981e-07 | 837.5 | 6.2552
740.5 | 2.772e-05 | 838 | 6.1361
741 | 3.638e-06 | 838.5 | 6.3351
741.5 | 1.543e-05 | 839 | 6.7135
742 | 2.002e-05 | 839.5 | 6.4608
742.5 | 3.528e-05 | 840 | 6.3022
743 | 1.282e-05 | 840.5 | 6.4162
743.5 | 4.936e-06 | 841 | 6.5717
744 | 9.333e-06 | 841.5 | 6.397
744.5 | 2.521e-07 | 842 | 6.2725
745 | 5.022e-05 | 842.5 | 6.2587
745.5 | 3.138e-05 | 843 | 6.2453
746 | 6.035e-06 | 843.5 | 6.3062
746.5 | 2.804e-05 | 844 | 6.3772
747 | 2.577e-05 | 844.5 | 6.2139
747.5 | 6.361e-05 | 845 | 6.0954
748 | 5.212e-05 | 845.5 | 6.215
748.5 | 0.0001074 | 846 | 6.3806
749 | 0.0001654 | 846.5 | 6.2928
749.5 | 0.0004019 | 847 | 6.2196
750 | 0.0003998 | 847.5 | 6.1314
750.5 | 0.0003346 | 848 | 6.0581
751 | 0.0002895 | 848.5 | 6.0879
751.5 | 0.0001392 | 849 | 6.12
752 | 5.483e-05 | 849.5 | 6.1758
752.5 | 9.847e-05 | 850 | 6.2398
753 | 3.556e-05 | 850.5 | 6.2328
753.5 | 6.573e-05 | 851 | 6.2259
754 | 1.612e-05 | 851.5 | 6.045
754.5 | 2.482e-05 | 852 | 5.9176
755 | 5.03e-05 | 852.5 | 5.957
755.5 | 1.474e-05 | 853 | 6.0006
756 | -2.896e-05 | 853.5 | 6.0374
756.5 | 2.028e-07 | 854 | 6.0778
757 | 3.252e-05 | 854.5 | 6.0584
757.5 | 2.189e-05 | 855 | 6.0398
758 | 1.025e-05 | 855.5 | 6.0375
758.5 | -1.495e-05 | 856 | 6.0353
759 | 2.456e-05 | 856.5 | 6.0416
759.5 | -3.027e-05 | 857 | 6.0481
760 | 2.836e-05 | 857.5 | 6.0249
760.5 | 1.2e-05 | 858 | 6.0028
761 | 5.378e-05 | 858.5 | 6.036
761.5 | 3.561e-05 | 859 | 6.0719
762 | 0.0001083 | 859.5 | 6.1194
762.5 | 5.147e-05 | 860 | 6.1727
763 | 4.865e-08 | 860.5 | 6.1884
763.5 | 2.585e-05 | 861 | 6.2047
764 | 2.428e-05 | 861.5 | 6.1578
764.5 | 2.547e-05 | 862 | 6.1154
765 | -8.91e-06 | 862.5 | 6.1013
765.5 | 3.253e-05 | 863 | 6.0876
766 | 1.987e-05 | 863.5 | 6.094
766.5 | 1.006e-05 | 864 | 6.1007
767 | 4.217e-05 | 864.5 | 6.0809
767.5 | 1.21e-05 | 865 | 6.062
768 | 8.987e-07 | 865.5 | 6.0604
768.5 | -1.604e-05 | 866 | 6.0588
769 | 3.168e-07 | 866.5 | 6.0824
769.5 | -3.275e-05 | 867 | 6.1075
770 | 5.498e-06 | 867.5 | 6.1589
770.5 | -8.003e-07 | 868 | 6.2175
771 | 2.062e-05 | 868.5 | 6.1937
771.5 | -1.884e-05 | 869 | 6.1711
772 | 5.267e-05 | 869.5 | 6.1885
772.5 | 4.376e-06 | 870 | 6.2066
773 | -1.218e-05 | 870.5 | 6.1728
773.5 | 3.133e-05 | 871 | 6.1415
774 | -1.757e-05 | 871.5 | 6.0329
774.5 | 6.074e-06 | 872 | 5.9458
775 | -2.033e-05 | 872.5 | 5.9259
775.5 | -8.941e-06 | 873 | 5.9066
776 | -4.063e-05 | 873.5 | 5.8962
776.5 | -4.193e-05 | 874 | 5.8861
777 | 4.21e-05 | 874.5 | 5.8931
777.5 | 7.469e-07 | 875 | 5.9003
778 | -2.707e-07 | 875.5 | 5.8573
778.5 | 2.464e-05 | 876 | 5.8182
779 | -4.441e-06 | 876.5 | 5.8128
779.5 | -1.095e-05 | 877 | 5.8074
780 | 3.961e-06 | 877.5 | 5.7685
780.5 | 3.782e-05 | 878 | 5.7328
781 | 0.0001115 | 878.5 | 5.7142
781.5 | -8.447e-06 | 879 | 5.6962
782 | -2.83e-06 | 879.5 | 5.7077
782.5 | 4.826e-06 | 880 | 5.7194
783 | 7.549e-06 | 880.5 | 5.6932
783.5 | 1.737e-06 | 881 | 5.6684
784 | 1.009e-05 | 881.5 | 5.6979
784.5 | 4.391e-05 | 882 | 5.7298
785 | -2.227e-05 | 882.5 | 5.7031
785.5 | 2.197e-05 | 883 | 5.6778
786 | 2.431e-05 | 883.5 | 5.7066
786.5 | 2.384e-05 | 884 | 5.7375
787 | 1.186e-05 | 884.5 | 5.7445
787.5 | -1.717e-05 | 885 | 5.7518
788 | -4.511e-05 | 885.5 | 5.7932
788.5 | -1.373e-05 | 886 | 5.8389
789 | -2.153e-05 | 886.5 | 5.8914
789.5 | 6.031e-06 | 887 | 5.9512
790 | -6.001e-05 | 887.5 | 5.9352
790.5 | 1.486e-05 | 888 | 5.9197
791 | 8.207e-05 | 888.5 | 5.961
791.5 | 5.341e-05 | 889 | 6.0063
792 | 5.402e-05 | 889.5 | 6.1011
792.5 | -4.596e-05 | 890 | 6.2228
793 | 9.897e-05 | 890.5 | 6.296
793.5 | -7.346e-06 | 891 | 6.3843
794 | 1.125e-05 | 891.5 | 6.326
794.5 | -3.709e-05 | 892 | 6.2747
795 | -3.463e-05 | 892.5 | 6.2638
795.5 | 2.491e-05 | 893 | 6.2531
796 | 1.402e-05 | 893.5 | 6.3102
796.5 | 6.334e-05 | 894 | 6.3757
797 | 3.633e-05 | 894.5 | 6.3017
797.5 | -2.18e-05 | 895 | 6.2385
798 | 8.227e-06 | 895.5 | 6.1662
798.5 | 4.559e-05 | 896 | 6.1041
799 | -2.413e-05 | 896.5 | 6.1144
799.5 | 9.815e-05 | 897 | 6.125
800 | -1.542e-06 | 897.5 | 6.0835
800.5 | -1.428e-05 | 898 | 6.0457
801 | -2.702e-05 | 898.5 | 6.0363
801.5 | -8.79e-06 | 899 | 6.027
802 | 9.44e-06 | 899.5 | 5.9935
802.5 | 3.965e-06 | 900 | 5.9626
803 | -1.511e-06 | 900.5 | 5.9431
803.5 | -5.27e-06 | 901 | 5.9248
804 | -9.032e-06 | 901.5 | 5.9143
804.5 | 8.167e-07 | 902 | 5.9041
805 | 1.067e-05 | 902.5 | 5.8798
805.5 | 1.019e-05 | 903 | 5.8567
806 | 9.701e-06 | 903.5 | 5.9458
806.5 | 1.404e-05 | 904 | 6.0576
807 | 1.838e-05 | 904.5 | 6.1138
807.5 | 1.427e-05 | 905 | 6.1784
808 | 1.015e-05 | 905.5 | 6.1594
808.5 | 1.375e-05 | 906 | 6.1413
809 | 1.735e-05 | 906.5 | 6.2244
809.5 | 2.472e-05 | 907 | 6.3274
810 | 3.211e-05 | 907.5 | 6.3468
810.5 | 4.981e-05 | 908 | 6.3671
811 | 6.752e-05 | 908.5 | 6.4847
811.5 | 4.671e-05 | 909 | 6.6461
812 | 2.589e-05 | 909.5 | 6.5991
812.5 | 3.309e-05 | 910 | 6.5569
813 | 4.028e-05 | 910.5 | 6.7459
813.5 | 5.965e-05 | 911 | 7.0883
814 | 7.902e-05 | 911.5 | 7.7852
814.5 | 0.0001028 | 913 | 7.3842
815 | 0.0001265 | 913.5 | 7.8935
815.5 | 0.0001033 | 916 | 7.3104
816 | 8e-05 | 916.5 | 9.6174
816.5 | 0.0001206 | 920 | 7.5251
817 | 0.0001611 | 920.5 | 7.0501
817.5 | 0.0001613 | 921 | 6.8286
818 | 0.0001615 | 921.5 | 6.8495
818.5 | 0.0001973 | 922 | 6.8719
819 | 0.0002332 | 922.5 | 7.4233
819.5 | 0.0002164 | 923.5 | 7.3788
820 | 0.0001996 | 924 | 6.8462
820.5 | 0.0002196 | 924.5 | 7.1057
821 | 0.0002396 | 925 | 7.8438
821.5 | 0.0002506 | 925.5 | 6.9021
822 | 0.0002616 | 926 | 6.6265
822.5 | 0.0002246 | 926.5 | 6.7075
823 | 0.0001876 | 927 | 6.8069
823.5 | 0.0002099 | 927.5 | 6.7695
824 | 0.0002322 | 928 | 6.735
824.5 | 0.0002134 | 928.5 | 6.8993
825 | 0.0001946 | 929 | 7.1662
825.5 | 0.0001863 | 929.5 | 6.767
826 | 0.000178 | 930 | 6.5626
826.5 | 0.000171 | 930.5 | 6.8918
827 | 0.0001641 | 931.5 | 8.1555
827.5 | 0.0001671 | 932 | 7.5077
828 | 0.0001701 | 934.5 | 7.719
828.5 | 0.0001512 | 935 | 7.0793
829 | 0.0001322 | 935.5 | 6.6801
829.5 | 0.0001106 | 936 | 6.4759
830 | 8.887e-05 | 936.5 | 6.5524
830.5 | 8.725e-05 | 937 | 6.6453
831 | 8.564e-05 | 937.5 | 6.9489
831.5 | 7.202e-05 | 938.5 | 6.8955
832 | 5.839e-05 | 939 | 6.5921
832.5 | 4.27e-05 | 939.5 | 6.5887
833 | 2.7e-05 | 940 | 6.5852
833.5 | 4.568e-05 | 940.5 | 6.5781
834 | 6.437e-05 | 941 | 6.5711
834.5 | 4.836e-05 | 941.5 | 6.7825
835 | 3.236e-05 | 942 | 7.2108
835.5 | 3.019e-05 | 942.5 | 6.9412
836 | 2.803e-05 | 943 | 6.7757
836.5 | 3.305e-05 | 943.5 | 6.6182
837 | 3.806e-05 | 944 | 6.5028
837.5 | 5.557e-05 | 944.5 | 6.699
838 | 7.309e-05 | 945 | 7.0657
838.5 | 4.623e-05 | 945.5 | 7.12
839 | 1.934e-05 | 946 | 7.182
839.5 | 3.461e-05 | 946.5 | 7.0444
840 | 4.987e-05 | 947 | 6.9401
840.5 | 3.835e-05 | 947.5 | 6.9809
841 | 2.681e-05 | 948 | 7.0259
841.5 | 4.009e-05 | 948.5 | 6.9863
842 | 5.339e-05 | 949 | 6.95
842.5 | 5.512e-05 | 949.5 | 6.7878
843 | 5.685e-05 | 950 | 6.6698
843.5 | 4.941e-05 | 950.5 | 6.671
844 | 4.196e-05 | 951 | 6.6724
844.5 | 6.111e-05 | 951.5 | 6.9555
845 | 8.028e-05 | 952 | 8.0432
845.5 | 6.096e-05 | 952.5 | 6.927
846 | 4.163e-05 | 953 | 6.643
846.5 | 5.096e-05 | 953.5 | 6.9531
847 | 6.031e-05 | 954.5 | 7.7233
847.5 | 7.39e-05 | 955 | 7.3711
848 | 8.748e-05 | 955.5 | 6.9115
848.5 | 8.168e-05 | 956 | 6.6936
849 | 7.586e-05 | 956.5 | 7.2783
849.5 | 6.671e-05 | 958 | 7.0247
850 | 5.757e-05 | 958.5 | 6.8251
850.5 | 5.851e-05 | 959 | 6.6887
851 | 5.945e-05 | 959.5 | 6.6792
851.5 | 9.015e-05 | 960 | 6.6698
852 | 0.0001209 | 960.5 | 6.8
852.5 | 0.0001104 | 961 | 6.9867
853 | 9.986e-05 | 961.5 | 7.0058
853.5 | 9.174e-05 | 962 | 7.0256
854 | 8.36e-05 | 962.5 | 6.6658
854.5 | 8.742e-05 | 963 | 6.4717
855 | 9.124e-05 | 963.5 | 6.735
855.5 | 9.172e-05 | 964 | 7.5127
856 | 9.22e-05 | 964.5 | 6.838
856.5 | 9.086e-05 | 965 | 6.5855
857 | 8.952e-05 | 965.5 | 6.7406
857.5 | 9.443e-05 | 966 | 6.9842
858 | 9.935e-05 | 966.5 | 6.9961
858.5 | 9.205e-05 | 967 | 7.0085
859 | 8.474e-05 | 967.5 | 7.3261
859.5 | 7.596e-05 | 968.5 | 7.7185
860 | 6.719e-05 | 969 | 7.3778
860.5 | 6.48e-05 | 970.5 | 7.7005
861 | 6.241e-05 | 971 | 7.0711
861.5 | 6.953e-05 | 971.5 | 7.0683
862 | 7.666e-05 | 972 | 7.0655
862.5 | 7.92e-05 | 972.5 | 7.4505
863 | 8.174e-05 | 976 | 6.9642
863.5 | 8.053e-05 | 976.5 | 6.9194
864 | 7.931e-05 | 977 | 6.8788
864.5 | 8.301e-05 | 977.5 | 6.863
865 | 8.67e-05 | 978 | 6.8477
865.5 | 8.702e-05 | 978.5 | 7.072
866 | 8.734e-05 | 979 | 7.5605
866.5 | 8.271e-05 | 979.5 | 7.02
867 | 7.808e-05 | 980 | 6.7862
867.5 | 6.935e-05 | 980.5 | 7.051
868 | 6.061e-05 | 981 | 7.8416
868.5 | 6.402e-05 | 981.5 | 7.4539
869 | 6.743e-05 | 982 | 7.2524
869.5 | 6.479e-05 | 982.5 | 7.1295
870 | 6.215e-05 | 983 | 7.0338
870.5 | 6.717e-05 | 983.5 | 7.0792
871 | 7.219e-05 | 984 | 7.13
871.5 | 9.271e-05 | 984.5 | 6.9598
872 | 0.0001133 | 985 | 6.8377
872.5 | 0.0001186 | 985.5 | 6.6891
873 | 0.000124 | 986 | 6.5786
873.5 | 0.000127 | 986.5 | 6.6312
874 | 0.00013 | 987 | 6.691
874.5 | 0.0001279 | 987.5 | 6.8633
875 | 0.0001258 | 988 | 7.153
875.5 | 0.0001389 | 988.5 | 7.002
876 | 0.000152 | 989 | 6.8901
876.5 | 0.0001539 | 989.5 | 6.927
877 | 0.0001558 | 990 | 6.967
877.5 | 0.0001704 | 990.5 | 6.7693
878 | 0.000185 | 991 | 6.6339
878.5 | 0.0001931 | 991.5 | 6.5733
879 | 0.0002013 | 992 | 6.5201
879.5 | 0.000196 | 992.5 | 6.356
880 | 0.0001908 | 993 | 6.2373
880.5 | 0.0002027 | 993.5 | 6.3022
881 | 0.0002146 | 994 | 6.3787
881.5 | 0.0002005 | 994.5 | 6.315
882 | 0.0001863 | 995 | 6.2594
882.5 | 0.0001981 | 995.5 | 6.1972
883 | 0.00021 | 996 | 6.1429
883.5 | 0.0001965 | 996.5 | 6.1733
884 | 0.000183 | 997 | 6.2061
884.5 | 0.0001801 | 997.5 | 6.2554
885 | 0.0001771 | 998 | 6.311
885.5 | 0.000161 | 998.5 | 6.425
886 | 0.0001449 | 999 | 6.5796
886.5 | 0.0001284 | 999.5 | 6.3931
887 | 0.0001119 | 1000 | 6.263
887.5 | 0.0001161 | 1000.5 | 6.3662
888 | 0.0001203 | 1001 | 6.5021
888.5 | 0.0001094 | 1001.5 | 6.6499
889 | 9.857e-05 | 1002 | 6.8758
889.5 | 7.923e-05 | 1002.5 | 6.7823
890 | 5.987e-05 | 1003 | 6.7053
890.5 | 5.058e-05 | 1003.5 | 6.6596
891 | 4.128e-05 | 1004 | 6.6182
891.5 | 4.721e-05 | 1004.5 | 6.6617
892 | 5.313e-05 | 1005 | 6.7102
892.5 | 5.448e-05 | 1005.5 | 6.7165
893 | 5.583e-05 | 1006 | 6.7229
893.5 | 4.896e-05 | 1006.5 | 6.6745
894 | 4.21e-05 | 1007 | 6.631
894.5 | 4.992e-05 | 1007.5 | 6.8167
895 | 5.774e-05 | 1008 | 7.1491
895.5 | 6.821e-05 | 1008.5 | 7.5602
896 | 7.869e-05 | 1009.5 | 7.0653
896.5 | 7.684e-05 | 1010 | 6.7261
897 | 7.499e-05 | 1010.5 | 6.9948
897.5 | 8.25e-05 | 1011 | 7.8407
898 | 9.001e-05 | 1011.5 | 6.8693
898.5 | 9.199e-05 | 1012 | 6.5921
899 | 9.398e-05 | 1012.5 | 7.1086
899.5 | 0.0001015 | 1014 | 7.2824
900 | 0.000109 | 1014.5 | 6.9927
900.5 | 0.000114 | 1015 | 6.8207
901 | 0.0001189 | 1015.5 | 6.9718
901.5 | 0.0001218 | 1016 | 7.2047
902 | 0.0001247 | 1016.5 | 6.7908
902.5 | 0.0001319 | 1017 | 6.5825
903 | 0.0001391 | 1017.5 | 6.5505
903.5 | 0.0001133 | 1018 | 6.5207
904 | 8.757e-05 | 1018.5 | 6.6515
904.5 | 7.695e-05 | 1019 | 6.8392
905 | 6.632e-05 | 1019.5 | 6.9578
905.5 | 6.927e-05 | 1020 | 7.1211
906 | 7.223e-05 | 1020.5 | 6.8729
906.5 | 5.965e-05 | 1021 | 6.7158
907 | 4.706e-05 | 1021.5 | 6.6218
907.5 | 4.5e-05 | 1022 | 6.5447
908 | 4.294e-05 | 1022.5 | 6.5075
908.5 | 3.276e-05 | 1023 | 6.4733
909 | 2.259e-05 | 1023.5 | 6.5309
909.5 | 2.517e-05 | 1024 | 6.5972
910 | 2.774e-05 | 1024.5 | 6.714
910.5 | 1.795e-05 | 1025 | 6.8748
911 | 8.161e-06 | 1025.5 | 7.1997
911.5 | 1.64e-06 | 1026.5 | 6.9953
912 | -4.879e-06 | 1027 | 6.6792
912.5 | -3.758e-07 | 1027.5 | 6.4806
913 | 4.129e-06 | 1028 | 6.3447
913.5 | 1.278e-06 | 1028.5 | 6.3948
914 | -1.572e-06 | 1029 | 6.4515
914.5 | -6.565e-06 | 1029.5 | 6.4263
915 | -1.156e-05 | 1030 | 6.4024
915.5 | -3.333e-06 | 1030.5 | 6.4405
916 | 4.893e-06 | 1031 | 6.4821
916.5 | 2.413e-08 | 1031.5 | 6.4403
917 | -4.846e-06 | 1032 | 6.4023
917.5 | -1.012e-05 | 1032.5 | 6.3132
918 | -1.54e-05 | 1033 | 6.2393
918.5 | -1.119e-05 | 1033.5 | 6.1159
919 | -6.972e-06 | 1034 | 6.0201
919.5 | -1.992e-06 | 1034.5 | 5.9674
920 | 2.985e-06 | 1035 | 5.9201
920.5 | 8.91e-06 | 1035.5 | 5.8601
921 | 1.484e-05 | 1036 | 5.8074
921.5 | 1.414e-05 | 1036.5 | 5.7547
922 | 1.343e-05 | 1037 | 5.7075
922.5 | 3.773e-06 | 1037.5 | 5.6891
923 | -5.887e-06 | 1038 | 5.6712
923.5 | 4.18e-06 | 1038.5 | 5.6765
924 | 1.425e-05 | 1039 | 5.6817
924.5 | 7.839e-06 | 1039.5 | 5.7268
925 | 1.433e-06 | 1040 | 5.7768
925.5 | 1.253e-05 | 1040.5 | 5.8309
926 | 2.363e-05 | 1041 | 5.8928
926.5 | 1.961e-05 | 1041.5 | 5.961
927 | 1.56e-05 | 1042 | 6.0421
927.5 | 1.7e-05 | 1042.5 | 6.0665
928 | 1.841e-05 | 1043 | 6.0922
928.5 | 1.261e-05 | 1043.5 | 6.1119
929 | 6.82e-06 | 1044 | 6.1325
929.5 | 1.71e-05 | 1044.5 | 6.2018
930 | 2.738e-05 | 1045 | 6.2841
930.5 | 1.283e-05 | 1045.5 | 6.2559
931 | -1.708e-06 | 1046 | 6.2294
931.5 | 6.99e-07 | 1046.5 | 6.2992
932 | 3.107e-06 | 1047 | 6.3824
932.5 | -3.234e-06 | 1047.5 | 6.3584
933 | -9.577e-06 | 1048 | 6.3357
933.5 | -7.044e-06 | 1048.5 | 6.4358
934 | -4.512e-06 | 1049 | 6.5661
934.5 | 1.91e-06 | 1049.5 | 6.7104
935 | 8.33e-06 | 1050 | 6.9281
935.5 | 2.089e-05 | 1050.5 | 6.7302
936 | 3.343e-05 | 1051 | 6.595
936.5 | 2.803e-05 | 1051.5 | 6.4753
937 | 2.263e-05 | 1052 | 6.3816
937.5 | 1.125e-05 | 1052.5 | 6.3644
938 | -1.34e-07 | 1053 | 6.3479
938.5 | 1.272e-05 | 1053.5 | 6.6225
939 | 2.558e-05 | 1054 | 7.5522
939.5 | 2.578e-05 | 1054.5 | 6.7493
940 | 2.599e-05 | 1055 | 6.484
940.5 | 2.642e-05 | 1055.5 | 6.3686
941 | 2.685e-05 | 1056 | 6.2774
941.5 | 1.65e-05 | 1056.5 | 6.4165
942 | 6.154e-06 | 1057 | 6.6225
942.5 | 1.145e-05 | 1057.5 | 6.7309
943 | 1.676e-05 | 1058 | 6.8758
943.5 | 2.409e-05 | 1058.5 | 6.8821
944 | 3.142e-05 | 1059 | 6.8884
944.5 | 2e-05 | 1059.5 | 6.8758
945 | 8.596e-06 | 1060 | 6.8633
945.5 | 7.586e-06 | 1060.5 | 6.6674
946 | 6.576e-06 | 1061 | 6.5327
946.5 | 9.029e-06 | 1061.5 | 6.4245
947 | 1.148e-05 | 1062 | 6.338
947.5 | 1.045e-05 | 1062.5 | 6.2946
948 | 9.422e-06 | 1063 | 6.2552
948.5 | 1.032e-05 | 1063.5 | 6.3302
949 | 1.122e-05 | 1064 | 6.421
949.5 | 1.63e-05 | 1064.5 | 6.3986
950 | 2.139e-05 | 1065 | 6.3774
950.5 | 2.133e-05 | 1065.5 | 6.4098
951 | 2.126e-05 | 1066 | 6.445
951.5 | 1.108e-05 | 1066.5 | 6.6105
952 | 9.054e-07 | 1067 | 6.8807
952.5 | 1.183e-05 | 1067.5 | 6.472
953 | 2.275e-05 | 1068 | 6.265
953.5 | 1.114e-05 | 1068.5 | 6.2988
954 | -4.748e-07 | 1069 | 6.3354
954.5 | 1.891e-06 | 1069.5 | 6.284
955 | 4.255e-06 | 1070 | 6.2381
955.5 | 1.226e-05 | 1070.5 | 6.1936
956 | 2.025e-05 | 1071 | 6.1532
956.5 | 5.268e-06 | 1071.5 | 6.1672
957 | -9.709e-06 | 1072 | 6.1815
957.5 | -1.284e-07 | 1072.5 | 6.0788
958 | 9.447e-06 | 1073 | 5.9957
958.5 | 1.496e-05 | 1073.5 | 5.9726
959 | 2.048e-05 | 1074 | 5.9508
959.5 | 2.093e-05 | 1074.5 | 5.9101
960 | 2.139e-05 | 1075 | 5.8732
960.5 | 1.585e-05 | 1075.5 | 5.8315
961 | 1.031e-05 | 1076 | 5.7932
961.5 | 9.868e-06 | 1076.5 | 5.7462
962 | 9.428e-06 | 1077 | 5.704
962.5 | 2.159e-05 | 1077.5 | 5.684
963 | 3.375e-05 | 1078 | 5.6649
963.5 | 1.841e-05 | 1078.5 | 5.6091
964 | 3.071e-06 | 1079 | 5.5596
964.5 | 1.452e-05 | 1079.5 | 5.533
965 | 2.597e-05 | 1080 | 5.5079
965.5 | 1.817e-05 | 1080.5 | 5.4763
966 | 1.037e-05 | 1081 | 5.4466
966.5 | 1.009e-05 | 1081.5 | 5.4101
967 | 9.805e-06 | 1082 | 5.3763
967.5 | 4.72e-06 | 1082.5 | 5.3693
968 | -3.654e-07 | 1083 | 5.3622
968.5 | 1.912e-06 | 1083.5 | 5.358
969 | 4.19e-06 | 1084 | 5.3538
969.5 | -1.621e-07 | 1084.5 | 5.3514
970 | -4.511e-06 | 1085 | 5.3488
970.5 | 1.993e-06 | 1085.5 | 5.3464
971 | 8.489e-06 | 1086 | 5.3441
971.5 | 8.545e-06 | 1086.5 | 5.356
972 | 8.601e-06 | 1087 | 5.3681
972.5 | 3.544e-06 | 1087.5 | 5.3807
973 | -1.512e-06 | 1088 | 5.3936
973.5 | -1.816e-06 | 1088.5 | 5.4019
974 | -2.12e-06 | 1089 | 5.4102
974.5 | -8.689e-06 | 1089.5 | 5.4176
975 | -1.526e-05 | 1090 | 5.4252
975.5 | -2.197e-06 | 1090.5 | 5.432
976 | 1.086e-05 | 1091 | 5.4391
976.5 | 1.204e-05 | 1091.5 | 5.4349
977 | 1.322e-05 | 1092 | 5.4306
977.5 | 1.371e-05 | 1092.5 | 5.4466
978 | 1.42e-05 | 1093 | 5.4631
978.5 | 8.473e-06 | 1093.5 | 5.4517
979 | 2.751e-06 | 1094 | 5.4408
979.5 | 9.55e-06 | 1094.5 | 5.4469
980 | 1.636e-05 | 1095 | 5.4531
980.5 | 8.893e-06 | 1095.5 | 5.4599
981 | 1.44e-06 | 1096 | 5.4669
981.5 | 3.516e-06 | 1096.5 | 5.4489
982 | 5.593e-06 | 1097 | 5.4317
982.5 | 7.422e-06 | 1097.5 | 5.4248
983 | 9.251e-06 | 1098 | 5.4179
983.5 | 8.333e-06 | 1098.5 | 5.4146
984 | 7.414e-06 | 1099 | 5.4113
984.5 | 1.097e-05 | 1099.5 | 5.4049
985 | 1.453e-05 | 1100 | 5.3988
985.5 | 2.046e-05 | 1100.5 | 5.3897
986 | 2.639e-05 | 1101 | 5.3808
986.5 | 2.338e-05 | 1101.5 | 5.3709
987 | 2.037e-05 | 1102 | 5.3613
987.5 | 1.37e-05 | 1102.5 | 5.3485
988 | 7.031e-06 | 1103 | 5.3361
988.5 | 9.955e-06 | 1103.5 | 5.3287
989 | 1.288e-05 | 1104 | 5.3215
989.5 | 1.183e-05 | 1104.5 | 5.3115
990 | 1.079e-05 | 1105 | 5.3018
990.5 | 1.701e-05 | 1105.5 | 5.2958
991 | 2.323e-05 | 1106 | 5.2898
991.5 | 2.671e-05 | 1106.5 | 5.2805
992 | 3.019e-05 | 1107 | 5.2714
992.5 | 4.405e-05 | 1107.5 | 5.2634
993 | 5.791e-05 | 1108 | 5.2557
993.5 | 4.986e-05 | 1108.5 | 5.2516
994 | 4.181e-05 | 1109 | 5.2476
994.5 | 4.842e-05 | 1109.5 | 5.2388
995 | 5.503e-05 | 1110 | 5.2303
995.5 | 6.35e-05 | 1110.5 | 5.231
996 | 7.197e-05 | 1111 | 5.2316
996.5 | 6.709e-05 | 1111.5 | 5.2353
997 | 6.222e-05 | 1112 | 5.239
997.5 | 5.554e-05 | 1112.5 | 5.2339
998 | 4.886e-05 | 1113 | 5.2289
998.5 | 3.758e-05 | 1113.5 | 5.2232
999 | 2.633e-05 | 1114 | 5.2177
999.5 | 4.045e-05 | 1114.5 | 5.2146
1000 | 5.458e-05 | 1115 | 5.2115
1000.5 | 4.303e-05 | 1115.5 | 5.218
1001 | 3.147e-05 | 1116 | 5.2245
1001.5 | 2.239e-05 | 1116.5 | 5.2115
1002 | 1.331e-05 | 1117 | 5.1989
1002.5 | 1.651e-05 | 1117.5 | 5.1977
1003 | 1.971e-05 | 1118 | 5.1966
1003.5 | 2.19e-05 | 1118.5 | 5.1876
1004 | 2.409e-05 | 1119 | 5.1788
1004.5 | 2.179e-05 | 1119.5 | 5.1809
1005 | 1.949e-05 | 1120 | 5.1828
1005.5 | 1.921e-05 | 1120.5 | 5.1774
1006 | 1.893e-05 | 1121 | 5.1721
1006.5 | 2.116e-05 | 1121.5 | 5.1674
1007 | 2.339e-05 | 1122 | 5.1627
1007.5 | 1.525e-05 | 1122.5 | 5.1548
1008 | 7.094e-06 | 1123 | 5.1469
1008.5 | 2.753e-06 | 1123.5 | 5.1415
1009 | -1.582e-06 | 1124 | 5.1361
1009.5 | 8.604e-06 | 1124.5 | 5.1188
1010 | 1.879e-05 | 1125 | 5.1022
1010.5 | 1.012e-05 | 1125.5 | 5.0859
1011 | 1.443e-06 | 1126 | 5.0701
1011.5 | 1.351e-05 | 1126.5 | 5.0598
1012 | 2.558e-05 | 1127 | 5.0497
1012.5 | 7.787e-06 | 1127.5 | 5.0399
1013 | -9.991e-06 | 1128 | 5.0303
1013.5 | -2.388e-06 | 1128.5 | 5.0125
1014 | 5.219e-06 | 1129 | 4.9953
1014.5 | 1.017e-05 | 1129.5 | 4.9751
1015 | 1.511e-05 | 1130 | 4.9558
1015.5 | 1.067e-05 | 1130.5 | 4.9367
1016 | 6.241e-06 | 1131 | 4.9183
1016.5 | 1.619e-05 | 1131.5 | 4.8959
1017 | 2.615e-05 | 1132 | 4.8745
1017.5 | 2.815e-05 | 1132.5 | 4.8483
1018 | 3.015e-05 | 1133 | 4.8236
1018.5 | 2.231e-05 | 1133.5 | 4.8013
1019 | 1.448e-05 | 1134 | 4.7801
1019.5 | 1.102e-05 | 1134.5 | 4.7486
1020 | 7.566e-06 | 1135 | 4.7192
1020.5 | 1.34e-05 | 1135.5 | 4.6897
1021 | 1.924e-05 | 1136 | 4.6619
1021.5 | 2.389e-05 | 1136.5 | 4.6286
1022 | 2.853e-05 | 1137 | 4.5974
1022.5 | 3.108e-05 | 1137.5 | 4.5651
1023 | 3.363e-05 | 1138 | 4.5352
1023.5 | 2.945e-05 | 1138.5 | 4.4959
1024 | 2.528e-05 | 1139 | 4.46
1024.5 | 1.932e-05 | 1139.5 | 4.4193
1025 | 1.334e-05 | 1140 | 4.3819
1025.5 | 6.314e-06 | 1140.5 | 4.3383
1026 | -7.126e-07 | 1141 | 4.2986
1026.5 | 1.011e-05 | 1141.5 | 4.2543
1027 | 2.093e-05 | 1142 | 4.2141
1027.5 | 3.307e-05 | 1142.5 | 4.1666
1028 | 4.522e-05 | 1143 | 4.1238
1028.5 | 4.029e-05 | 1143.5 | 4.0756
1029 | 3.536e-05 | 1144 | 4.0323
1029.5 | 3.747e-05 | 1144.5 | 3.9821
1030 | 3.959e-05 | 1145 | 3.937
1030.5 | 3.627e-05 | 1145.5 | 3.8877
1031 | 3.295e-05 | 1146 | 3.8438
1031.5 | 3.628e-05 | 1146.5 | 3.7975
1032 | 3.96e-05 | 1147 | 3.7557
1032.5 | 4.862e-05 | 1147.5 | 3.7124
1033 | 5.764e-05 | 1148 | 3.6732
1033.5 | 7.657e-05 | 1148.5 | 3.6379
1034 | 9.548e-05 | 1149 | 3.6054
1034.5 | 0.0001078 | 1149.5 | 3.5782
1035 | 0.0001202 | 1150 | 3.5527
1035.5 | 0.000138 | 1150.5 | 3.5346
1036 | 0.0001558 | 1151 | 3.5174
1036.5 | 0.0001759 | 1151.5 | 3.5089
1037 | 0.0001961 | 1152 | 3.5007
1037.5 | 0.0002046 | 1152.5 | 3.5002
1038 | 0.0002132 | 1153 | 3.4996
1038.5 | 0.0002106 | 1153.5 | 3.5047
1039 | 0.0002081 | 1154 | 3.51
1039.5 | 0.0001876 | 1154.5 | 3.519
1040 | 0.0001672 | 1155 | 3.5281
1040.5 | 0.0001476 | 1155.5 | 3.5389
1041 | 0.000128 | 1156 | 3.5499
1041.5 | 0.0001094 | 1156.5 | 3.5611
1042 | 9.076e-05 | 1157 | 3.5727
1042.5 | 8.581e-05 | 1157.5 | 3.5827
1043 | 8.087e-05 | 1158 | 3.5928
1043.5 | 7.729e-05 | 1158.5 | 3.6014
1044 | 7.37e-05 | 1159 | 3.6101
1044.5 | 6.284e-05 | 1159.5 | 3.6165
1045 | 5.199e-05 | 1160 | 3.6229
1045.5 | 5.548e-05 | 1160.5 | 3.6269
1046 | 5.896e-05 | 1161 | 3.6308
1046.5 | 5.021e-05 | 1161.5 | 3.6326
1047 | 4.146e-05 | 1162 | 3.6345
1047.5 | 4.381e-05 | 1162.5 | 3.634
1048 | 4.616e-05 | 1163 | 3.6332
1048.5 | 3.666e-05 | 1163.5 | 3.63
1049 | 2.716e-05 | 1164 | 3.6269
1049.5 | 1.948e-05 | 1164.5 | 3.6214
1050 | 1.18e-05 | 1165 | 3.616
1050.5 | 1.861e-05 | 1165.5 | 3.6084
1051 | 2.541e-05 | 1166 | 3.6008
1051.5 | 3.347e-05 | 1166.5 | 3.5909
1052 | 4.153e-05 | 1167 | 3.5812
1052.5 | 4.321e-05 | 1167.5 | 3.569
1053 | 4.488e-05 | 1168 | 3.5572
1053.5 | 2.385e-05 | 1168.5 | 3.5432
1054 | 2.804e-06 | 1169 | 3.5294
1054.5 | 1.781e-05 | 1169.5 | 3.5126
1055 | 3.281e-05 | 1170 | 3.4962
1055.5 | 4.28e-05 | 1170.5 | 3.4777
1056 | 5.279e-05 | 1171 | 3.46
1056.5 | 3.833e-05 | 1171.5 | 3.4396
1057 | 2.385e-05 | 1172 | 3.4201
1057.5 | 1.858e-05 | 1172.5 | 3.3967
1058 | 1.331e-05 | 1173 | 3.3747
1058.5 | 1.312e-05 | 1173.5 | 3.3501
1059 | 1.293e-05 | 1174 | 3.3268
1059.5 | 1.331e-05 | 1174.5 | 3.3003
1060 | 1.37e-05 | 1175 | 3.2752
1060.5 | 2.151e-05 | 1175.5 | 3.2461
1061 | 2.933e-05 | 1176 | 3.2189
1061.5 | 3.763e-05 | 1176.5 | 3.1881
1062 | 4.592e-05 | 1177 | 3.1594
1062.5 | 5.074e-05 | 1177.5 | 3.1261
1063 | 5.557e-05 | 1178 | 3.0952
1063.5 | 4.675e-05 | 1178.5 | 3.0596
1064 | 3.793e-05 | 1179 | 3.0267
1064.5 | 3.994e-05 | 1179.5 | 2.9897
1065 | 4.194e-05 | 1180 | 2.9555
1065.5 | 3.892e-05 | 1180.5 | 2.9161
1066 | 3.589e-05 | 1181 | 2.8801
1066.5 | 2.452e-05 | 1181.5 | 2.8383
1067 | 1.316e-05 | 1182 | 2.8005
1067.5 | 3.373e-05 | 1182.5 | 2.7572
1068 | 5.432e-05 | 1183 | 2.7176
1068.5 | 5.026e-05 | 1183.5 | 2.6716
1069 | 4.619e-05 | 1184 | 2.6299
1069.5 | 5.2e-05 | 1184.5 | 2.5824
1070 | 5.78e-05 | 1185 | 2.5394
1070.5 | 6.403e-05 | 1185.5 | 2.4892
1071 | 7.027e-05 | 1186 | 2.4442
1071.5 | 6.805e-05 | 1186.5 | 2.3922
1072 | 6.584e-05 | 1187 | 2.3457
1072.5 | 8.34e-05 | 1187.5 | 2.2935
1073 | 0.000101 | 1188 | 2.247
1073.5 | 0.0001065 | 1188.5 | 2.1924
1074 | 0.000112 | 1189 | 2.1439
1074.5 | 0.000123 | 1189.5 | 2.0899
1075 | 0.0001339 | 1190 | 2.0419
1075.5 | 0.0001474
1076 | 0.000161
1076.5 | 0.0001794
1077 | 0.0001977
1077.5 | 0.000207
1078 | 0.0002163
1078.5 | 0.000246
1079 | 0.0002757
1079.5 | 0.0002931
1080 | 0.0003105
1080.5 | 0.000334
1081 | 0.0003576
1081.5 | 0.000389
1082 | 0.0004204
1082.5 | 0.0004273
1083 | 0.0004343
1083.5 | 0.0004385
1084 | 0.0004428
1084.5 | 0.0004453
1085 | 0.0004479
1085.5 | 0.0004504
1086 | 0.0004528
1086.5 | 0.0004406
1087 | 0.0004284
1087.5 | 0.0004162
1088 | 0.000404
1088.5 | 0.0003964
1089 | 0.0003889
1089.5 | 0.0003823
1090 | 0.0003757
1090.5 | 0.0003698
1091 | 0.0003638
1091.5 | 0.0003674
1092 | 0.000371
1092.5 | 0.0003576
1093 | 0.0003443
1093.5 | 0.0003534
1094 | 0.0003624
1094.5 | 0.0003574
1095 | 0.0003523
1095.5 | 0.0003468
1096 | 0.0003413
1096.5 | 0.0003557
1097 | 0.0003701
1097.5 | 0.000376
1098 | 0.000382
1098.5 | 0.0003849
1099 | 0.0003879
1099.5 | 0.0003936
1100 | 0.0003992
1100.5 | 0.0004077
1101 | 0.0004161
1101.5 | 0.0004257
1102 | 0.0004352
1102.5 | 0.0004482
1103 | 0.0004612
1103.5 | 0.0004691
1104 | 0.000477
1104.5 | 0.0004881
1105 | 0.0004991
1105.5 | 0.0005061
1106 | 0.0005131
1106.5 | 0.0005242
1107 | 0.0005353
1107.5 | 0.0005452
1108 | 0.000555
1108.5 | 0.0005603
1109 | 0.0005655
1109.5 | 0.000577
1110 | 0.0005884
1110.5 | 0.0005875
1111 | 0.0005867
1111.5 | 0.0005817
1112 | 0.0005767
1112.5 | 0.0005836
1113 | 0.0005904
1113.5 | 0.0005981
1114 | 0.0006058
1114.5 | 0.0006101
1115 | 0.0006144
1115.5 | 0.0006053
1116 | 0.0005963
1116.5 | 0.0006144
1117 | 0.0006326
1117.5 | 0.0006343
1118 | 0.0006359
1118.5 | 0.0006492
1119 | 0.0006625
1119.5 | 0.0006594
1120 | 0.0006564
1120.5 | 0.0006646
1121 | 0.0006728
1121.5 | 0.0006801
1122 | 0.0006875
1122.5 | 0.0007002
1123 | 0.000713
1123.5 | 0.0007219
1124 | 0.0007309
1124.5 | 0.0007606
1125 | 0.0007903
1125.5 | 0.0008206
1126 | 0.000851
1126.5 | 0.0008714
1127 | 0.0008918
1127.5 | 0.0009122
1128 | 0.0009327
1128.5 | 0.0009717
1129 | 0.001011
1129.5 | 0.001059
1130 | 0.001107
1130.5 | 0.001157
1131 | 0.001207
1131.5 | 0.001271
1132 | 0.001335
1132.5 | 0.001418
1133 | 0.001501
1133.5 | 0.00158
1134 | 0.001659
1134.5 | 0.001784
1135 | 0.001909
1135.5 | 0.002043
1136 | 0.002178
1136.5 | 0.002352
1137 | 0.002527
1137.5 | 0.002722
1138 | 0.002916
1138.5 | 0.003192
1139 | 0.003467
1139.5 | 0.003808
1140 | 0.00415
1140.5 | 0.004589
1141 | 0.005028
1141.5 | 0.005568
1142 | 0.006108
1142.5 | 0.006814
1143 | 0.00752
1143.5 | 0.008403
1144 | 0.009284
1144.5 | 0.01042
1145 | 0.01156
1145.5 | 0.01295
1146 | 0.01433
1146.5 | 0.01594
1147 | 0.01755
1147.5 | 0.01939
1148 | 0.02122
1148.5 | 0.02302
1149 | 0.02481
1149.5 | 0.02641
1150 | 0.02801
1150.5 | 0.0292
1151 | 0.03038
1151.5 | 0.03098
1152 | 0.03157
1152.5 | 0.03161
1153 | 0.03165
1153.5 | 0.03128
1154 | 0.0309
1154.5 | 0.03027
1155 | 0.02964
1155.5 | 0.02891
1156 | 0.02819
1156.5 | 0.02747
1157 | 0.02675
1157.5 | 0.02614
1158 | 0.02554
1158.5 | 0.02504
1159 | 0.02454
1159.5 | 0.02418
1160 | 0.02383
1160.5 | 0.02361
1161 | 0.0234
1161.5 | 0.0233
1162 | 0.0232
1162.5 | 0.02323
1163 | 0.02327
1163.5 | 0.02344
1164 | 0.02361
1164.5 | 0.02391
1165 | 0.02421
1165.5 | 0.02464
1166 | 0.02507
1166.5 | 0.02565
1167 | 0.02623
1167.5 | 0.02698
1168 | 0.02772
1168.5 | 0.02863
1169 | 0.02955
1169.5 | 0.03072
1170 | 0.0319
1170.5 | 0.03329
1171 | 0.03467
1171.5 | 0.03634
1172 | 0.03801
1172.5 | 0.04011
1173 | 0.0422
1173.5 | 0.04466
1174 | 0.04712
1174.5 | 0.05009
1175 | 0.05306
1175.5 | 0.05674
1176 | 0.06041
1176.5 | 0.06485
1177 | 0.06928
1177.5 | 0.0748
1178 | 0.08031
1178.5 | 0.08717
1179 | 0.09404
1179.5 | 0.1024
1180 | 0.1108
1180.5 | 0.1213
1181 | 0.1318
1181.5 | 0.1451
1182 | 0.1583
1182.5 | 0.1749
1183 | 0.1916
1183.5 | 0.213
1184 | 0.2345
1184.5 | 0.2616
1185 | 0.2888
1185.5 | 0.3242
1186 | 0.3596
1186.5 | 0.4053
1187 | 0.4511
1187.5 | 0.5087
1188 | 0.5663
1188.5 | 0.6421
1189 | 0.718
1189.5 | 0.813
1190 | 0.908