## ET485_25x
WaveLength | Transmission | WaveLength | OD
nm | % | nm | /
300 | 5.423e-05 | 300 | 6.2658
300.5 | 5.01e-05 | 300.5 | 6.3002
301 | -1.468e-05 | 301.5 | 6.9386
301.5 | 1.152e-05 | 302 | 6.7597 | ET485/25x Transmission and OD Plot of ET485/25x This file indicates a typical data and there may be differences between product batches. If you have any questions, please contact LBTEK Technical Support. To quote this data, please indicate that the data source is from LBTEK.
302 | 1.739e-05 | 302.5 | 6.3975
302.5 | 4.004e-05 | 303.5 | 7.0259
303 | -3.061e-05 | 304 | 6.7916
303.5 | 9.42e-06 | 304.5 | 6.3622
304 | 1.616e-05 | 305.5 | 6.7162
304.5 | 4.343e-05 | 306 | 6.3997
305 | -8.871e-06 | 306.5 | 7.3529
305.5 | 1.922e-05 | 307.5 | 6.3476
306 | 3.984e-05 | 308 | 6.0636
306.5 | 4.437e-06 | 308.5 | 6.2071 | LBTEK Mall：www.lbtek.com Tel：400-060-6986 LBTEK Technical Support E-mail：service@lbtek.com
307 | -1.875e-05 | 309 | 6.8745
307.5 | 4.492e-05 | 309.5 | 6.1825
308 | 8.637e-05 | 310.5 | 6.624
308.5 | 6.207e-05 | 311.5 | 6.1597
309 | 1.335e-05 | 312 | 6.1929
309.5 | 6.569e-05 | 312.5 | 6.8283
310 | -5.136e-05 | 313 | 6.6682
310.5 | 2.377e-05 | 313.5 | 8.5884
311 | -5.173e-05 | 314 | 6.2891
311.5 | 6.923e-05 | 315 | 6.7016
312 | 6.414e-05 | 315.5 | 6.1113
312.5 | 1.485e-05 | 316 | 8.734
313 | 2.147e-05 | 316.5 | 5.9867
313.5 | 2.58e-07 | 317 | 6.3542
314 | 5.139e-05 | 318 | 6.348
314.5 | -6.377e-05 | 318.5 | 6.2085
315 | 1.988e-05 | 319 | 6.6445
315.5 | 7.739e-05 | 319.5 | 6.4942
316 | 1.845e-07 | 320 | 7.1354
316.5 | 0.0001031 | 320.5 | 6.6066
317 | 4.424e-05 | 321 | 6.7642
317.5 | -3.053e-06 | 321.5 | 6.3209
318 | 4.487e-05 | 322 | 6.4689
318.5 | 6.187e-05 | 322.5 | 6.6743
319 | 2.267e-05 | 323 | 6.555
319.5 | 3.205e-05 | 323.5 | 6.3063
320 | 7.322e-06 | 324 | 6.2842
320.5 | 2.474e-05 | 324.5 | 6.4483
321 | 1.721e-05 | 325 | 6.3692
321.5 | 4.776e-05 | 325.5 | 6.4469
322 | 3.397e-05 | 326 | 6.9646
322.5 | 2.117e-05 | 326.5 | 6.5235
323 | 2.786e-05 | 327 | 6.5399
323.5 | 4.94e-05 | 327.5 | 6.6304
324 | 5.198e-05 | 328 | 6.2344
324.5 | 3.562e-05 | 328.5 | 6.5619
325 | 4.274e-05 | 329 | 6.3694
325.5 | 3.574e-05 | 329.5 | 6.3006
326 | 1.085e-05 | 330 | 6.4403
326.5 | 2.996e-05 | 330.5 | 6.8348
327 | 2.885e-05 | 331 | 6.514
327.5 | 2.342e-05 | 331.5 | 6.574
328 | 5.829e-05 | 332 | 6.205
328.5 | 2.742e-05 | 332.5 | 6.4455
329 | 4.272e-05 | 333 | 6.2719
329.5 | 5.005e-05 | 334 | 6.8582
330 | 3.628e-05 | 334.5 | 6.8617
330.5 | 1.463e-05 | 335 | 6.2331
331 | 3.062e-05 | 335.5 | 6.3854
331.5 | 2.667e-05 | 336 | 6.7286
332 | 6.237e-05 | 336.5 | 6.2037
332.5 | 3.585e-05 | 337 | 6.3703
333 | 5.347e-05 | 337.5 | 6.5835
333.5 | -2.841e-05 | 338 | 6.4051
334 | 1.386e-05 | 338.5 | 8.5188
334.5 | 1.375e-05 | 339 | 6.1754
335 | 5.846e-05 | 339.5 | 6.5068
335.5 | 4.117e-05 | 340 | 6.2919
336 | 1.868e-05 | 340.5 | 6.2913
336.5 | 6.256e-05 | 341 | 6.5661
337 | 4.263e-05 | 341.5 | 6.9658
337.5 | 2.609e-05 | 342 | 6.3301
338 | 3.935e-05 | 342.5 | 6.5578
338.5 | 3.028e-07 | 343 | 6.3432
339 | 6.677e-05 | 344 | 6.9747
339.5 | 3.113e-05 | 345 | 6.5672
340 | 5.106e-05 | 345.5 | 6.2809
340.5 | 5.113e-05 | 346 | 6.3437
341 | 2.716e-05 | 346.5 | 6.2232
341.5 | 1.082e-05 | 347 | 6.3848
342 | 4.676e-05 | 347.5 | 6.5654
342.5 | 2.768e-05 | 348 | 6.4252
343 | 4.537e-05 | 348.5 | 6.2361
343.5 | -4.959e-07 | 349 | 6.7902
344 | 1.06e-05 | 349.5 | 6.2859
344.5 | -1.677e-06 | 350 | 6.8041
345 | 2.709e-05 | 350.5 | 6.4387
345.5 | 5.237e-05 | 351 | 6.7245
346 | 4.532e-05 | 351.5 | 6.4481
346.5 | 5.982e-05 | 352 | 6.4026
347 | 4.123e-05 | 352.5 | 6.2798
347.5 | 2.72e-05 | 353 | 6.6847
348 | 3.757e-05 | 353.5 | 6.414
348.5 | 5.806e-05 | 354 | 6.3456
349 | 1.621e-05 | 354.5 | 6.815
349.5 | 5.177e-05 | 355 | 6.3682
350 | 1.57e-05 | 355.5 | 6.4212
350.5 | 3.642e-05 | 356 | 6.3766
351 | 1.886e-05 | 356.5 | 6.5034
351.5 | 3.564e-05 | 357 | 6.4353
352 | 3.957e-05 | 357.5 | 6.3387
352.5 | 5.25e-05 | 358 | 6.4598
353 | 2.067e-05 | 358.5 | 6.433
353.5 | 3.855e-05 | 359 | 6.4465
354 | 4.512e-05 | 359.5 | 7.135
354.5 | 1.531e-05 | 360 | 6.6938
355 | 4.283e-05 | 360.5 | 6.3985
355.5 | 3.791e-05 | 361 | 6.8262
356 | 4.201e-05 | 361.5 | 6.4415
356.5 | 3.138e-05 | 362 | 6.5666
357 | 3.67e-05 | 362.5 | 6.5098
357.5 | 4.585e-05 | 363 | 6.8419
358 | 3.469e-05 | 363.5 | 6.3395
358.5 | 3.69e-05 | 364 | 6.5693
359 | 3.577e-05 | 364.5 | 6.3703
359.5 | 7.329e-06 | 365 | 6.5585
360 | 2.024e-05 | 365.5 | 6.4778
360.5 | 3.995e-05 | 366 | 6.5047
361 | 1.492e-05 | 366.5 | 6.4094
361.5 | 3.618e-05 | 367 | 6.6672
362 | 2.713e-05 | 367.5 | 6.6633
362.5 | 3.092e-05 | 368 | 6.2639
363 | 1.439e-05 | 368.5 | 6.6187
363.5 | 4.576e-05 | 369 | 6.3964
364 | 2.696e-05 | 369.5 | 6.923
364.5 | 4.263e-05 | 370 | 6.6288
365 | 2.764e-05 | 370.5 | 6.6609
365.5 | 3.328e-05 | 371 | 6.7069
366 | 3.128e-05 | 371.5 | 6.52
366.5 | 3.896e-05 | 372 | 6.7762
367 | 2.152e-05 | 372.5 | 6.5615
367.5 | 2.171e-05 | 373 | 6.4948
368 | 5.446e-05 | 373.5 | 6.6174
368.5 | 2.406e-05 | 374 | 6.7158
369 | 4.014e-05 | 374.5 | 7.8887
369.5 | 1.194e-05 | 375 | 7.0634
370 | 2.351e-05 | 375.5 | 6.5411
370.5 | 2.183e-05 | 376 | 6.9539
371 | 1.964e-05 | 376.5 | 6.486
371.5 | 3.02e-05 | 377 | 6.6345
372 | 1.674e-05 | 377.5 | 6.9027
372.5 | 2.745e-05 | 378 | 6.4734
373 | 3.2e-05 | 378.5 | 7.379
373.5 | 2.413e-05 | 379 | 6.6319
374 | 1.924e-05 | 379.5 | 6.7364
374.5 | 1.292e-06 | 380 | 6.9884
375 | 8.641e-06 | 380.5 | 6.4409
375.5 | 2.877e-05 | 381 | 6.7908
376 | 1.112e-05 | 381.5 | 6.6631
376.5 | 3.266e-05 | 382 | 6.5912
377 | 2.32e-05 | 382.5 | 6.5756
377.5 | 1.251e-05 | 383 | 6.8
378 | 3.362e-05 | 383.5 | 6.5496
378.5 | 4.178e-06 | 384 | 6.6782
379 | 2.334e-05 | 384.5 | 5.914
379.5 | 1.835e-05 | 385 | 5.4873
380 | 1.027e-05 | 385.5 | 5.656
380.5 | 3.623e-05 | 386 | 6.0652
381 | 1.619e-05 | 386.5 | 6.5046
381.5 | 2.172e-05 | 387 | 6.5698
382 | 2.563e-05 | 387.5 | 6.4264
382.5 | 2.657e-05 | 388 | 7.1603
383 | 1.585e-05 | 388.5 | 6.5384
383.5 | 2.821e-05 | 389 | 7.0282
384 | 2.098e-05 | 389.5 | 6.5274
384.5 | 0.0001219 | 390 | 6.8013
385 | 0.0003256 | 390.5 | 6.679
385.5 | 0.0002208 | 391 | 7.0539
386 | 8.607e-05 | 391.5 | 6.4293
386.5 | 3.129e-05 | 392 | 6.7364
387 | 2.693e-05 | 392.5 | 6.8996
387.5 | 3.746e-05 | 393 | 6.5415
388 | 6.913e-06 | 393.5 | 6.6207
388.5 | 2.895e-05 | 394 | 6.6345
389 | 9.372e-06 | 394.5 | 6.0822
389.5 | 2.969e-05 | 395 | 5.9226
390 | 1.58e-05 | 395.5 | 6.4924
390.5 | 2.094e-05 | 396 | 6.6031
391 | 8.832e-06 | 396.5 | 6.6463
391.5 | 3.721e-05 | 397.5 | 6.7619
392 | 1.835e-05 | 398 | 6.5874
392.5 | 1.26e-05 | 398.5 | 6.177
393 | 2.874e-05 | 399 | 5.927
393.5 | 2.395e-05 | 399.5 | 6.2971
394 | 2.32e-05 | 400 | 6.5538
394.5 | 8.276e-05 | 400.5 | 6.9953
395 | 0.0001195 | 401 | 6.8389
395.5 | 3.218e-05 | 401.5 | 6.9666
396 | 2.494e-05 | 402 | 6.744
396.5 | 2.258e-05 | 402.5 | 6.5328
397 | -8.774e-07 | 403 | 6.0141
397.5 | 1.73e-05 | 403.5 | 5.8444
398 | 2.586e-05 | 404 | 6.0634
398.5 | 6.653e-05 | 404.5 | 6.6193
399 | 0.0001183 | 405 | 6.9618
399.5 | 5.045e-05 | 405.5 | 6.6347
400 | 2.794e-05 | 406 | 6.7833
400.5 | 1.011e-05 | 406.5 | 6.6586
401 | 1.449e-05 | 407 | 6.3675
401.5 | 1.08e-05 | 407.5 | 5.8847
402 | 1.803e-05 | 408 | 5.6759
402.5 | 2.932e-05 | 408.5 | 5.9698
403 | 9.68e-05 | 409 | 6.9007
403.5 | 0.0001431 | 409.5 | 6.7518
404 | 8.642e-05 | 410 | 7.618
404.5 | 2.403e-05 | 410.5 | 6.6486
405 | 1.092e-05 | 411 | 6.2599
405.5 | 2.319e-05 | 411.5 | 5.6201
406 | 1.647e-05 | 412 | 5.433
406.5 | 2.195e-05 | 412.5 | 5.6828
407 | 4.29e-05 | 413 | 6.572
407.5 | 0.0001304 | 413.5 | 6.6592
408 | 0.0002109 | 414 | 6.7577
408.5 | 0.0001072 | 414.5 | 5.7857
409 | 1.257e-05 | 415 | 5.5127
409.5 | 1.771e-05 | 415.5 | 5.6338
410 | 2.41e-06 | 416 | 6.1561
410.5 | 2.246e-05 | 416.5 | 6.848
411 | 5.496e-05 | 417 | 6.7474
411.5 | 0.0002398 | 417.5 | 6.0388
412 | 0.000369 | 418 | 5.8022
412.5 | 0.0002076 | 418.5 | 5.9531
413 | 2.679e-05 | 419 | 6.5643
413.5 | 2.192e-05 | 419.5 | 6.7279
414 | 1.747e-05 | 420 | 7.0786
414.5 | 0.0001638 | 420.5 | 6.7846
415 | 0.0003071 | 421 | 6.9303
415.5 | 0.0002324 | 421.5 | 6.8709
416 | 6.98e-05 | 422 | 7.0089
416.5 | 1.419e-05 | 422.5 | 6.7833
417 | 1.789e-05 | 423 | 6.9226
417.5 | 9.145e-05 | 423.5 | 7.11
418 | 0.0001577 | 424 | 6.8834
418.5 | 0.0001114 | 424.5 | 7.4415
419 | 2.727e-05 | 425 | 7.0678
419.5 | 1.871e-05 | 425.5 | 6.8176
420 | 8.344e-06 | 426 | 6.9805
420.5 | 1.642e-05 | 426.5 | 6.8153
421 | 1.174e-05 | 427 | 6.8359
421.5 | 1.346e-05 | 427.5 | 7.9527
422 | 9.797e-06 | 428 | 6.8216
422.5 | 1.647e-05 | 428.5 | 6.9256
423 | 1.195e-05 | 429 | 7.1009
423.5 | 7.763e-06 | 429.5 | 6.8979
424 | 1.308e-05 | 430 | 9.0834
424.5 | 3.618e-06 | 430.5 | 7.7263
425 | 8.554e-06 | 431 | 6.9598
425.5 | 1.522e-05 | 432 | 7.0495
426 | 1.046e-05 | 432.5 | 7.2361
426.5 | 1.53e-05 | 433 | 6.8945
427 | 1.459e-05 | 433.5 | 7.1996
427.5 | 1.115e-06 | 434 | 6.6373
428 | 1.508e-05 | 434.5 | 7.4701
428.5 | 1.187e-05 | 435 | 8.1536
429 | 7.927e-06 | 435.5 | 7.1466
429.5 | 1.265e-05 | 436 | 6.8768
430 | 8.253e-08 | 436.5 | 6.9226
430.5 | 1.878e-06 | 437 | 7.1904
431 | 1.097e-05 | 437.5 | 6.9743
431.5 | -6.367e-07 | 438 | 6.7607
432 | 8.922e-06 | 439 | 6.8514
432.5 | 5.806e-06 | 440 | 6.8996
433 | 1.275e-05 | 440.5 | 6.8486
433.5 | 6.315e-06 | 441 | 7.0741
434 | 2.305e-05 | 441.5 | 6.9646
434.5 | 3.388e-06 | 442 | 6.9401
435 | 7.021e-07 | 443 | 6.9215
435.5 | 7.136e-06 | 443.5 | 7.1561
436 | 1.328e-05 | 444 | 7.0444
436.5 | 1.195e-05 | 444.5 | 7.374
437 | 6.451e-06 | 445 | 7.1458
437.5 | 1.061e-05 | 445.5 | 6.9718
438 | 1.735e-05 | 446 | 8.7632
438.5 | -3.329e-06 | 446.5 | 8.121
439 | 1.408e-05 | 447 | 6.9531
439.5 | -2.914e-06 | 447.5 | 6.8904
440 | 1.26e-05 | 448 | 7.0939
440.5 | 1.417e-05 | 448.5 | 6.9363
441 | 8.432e-06 | 449 | 7.5766
441.5 | 1.085e-05 | 449.5 | 7.081
442 | 1.148e-05 | 450 | 7.0402
442.5 | -9.761e-08 | 450.5 | 7.1968
443 | 1.198e-05 | 451 | 6.8413
443.5 | 6.98e-06 | 451.5 | 7.0001
444 | 9.029e-06 | 452 | 6.9288
444.5 | 4.227e-06 | 452.5 | 7.2671
445 | 7.148e-06 | 453 | 6.8145
445.5 | 1.067e-05 | 453.5 | 6.8242
446 | 1.725e-07 | 454 | 6.8636
446.5 | 7.568e-07 | 454.5 | 6.7961
447 | 1.114e-05 | 455 | 6.7135
447.5 | 1.287e-05 | 455.5 | 6.6972
448 | 8.055e-06 | 456 | 7.0012
448.5 | 1.158e-05 | 456.5 | 6.9136
449 | 2.651e-06 | 457 | 6.9259
449.5 | 8.298e-06 | 457.5 | 7.2436
450 | 9.116e-06 | 458 | 6.8732
450.5 | 6.356e-06 | 458.5 | 7.1573
451 | 1.441e-05 | 459 | 6.7293
451.5 | 9.998e-06 | 459.5 | 7.4056
452 | 1.178e-05 | 460 | 6.8386
452.5 | 5.406e-06 | 460.5 | 7.0283
453 | 1.533e-05 | 461 | 7.2618
453.5 | 1.499e-05 | 461.5 | 6.8723
454 | 1.369e-05 | 462 | 6.7889
454.5 | 1.599e-05 | 462.5 | 6.8821
455 | 1.934e-05 | 463 | 6.7597
455.5 | 2.008e-05 | 463.5 | 6.6234
456 | 9.973e-06 | 464 | 6.835
456.5 | 1.22e-05 | 464.5 | 6.6167
457 | 1.186e-05 | 465 | 6.7951
457.5 | 5.707e-06 | 465.5 | 6.5864
458 | 1.339e-05 | 466 | 6.5789
458.5 | 6.962e-06 | 466.5 | 6.5514
459 | 1.865e-05 | 467 | 6.5574
459.5 | 3.93e-06 | 467.5 | 6.3514
460 | 1.45e-05 | 468 | 6.2323
460.5 | 9.368e-06 | 468.5 | 5.9574
461 | 5.473e-06 | 469 | 5.6838
461.5 | 1.342e-05 | 469.5 | 5.3228
462 | 1.626e-05 | 470 | 4.8723
462.5 | 1.312e-05 | 470.5 | 4.3813
463 | 1.739e-05 | 471 | 3.8333
463.5 | 2.38e-05 | 471.5 | 3.2565
464 | 1.462e-05 | 472 | 2.6484
464.5 | 2.417e-05 | 472.5 | 1.9492
465 | 1.603e-05 | 473 | 1.1717
465.5 | 2.592e-05 | 473.5 | 0.5696
466 | 2.637e-05 | 474 | 0.22019
466.5 | 2.809e-05 | 474.5 | 0.06178
467 | 2.771e-05 | 475 | 0.01918
467.5 | 4.452e-05 | 475.5 | 0.0114
468 | 5.857e-05 | 476 | 0.00971
468.5 | 0.0001103 | 476.5 | 0.00926
469 | 0.0002071 | 477 | 0.00922
469.5 | 0.0004756 | 477.5 | 0.00696
470 | 0.001342 | 478 | 0.00652
470.5 | 0.004156 | 478.5 | 0.0067
471 | 0.01468 | 479 | 0.00745
471.5 | 0.0554 | 479.5 | 0.0074
472 | 0.2247 | 480 | 0.0074
472.5 | 1.124 | 480.5 | 0.00718
473 | 6.735 | 481 | 0.00838
473.5 | 26.94 | 481.5 | 0.00908
474 | 60.23 | 482 | 0.01006
474.5 | 86.74 | 482.5 | 0.01082
475 | 95.68 | 483 | 0.01153
475.5 | 97.41 | 483.5 | 0.01131
476 | 97.79 | 484 | 0.01122
476.5 | 97.89 | 484.5 | 0.01122
477 | 97.9 | 485 | 0.01144
477.5 | 98.41 | 485.5 | 0.01113
478 | 98.51 | 486 | 0.00997
478.5 | 98.47 | 486.5 | 0.00913
479 | 98.3 | 487 | 0.00802
479.5 | 98.31 | 487.5 | 0.00745
480 | 98.31 | 488 | 0.00692
480.5 | 98.36 | 488.5 | 0.00639
481 | 98.09 | 489 | 0.00529
481.5 | 97.93 | 489.5 | 0.00678
482 | 97.71 | 490 | 0.00617
482.5 | 97.54 | 490.5 | 0.0063
483 | 97.38 | 491 | 0.00581
483.5 | 97.43 | 491.5 | 0.00489
484 | 97.45 | 492 | 0.00551
484.5 | 97.45 | 492.5 | 0.00696
485 | 97.4 | 493 | 0.00913
485.5 | 97.47 | 493.5 | 0.01091
486 | 97.73 | 494 | 0.0118
486.5 | 97.92 | 494.5 | 0.01171
487 | 98.17 | 495 | 0.00877
487.5 | 98.3 | 495.5 | 0.00608
488 | 98.42 | 496 | 0.007
488.5 | 98.54 | 496.5 | 0.00762
489 | 98.79 | 497 | 0.00815
489.5 | 98.45 | 497.5 | 0.00882
490 | 98.59 | 498 | 0.02013
490.5 | 98.56 | 498.5 | 0.08061
491 | 98.67 | 499 | 0.25712
491.5 | 98.88 | 499.5 | 0.56928
492 | 98.74 | 500 | 1.4527
492.5 | 98.41 | 500.5 | 1.6923
493 | 97.92 | 501 | 2.2796
493.5 | 97.52 | 501.5 | 2.8256
494 | 97.32 | 502 | 3.3207
494.5 | 97.34 | 502.5 | 3.7678
495 | 98 | 503 | 4.1784
495.5 | 98.61 | 503.5 | 4.5549
496 | 98.4 | 504 | 4.8861
496.5 | 98.26 | 504.5 | 5.206
497 | 98.14 | 505 | 5.4647
497.5 | 97.99 | 505.5 | 5.6753
498 | 95.47 | 506 | 5.9197
498.5 | 83.06 | 506.5 | 6.1009
499 | 55.32 | 507 | 6.2093
499.5 | 26.96 | 507.5 | 6.2918
500 | 3.526 | 508 | 6.3433
500.5 | 2.031 | 508.5 | 6.4881
501 | 0.5253 | 509 | 6.4363
501.5 | 0.1494 | 509.5 | 6.4346
502 | 0.04778 | 510 | 6.6457
502.5 | 0.01707 | 510.5 | 6.6258
503 | 0.006631 | 511 | 6.7846
503.5 | 0.002787 | 511.5 | 6.9859
504 | 0.0013 | 512 | 6.9133
504.5 | 0.0006223 | 512.5 | 6.9872
505 | 0.000343 | 513 | 7.4012
505.5 | 0.0002112 | 513.5 | 7.0156
506 | 0.0001203 | 514 | 7.1996
506.5 | 7.927e-05 | 514.5 | 7.1042
507 | 6.176e-05 | 515 | 7.0945
507.5 | 5.108e-05 | 515.5 | 6.8133
508 | 4.536e-05 | 516 | 7.2216
508.5 | 3.25e-05 | 516.5 | 6.971
509 | 3.662e-05 | 517 | 6.9401
509.5 | 3.676e-05 | 517.5 | 7.8486
510 | 2.261e-05 | 518 | 7.0785
510.5 | 2.367e-05 | 518.5 | 6.7967
511 | 1.642e-05 | 519 | 7.1363
511.5 | 1.033e-05 | 519.5 | 7.2321
512 | 1.221e-05 | 520 | 7.4892
512.5 | 1.03e-05 | 520.5 | 7.4911
513 | 3.97e-06 | 521 | 7.766
513.5 | 9.647e-06 | 521.5 | 7.3461
514 | 6.315e-06 | 522 | 7.2275
514.5 | 7.867e-06 | 522.5 | 7.9562
515 | 8.045e-06 | 523 | 7.1012
515.5 | 1.537e-05 | 523.5 | 7.322
516 | 6.004e-06 | 524 | 7.0223
516.5 | 1.069e-05 | 524.5 | 7.3372
517 | 1.148e-05 | 525 | 7.4881
517.5 | 1.417e-06 | 525.5 | 6.7804
518 | 8.346e-06 | 526 | 7.9252
518.5 | 1.597e-05 | 526.5 | 7.1026
519 | 7.307e-06 | 527 | 7.5082
519.5 | 5.86e-06 | 528 | 6.9582
520 | 3.242e-06 | 528.5 | 6.9872
520.5 | 3.228e-06 | 530 | 7.1586
521 | 1.714e-06 | 531 | 7.2689
521.5 | 4.507e-06 | 531.5 | 7.5589
522 | 5.922e-06 | 532 | 8.2444
522.5 | 1.106e-06 | 532.5 | 7.3019
523 | 7.921e-06 | 533 | 7.4492
523.5 | 4.764e-06 | 533.5 | 7.1496
524 | 9.499e-06 | 534 | 7.364
524.5 | 4.601e-06 | 534.5 | 7.7997
525 | 3.25e-06 | 535 | 6.9594
525.5 | 1.658e-05 | 535.5 | 7.2317
526 | 1.188e-06 | 536 | 7.2606
526.5 | 7.895e-06 | 536.5 | 7.1735
527 | 3.103e-06 | 537 | 7.6155
527.5 | -6.78e-06 | 537.5 | 7.0773
528 | 1.101e-05 | 538 | 7.2614
528.5 | 1.03e-05 | 538.5 | 7.4559
529 | -2.368e-06 | 539 | 6.9863
529.5 | -4.796e-07 | 539.5 | 7.2009
530 | 6.94e-06 | 540 | 7.6488
530.5 | -3.637e-06 | 540.5 | 7.347
531 | 5.384e-06 | 541 | 7.0225
531.5 | 2.761e-06 | 541.5 | 7.8283
532 | 5.697e-07 | 542 | 7.2721
532.5 | 4.99e-06 | 543 | 7.978
533 | 3.555e-06 | 544 | 6.9183
533.5 | 7.086e-06 | 545 | 7.58
534 | 4.325e-06 | 548.5 | 7.6265
534.5 | 1.586e-06 | 549 | 7.8993
535 | 1.098e-05 | 549.5 | 7.3192
535.5 | 5.866e-06 | 550 | 7.1448
536 | 5.488e-06 | 551 | 7.6403
536.5 | 6.707e-06 | 551.5 | 7.3351
537 | 2.424e-06 | 552.5 | 7.1478
537.5 | 8.37e-06 | 553 | 7.7849
538 | 5.478e-06 | 553.5 | 7.3951
538.5 | 3.5e-06 | 554 | 6.8824
539 | 1.032e-05 | 555 | 6.9923
539.5 | 6.296e-06 | 555.5 | 7.6321
540 | 2.245e-06 | 556 | 8.6388
540.5 | 4.498e-06 | 556.5 | 7.0239
541 | 9.495e-06 | 557 | 7.0681
541.5 | 1.485e-06 | 557.5 | 8.2302
542 | 5.345e-06 | 558 | 7.181
542.5 | -9.887e-07 | 559 | 7.1958
543 | 1.052e-06 | 560 | 7.4877
543.5 | -4.984e-06 | 560.5 | 7.1449
544 | 1.207e-05 | 561 | 7.7319
544.5 | -2.898e-06 | 561.5 | 7.4428
545 | 2.63e-06 | 563 | 7.467
545.5 | -2.953e-06 | 563.5 | 7.0415
546 | -5.324e-06 | 564 | 7.9161
546.5 | -4.252e-06 | 564.5 | 7.755
547 | -2.013e-07 | 565 | 7.7817
547.5 | -6.974e-07 | 565.5 | 8.8642
548 | -7.217e-07 | 566 | 7.1281
548.5 | 2.363e-06 | 566.5 | 6.8564
549 | 1.261e-06 | 567 | 8.0966
549.5 | 4.795e-06 | 568 | 8.3619
550 | 7.165e-06 | 569 | 7.7317
550.5 | -4.266e-06 | 570 | 7.0951
551 | 2.289e-06 | 570.5 | 7.567
551.5 | 4.623e-06 | 571 | 7.5303
552 | -2.379e-06 | 571.5 | 7.2816
552.5 | 7.115e-06 | 572 | 7.5054
553 | 1.641e-06 | 572.5 | 7.3144
553.5 | 4.026e-06 | 573 | 7.1063
554 | 1.311e-05 | 574 | 6.8579
554.5 | -5.942e-06 | 574.5 | 7.3869
555 | 1.018e-05 | 575 | 6.9158
555.5 | 2.333e-06 | 575.5 | 6.835
556 | 2.297e-07 | 576 | 6.4894
556.5 | 9.465e-06 | 576.5 | 6.8049
557 | 8.548e-06 | 577 | 6.6417
557.5 | 5.885e-07 | 577.5 | 6.6341
558 | 6.592e-06 | 578 | 6.2993
558.5 | -7.649e-06 | 578.5 | 6.4099
559 | 6.371e-06 | 579 | 6.6558
559.5 | -2.521e-07 | 579.5 | 6.8542
560 | 3.253e-06 | 580 | 7.1601
560.5 | 7.163e-06 | 580.5 | 7.0928
561 | 1.854e-06 | 581 | 7.2545
561.5 | 3.607e-06 | 581.5 | 7.7719
562 | -3.388e-06 | 582 | 6.735
562.5 | -3.008e-06 | 582.5 | 6.9755
563 | 3.412e-06 | 583 | 7.4785
563.5 | 9.089e-06 | 583.5 | 6.9462
564 | 1.213e-06 | 584 | 7.0327
564.5 | 1.758e-06 | 584.5 | 7.1679
565 | 1.653e-06 | 585 | 6.6445
565.5 | 1.367e-07 | 585.5 | 6.5193
566 | 7.446e-06 | 586 | 6.9796
566.5 | 1.392e-05 | 586.5 | 7.1715
567 | 8.005e-07 | 587 | 6.9543
567.5 | -3.356e-07 | 587.5 | 7.2725
568 | 4.346e-07 | 588 | 7.862
568.5 | -2.317e-06 | 588.5 | 7.3415
569 | 1.855e-06 | 589 | 7.2638
569.5 | -2.29e-06 | 590 | 7.8401
570 | 8.034e-06 | 590.5 | 7.2031
570.5 | 2.71e-06 | 592 | 7.2388
571 | 2.949e-06 | 592.5 | 7.6733
571.5 | 5.229e-06 | 593 | 7.033
572 | 3.123e-06 | 593.5 | 7.4311
572.5 | 4.848e-06 | 594 | 6.8608
573 | 7.829e-06 | 594.5 | 6.841
573.5 | -5.756e-06 | 595 | 7.2294
574 | 1.387e-05 | 595.5 | 7.1125
574.5 | 4.103e-06 | 596 | 7.7841
575 | 1.214e-05 | 596.5 | 7.5268
575.5 | 1.462e-05 | 597 | 7.8589
576 | 3.24e-05 | 598 | 7.2045
576.5 | 1.567e-05 | 598.5 | 7.3234
577 | 2.282e-05 | 599 | 7.1917
577.5 | 2.322e-05 | 599.5 | 7.228
578 | 5.02e-05 | 600 | 7.3039
578.5 | 3.891e-05 | 601 | 7.2145
579 | 2.209e-05 | 601.5 | 7.2521
579.5 | 1.399e-05 | 602 | 7.4337
580 | 6.916e-06 | 602.5 | 7.1408
580.5 | 8.076e-06 | 603 | 7.154
581 | 5.566e-06 | 603.5 | 7.0578
581.5 | 1.691e-06 | 604 | 6.9694
582 | 1.841e-05 | 604.5 | 7.2319
582.5 | 1.058e-05 | 605 | 6.9393
583 | 3.323e-06 | 605.5 | 7.3656
583.5 | 1.132e-05 | 606 | 7.469
584 | 9.274e-06 | 607.5 | 7.2488
584.5 | 6.794e-06 | 608 | 6.9344
585 | 2.267e-05 | 609 | 7.3707
585.5 | 3.025e-05 | 609.5 | 7.0914
586 | 1.048e-05 | 610.5 | 7.5862
586.5 | 6.737e-06 | 611 | 7.2228
587 | 1.111e-05 | 611.5 | 7.178
587.5 | 5.339e-06 | 612 | 7.6453
588 | 1.374e-06 | 612.5 | 7.1537
588.5 | 4.555e-06 | 613.5 | 6.9901
589 | 5.448e-06 | 614 | 7.2727
589.5 | -1.905e-06 | 614.5 | 7.5972
590 | 1.445e-06 | 615 | 7.1326
590.5 | 6.265e-06 | 615.5 | 7.6977
591 | -5.76e-07 | 616 | 7.0152
591.5 | -1.907e-06 | 616.5 | 7.7447
592 | 5.77e-06 | 617 | 7.0582
592.5 | 2.122e-06 | 617.5 | 7.3563
593 | 9.268e-06 | 618.5 | 7.4451
593.5 | 3.706e-06 | 620 | 7.1649
594 | 1.378e-05 | 620.5 | 7.3888
594.5 | 1.442e-05 | 622 | 8.0792
595 | 5.896e-06 | 622.5 | 7.2127
595.5 | 7.718e-06 | 623 | 7.2967
596 | 1.644e-06 | 624 | 7.7972
596.5 | 2.973e-06 | 625 | 8.0459
597 | 1.384e-06 | 625.5 | 6.969
597.5 | -5.302e-07 | 626.5 | 6.942
598 | 6.244e-06 | 627 | 7.0567
598.5 | 4.749e-06 | 627.5 | 7.5817
599 | 6.431e-06 | 628 | 7.0073
599.5 | 5.915e-06 | 628.5 | 8.1047
600 | 4.967e-06 | 629 | 7.1373
600.5 | -4.83e-06 | 629.5 | 6.9101
601 | 6.103e-06 | 630 | 7.0959
601.5 | 5.596e-06 | 630.5 | 7.1319
602 | 3.684e-06 | 631 | 8.4721
602.5 | 7.231e-06 | 631.5 | 7.4755
603 | 7.015e-06 | 632 | 7.2034
603.5 | 8.754e-06 | 632.5 | 7.3933
604 | 1.073e-05 | 633 | 6.9183
604.5 | 5.863e-06 | 633.5 | 7.0197
605 | 1.15e-05 | 634.5 | 7.4653
605.5 | 4.309e-06 | 635 | 7.1405
606 | 3.396e-06 | 636 | 9.1413
606.5 | -1.877e-06 | 636.5 | 7.198
607 | -3.145e-06 | 637.5 | 6.9718
607.5 | 5.639e-06 | 638.5 | 8.2705
608 | 1.163e-05 | 639 | 7.0296
608.5 | -9.564e-07 | 639.5 | 7.2555
609 | 4.259e-06 | 640.5 | 7.2695
609.5 | 8.102e-06 | 641.5 | 8.1425
610 | -1.083e-05 | 642 | 6.9735
610.5 | 2.593e-06 | 642.5 | 7.8164
611 | 5.987e-06 | 643 | 6.9834
611.5 | 6.638e-06 | 643.5 | 7.1813
612 | 2.263e-06 | 644 | 7.2573
612.5 | 7.019e-06 | 644.5 | 7.2204
613 | -1.114e-06 | 645 | 7.734
613.5 | 1.023e-05 | 645.5 | 6.8236
614 | 5.337e-06 | 646 | 7.0405
614.5 | 2.528e-06 | 646.5 | 7.8024
615 | 7.368e-06 | 647 | 7.0574
615.5 | 2.006e-06 | 648 | 7.6889
616 | 9.656e-06 | 648.5 | 7.2203
616.5 | 1.8e-06 | 649 | 7.3387
617 | 8.746e-06 | 649.5 | 6.9179
617.5 | 4.403e-06 | 650 | 7.7956
618 | -3.519e-06 | 650.5 | 8.1357
618.5 | 3.588e-06 | 651 | 7.2858
619 | -4.257e-07 | 651.5 | 7.0255
619.5 | -7.272e-06 | 652 | 8.4049
620 | 6.84e-06 | 652.5 | 7.5746
620.5 | 4.085e-06 | 653 | 7.8681
621 | -8.272e-07 | 653.5 | 7.4576
621.5 | -3.941e-06 | 654 | 7.9104
622 | 8.333e-07 | 654.5 | 7.7093
622.5 | 6.127e-06 | 655 | 7.0667
623 | 5.05e-06 | 655.5 | 7.0122
623.5 | -3.818e-06 | 656 | 7.2782
624 | 1.595e-06 | 656.5 | 7.5134
624.5 | -2.34e-06 | 657 | 8.3061
625 | 8.996e-07 | 657.5 | 8.512
625.5 | 1.074e-05 | 658 | 7.2592
626 | -6.22e-06 | 658.5 | 7.7698
626.5 | 1.143e-05 | 659 | 7.1885
627 | 8.776e-06 | 659.5 | 7.0849
627.5 | 2.62e-06 | 660 | 7.4101
628 | 9.834e-06 | 660.5 | 7.1759
628.5 | 7.858e-07 | 661 | 7.0642
629 | 7.29e-06 | 661.5 | 7.5262
629.5 | 1.23e-05 | 662.5 | 7.3399
630 | 8.018e-06 | 663 | 7.3909
630.5 | 7.381e-06 | 663.5 | 7.6251
631 | 3.372e-07 | 664 | 7.5914
631.5 | 3.346e-06 | 664.5 | 7.4097
632 | 6.261e-06 | 665 | 7.5701
632.5 | 4.043e-06 | 666 | 7.0319
633 | 1.207e-05 | 666.5 | 7.2895
633.5 | 9.557e-06 | 667.5 | 7.3146
634 | -2.224e-06 | 668.5 | 7.7219
634.5 | 3.425e-06 | 669 | 7.1842
635 | 7.236e-06 | 669.5 | 7.04
635.5 | -1.495e-06 | 670 | 7.2806
636 | 7.223e-08 | 670.5 | 7.4277
636.5 | 6.339e-06 | 671 | 6.983
637 | -5.393e-06 | 672.5 | 7.1067
637.5 | 1.067e-05 | 673 | 6.9241
638 | -6.782e-07 | 674 | 7.1453
638.5 | 5.364e-07 | 674.5 | 8.2064
639 | 9.342e-06 | 675 | 7.091
639.5 | 5.553e-06 | 675.5 | 6.8729
640 | -1.288e-06 | 676 | 8.9226
640.5 | 5.376e-06 | 676.5 | 7.3521
641 | -1.405e-06 | 677 | 6.8589
641.5 | 7.202e-07 | 677.5 | 7.3971
642 | 1.063e-05 | 678 | 7.0161
642.5 | 1.526e-06 | 678.5 | 7.3373
643 | 1.039e-05 | 679 | 7.0157
643.5 | 6.588e-06 | 679.5 | 6.95
644 | 5.529e-06 | 680.5 | 7.3389
644.5 | 6.02e-06 | 681 | 7.124
645 | 1.845e-06 | 681.5 | 7.2371
645.5 | 1.501e-05 | 682 | 7.5346
646 | 9.11e-06 | 683 | 7.35
646.5 | 1.576e-06 | 683.5 | 7.2427
647 | 8.762e-06 | 684 | 7.1487
647.5 | -1.448e-07 | 684.5 | 7.0949
648 | 2.047e-06 | 685.5 | 7.1221
648.5 | 6.022e-06 | 686 | 7.0225
649 | 4.585e-06 | 686.5 | 7.2833
649.5 | 1.208e-05 | 687 | 6.963
650 | 1.601e-06 | 687.5 | 6.9543
650.5 | 7.316e-07 | 688 | 6.7229
651 | 5.178e-06 | 688.5 | 7.3834
651.5 | 9.43e-06 | 689 | 6.564
652 | 3.936e-07 | 689.5 | 6.8499
652.5 | 2.663e-06 | 690 | 6.5547
653 | 1.355e-06 | 690.5 | 6.4559
653.5 | 3.487e-06 | 691 | 6.3222
654 | 1.229e-06 | 691.5 | 6.2947
654.5 | 1.953e-06 | 692 | 6.3239
655 | 8.576e-06 | 692.5 | 6.536
655.5 | 9.722e-06 | 693 | 6.4607
656 | 5.27e-06 | 693.5 | 6.4874
656.5 | 3.066e-06 | 694 | 6.9876
657 | 4.942e-07 | 694.5 | 6.7138
657.5 | 3.076e-07 | 695 | 6.9918
658 | 5.506e-06 | 695.5 | 6.7622
658.5 | 1.699e-06 | 696 | 7.2493
659 | 6.479e-06 | 696.5 | 6.7454
659.5 | 8.225e-06 | 697 | 6.568
660 | 3.89e-06 | 697.5 | 6.8173
660.5 | 6.67e-06 | 698 | 6.9893
661 | 8.625e-06 | 698.5 | 6.8831
661.5 | 2.977e-06 | 699 | 6.5887
662 | -2.347e-06 | 699.5 | 6.4904
662.5 | 4.572e-06 | 700 | 6.4043
663 | 4.065e-06 | 700.5 | 6.3494
663.5 | 2.371e-06 | 701 | 5.9957
664 | 2.562e-06 | 701.5 | 5.9634
664.5 | 3.893e-06 | 702 | 6.0033
665 | 2.691e-06 | 702.5 | 6.1125
665.5 | -6.365e-07 | 703 | 6.5209
666 | 9.291e-06 | 703.5 | 6.8655
666.5 | 5.135e-06 | 704 | 7.195
667 | -7.189e-06 | 704.5 | 6.7857
667.5 | 4.846e-06 | 706 | 7.0551
668 | -1.162e-06 | 706.5 | 7.3856
668.5 | 1.897e-06 | 707 | 7.6668
669 | 6.544e-06 | 707.5 | 7.2844
669.5 | 9.119e-06 | 708.5 | 7.2935
670 | 5.241e-06 | 709 | 6.9578
670.5 | 3.735e-06 | 709.5 | 8.6149
671 | 1.04e-05 | 710 | 7.3786
671.5 | -7.937e-06 | 710.5 | 7.1818
672 | -3.491e-06 | 711 | 7.3071
672.5 | 7.821e-06 | 711.5 | 7.5412
673 | 1.191e-05 | 712 | 7.7547
673.5 | -2.694e-06 | 713.5 | 6.8841
674 | 7.157e-06 | 714.5 | 7.4637
674.5 | 6.218e-07 | 715 | 7.6517
675 | 8.11e-06 | 715.5 | 7.702
675.5 | 1.34e-05 | 716 | 7.4214
676 | 1.195e-07 | 716.5 | 7.1207
676.5 | 4.445e-06 | 717.5 | 7.0686
677 | 1.384e-05 | 719 | 7.4153
677.5 | 4.008e-06 | 720 | 7.4539
678 | 9.637e-06 | 720.5 | 8.1416
678.5 | 4.599e-06 | 721 | 7.909
679 | 9.645e-06 | 721.5 | 6.9263
679.5 | 1.122e-05 | 723 | 7.6515
680 | -1.512e-06 | 724 | 7.3384
680.5 | 4.582e-06 | 724.5 | 8.2413
681 | 7.517e-06 | 725 | 7.5117
681.5 | 5.793e-06 | 726 | 7.4193
682 | 2.92e-06 | 726.5 | 7.8184
682.5 | -2.19e-06 | 727 | 7.156
683 | 4.467e-06 | 727.5 | 7.9555
683.5 | 5.719e-06 | 728 | 7.6057
684 | 7.1e-06 | 728.5 | 6.6024
684.5 | 8.037e-06 | 729 | 6.2673
685 | -4.075e-07 | 729.5 | 6.0197
685.5 | 7.549e-06 | 730 | 6.3068
686 | 9.496e-06 | 730.5 | 6.9821
686.5 | 5.208e-06 | 731 | 6.6392
687 | 1.089e-05 | 732.5 | 6.978
687.5 | 1.111e-05 | 733.5 | 7.0894
688 | 1.893e-05 | 734 | 6.7153
688.5 | 4.136e-06 | 735 | 7.3525
689 | 2.729e-05 | 736 | 7.9751
689.5 | 1.413e-05 | 736.5 | 6.8289
690 | 2.788e-05 | 737.5 | 7.002
690.5 | 3.5e-05 | 738 | 7.2149
691 | 4.762e-05 | 739 | 7.0324
691.5 | 5.073e-05 | 739.5 | 7.194
692 | 4.743e-05 | 740.5 | 7.0016
692.5 | 2.911e-05 | 741 | 7.1462
693 | 3.462e-05 | 741.5 | 7.1778
693.5 | 3.255e-05 | 743 | 9.2043
694 | 1.029e-05 | 743.5 | 7.1449
694.5 | 1.933e-05 | 744 | 6.8008
695 | 1.019e-05 | 744.5 | 6.7934
695.5 | 1.729e-05 | 745 | 7.2428
696 | 5.632e-06 | 745.5 | 6.9355
696.5 | 1.797e-05 | 747 | 7.2509
697 | 2.704e-05 | 747.5 | 6.9007
697.5 | 1.523e-05 | 748.5 | 7.0936
698 | 1.025e-05 | 749 | 6.6368
698.5 | 1.309e-05 | 749.5 | 7.6597
699 | 2.578e-05 | 750 | 6.7073
699.5 | 3.233e-05 | 751 | 7.1919
700 | 3.942e-05 | 752 | 8.3105
700.5 | 4.473e-05 | 752.5 | 7.192
701 | 0.000101 | 753.5 | 6.6639
701.5 | 0.0001088 | 754 | 8.4094
702 | 9.924e-05 | 754.5 | 7.1017
702.5 | 7.718e-05 | 755.5 | 6.7289
703 | 3.014e-05 | 756 | 6.9682
703.5 | 1.363e-05 | 756.5 | 6.7721
704 | 6.383e-06 | 757 | 6.9889
704.5 | 1.638e-05 | 758 | 6.5959
705 | -1.494e-06 | 758.5 | 6.6951
705.5 | -3.567e-06 | 759.5 | 6.4216
706 | 8.808e-06 | 761 | 7.7719
706.5 | 4.115e-06 | 762.5 | 7.0028
707 | 2.154e-06 | 763 | 7.1139
707.5 | 5.195e-06 | 763.5 | 6.5715
708 | -1.93e-06 | 764 | 6.8495
708.5 | 5.087e-06 | 764.5 | 7.7131
709 | 1.102e-05 | 765 | 6.6225
709.5 | 2.427e-07 | 766 | 6.5918
710 | 4.182e-06 | 767.5 | 6.7913
710.5 | 6.58e-06 | 769 | 6.8374
711 | 4.931e-06 | 769.5 | 7.3151
711.5 | 2.876e-06 | 770 | 6.7523
712 | 1.759e-06 | 771.5 | 6.6003
712.5 | -3.507e-06 | 772 | 6.4138
713 | -1.298e-06 | 772.5 | 6.543
713.5 | 1.306e-05 | 773 | 7.4785
714 | -6.682e-06 | 774.5 | 6.3982
714.5 | 3.438e-06 | 776 | 7.1746
715 | 2.23e-06 | 777 | 6.6319
715.5 | 1.986e-06 | 777.5 | 7.1002
716 | 3.79e-06 | 780.5 | 7.1068
716.5 | 7.573e-06 | 783 | 7.648
717 | -1.313e-06 | 784 | 7.0308
717.5 | 8.538e-06 | 786.5 | 6.3311
718 | -2.646e-06 | 788 | 6.2918
718.5 | -2.819e-06 | 788.5 | 7.8745
719 | 3.843e-06 | 789 | 7.2629
719.5 | -1.221e-06 | 790.5 | 6.7084
720 | 3.516e-06 | 791 | 6.9073
720.5 | 7.218e-07 | 791.5 | 6.7312
721 | 1.233e-06 | 793 | 6.6385
721.5 | 1.185e-05 | 794 | 7.5239
722 | -3.073e-06 | 795.5 | 7.5337
722.5 | -1.154e-05 | 796 | 6.8315
723 | 2.231e-06 | 796.5 | 6.4785
723.5 | -1.995e-06 | 797 | 6.3771
724 | 4.588e-06 | 799 | 6.7721
724.5 | 5.737e-07 | 800.5 | 7.3618
725 | 3.078e-06 | 801 | 6.4408
725.5 | -9.596e-06 | 804 | 7.9267
726 | 3.808e-06 | 804.5 | 6.8877
726.5 | 1.519e-06 | 805 | 6.607
727 | 6.983e-06 | 805.5 | 6.6242
727.5 | 1.108e-06 | 806 | 6.6423
728 | 2.479e-06 | 806.5 | 6.6295
728.5 | 2.498e-05 | 807 | 6.6173
729 | 5.404e-05 | 807.5 | 6.5475
729.5 | 9.556e-05 | 808 | 6.4872
730 | 4.934e-05 | 808.5 | 6.5309
730.5 | 1.042e-05 | 809 | 6.5794
731 | 2.295e-05 | 809.5 | 6.6726
731.5 | -1.211e-06 | 810 | 6.7916
732 | -6.076e-06 | 810.5 | 7.7889
732.5 | 1.052e-05 | 811.5 | 6.6853
733 | -2.719e-06 | 812 | 6.2661
733.5 | 8.14e-06 | 812.5 | 6.3061
734 | 1.926e-05 | 813 | 6.3502
734.5 | -7.807e-06 | 813.5 | 6.2682
735 | 4.441e-06 | 814 | 6.1993
735.5 | -1.49e-06 | 814.5 | 6.532
736 | 1.059e-06 | 816 | 7.5122
736.5 | 1.483e-05 | 816.5 | 6.7084
737 | -1.051e-05 | 817 | 6.443
737.5 | 9.955e-06 | 817.5 | 6.4141
738 | 6.097e-06 | 818 | 6.387
738.5 | -9.188e-06 | 818.5 | 6.5533
739 | 9.281e-06 | 819 | 6.8274
739.5 | 6.397e-06 | 821 | 6.7913
740 | -6.347e-07 | 821.5 | 6.8598
740.5 | 9.963e-06 | 822 | 6.9412
741 | 7.142e-06 | 822.5 | 6.8184
741.5 | 6.64e-06 | 823 | 6.7229
742 | -6.953e-06 | 825 | 6.9397
742.5 | -2.898e-06 | 826.5 | 7.0541
743 | 6.248e-08 | 827 | 6.3326
743.5 | 7.163e-06 | 827.5 | 6.761
744 | 1.582e-05 | 829.5 | 7.7961
744.5 | 1.609e-05 | 830 | 6.994
745 | 5.718e-06 | 830.5 | 6.8297
745.5 | 1.16e-05 | 831 | 6.7104
746 | -3.154e-07 | 831.5 | 7.3651
746.5 | -5.207e-07 | 832.5 | 9.9558
747 | 5.612e-06 | 833 | 6.9642
747.5 | 1.257e-05 | 833.5 | 6.5235
748 | -1.921e-05 | 834 | 6.3094
748.5 | 8.061e-06 | 834.5 | 6.4707
749 | 2.308e-05 | 835 | 6.73
749.5 | 2.189e-06 | 835.5 | 7.1008
750 | 1.962e-05 | 836.5 | 7.2615
750.5 | -5.706e-06 | 837 | 6.863
751 | 6.428e-06 | 837.5 | 6.5144
751.5 | -1.392e-05 | 838 | 6.3238
752 | 4.892e-07 | 838.5 | 6.4946
752.5 | 6.427e-06 | 839 | 6.7809
753 | -3.142e-06 | 841.5 | 7.2834
753.5 | 2.168e-05 | 842 | 6.6293
754 | 3.896e-07 | 842.5 | 6.4863
754.5 | 7.912e-06 | 843 | 6.379
755 | -2.497e-05 | 843.5 | 6.8976
755.5 | 1.867e-05 | 844.5 | 6.6368
756 | 1.076e-05 | 845 | 6.2032
756.5 | 1.69e-05 | 845.5 | 6.3538
757 | 1.026e-05 | 846 | 6.5862
757.5 | -6.986e-06 | 846.5 | 6.6517
758 | 2.536e-05 | 847 | 6.7291
758.5 | 2.018e-05 | 847.5 | 6.9122
759 | -1.012e-05 | 848 | 7.235
759.5 | 3.788e-05 | 848.5 | 7.5354
760 | -2.063e-05 | 849 | 9.9953
760.5 | -1.266e-06 | 851.5 | 7.0798
761 | 1.691e-06 | 852 | 6.5714
761.5 | -1.537e-05 | 852.5 | 6.5187
762 | -5.656e-06 | 853 | 6.4716
762.5 | 9.935e-06 | 853.5 | 6.5986
763 | 7.694e-06 | 854 | 6.7786
763.5 | 2.682e-05 | 854.5 | 6.8002
764 | 1.414e-05 | 855 | 6.823
764.5 | 1.936e-06 | 855.5 | 6.7528
765 | 2.385e-05 | 856 | 6.6925
765.5 | -1.13e-06 | 856.5 | 7.0653
766 | 2.56e-05 | 859 | 6.8471
766.5 | -2.441e-05 | 859.5 | 7.4831
767 | -4.376e-06 | 860.5 | 6.7192
767.5 | 1.617e-05 | 861 | 6.3393
768 | -1.07e-05 | 861.5 | 6.3505
768.5 | -6.809e-06 | 862 | 6.3619
769 | 1.454e-05 | 862.5 | 6.4378
769.5 | 4.841e-06 | 863 | 6.5299
770 | 1.769e-05 | 863.5 | 6.6155
770.5 | -1.612e-05 | 864 | 6.7222
771 | -1.876e-05 | 864.5 | 6.7219
771.5 | 2.51e-05 | 865 | 6.7217
772 | 3.857e-05 | 865.5 | 6.8636
772.5 | 2.864e-05 | 866 | 7.0757
773 | 3.323e-06 | 866.5 | 6.6708
773.5 | -9.971e-06 | 867 | 6.4651
774 | -1.6e-05 | 867.5 | 6.4889
774.5 | 3.998e-05 | 868 | 6.5143
775 | -6.003e-06 | 868.5 | 6.5626
775.5 | -7.453e-06 | 869 | 6.6169
776 | 6.689e-06 | 869.5 | 7.7729
776.5 | -8.652e-06 | 871 | 6.978
777 | 2.334e-05 | 871.5 | 6.7324
777.5 | 7.939e-06 | 872 | 6.5764
778 | -1.027e-05 | 872.5 | 6.6745
778.5 | -1.387e-06 | 873 | 6.8016
779 | -1.396e-05 | 873.5 | 6.7235
779.5 | -1.058e-05 | 874 | 6.6574
780 | -4.473e-06 | 874.5 | 6.7366
780.5 | 7.82e-06 | 875 | 6.8333
781 | -1.018e-05 | 875.5 | 6.3012
781.5 | -1.504e-05 | 876 | 6.0691
782 | -6.465e-06 | 876.5 | 6.1969
782.5 | -5.611e-06 | 877 | 6.3787
783 | 2.249e-06 | 877.5 | 6.4384
783.5 | -1.526e-05 | 878 | 6.5074
784 | 9.316e-06 | 878.5 | 6.8357
784.5 | -1.519e-05 | 879.5 | 6.9638
785 | -3.288e-05 | 880 | 6.6265
785.5 | -8.63e-06 | 880.5 | 6.5996
786 | -5.293e-06 | 881 | 6.5743
786.5 | 4.666e-05 | 881.5 | 6.3897
787 | -2.422e-05 | 882 | 6.2607
787.5 | -2.174e-05 | 882.5 | 6.5045
788 | 5.107e-05 | 883 | 7.1129
788.5 | 1.335e-06 | 883.5 | 6.4295
789 | 5.459e-06 | 884 | 6.1761
789.5 | -2.274e-05 | 884.5 | 6.507
790 | -3.078e-05 | 885.5 | 6.9129
790.5 | 1.957e-05 | 886 | 6.5396
791 | 1.238e-05 | 886.5 | 6.5599
791.5 | 1.857e-05 | 887 | 6.5812
792 | -1.691e-05 | 887.5 | 6.3103
792.5 | -2.872e-05 | 888 | 6.1448
793 | 2.299e-05 | 888.5 | 6.3689
793.5 | -1.683e-05 | 889 | 6.857
794 | 2.993e-06 | 889.5 | 6.712
794.5 | -2.201e-05 | 890 | 6.6034
795 | -1.522e-05 | 890.5 | 6.8294
795.5 | 2.926e-06 | 891 | 7.3276
796 | 1.474e-05 | 891.5 | 7.5844
796.5 | 3.323e-05 | 892 | 8.2967
797 | 4.197e-05 | 893.5 | 7.1082
797.5 | -3.423e-05 | 894 | 6.5475
798 | -7.443e-06 | 894.5 | 6.9944
798.5 | -1.768e-05 | 895.5 | 7.0214
799 | 1.69e-05 | 896 | 6.5667
799.5 | -1.88e-05 | 896.5 | 7.3945
800 | -2.754e-05 | 898.5 | 7.4448
800.5 | 4.347e-06 | 899 | 6.8033
801 | 3.624e-05 | 899.5 | 6.4124
801.5 | -3.844e-07 | 900 | 6.2099
802 | -3.697e-05 | 900.5 | 6.4081
802.5 | -2.773e-05 | 901 | 6.7825
803 | -1.849e-05 | 901.5 | 6.5894
803.5 | -8.657e-06 | 902 | 6.4563
804 | 1.184e-06 | 902.5 | 6.6974
804.5 | 1.295e-05 | 903 | 7.2863
805 | 2.472e-05 | 904.5 | 6.8536
805.5 | 2.376e-05 | 905 | 6.3675
806 | 2.279e-05 | 905.5 | 6.7747
806.5 | 2.347e-05 | 906.5 | 7.3538
807 | 2.414e-05 | 907 | 6.7411
807.5 | 2.835e-05 | 907.5 | 6.3338
808 | 3.257e-05 | 908 | 6.1274
808.5 | 2.945e-05 | 908.5 | 6.3787
809 | 2.634e-05 | 909 | 7.0436
809.5 | 2.125e-05 | 909.5 | 7.4899
810 | 1.616e-05 | 910.5 | 7.1833
810.5 | 1.626e-06 | 911 | 6.8046
811 | -1.288e-05 | 912.5 | 7.3554
811.5 | 2.064e-05 | 913 | 6.2174
812 | 5.419e-05 | 913.5 | 6.3134
812.5 | 4.942e-05 | 914 | 6.4368
813 | 4.465e-05 | 914.5 | 6.5153
813.5 | 5.393e-05 | 915 | 6.6114
814 | 6.32e-05 | 915.5 | 6.7305
814.5 | 2.938e-05 | 916 | 6.8948
815 | -4.463e-06 | 916.5 | 6.7016
815.5 | -6.928e-07 | 917 | 6.5683
816 | 3.075e-06 | 917.5 | 7.0527
816.5 | 1.957e-05 | 918.5 | 6.6302
817 | 3.606e-05 | 919 | 6.251
817.5 | 3.854e-05 | 919.5 | 6.4685
818 | 4.102e-05 | 920 | 6.9252
818.5 | 2.797e-05 | 920.5 | 7.1581
819 | 1.488e-05 | 921 | 7.6934
819.5 | -1.389e-06 | 923 | 6.6542
820 | -1.765e-05 | 923.5 | 7.4438
820.5 | -7.368e-07 | 924.5 | 6.6212
821 | 1.617e-05 | 925 | 6.2018
821.5 | 1.381e-05 | 925.5 | 6.2274
822 | 1.145e-05 | 926 | 6.2547
822.5 | 1.519e-05 | 926.5 | 6.7366
823 | 1.893e-05 | 928 | 7.2896
823.5 | -5.115e-06 | 928.5 | 6.806
824 | -2.914e-05 | 929 | 6.583
824.5 | -8.834e-06 | 929.5 | 6.8444
825 | 1.149e-05 | 930 | 7.5993
825.5 | -8.698e-06 | 930.5 | 6.8074
826 | -2.883e-05 | 931 | 6.5426
826.5 | 8.828e-06 | 931.5 | 6.2952
827 | 4.65e-05 | 932 | 6.1386
827.5 | 1.734e-05 | 932.5 | 6.2409
828 | -1.187e-05 | 933 | 6.3752
828.5 | -9.404e-06 | 933.5 | 6.6108
829 | -6.944e-06 | 934 | 7.1625
829.5 | 1.599e-06 | 934.5 | 6.9439
830 | 1.014e-05 | 935 | 6.7986
830.5 | 1.48e-05 | 935.5 | 6.6214
831 | 1.948e-05 | 936 | 6.4959
831.5 | 4.314e-06 | 936.5 | 6.3951
832 | -1.083e-05 | 937 | 6.3134
832.5 | 1.107e-08 | 937.5 | 6.2895
833 | 1.086e-05 | 938 | 6.2669
833.5 | 2.996e-05 | 938.5 | 6.2415
834 | 4.905e-05 | 939 | 6.2176
834.5 | 3.383e-05 | 939.5 | 6.5493
835 | 1.862e-05 | 941.5 | 6.8589
835.5 | 7.929e-06 | 942 | 6.5072
836 | -2.776e-06 | 942.5 | 6.475
836.5 | 5.477e-06 | 943 | 6.445
837 | 1.371e-05 | 943.5 | 6.4841
837.5 | 3.059e-05 | 944 | 6.527
838 | 4.745e-05 | 944.5 | 6.5582
838.5 | 3.202e-05 | 945 | 6.5919
839 | 1.656e-05 | 945.5 | 6.6242
839.5 | -3.742e-06 | 946 | 6.6592
840 | -2.404e-05 | 946.5 | 6.3502
840.5 | -1.855e-05 | 947 | 6.1716
841 | -1.307e-05 | 947.5 | 6.4819
841.5 | 5.207e-06 | 948.5 | 7.0545
842 | 2.348e-05 | 949 | 6.7185
842.5 | 3.264e-05 | 949.5 | 6.4072
843 | 4.178e-05 | 950 | 6.2279
843.5 | 1.266e-05 | 950.5 | 6.4946
844 | -1.65e-05 | 951 | 7.3156
844.5 | 2.308e-05 | 951.5 | 6.4088
845 | 6.263e-05 | 952 | 6.1355
845.5 | 4.428e-05 | 952.5 | 6.11
846 | 2.593e-05 | 953 | 6.086
846.5 | 2.23e-05 | 953.5 | 6.2715
847 | 1.866e-05 | 954 | 6.6026
847.5 | 1.224e-05 | 954.5 | 6.817
848 | 5.821e-06 | 955 | 7.2577
848.5 | 2.915e-06 | 955.5 | 6.528
849 | 1.011e-08 | 956 | 6.2699
849.5 | -7.984e-06 | 956.5 | 6.1995
850 | -1.596e-05 | 957 | 6.1388
850.5 | -1.308e-05 | 957.5 | 6.3343
851 | -1.019e-05 | 958 | 6.6994
851.5 | 8.321e-06 | 958.5 | 6.7929
852 | 2.683e-05 | 959 | 6.9122
852.5 | 3.029e-05 | 959.5 | 6.9863
853 | 3.376e-05 | 960 | 7.0756
853.5 | 2.52e-05 | 960.5 | 7.6207
854 | 1.665e-05 | 961.5 | 6.927
854.5 | 1.584e-05 | 962 | 6.5642
855 | 1.503e-05 | 962.5 | 6.4281
855.5 | 1.767e-05 | 963 | 6.3247
856 | 2.03e-05 | 963.5 | 6.5482
856.5 | 8.604e-06 | 964 | 7.0324
857 | -3.094e-06 | 964.5 | 7.1735
857.5 | -1.069e-05 | 965 | 7.3845
858 | -1.83e-05 | 965.5 | 6.4836
858.5 | -2.037e-06 | 966 | 6.2109
859 | 1.422e-05 | 966.5 | 6.5371
859.5 | 3.288e-06 | 967.5 | 7.8693
860 | -7.641e-06 | 968 | 7.2075
860.5 | 1.909e-05 | 968.5 | 6.5817
861 | 4.578e-05 | 969 | 6.3359
861.5 | 4.462e-05 | 969.5 | 6.5566
862 | 4.346e-05 | 970 | 7.0286
862.5 | 3.649e-05 | 970.5 | 6.6472
863 | 2.952e-05 | 971 | 6.4477
863.5 | 2.424e-05 | 971.5 | 6.6694
864 | 1.896e-05 | 972 | 7.1473
864.5 | 1.897e-05 | 972.5 | 6.5872
865 | 1.898e-05 | 973 | 6.3508
865.5 | 1.369e-05 | 973.5 | 6.6187
866 | 8.401e-06 | 974 | 7.4488
866.5 | 2.134e-05 | 974.5 | 8.555
867 | 3.427e-05 | 975.5 | 7.5363
867.5 | 3.244e-05 | 976 | 7.0554
868 | 3.06e-05 | 976.5 | 6.8781
868.5 | 2.738e-05 | 977 | 6.7523
869 | 2.416e-05 | 977.5 | 6.5154
869.5 | 1.687e-06 | 978 | 6.3634
870 | -2.076e-05 | 978.5 | 6.3531
870.5 | -5.123e-06 | 979 | 6.3431
871 | 1.052e-05 | 979.5 | 6.4916
871.5 | 1.852e-05 | 980 | 6.7185
872 | 2.652e-05 | 981.5 | 6.9097
872.5 | 2.116e-05 | 982 | 6.3136
873 | 1.579e-05 | 982.5 | 6.9404
873.5 | 1.89e-05 | 983.5 | 8.1773
874 | 2.201e-05 | 984 | 6.5701
874.5 | 1.834e-05 | 984.5 | 6.8038
875 | 1.468e-05 | 985 | 7.3433
875.5 | 4.998e-05 | 985.5 | 6.6273
876 | 8.529e-05 | 986 | 6.3697
876.5 | 6.355e-05 | 986.5 | 6.3765
877 | 4.181e-05 | 987 | 6.3836
877.5 | 3.644e-05 | 987.5 | 6.5149
878 | 3.109e-05 | 988 | 6.704
878.5 | 1.46e-05 | 988.5 | 6.6983
879 | -1.883e-06 | 989 | 6.6927
879.5 | 1.087e-05 | 989.5 | 6.7989
880 | 2.363e-05 | 990 | 6.9404
880.5 | 2.514e-05 | 990.5 | 6.738
881 | 2.665e-05 | 991 | 6.601
881.5 | 4.077e-05 | 991.5 | 6.6639
882 | 5.487e-05 | 992 | 6.738
882.5 | 3.13e-05 | 992.5 | 6.5933
883 | 7.71e-06 | 993 | 6.4852
883.5 | 3.72e-05 | 993.5 | 6.5071
884 | 6.667e-05 | 994 | 6.5302
884.5 | 3.112e-05 | 994.5 | 6.5545
885 | -4.442e-06 | 995 | 6.5802
885.5 | 1.222e-05 | 995.5 | 6.5696
886 | 2.887e-05 | 996 | 6.5592
886.5 | 2.755e-05 | 997.5 | 7.8884
887 | 2.623e-05 | 998 | 6.4151
887.5 | 4.894e-05 | 998.5 | 6.2522
888 | 7.164e-05 | 999 | 6.1341
888.5 | 4.277e-05 | 999.5 | 6.2633
889 | 1.39e-05 | 1000 | 6.4481
889.5 | 1.941e-05 | 1000.5 | 6.3734
890 | 2.492e-05 | 1001 | 6.3098
890.5 | 1.481e-05 | 1001.5 | 6.1887
891 | 4.703e-06 | 1002 | 6.0939
891.5 | 2.604e-06 | 1002.5 | 6.2468
892 | 5.05e-07 | 1003 | 6.4839
892.5 | -6.129e-06 | 1003.5 | 6.6957
893 | -1.276e-05 | 1004 | 7.1283
893.5 | 7.794e-06 | 1004.5 | 7.326
894 | 2.835e-05 | 1005 | 7.6977
894.5 | 1.013e-05 | 1005.5 | 6.581
895 | -8.1e-06 | 1006 | 6.2967
895.5 | 9.519e-06 | 1006.5 | 6.4104
896 | 2.712e-05 | 1007 | 6.5645
896.5 | 4.032e-06 | 1007.5 | 6.601
897 | -1.906e-05 | 1008 | 6.6409
897.5 | -1.381e-05 | 1008.5 | 7.5485
898 | -8.563e-06 | 1009.5 | 6.9855
898.5 | 3.591e-06 | 1010 | 6.4212
899 | 1.573e-05 | 1010.5 | 6.4816
899.5 | 3.869e-05 | 1011 | 6.5514
900 | 6.167e-05 | 1014 | 6.9154
900.5 | 3.908e-05 | 1014.5 | 6.9126
901 | 1.65e-05 | 1015 | 6.9097
901.5 | 2.574e-05 | 1015.5 | 7.0346
902 | 3.497e-05 | 1016 | 7.2105
902.5 | 2.007e-05 | 1016.5 | 6.7229
903 | 5.173e-06 | 1017 | 6.4989
903.5 | -4.849e-06 | 1017.5 | 6.567
904 | -1.487e-05 | 1018 | 6.6476
904.5 | 1.401e-05 | 1018.5 | 6.7695
905 | 4.29e-05 | 1019 | 6.9401
905.5 | 1.68e-05 | 1019.5 | 6.6788
906 | -9.284e-06 | 1020 | 6.5173
906.5 | 4.428e-06 | 1020.5 | 6.6339
907 | 1.815e-05 | 1021 | 6.7948
907.5 | 4.637e-05 | 1021.5 | 6.7886
908 | 7.458e-05 | 1022 | 6.7828
908.5 | 4.181e-05 | 1022.5 | 6.5649
909 | 9.044e-06 | 1023 | 6.4203
909.5 | 3.237e-06 | 1023.5 | 6.6048
910 | -2.57e-06 | 1024 | 6.9322
910.5 | 6.557e-06 | 1024.5 | 6.3976
911 | 1.568e-05 | 1025 | 6.1653
911.5 | -1.806e-05 | 1025.5 | 6.2707
912 | -5.178e-05 | 1026 | 6.4104
912.5 | 4.412e-06 | 1026.5 | 6.3282
913 | 6.062e-05 | 1027 | 6.2591
913.5 | 4.859e-05 | 1027.5 | 6.2176
914 | 3.658e-05 | 1028 | 6.1795
914.5 | 3.053e-05 | 1028.5 | 6.3215
915 | 2.447e-05 | 1029 | 6.5331
915.5 | 1.86e-05 | 1029.5 | 6.5677
916 | 1.274e-05 | 1030 | 6.605
916.5 | 1.988e-05 | 1030.5 | 6.7178
917 | 2.702e-05 | 1031 | 6.8709
917.5 | 8.857e-06 | 1031.5 | 6.61
918 | -9.27e-06 | 1032 | 6.4486
918.5 | 2.343e-05 | 1032.5 | 6.3705
919 | 5.611e-05 | 1033 | 6.3043
919.5 | 3.4e-05 | 1033.5 | 6.479
920 | 1.188e-05 | 1034 | 6.7757
920.5 | 6.949e-06 | 1034.5 | 6.9129
921 | 2.026e-06 | 1035 | 7.1152
921.5 | -2.523e-05 | 1035.5 | 7.1151
922 | -5.252e-05 | 1036 | 7.115
922.5 | -1.517e-05 | 1036.5 | 7.0255
923 | 2.217e-05 | 1037 | 6.9516
923.5 | 3.599e-06 | 1038.5 | 6.6014
924 | -1.495e-05 | 1039 | 6.1719
924.5 | 2.392e-05 | 1039.5 | 6.5415
925 | 6.284e-05 | 1040.5 | 7.1718
925.5 | 5.924e-05 | 1041 | 6.631
926 | 5.563e-05 | 1041.5 | 6.446
926.5 | 1.834e-05 | 1042 | 6.3172
927 | -1.892e-05 | 1042.5 | 6.5758
927.5 | -6.898e-06 | 1043 | 7.3114
928 | 5.133e-06 | 1043.5 | 6.9586
928.5 | 1.563e-05 | 1044 | 6.7662
929 | 2.612e-05 | 1044.5 | 6.794
929.5 | 1.431e-05 | 1045 | 6.8236
930 | 2.516e-06 | 1045.5 | 6.8216
930.5 | 1.558e-05 | 1046 | 6.8199
931 | 2.867e-05 | 1048 | 7.1746
931.5 | 5.068e-05 | 1048.5 | 6.4535
932 | 7.267e-05 | 1049 | 6.1954
932.5 | 5.742e-05 | 1049.5 | 6.2709
933 | 4.215e-05 | 1050 | 6.3621
933.5 | 2.45e-05 | 1050.5 | 6.2447
934 | 6.878e-06 | 1051 | 6.152
934.5 | 1.138e-05 | 1051.5 | 6.5626
935 | 1.59e-05 | 1052.5 | 6.8748
935.5 | 2.391e-05 | 1053 | 6.3732
936 | 3.192e-05 | 1053.5 | 6.6405
936.5 | 4.026e-05 | 1054 | 7.467
937 | 4.859e-05 | 1054.5 | 6.6297
937.5 | 5.134e-05 | 1055 | 6.3611
938 | 5.409e-05 | 1055.5 | 6.2804
938.5 | 5.734e-05 | 1056 | 6.2127
939 | 6.059e-05 | 1056.5 | 6.2379
939.5 | 2.823e-05 | 1057 | 6.2648
940 | -4.113e-06 | 1057.5 | 6.3778
940.5 | -3.757e-06 | 1058 | 6.5309
941 | -3.402e-06 | 1058.5 | 6.4911
941.5 | 1.384e-05 | 1059 | 6.4544
942 | 3.11e-05 | 1059.5 | 7.0033
942.5 | 3.35e-05 | 1060.5 | 6.6295
943 | 3.589e-05 | 1061 | 6.2061
943.5 | 3.28e-05 | 1061.5 | 6.6041
944 | 2.972e-05 | 1062.5 | 6.605
944.5 | 2.766e-05 | 1063 | 6.2067
945 | 2.559e-05 | 1063.5 | 6.37
945.5 | 2.376e-05 | 1064 | 6.6356
946 | 2.192e-05 | 1064.5 | 6.2738
946.5 | 4.465e-05 | 1065 | 6.0798
947 | 6.736e-05 | 1065.5 | 6.2357
947.5 | 3.297e-05 | 1066 | 6.481
948 | -1.478e-06 | 1066.5 | 6.9626
948.5 | 8.821e-06 | 1067.5 | 6.716
949 | 1.912e-05 | 1068 | 6.3033
949.5 | 3.916e-05 | 1068.5 | 6.3285
950 | 5.917e-05 | 1069 | 6.3552
950.5 | 3.202e-05 | 1069.5 | 6.4066
951 | 4.835e-06 | 1070 | 6.4651
951.5 | 3.901e-05 | 1070.5 | 6.4564
952 | 7.32e-05 | 1071 | 6.4481
952.5 | 7.762e-05 | 1071.5 | 6.5088
953 | 8.204e-05 | 1072 | 6.5794
953.5 | 5.352e-05 | 1072.5 | 6.4726
954 | 2.497e-05 | 1073 | 6.3868
954.5 | 1.524e-05 | 1073.5 | 6.5544
955 | 5.524e-06 | 1074 | 6.8294
955.5 | 2.965e-05 | 1074.5 | 6.5281
956 | 5.372e-05 | 1075 | 6.3517
956.5 | 6.317e-05 | 1075.5 | 6.3022
957 | 7.264e-05 | 1076 | 6.2577
957.5 | 4.631e-05 | 1076.5 | 6.24
958 | 1.998e-05 | 1077 | 6.2229
958.5 | 1.611e-05 | 1077.5 | 6.2875
959 | 1.224e-05 | 1078 | 6.3632
959.5 | 1.032e-05 | 1078.5 | 6.1861
960 | 8.403e-06 | 1079 | 6.0603
960.5 | 2.395e-06 | 1079.5 | 6.0894
961 | -3.6e-06 | 1080 | 6.1207
961.5 | 1.183e-05 | 1080.5 | 6.0562
962 | 2.728e-05 | 1081 | 6.0003
962.5 | 3.732e-05 | 1081.5 | 6.0218
963 | 4.735e-05 | 1082 | 6.0443
963.5 | 2.83e-05 | 1082.5 | 5.9578
964 | 9.282e-06 | 1083 | 5.8851
964.5 | 6.707e-06 | 1083.5 | 5.9031
965 | 4.126e-06 | 1084 | 5.9219
965.5 | 3.284e-05 | 1084.5 | 5.8811
966 | 6.153e-05 | 1085 | 5.8438
966.5 | 2.903e-05 | 1085.5 | 5.8758
967 | -3.497e-06 | 1086 | 5.9104
967.5 | 1.351e-06 | 1086.5 | 5.9073
968 | 6.202e-06 | 1087 | 5.9041
968.5 | 2.62e-05 | 1087.5 | 6.0374
969 | 4.614e-05 | 1088 | 6.2306
969.5 | 2.776e-05 | 1088.5 | 5.9996
970 | 9.363e-06 | 1089 | 5.8495
970.5 | 2.253e-05 | 1089.5 | 5.9813
971 | 3.567e-05 | 1090 | 6.1713
971.5 | 2.141e-05 | 1090.5 | 6.1984
972 | 7.123e-06 | 1091 | 6.2272
972.5 | 2.587e-05 | 1091.5 | 6.1591
973 | 4.459e-05 | 1092 | 6.1001
973.5 | 2.406e-05 | 1092.5 | 6.1617
974 | 3.558e-06 | 1093 | 6.2333
974.5 | 2.786e-07 | 1093.5 | 6.0895
975 | -3.006e-06 | 1094 | 5.9817
975.5 | 2.909e-06 | 1094.5 | 6.0203
976 | 8.803e-06 | 1095 | 6.0629
976.5 | 1.324e-05 | 1095.5 | 6.1299
977 | 1.769e-05 | 1096 | 6.2089
977.5 | 3.052e-05 | 1096.5 | 6.1982
978 | 4.331e-05 | 1097 | 6.1878
978.5 | 4.435e-05 | 1097.5 | 6.0681
979 | 4.538e-05 | 1098 | 5.9743
979.5 | 3.224e-05 | 1098.5 | 6.0118
980 | 1.912e-05 | 1099 | 6.0529
980.5 | -2.403e-06 | 1099.5 | 6.0253
981 | -2.393e-05 | 1100 | 5.9991
981.5 | 1.231e-05 | 1100.5 | 5.8614
982 | 4.857e-05 | 1101 | 5.7572
982.5 | 1.147e-05 | 1101.5 | 5.7445
983 | -2.557e-05 | 1102 | 5.7321
983.5 | 6.648e-07 | 1102.5 | 5.714
984 | 2.691e-05 | 1103 | 5.6966
984.5 | 1.571e-05 | 1103.5 | 5.6499
985 | 4.536e-06 | 1104 | 5.6082
985.5 | 2.359e-05 | 1104.5 | 5.514
986 | 4.269e-05 | 1105 | 5.4364
986.5 | 4.202e-05 | 1105.5 | 5.4051
987 | 4.134e-05 | 1106 | 5.376
987.5 | 3.056e-05 | 1106.5 | 5.3299
988 | 1.977e-05 | 1107 | 5.288
988.5 | 2.003e-05 | 1107.5 | 5.22
989 | 2.029e-05 | 1108 | 5.1613
989.5 | 1.589e-05 | 1108.5 | 5.0943
990 | 1.147e-05 | 1109 | 5.0362
990.5 | 1.828e-05 | 1109.5 | 5.0208
991 | 2.506e-05 | 1110 | 5.006
991.5 | 2.168e-05 | 1110.5 | 4.978
992 | 1.828e-05 | 1111 | 4.952
992.5 | 2.551e-05 | 1111.5 | 4.9355
993 | 3.272e-05 | 1112 | 4.9197
993.5 | 3.111e-05 | 1112.5 | 4.9176
994 | 2.95e-05 | 1113 | 4.9151
994.5 | 2.789e-05 | 1113.5 | 4.914
995 | 2.629e-05 | 1114 | 4.9129
995.5 | 2.694e-05 | 1114.5 | 4.9326
996 | 2.759e-05 | 1115 | 4.9535
996.5 | -4.159e-06 | 1115.5 | 4.9714
997 | -3.585e-05 | 1116 | 4.9897
997.5 | 1.293e-06 | 1116.5 | 4.997
998 | 3.845e-05 | 1117 | 5.004
998.5 | 5.595e-05 | 1117.5 | 5.0214
999 | 7.343e-05 | 1118 | 5.0395
999.5 | 5.454e-05 | 1118.5 | 5.0458
1000 | 3.564e-05 | 1119 | 5.0522
1000.5 | 4.233e-05 | 1119.5 | 5.0531
1001 | 4.9e-05 | 1120 | 5.054
1001.5 | 6.476e-05 | 1120.5 | 5.0469
1002 | 8.056e-05 | 1121 | 5.0399
1002.5 | 5.665e-05 | 1121.5 | 5.0434
1003 | 3.282e-05 | 1122 | 5.047
1003.5 | 2.015e-05 | 1122.5 | 5.0264
1004 | 7.442e-06 | 1123 | 5.0066
1004.5 | 4.721e-06 | 1123.5 | 4.9948
1005 | 2.006e-06 | 1124 | 4.983
1005.5 | 2.624e-05 | 1124.5 | 4.9654
1006 | 5.05e-05 | 1125 | 4.9481
1006.5 | 3.887e-05 | 1125.5 | 4.9288
1007 | 2.726e-05 | 1126 | 4.9108
1007.5 | 2.506e-05 | 1126.5 | 4.8881
1008 | 2.286e-05 | 1127 | 4.8668
1008.5 | 2.828e-06 | 1127.5 | 4.8354
1009 | -1.715e-05 | 1128 | 4.8058
1009.5 | 1.034e-05 | 1128.5 | 4.7755
1010 | 3.791e-05 | 1129 | 4.7472
1010.5 | 3.299e-05 | 1129.5 | 4.7055
1011 | 2.809e-05 | 1130 | 4.6676
1011.5 | -4.744e-06 | 1130.5 | 4.6267
1012 | -3.768e-05 | 1131 | 4.5896
1012.5 | -3.612e-05 | 1131.5 | 4.5417
1013 | -3.456e-05 | 1132 | 4.4987
1013.5 | -1.123e-05 | 1132.5 | 4.4489
1014 | 1.215e-05 | 1133 | 4.4042
1014.5 | 1.223e-05 | 1133.5 | 4.3511
1015 | 1.231e-05 | 1134 | 4.3041
1015.5 | 9.234e-06 | 1134.5 | 4.2398
1016 | 6.159e-06 | 1135 | 4.1838
1016.5 | 1.893e-05 | 1135.5 | 4.1185
1017 | 3.17e-05 | 1136 | 4.0616
1017.5 | 2.71e-05 | 1136.5 | 3.9927
1018 | 2.251e-05 | 1137 | 3.9337
1018.5 | 1.7e-05 | 1137.5 | 3.8598
1019 | 1.148e-05 | 1138 | 3.7964
1019.5 | 2.095e-05 | 1138.5 | 3.7224
1020 | 3.039e-05 | 1139 | 3.6596
1020.5 | 2.323e-05 | 1139.5 | 3.5834
1021 | 1.604e-05 | 1140 | 3.5181
1021.5 | 1.627e-05 | 1140.5 | 3.4503
1022 | 1.649e-05 | 1141 | 3.3917
1022.5 | 2.723e-05 | 1141.5 | 3.3351
1023 | 3.799e-05 | 1142 | 3.2854
1023.5 | 2.484e-05 | 1142.5 | 3.2413
1024 | 1.169e-05 | 1143 | 3.2011
1024.5 | 4.003e-05 | 1143.5 | 3.1742
1025 | 6.835e-05 | 1144 | 3.1489
1025.5 | 5.361e-05 | 1144.5 | 3.1338
1026 | 3.887e-05 | 1145 | 3.1191
1026.5 | 4.697e-05 | 1145.5 | 3.1134
1027 | 5.507e-05 | 1146 | 3.108
1027.5 | 6.059e-05 | 1146.5 | 3.1072
1028 | 6.614e-05 | 1147 | 3.1065
1028.5 | 4.77e-05 | 1147.5 | 3.1054
1029 | 2.93e-05 | 1148 | 3.1042
1029.5 | 2.706e-05 | 1148.5 | 3.1008
1030 | 2.483e-05 | 1149 | 3.0974
1030.5 | 1.915e-05 | 1149.5 | 3.0911
1031 | 1.346e-05 | 1150 | 3.0849
1031.5 | 2.455e-05 | 1150.5 | 3.0736
1032 | 3.56e-05 | 1151 | 3.0626
1032.5 | 4.261e-05 | 1151.5 | 3.0454
1033 | 4.963e-05 | 1152 | 3.0287
1033.5 | 3.319e-05 | 1152.5 | 3.0073
1034 | 1.676e-05 | 1153 | 2.9872
1034.5 | 1.222e-05 | 1153.5 | 2.9598
1035 | 7.67e-06 | 1154 | 2.9348
1035.5 | 7.672e-06 | 1154.5 | 2.8996
1036 | 7.673e-06 | 1155 | 2.8668
1036.5 | 9.429e-06 | 1155.5 | 2.8277
1037 | 1.118e-05 | 1156 | 2.7921
1037.5 | -3.074e-06 | 1156.5 | 2.7491
1038 | -1.74e-05 | 1157 | 2.71
1038.5 | 2.504e-05 | 1157.5 | 2.6572
1039 | 6.732e-05 | 1158 | 2.6101
1039.5 | 2.874e-05 | 1158.5 | 2.5521
1040 | -9.862e-06 | 1159 | 2.5011
1040.5 | 6.733e-06 | 1159.5 | 2.4378
1041 | 2.339e-05 | 1160 | 2.3829
1041.5 | 3.581e-05 | 1160.5 | 2.31
1042 | 4.817e-05 | 1161 | 2.2473
1042.5 | 2.656e-05 | 1161.5 | 2.1654
1043 | 4.882e-06 | 1162 | 2.0962
1043.5 | 1.1e-05 | 1162.5 | 2.0088
1044 | 1.713e-05 | 1163 | 1.9363
1044.5 | 1.607e-05 | 1163.5 | 1.8374
1045 | 1.501e-05 | 1164 | 1.757
1045.5 | 1.508e-05 | 1164.5 | 1.6424
1046 | 1.514e-05 | 1165 | 1.5514
1046.5 | -7.62e-06 | 1165.5 | 1.4284
1047 | -3.039e-05 | 1166 | 1.3328
1047.5 | -1.182e-05 | 1166.5 | 1.1961
1048 | 6.69e-06 | 1167 | 1.0926
1048.5 | 3.52e-05 | 1167.5 | 0.94654
1049 | 6.377e-05 | 1168 | 0.83773
1049.5 | 5.359e-05 | 1168.5 | 0.70027
1050 | 4.344e-05 | 1169 | 0.59568
1050.5 | 5.693e-05 | 1169.5 | 0.49404
1051 | 7.047e-05 | 1170 | 0.41184
1051.5 | 2.738e-05 | 1170.5 | 0.36012
1052 | -1.576e-05 | 1171 | 0.31417
1052.5 | 1.334e-05 | 1171.5 | 0.29938
1053 | 4.234e-05 | 1172 | 0.285
1053.5 | 2.288e-05 | 1172.5 | 0.2835
1054 | 3.412e-06 | 1173 | 0.282
1054.5 | 2.346e-05 | 1173.5 | 0.27654
1055 | 4.354e-05 | 1174 | 0.27116
1055.5 | 5.243e-05 | 1174.5 | 0.25853
1056 | 6.128e-05 | 1175 | 0.24626
1056.5 | 5.782e-05 | 1175.5 | 0.22702
1057 | 5.435e-05 | 1176 | 0.20859
1057.5 | 4.19e-05 | 1176.5 | 0.18735
1058 | 2.945e-05 | 1177 | 0.16704
1058.5 | 3.228e-05 | 1177.5 | 0.15971
1059 | 3.512e-05 | 1178 | 0.15255
1059.5 | 9.925e-06 | 1178.5 | 0.16222
1060 | -1.531e-05 | 1179 | 0.17205
1060.5 | 2.347e-05 | 1179.5 | 0.19901
1061 | 6.221e-05 | 1180 | 0.22783
1061.5 | 2.488e-05 | 1180.5 | 0.26769
1062 | -1.233e-05 | 1181 | 0.31176
1062.5 | 2.483e-05 | 1181.5 | 0.3535
1063 | 6.213e-05 | 1182 | 0.39968
1063.5 | 4.266e-05 | 1182.5 | 0.44093
1064 | 2.314e-05 | 1183 | 0.48638
1064.5 | 5.323e-05 | 1183.5 | 0.52302
1065 | 8.321e-05 | 1184 | 0.56288
1065.5 | 5.812e-05 | 1184.5 | 0.59091
1066 | 3.304e-05 | 1185 | 0.62088
1066.5 | 1.09e-05 | 1185.5 | 0.64035
1067 | -1.131e-05 | 1186 | 0.66075
1067.5 | 1.923e-05 | 1186.5 | 0.67448
1068 | 4.974e-05 | 1187 | 0.68867
1068.5 | 4.694e-05 | 1187.5 | 0.69594
1069 | 4.414e-05 | 1188 | 0.70333
1069.5 | 3.921e-05 | 1188.5 | 0.70377
1070 | 3.427e-05 | 1189 | 0.70421
1070.5 | 3.496e-05 | 1189.5 | 0.69637
1071 | 3.564e-05 | 1190 | 0.68867
1071.5 | 3.099e-05 | 1190.5 | 0.67346
1072 | 2.634e-05 | 1191 | 0.65896
1072.5 | 3.368e-05 | 1191.5 | 0.63941
1073 | 4.104e-05 | 1192 | 0.62088
1073.5 | 2.79e-05 | 1192.5 | 0.59619
1074 | 1.481e-05 | 1193 | 0.573
1074.5 | 2.964e-05 | 1193.5 | 0.54577
1075 | 4.449e-05 | 1194 | 0.52028
1075.5 | 4.987e-05 | 1194.5 | 0.49066
1076 | 5.525e-05 | 1195 | 0.46294
1076.5 | 5.755e-05 | 1195.5 | 0.43133
1077 | 5.986e-05 | 1196 | 0.40176
1077.5 | 5.158e-05 | 1196.5 | 0.37966
1078 | 4.333e-05 | 1197 | 0.35863
1078.5 | 6.515e-05 | 1197.5 | 0.34037
1079 | 8.703e-05 | 1198 | 0.32276
1079.5 | 8.14e-05 | 1198.5 | 0.31435
1080 | 7.574e-05 | 1199 | 0.3061
1080.5 | 8.786e-05 | 1199.5 | 0.31211
1081 | 9.993e-05 | 1200 | 0.31822
1081.5 | 9.511e-05
1082 | 9.03e-05
1082.5 | 0.0001102
1083 | 0.0001303
1083.5 | 0.000125
1084 | 0.0001197
1084.5 | 0.0001315
1085 | 0.0001433
1085.5 | 0.0001331
1086 | 0.0001229
1086.5 | 0.0001238
1087 | 0.0001247
1087.5 | 9.175e-05
1088 | 5.88e-05
1088.5 | 0.0001001
1089 | 0.0001414
1089.5 | 0.0001044
1090 | 6.74e-05
1090.5 | 6.333e-05
1091 | 5.927e-05
1091.5 | 6.933e-05
1092 | 7.941e-05
1092.5 | 6.891e-05
1093 | 5.844e-05
1093.5 | 8.138e-05
1094 | 0.0001043
1094.5 | 9.544e-05
1095 | 8.651e-05
1095.5 | 7.415e-05
1096 | 6.181e-05
1096.5 | 6.335e-05
1097 | 6.489e-05
1097.5 | 8.548e-05
1098 | 0.0001061
1098.5 | 9.733e-05
1099 | 8.854e-05
1099.5 | 9.435e-05
1100 | 0.0001002
1100.5 | 0.0001376
1101 | 0.0001749
1101.5 | 0.0001801
1102 | 0.0001853
1102.5 | 0.0001932
1103 | 0.0002011
1103.5 | 0.0002239
1104 | 0.0002465
1104.5 | 0.0003062
1105 | 0.0003661
1105.5 | 0.0003935
1106 | 0.0004207
1106.5 | 0.0004679
1107 | 0.0005152
1107.5 | 0.0006025
1108 | 0.0006897
1108.5 | 0.0008049
1109 | 0.00092
1109.5 | 0.0009532
1110 | 0.0009864
1110.5 | 0.001052
1111 | 0.001117
1111.5 | 0.00116
1112 | 0.001203
1112.5 | 0.001209
1113 | 0.001216
1113.5 | 0.001219
1114 | 0.001222
1114.5 | 0.001168
1115 | 0.001113
1115.5 | 0.001068
1116 | 0.001024
1116.5 | 0.001007
1117 | 0.0009908
1117.5 | 0.0009519
1118 | 0.0009131
1118.5 | 0.0009
1119 | 0.0008867
1119.5 | 0.0008848
1120 | 0.000883
1120.5 | 0.0008976
1121 | 0.0009122
1121.5 | 0.0009048
1122 | 0.0008974
1122.5 | 0.0009411
1123 | 0.0009849
1123.5 | 0.001012
1124 | 0.00104
1124.5 | 0.001083
1125 | 0.001127
1125.5 | 0.001178
1126 | 0.001228
1126.5 | 0.001294
1127 | 0.001359
1127.5 | 0.001461
1128 | 0.001564
1128.5 | 0.001677
1129 | 0.00179
1129.5 | 0.00197
1130 | 0.00215
1130.5 | 0.002362
1131 | 0.002573
1131.5 | 0.002873
1132 | 0.003172
1132.5 | 0.003557
1133 | 0.003943
1133.5 | 0.004455
1134 | 0.004965
1134.5 | 0.005757
1135 | 0.00655
1135.5 | 0.007612
1136 | 0.008677
1136.5 | 0.01017
1137 | 0.01165
1137.5 | 0.01381
1138 | 0.01598
1138.5 | 0.01895
1139 | 0.0219
1139.5 | 0.0261
1140 | 0.03033
1140.5 | 0.03546
1141 | 0.04058
1141.5 | 0.04623
1142 | 0.05183
1142.5 | 0.05737
1143 | 0.06294
1143.5 | 0.06696
1144 | 0.07098
1144.5 | 0.07349
1145 | 0.07602
1145.5 | 0.07701
1146 | 0.07799
1146.5 | 0.07812
1147 | 0.07825
1147.5 | 0.07846
1148 | 0.07867
1148.5 | 0.07928
1149 | 0.0799
1149.5 | 0.08107
1150 | 0.08224
1150.5 | 0.08441
1151 | 0.08657
1151.5 | 0.09008
1152 | 0.09361
1152.5 | 0.09833
1153 | 0.103
1153.5 | 0.1097
1154 | 0.1162
1154.5 | 0.126
1155 | 0.1359
1155.5 | 0.1487
1156 | 0.1614
1156.5 | 0.1782
1157 | 0.195
1157.5 | 0.2202
1158 | 0.2454
1158.5 | 0.2805
1159 | 0.3154
1159.5 | 0.3649
1160 | 0.4141
1160.5 | 0.4898
1161 | 0.5658
1161.5 | 0.6832
1162 | 0.8013
1162.5 | 0.98
1163 | 1.158
1163.5 | 1.454
1164 | 1.75
1164.5 | 2.278
1165 | 2.809
1165.5 | 3.729
1166 | 4.647
1166.5 | 6.367
1167 | 8.08
1167.5 | 11.31
1168 | 14.53
1168.5 | 19.94
1169 | 25.37
1169.5 | 32.06
1170 | 38.74
1170.5 | 43.64
1171 | 48.51
1171.5 | 50.19
1172 | 51.88
1172.5 | 52.06
1173 | 52.24
1173.5 | 52.9
1174 | 53.56
1174.5 | 55.14
1175 | 56.72
1175.5 | 59.29
1176 | 61.86
1176.5 | 64.96
1177 | 68.07
1177.5 | 69.23
1178 | 70.38
1178.5 | 68.83
1179 | 67.29
1179.5 | 63.24
1180 | 59.18
1180.5 | 53.99
1181 | 48.78
1181.5 | 44.31
1182 | 39.84
1182.5 | 36.23
1183 | 32.63
1183.5 | 29.99
1184 | 27.36
1184.5 | 25.65
1185 | 23.94
1185.5 | 22.89
1186 | 21.84
1186.5 | 21.16
1187 | 20.48
1187.5 | 20.14
1188 | 19.8
1188.5 | 19.78
1189 | 19.76
1189.5 | 20.12
1190 | 20.48
1190.5 | 21.21
1191 | 21.93
1191.5 | 22.94
1192 | 23.94
1192.5 | 25.34
1193 | 26.73
1193.5 | 28.46
1194 | 30.18
1194.5 | 32.31
1195 | 34.44
1195.5 | 37.04
1196 | 39.65
1196.5 | 41.72
1197 | 43.79
1197.5 | 45.67
1198 | 47.56
1198.5 | 48.49
1199 | 49.42
1199.5 | 48.74
1200 | 48.06