## S1面分光膜透过率
HDMxx-C2/532R-1064T (S1)
Wavelength | Transmission
(nm) | (%)
450 | 86.7079
451 | 85.0663
452 | 83.4246
453 | 81.1051
454 | 78.6472 | Nd:YAG Harmonic Dichroic Mirror S1 Transmission Data The curve of Nd:YAG Harmonic Dichroic Mirror S1 Tansmission from 450 nm to 1150 nm This file indicates a typical data and there may be differences between product batches. If you have any questions, please contact LBTEK Technical Support. To quote this data, please indicate that the data source is from LBTEK.
455 | 77.0485
456 | 75.5344
457 | 74.6153
458 | 73.7085
459 | 72.8724
460 | 72.2206
461 | 72.1099
462 | 71.9992
463 | 71.8886
464 | 71.7779
465 | 71.6672 | LBTEK Mall：www.lbtek.com
466 | 71.6579 | Tel：0731-84165699
467 | 71.7246 | LBTEK Technical Support E-mail：service@lbtek.com
468 | 71.835
469 | 71.9662
470 | 72.0974
471 | 72.2287
472 | 72.8587
473 | 73.5507
474 | 74.4431
475 | 75.3368
476 | 76.2338
477 | 77.1496
478 | 78.1376
479 | 79.0368
480 | 79.7406
481 | 80.5722
482 | 81.5814
483 | 82.8845
484 | 84.4538
485 | 85.3924
486 | 85.9614
487 | 87.291
488 | 88.893
489 | 90.0784
490 | 91.1857
491 | 91.7789
492 | 92.3426
493 | 92.8833
494 | 93.481
495 | 94.378
496 | 95.2116
497 | 95.8703
498 | 96.4222
499 | 96.7937
500 | 97.1652
501 | 97.5367
502 | 97.7842
503 | 97.9432
504 | 98.0936
505 | 98.2403
506 | 98.3869
507 | 98.5335
508 | 98.6801
509 | 98.8264
510 | 98.9247
511 | 99.016
512 | 99.0518
513 | 99.0876
514 | 99.1234
515 | 99.1591
516 | 99.1949
517 | 99.2307
518 | 99.2665
519 | 99.3023
520 | 99.3381
521 | 99.3739
522 | 99.4096
523 | 99.4356
524 | 99.4582
525 | 99.454
526 | 99.4453
527 | 99.4365
528 | 99.4278
529 | 99.419
530 | 99.4103
531 | 99.4016
532 | 99.3928
533 | 99.3841
534 | 99.3754
535 | 99.3667
536 | 99.3579
537 | 99.3492
538 | 99.3405
539 | 99.3317
540 | 99.323
541 | 99.3143
542 | 99.3055
543 | 99.2968
544 | 99.2749
545 | 99.2518
546 | 99.2245
547 | 99.1972
548 | 99.17
549 | 99.1427
550 | 99.1154
551 | 99.0882
552 | 99.0609
553 | 99.0336
554 | 99.0064
555 | 98.9791
556 | 98.9519
557 | 98.9246
558 | 98.8973
559 | 98.8844
560 | 98.8759
561 | 98.8696
562 | 98.8637
563 | 98.8577
564 | 98.8517
565 | 98.8458
566 | 98.8398
567 | 98.8338
568 | 98.8279
569 | 98.8219
570 | 98.816
571 | 98.81
572 | 98.8091
573 | 98.8132
574 | 98.8194
575 | 98.8269
576 | 98.8345
577 | 98.842
578 | 98.8496
579 | 98.8571
580 | 98.8647
581 | 98.8722
582 | 98.8773
583 | 98.8797
584 | 98.8648
585 | 98.8499
586 | 98.835
587 | 98.8201
588 | 98.8051
589 | 98.7902
590 | 98.7753
591 | 98.7604
592 | 98.7455
593 | 98.6846
594 | 98.6007
595 | 98.5071
596 | 98.4107
597 | 98.3142
598 | 98.2178
599 | 98.1214
600 | 98.0231
601 | 97.9054
602 | 97.7797
603 | 97.6205
604 | 97.4613
605 | 97.3021
606 | 97.1429
607 | 96.9837
608 | 96.8245
609 | 96.6653
610 | 96.4793
611 | 96.2769
612 | 96.0366
613 | 95.7819
614 | 95.5272
615 | 95.2726
616 | 95.0179
617 | 94.7597
618 | 94.4214
619 | 94.0777
620 | 93.7028
621 | 93.3294
622 | 92.9604
623 | 92.6216
624 | 92.3366
625 | 92.0516
626 | 91.7667
627 | 91.4817
628 | 91.1968
629 | 90.9344
630 | 90.6827
631 | 90.4432
632 | 90.207
633 | 89.9708
634 | 89.7347
635 | 89.4985
636 | 89.2651
637 | 89.0568
638 | 88.8489
639 | 88.6428
640 | 88.4367
641 | 88.2306
642 | 88.0581
643 | 87.9324
644 | 87.8419
645 | 87.7836
646 | 87.7252
647 | 87.6668
648 | 87.6085
649 | 87.5501
650 | 87.4917
651 | 87.4334
652 | 87.3974
653 | 87.3658
654 | 87.3908
655 | 87.4158
656 | 87.4407
657 | 87.4657
658 | 87.4907
659 | 87.5157
660 | 87.5406
661 | 87.5656
662 | 87.5906
663 | 87.6281
664 | 87.6745
665 | 87.7607
666 | 87.8649
667 | 87.9691
668 | 88.0733
669 | 88.1774
670 | 88.2816
671 | 88.3858
672 | 88.49
673 | 88.5941
674 | 88.7141
675 | 88.8905
676 | 89.0803
677 | 89.2983
678 | 89.5162
679 | 89.7342
680 | 89.9522
681 | 90.1701
682 | 90.3865
683 | 90.6019
684 | 90.8154
685 | 91.0283
686 | 91.2412
687 | 91.454
688 | 91.6669
689 | 91.8798
690 | 92.0927
691 | 92.3131
692 | 92.5701
693 | 92.8347
694 | 93.1192
695 | 93.4037
696 | 93.6882
697 | 93.9727
698 | 94.2572
699 | 94.518
700 | 94.7626
701 | 95.0026
702 | 95.2406
703 | 95.4786
704 | 95.7167
705 | 95.9547
706 | 96.1909
707 | 96.3296
708 | 96.4636
709 | 96.5645
710 | 96.6655
711 | 96.7665
712 | 96.8675
713 | 96.9685
714 | 97.0695
715 | 97.1705
716 | 97.2669
717 | 97.3594
718 | 97.3951
719 | 97.4007
720 | 97.4063
721 | 97.4119
722 | 97.4175
723 | 97.4231
724 | 97.4287
725 | 97.4343
726 | 97.4399
727 | 97.4441
728 | 97.4425
729 | 97.4154
730 | 97.326
731 | 97.2365
732 | 97.147
733 | 97.0576
734 | 96.9681
735 | 96.8786
736 | 96.7892
737 | 96.6997
738 | 96.6102
739 | 96.5208
740 | 96.4313
741 | 96.2909
742 | 96.1455
743 | 95.9759
744 | 95.8063
745 | 95.6367
746 | 95.4671
747 | 95.2974
748 | 95.1278
749 | 94.9582
750 | 94.7886
751 | 94.619
752 | 94.4116
753 | 94.1746
754 | 93.916
755 | 93.6466
756 | 93.3772
757 | 93.1078
758 | 92.8385
759 | 92.5691
760 | 92.2996
761 | 92.0301
762 | 91.7602
763 | 91.4903
764 | 91.2204
765 | 90.9506
766 | 90.6807
767 | 90.4108
768 | 90.1409
769 | 89.8998
770 | 89.6861
771 | 89.4904
772 | 89.3058
773 | 89.1213
774 | 88.9368
775 | 88.7522
776 | 88.5677
777 | 88.3831
778 | 88.1986
779 | 88.014
780 | 87.8307
781 | 87.6539
782 | 87.4824
783 | 87.3267
784 | 87.1709
785 | 87.0151
786 | 86.8593
787 | 86.7036
788 | 86.5478
789 | 86.392
790 | 86.2362
791 | 86.0805
792 | 85.9247
793 | 85.7689
794 | 85.6574
795 | 85.5515
796 | 85.4522
797 | 85.3529
798 | 85.2536
799 | 85.1543
800 | 85.055
801 | 84.9557
802 | 84.8564
803 | 84.7571
804 | 84.6578
805 | 84.578
806 | 84.5158
807 | 84.4776
808 | 84.4535
809 | 84.4293
810 | 84.4051
811 | 84.381
812 | 84.3568
813 | 84.3327
814 | 84.3085
815 | 84.2844
816 | 84.2602
817 | 84.2361
818 | 84.2119
819 | 84.1877
820 | 84.1832
821 | 84.2119
822 | 84.2411
823 | 84.2709
824 | 84.3007
825 | 84.3305
826 | 84.3604
827 | 84.3902
828 | 84.42
829 | 84.4498
830 | 84.4797
831 | 84.5095
832 | 84.5393
833 | 84.5691
834 | 84.5989
835 | 84.6288
836 | 84.6586
837 | 84.6937
838 | 84.7398
839 | 84.8124
840 | 84.9201
841 | 85.0279
842 | 85.1356
843 | 85.2434
844 | 85.3511
845 | 85.4589
846 | 85.5666
847 | 85.6744
848 | 85.7822
849 | 85.9126
850 | 86.0452
851 | 86.1943
852 | 86.3434
853 | 86.4925
854 | 86.6416
855 | 86.7907
856 | 86.9398
857 | 87.0889
858 | 87.2335
859 | 87.3735
860 | 87.5013
861 | 87.6209
862 | 87.7405
863 | 87.8602
864 | 87.9798
865 | 88.0994
866 | 88.219
867 | 88.3386
868 | 88.4582
869 | 88.5778
870 | 88.6975
871 | 88.8222
872 | 88.9643
873 | 89.1126
874 | 89.2732
875 | 89.4338
876 | 89.5944
877 | 89.7551
878 | 89.9157
879 | 90.0763
880 | 90.2369
881 | 90.3916
882 | 90.5446
883 | 90.681
884 | 90.8148
885 | 90.9486
886 | 91.0824
887 | 91.2163
888 | 91.3501
889 | 91.4839
890 | 91.6177
891 | 91.7515
892 | 91.8881
893 | 92.0288
894 | 92.1786
895 | 92.3375
896 | 92.4964
897 | 92.6553
898 | 92.8143
899 | 92.9732
900 | 93.1321
901 | 93.291
902 | 93.45
903 | 93.6092
904 | 93.7762
905 | 93.9432
906 | 94.1102
907 | 94.2772
908 | 94.4442
909 | 94.6112
910 | 94.7782
911 | 94.942
912 | 95.1019
913 | 95.235
914 | 95.347
915 | 95.459
916 | 95.571
917 | 95.683
918 | 95.795
919 | 95.907
920 | 96.019
921 | 96.131
922 | 96.243
923 | 96.355
924 | 96.4658
925 | 96.5717
926 | 96.6745
927 | 96.7699
928 | 96.8653
929 | 96.9608
930 | 97.0562
931 | 97.1516
932 | 97.2471
933 | 97.3425
934 | 97.4379
935 | 97.5333
936 | 97.6288
937 | 97.7242
938 | 97.788
939 | 97.8496
940 | 97.9104
941 | 97.9712
942 | 98.0321
943 | 98.0929
944 | 98.1537
945 | 98.2146
946 | 98.2754
947 | 98.3363
948 | 98.3971
949 | 98.4579
950 | 98.5187
951 | 98.5712
952 | 98.6196
953 | 98.6568
954 | 98.6907
955 | 98.7247
956 | 98.7587
957 | 98.7927
958 | 98.8267
959 | 98.8607
960 | 98.8947
961 | 98.9287
962 | 98.9627
963 | 98.9967
964 | 99.0307
965 | 99.0647
966 | 99.0928
967 | 99.1155
968 | 99.1379
969 | 99.16
970 | 99.1821
971 | 99.2042
972 | 99.2263
973 | 99.2484
974 | 99.2705
975 | 99.2926
976 | 99.3147
977 | 99.3356
978 | 99.3499
979 | 99.3626
980 | 99.3709
981 | 99.3791
982 | 99.3873
983 | 99.3956
984 | 99.4038
985 | 99.4121
986 | 99.4203
987 | 99.4285
988 | 99.4368
989 | 99.445
990 | 99.4532
991 | 99.4615
992 | 99.4697
993 | 99.4731
994 | 99.4763
995 | 99.4773
996 | 99.4783
997 | 99.4793
998 | 99.4804
999 | 99.4814
1000 | 99.4824
1001 | 99.4835
1002 | 99.4845
1003 | 99.4855
1004 | 99.4865
1005 | 99.4876
1006 | 99.4886
1007 | 99.4896
1008 | 99.4907
1009 | 99.4917
1010 | 99.4927
1011 | 99.4937
1012 | 99.4948
1013 | 99.4955
1014 | 99.4945
1015 | 99.4933
1016 | 99.4917
1017 | 99.49
1018 | 99.4884
1019 | 99.4868
1020 | 99.4852
1021 | 99.4836
1022 | 99.482
1023 | 99.4804
1024 | 99.4788
1025 | 99.4771
1026 | 99.4755
1027 | 99.4739
1028 | 99.4723
1029 | 99.4707
1030 | 99.4691
1031 | 99.4675
1032 | 99.4659
1033 | 99.4643
1034 | 99.4626
1035 | 99.461
1036 | 99.4594
1037 | 99.4578
1038 | 99.4562
1039 | 99.4546
1040 | 99.4543
1041 | 99.4548
1042 | 99.4555
1043 | 99.4563
1044 | 99.4571
1045 | 99.4579
1046 | 99.4587
1047 | 99.4595
1048 | 99.4603
1049 | 99.4611
1050 | 99.4619
1051 | 99.4627
1052 | 99.4635
1053 | 99.4643
1054 | 99.4651
1055 | 99.4659
1056 | 99.4667
1057 | 99.4675
1058 | 99.4683
1059 | 99.469
1060 | 99.4698
1061 | 99.471
1062 | 99.4723
1063 | 99.4739
1064 | 99.4754
1065 | 99.477
1066 | 99.4786
1067 | 99.4802
1068 | 99.4818
1069 | 99.4834
1070 | 99.485
1071 | 99.4866
1072 | 99.4882
1073 | 99.4898
1074 | 99.4914
1075 | 99.4929
1076 | 99.4945
1077 | 99.4961
1078 | 99.4977
1079 | 99.4993
1080 | 99.5009
1081 | 99.5025
1082 | 99.5018
1083 | 99.5006
1084 | 99.4948
1085 | 99.4891
1086 | 99.4834
1087 | 99.4777
1088 | 99.472
1089 | 99.4663
1090 | 99.4606
1091 | 99.4548
1092 | 99.4491
1093 | 99.4434
1094 | 99.4377
1095 | 99.432
1096 | 99.4263
1097 | 99.4206
1098 | 99.4148
1099 | 99.4061
1100 | 99.3969
1101 | 99.3807
1102 | 99.3645
1103 | 99.3483
1104 | 99.3321
1105 | 99.3159
1106 | 99.2997
1107 | 99.2835
1108 | 99.2673
1109 | 99.2511
1110 | 99.2349
1111 | 99.2187
1112 | 99.2024
1113 | 99.1862
1114 | 99.17
1115 | 99.1538
1116 | 99.1349
1117 | 99.1156
1118 | 99.0947
1119 | 99.0738
1120 | 99.053
1121 | 99.0321
1122 | 99.0112
1123 | 98.9904
1124 | 98.9695
1125 | 98.9486
1126 | 98.9277
1127 | 98.9069
1128 | 98.886
1129 | 98.8651
1130 | 98.8442
1131 | 98.8234
1132 | 98.8025
1133 | 98.7816
1134 | 98.7607
1135 | 98.7316
1136 | 98.7016
1137 | 98.6639
1138 | 98.6262
1139 | 98.5885
1140 | 98.5507
1141 | 98.513
1142 | 98.4753
1143 | 98.4376
1144 | 98.3998
1145 | 98.3621
1146 | 98.3244
1147 | 98.2867
1148 | 98.2489
1149 | 98.2112
1150 | 98.1735