## NDFR-25C-4
Wavelength | Attenuation
nm | dB
807.1737 | 3.8124
819.3209 | 4.1643
822.7915 | 4.0939
833.2034 | 4.3754 | Fixed fiber attenuators FFA-20S-XXX Attenuation This file indicates a typical data and there may be differences between product batches. If you have any questions, please contact LBTEK Technical Support. To quote this data, please indicate that the data source is from LBTEK.
834.9387 | 4.2346
841.88 | 4.5865
843.6153 | 4.5865
852.2919 | 4.9383
855.7625 | 4.8679
864.4391 | 5.2901
866.1744 | 5.2198
873.1157 | 5.7123
874.851 | 5.5716
878.3216 | 5.7123 | LBTEK Mall：www.lbtek.com Tel：400-060-6986 LBTEK Technical Support E-mail：service@lbtek.com
885.2629 | 5.9938
892.2041 | 6.0641
893.9394 | 6.416
902.616 | 6.8382
911.2926 | 7.1197
914.7632 | 7.1197
923.4398 | 7.6122
925.1751 | 7.5419
935.587 | 7.8937
937.3224 | 7.8233
945.9989 | 8.3159
945.9989 | 8.2455
954.6755 | 8.7381
959.8814 | 9.0196
965.0874 | 9.0899
972.0287 | 9.3714
972.0287 | 9.5121
982.4406 | 9.6529
984.1759 | 9.7936
992.8524 | 10.075
992.8524 | 10.2158
1003.2643 | 10.3565
1004.9997 | 10.4972
1015.4116 | 10.9194
1015.4116 | 10.9898
1025.8234 | 11.2713
1034.5 | 11.6231
1037.9706 | 11.9749
1044.9119 | 12.0453
1048.3826 | 12.3268
1051.8532 | 12.5379
1062.2651 | 12.8194
1070.9416 | 13.1712
1072.677 | 12.9601
1079.6182 | 13.5934
1088.2948 | 13.5934
1088.2948 | 13.7341
1096.9714 | 14.1563
1096.9714 | 14.0859
1107.3833 | 14.4378
1109.1186 | 14.297
1112.5892 | 14.9303
1114.3245 | 14.7896
1116.0599 | 14.9303
1123.0011 | 15.1414
1131.6777 | 15.4933
1136.8836 | 15.9155
1136.8836 | 15.9858
1147.2955 | 16.3377
1149.0309 | 16.1969
1157.7074 | 16.9006
1159.4427 | 16.6895
1164.6487 | 17.2524
1168.1193 | 17.3932
1175.0606 | 17.6043
1176.7959 | 17.745
1182.0019 | 18.3783
1182.0019 | 18.0265
1187.2078 | 18.519
1188.9431 | 18.519
1197.6197 | 18.8709
1204.561 | 19.2931
1209.7669 | 19.2931
1218.4435 | 19.3634
1223.6494 | 19.5042
1227.1201 | 19.7153
1234.0613 | 20.0671
1234.0613 | 19.856
1237.532 | 19.856
1246.2085 | 20.1375
1251.4145 | 20.2078
1256.6204 | 20.4189
1265.297 | 20.2078
1270.503 | 20.4189
1272.2383 | 20.3486
1280.9148 | 20.3486
1289.5914 | 20.3486
1294.7974 | 20.5597
1306.9446 | 20.3486
1312.1505 | 20.3486
1324.2977 | 20.4189
1329.5037 | 20.5597
1329.5037 | 20.2782
1334.7096 | 19.9967
1338.1803 | 20.4189
1341.6509 | 20.2078
1355.5334 | 20.2078
1359.0041 | 20.3486
1367.6806 | 19.9967
1376.3572 | 20.3486
1386.7691 | 20.2078
1388.5044 | 20.4189
1397.181 | 19.9264
1409.3282 | 19.7153
1414.5341 | 19.5745
1421.4754 | 19.856
1431.8873 | 20.1375
1437.0933 | 20.0671
1445.7698 | 19.5042
1459.6524 | 19.6449
1463.123 | 19.9967
1470.0643 | 19.7153
1478.7408 | 20.1375
1485.6821 | 20.7004
1499.5646 | 20.3486
1511.7118 | 20.2782
1522.1237 | 20.2782
1529.065 | 20.1375
1536.0062 | 20.3486
1541.2122 | 20.4189
1549.8888 | 19.9967
1558.5654 | 20.4893
1570.7126 | 20.3486
1574.1832 | 20.3486
1579.3891 | 20.9115
1581.1245 | 20.63
1584.5951 | 20.4189
1598.4776 | 20.3486
1607.1542 | 20.4893
1614.0955 | 20.7004
1615.8308 | 20.4189
1615.8308 | 20.2078
1622.772 | 19.856
1624.5074 | 19.856
1629.7133 | 20.3486
1634.9192 | 20.3486
1641.8605 | 19.856
1654.0077 | 19.7856
1657.4784 | 19.9967
1660.949 | 19.3634
1671.3609 | 19.5042
1673.0962 | 20.2078
1674.8315 | 19.5042
1674.8315 | 20.9115
1676.5668 | 20.1375
1676.5668 | 20.8411
1662.6887 | 14.9086
1667.8947 | 14.4111
1685.2478 | 15.8484
1686.9831 | 15.2956
1692.1891 | 14.798