## ET670_50m
WaveLength | Transmission | WaveLength | OD
nm | % | nm | /
300 | 1.177e-05 | 300 | 6.9292
300.5 | -1.439e-05 | 301.5 | 6.7846
301 | -3.432e-05 | 302 | 6.6885
301.5 | 1.642e-05 | 302.5 | 7.3476 | ET670/50m Transmission and OD Plot of ET670/50m This file indicates a typical data and there may be differences between product batches. If you have any questions, please contact LBTEK Technical Support. To quote this data, please indicate that the data source is from LBTEK.
302 | 2.049e-05 | 303.5 | 6.5995
302.5 | 4.492e-06 | 304 | 7.3171
303 | -2.552e-05 | 305 | 6.8202
303.5 | 2.515e-05 | 306 | 6.3933
304 | 4.818e-06 | 307.5 | 7.4579
304.5 | -4.823e-06 | 308.5 | 6.4942
305 | 1.513e-05 | 309 | 6.4645
305.5 | -1.858e-05 | 310 | 6.528
306 | 4.043e-05 | 310.5 | 7.6121
306.5 | -2.343e-05 | 311.5 | 6.7506 | LBTEK Mall：www.lbtek.com Tel：400-060-6986 LBTEK Technical Support E-mail：service@lbtek.com
307 | -2.462e-05 | 312.5 | 6.2416
307.5 | 3.484e-06 | 313 | 6.4766
308 | -1.783e-05 | 313.5 | 6.4744
308.5 | 3.205e-05 | 314.5 | 7.4992
309 | 3.432e-05 | 318.5 | 6.7703
309.5 | -1.699e-05 | 319.5 | 6.3293
310 | 2.965e-05 | 320 | 6.9212
310.5 | 2.443e-06 | 321.5 | 6.1815
311 | -1.892e-05 | 322 | 6.2566
311.5 | 1.776e-05 | 322.5 | 6.3826
312 | -1.242e-05 | 323 | 6.2826
312.5 | 5.733e-05 | 323.5 | 7.2519
313 | 3.337e-05 | 324 | 6.4143
313.5 | 3.354e-05 | 324.5 | 6.441
314 | -3.281e-05 | 325 | 7.1191
314.5 | 3.168e-06 | 325.5 | 6.0839
315 | -1.873e-05 | 326 | 6.3394
315.5 | -1.863e-05 | 326.5 | 6.5621
316 | -3.218e-05 | 327 | 6.6868
316.5 | -3.126e-06 | 327.5 | 6.959
317 | -1.868e-05 | 328 | 6.4083
317.5 | -5.28e-06 | 328.5 | 6.0316
318 | -2.448e-05 | 329.5 | 6.3522
318.5 | 1.697e-05 | 330 | 6.4645
319 | -1.621e-05 | 330.5 | 6.3943
319.5 | 4.685e-05 | 331 | 6.2509
320 | 1.199e-05 | 331.5 | 7.0614
320.5 | -7.921e-06 | 332 | 6.5017
321 | -1.131e-05 | 332.5 | 6.4045
321.5 | 6.584e-05 | 333 | 7.1497
322 | 5.538e-05 | 333.5 | 7.5371
322.5 | 4.144e-05 | 334 | 6.6451
323 | 5.217e-05 | 334.5 | 6.735
323.5 | 5.599e-06 | 335 | 6.5845
324 | 3.852e-05 | 335.5 | 6.3934
324.5 | 3.622e-05 | 336.5 | 6.5691
325 | 7.602e-06 | 337.5 | 6.5867
325.5 | 8.244e-05 | 338 | 6.5388
326 | 4.577e-05 | 339 | 6.8016
326.5 | 2.741e-05 | 339.5 | 6.7104
327 | 2.057e-05 | 340.5 | 6.6977
327.5 | 1.099e-05 | 341 | 6.4453
328 | 3.906e-05 | 341.5 | 7.5835
328.5 | 9.298e-05 | 342 | 6.9809
329 | -2.861e-05 | 343 | 7.5507
329.5 | 4.444e-05 | 343.5 | 6.3484
330 | 3.432e-05 | 344.5 | 6.3262
330.5 | 4.034e-05 | 345 | 6.6706
331 | 5.612e-05 | 345.5 | 6.2991
331.5 | 8.682e-06 | 346 | 7.2328
332 | 3.15e-05 | 346.5 | 6.3043
332.5 | 3.94e-05 | 347 | 7.2068
333 | 7.085e-06 | 347.5 | 6.699
333.5 | 2.903e-06 | 348 | 8.0783
334 | 2.264e-05 | 349 | 6.5126
334.5 | 1.841e-05 | 349.5 | 6.6351
335 | 2.603e-05 | 350.5 | 6.9469
335.5 | 4.042e-05 | 351 | 7.1188
336 | -6.256e-06 | 351.5 | 6.5038
336.5 | 2.697e-05 | 352 | 6.9172
337 | -5.026e-06 | 353.5 | 6.3025
337.5 | 2.59e-05 | 354 | 6.377
338 | 2.892e-05 | 354.5 | 6.2683
338.5 | -1.475e-05 | 355 | 6.5373
339 | 1.579e-05 | 355.5 | 6.8383
339.5 | 1.948e-05 | 356 | 6.5156
340 | -2.629e-05 | 357 | 7.5957
340.5 | 2.006e-05 | 357.5 | 6.8407
341 | 3.587e-05 | 358.5 | 6.3599
341.5 | 2.609e-06 | 359 | 7.1073
342 | 1.045e-05 | 359.5 | 6.777
342.5 | -3.863e-06 | 360 | 6.7378
343 | 2.814e-06 | 360.5 | 6.8979
343.5 | 4.483e-05 | 361.5 | 6.9245
344 | -6.48e-06 | 362 | 6.8465
344.5 | 4.719e-05 | 362.5 | 6.8801
345 | 2.135e-05 | 363 | 6.63
345.5 | 5.022e-05 | 364 | 6.5776
346 | 5.851e-06 | 365 | 6.3086
346.5 | 4.962e-05 | 365.5 | 6.1447
347 | 6.212e-06 | 366 | 6.2123
347.5 | 2e-05 | 366.5 | 6.1377
348 | 8.35e-07 | 367 | 6.3286
348.5 | -1.236e-05 | 367.5 | 6.8309
349 | 3.072e-05 | 368 | 6.4661
349.5 | 2.317e-05 | 368.5 | 7.3257
350 | -3.804e-06 | 369 | 6.8315
350.5 | 1.13e-05 | 369.5 | 6.4246
351 | 7.607e-06 | 370 | 6.2684
351.5 | 3.135e-05 | 370.5 | 6.7491
352 | 1.21e-05 | 371 | 6.4401
352.5 | -1.405e-06 | 371.5 | 6.1101
353 | -1.801e-05 | 372 | 6.0678
353.5 | 4.983e-05 | 372.5 | 5.8719
354 | 4.198e-05 | 373 | 5.8419
354.5 | 5.392e-05 | 373.5 | 5.8652
355 | 2.902e-05 | 374 | 6.0766
355.5 | 1.451e-05 | 374.5 | 6.1948
356 | 3.051e-05 | 375 | 6.2695
356.5 | -1.187e-05 | 375.5 | 6.2051
357 | 2.537e-06 | 376 | 6.2728
357.5 | 1.443e-05 | 376.5 | 6.0055
358 | -1.06e-05 | 377 | 6.0593
358.5 | 4.366e-05 | 377.5 | 6.0382
359 | 7.811e-06 | 378 | 6.0857
359.5 | 1.671e-05 | 378.5 | 6.0217
360 | 1.829e-05 | 379 | 6.3027
360.5 | 1.265e-05 | 379.5 | 6.2875
361 | -2.602e-07 | 380 | 6.3316
361.5 | 1.19e-05 | 380.5 | 6.4636
362 | 1.424e-05 | 381 | 6.4425
362.5 | 1.318e-05 | 381.5 | 6.5896
363 | 2.344e-05 | 382 | 6.6757
363.5 | -1.206e-05 | 382.5 | 7.4623
364 | 2.645e-05 | 383 | 6.5707
364.5 | -1.118e-05 | 383.5 | 6.8979
365 | 4.914e-05 | 384 | 6.6929
365.5 | 7.167e-05 | 384.5 | 6.5367
366 | 6.133e-05 | 385 | 7.3321
366.5 | 7.282e-05 | 385.5 | 7.2686
367 | 4.692e-05 | 386 | 6.4568
367.5 | 1.476e-05 | 386.5 | 7.0333
368 | 3.419e-05 | 387 | 6.9277
368.5 | 4.724e-06 | 387.5 | 7.1612
369 | 1.474e-05 | 388 | 7.0457
369.5 | 3.762e-05 | 388.5 | 6.8972
370 | 5.39e-05 | 389.5 | 7.0582
370.5 | 1.782e-05 | 390 | 6.8362
371 | 3.63e-05 | 390.5 | 6.6007
371.5 | 7.76e-05 | 391 | 6.8074
372 | 8.555e-05 | 391.5 | 7.1331
372.5 | 0.0001343 | 392.5 | 8.1486
373 | 0.0001439 | 393 | 6.5802
373.5 | 0.0001364 | 393.5 | 6.5556
374 | 8.384e-05 | 394 | 6.6336
374.5 | 6.385e-05 | 394.5 | 6.3764
375 | 5.377e-05 | 395 | 7.1948
375.5 | 6.236e-05 | 395.5 | 6.8642
376 | 5.336e-05 | 396 | 7.0269
376.5 | 9.875e-05 | 397 | 7.1157
377 | 8.723e-05 | 398 | 6.5916
377.5 | 9.158e-05 | 398.5 | 6.9446
378 | 8.209e-05 | 399 | 6.965
378.5 | 9.513e-05 | 399.5 | 6.721
379 | 4.981e-05 | 400 | 6.6442
379.5 | 5.158e-05 | 400.5 | 7.6639
380 | 4.66e-05 | 401 | 7.1189
380.5 | 3.439e-05 | 401.5 | 7.2601
381 | 3.61e-05 | 402 | 7.0765
381.5 | 2.573e-05 | 403 | 6.957
382 | 2.11e-05 | 404 | 7.4604
382.5 | 3.449e-06 | 404.5 | 6.9469
383 | 2.687e-05 | 405 | 6.9248
383.5 | 1.265e-05 | 406 | 6.8598
384 | 2.028e-05 | 406.5 | 6.9825
384.5 | 2.906e-05 | 407 | 7.0732
385 | 4.655e-06 | 407.5 | 7.6596
385.5 | 5.388e-06 | 408.5 | 7.1349
386 | 3.493e-05 | 409.5 | 7.5154
386.5 | 9.261e-06 | 410 | 9.2901
387 | 1.181e-05 | 411 | 7.0243
387.5 | 6.9e-06 | 411.5 | 8.6936
388 | 9.002e-06 | 412 | 6.7371
388.5 | 1.267e-05 | 412.5 | 7.6275
389 | -7.912e-06 | 413 | 6.8945
389.5 | 8.746e-06 | 414 | 8.9045
390 | 1.458e-05 | 415 | 6.683
390.5 | 2.508e-05 | 415.5 | 7.8996
391 | 1.558e-05 | 416 | 6.8354
391.5 | 7.36e-06 | 417 | 6.9219
392 | -1.915e-06 | 417.5 | 7.0254
392.5 | 7.102e-07 | 418 | 6.8794
393 | 2.629e-05 | 418.5 | 7.306
393.5 | 2.782e-05 | 419 | 7.0698
394 | 2.325e-05 | 419.5 | 7.0878
394.5 | 4.203e-05 | 420 | 7.0924
395 | 6.386e-06 | 420.5 | 6.6872
395.5 | 1.367e-05 | 421 | 7.3578
396 | 9.4e-06 | 422 | 7.0131
396.5 | -1.084e-06 | 422.5 | 7.8804
397 | 7.661e-06 | 423 | 7.5906
397.5 | -6.852e-06 | 423.5 | 7.1191
398 | 2.561e-05 | 424 | 6.9337
398.5 | 1.136e-05 | 424.5 | 7.0576
399 | 1.084e-05 | 425 | 7.3185
399.5 | 1.901e-05 | 425.5 | 6.7235
400 | 2.269e-05 | 426 | 7.0373
400.5 | 2.168e-06 | 426.5 | 6.8502
401 | 7.605e-06 | 428 | 6.8921
401.5 | 5.494e-06 | 428.5 | 7.39
402 | 8.386e-06 | 429.5 | 6.9978
402.5 | -1.078e-05 | 430 | 7.0342
403 | 1.104e-05 | 430.5 | 6.48
403.5 | -2.962e-06 | 431 | 6.7841
404 | 3.464e-06 | 431.5 | 6.326
404.5 | 1.13e-05 | 432 | 6.277
405 | 1.189e-05 | 432.5 | 5.9722
405.5 | -2.43e-06 | 433 | 5.9314
406 | 1.381e-05 | 433.5 | 5.9404
406.5 | 1.041e-05 | 434 | 6.0063
407 | 8.448e-06 | 434.5 | 6.244
407.5 | 2.19e-06 | 435 | 6.3055
408 | -2.536e-07 | 435.5 | 6.4275
408.5 | 7.33e-06 | 436 | 6.7289
409 | -3.705e-06 | 436.5 | 6.9508
409.5 | 3.052e-06 | 437 | 6.63
410 | 5.128e-08 | 437.5 | 7.0067
410.5 | -7.166e-06 | 438 | 6.8908
411 | 9.456e-06 | 438.5 | 7.1323
411.5 | 2.025e-07 | 439 | 6.6651
412 | 1.832e-05 | 439.5 | 6.8693
412.5 | 2.358e-06 | 440 | 6.6972
413 | 1.275e-05 | 440.5 | 7.0772
413.5 | -2.251e-06 | 441 | 7.0115
414 | 1.246e-07 | 441.5 | 6.6957
414.5 | -3.044e-06 | 442 | 7.494
415 | 2.075e-05 | 442.5 | 6.7552
415.5 | 1.26e-06 | 443 | 6.6853
416 | 1.461e-05 | 443.5 | 6.5538
416.5 | -1.071e-06 | 444 | 6.4285
417 | 1.197e-05 | 444.5 | 6.5038
417.5 | 9.432e-06 | 445 | 6.4609
418 | 1.32e-05 | 445.5 | 6.1218
418.5 | 4.943e-06 | 446 | 5.8857
419 | 8.516e-06 | 446.5 | 5.6845
419.5 | 8.17e-06 | 447 | 5.7498
420 | 8.084e-06 | 447.5 | 6.0912
420.5 | 2.055e-05 | 448 | 6.3087
421 | 4.387e-06 | 448.5 | 6.4782
421.5 | -5.012e-06 | 449 | 6.7167
422 | 9.702e-06 | 449.5 | 6.735
422.5 | 1.317e-06 | 450 | 6.7786
423 | 2.567e-06 | 450.5 | 6.9059
423.5 | 7.601e-06 | 451 | 6.9344
424 | 1.165e-05 | 451.5 | 6.9465
424.5 | 8.758e-06 | 452 | 7.2368
425 | 4.803e-06 | 452.5 | 7.1904
425.5 | 1.89e-05 | 453 | 6.9751
426 | 9.176e-06 | 453.5 | 7.2447
426.5 | 1.412e-05 | 454 | 8.5933
427 | -5.842e-06 | 454.5 | 6.8948
427.5 | -6.948e-06 | 455 | 6.9735
428 | 1.282e-05 | 455.5 | 6.9285
428.5 | 4.074e-06 | 456 | 6.6394
429 | -3.058e-06 | 456.5 | 7.125
429.5 | 1.005e-05 | 457 | 6.4413
430 | 9.243e-06 | 457.5 | 5.9215
430.5 | 3.311e-05 | 458 | 5.6629
431 | 1.644e-05 | 458.5 | 5.7238
431.5 | 4.721e-05 | 459 | 6.1211
432 | 5.285e-05 | 459.5 | 6.5642
432.5 | 0.0001066 | 460 | 6.8315
433 | 0.0001171 | 460.5 | 7.3613
433.5 | 0.0001147 | 461 | 7.2893
434 | 9.856e-05 | 461.5 | 7.1381
434.5 | 5.702e-05 | 462.5 | 7.622
435 | 4.949e-05 | 463 | 6.9784
435.5 | 3.737e-05 | 463.5 | 7.633
436 | 1.867e-05 | 465 | 7.5286
436.5 | 1.12e-05 | 465.5 | 7.1055
437 | 2.344e-05 | 466 | 7.1439
437.5 | 9.846e-06 | 467 | 7.3776
438 | 1.286e-05 | 468.5 | 7.2242
438.5 | 7.374e-06 | 470 | 7.1184
439 | 2.162e-05 | 472 | 7.4627
439.5 | 1.351e-05 | 473.5 | 7.1701
440 | 2.008e-05 | 474.5 | 7.2283
440.5 | 8.371e-06 | 475 | 6.8245
441 | 9.739e-06 | 475.5 | 8.1576
441.5 | 2.015e-05 | 476.5 | 6.8938
442 | 3.206e-06 | 477 | 8.4407
442.5 | 1.757e-05 | 478 | 7.3017
443 | 2.064e-05 | 478.5 | 7.4892
443.5 | 2.794e-05 | 479.5 | 6.8894
444 | 3.728e-05 | 480 | 7.4562
444.5 | 3.135e-05 | 480.5 | 6.7737
445 | 3.46e-05 | 481 | 7.5275
445.5 | 7.554e-05 | 481.5 | 7.1955
446 | 0.0001301 | 482 | 7.1169
446.5 | 0.0002068 | 482.5 | 7.1067
447 | 0.0001779 | 483 | 7.4337
447.5 | 8.106e-05 | 485 | 7.246
448 | 4.912e-05 | 486 | 7.2261
448.5 | 3.325e-05 | 487.5 | 6.9927
449 | 1.92e-05 | 488 | 7.2964
449.5 | 1.841e-05 | 488.5 | 8.3548
450 | 1.665e-05 | 489 | 7.8646
450.5 | 1.242e-05 | 490 | 7.2217
451 | 1.163e-05 | 491 | 6.9944
451.5 | 1.131e-05 | 494 | 7.1947
452 | 5.797e-06 | 495.5 | 7.4225
452.5 | 6.451e-06 | 496 | 7.4991
453 | 1.059e-05 | 496.5 | 7.0707
453.5 | 5.692e-06 | 497 | 7.0877
454 | 2.551e-07 | 497.5 | 7.3178
454.5 | 1.274e-05 | 498.5 | 7.4065
455 | 1.063e-05 | 499 | 7.3026
455.5 | 1.179e-05 | 500 | 7.1569
456 | 2.294e-05 | 500.5 | 7.5855
456.5 | 7.498e-06 | 501.5 | 7.687
457 | 3.62e-05 | 502 | 7.4201
457.5 | 0.0001198 | 502.5 | 7.0132
458 | 0.0002173 | 503.5 | 7.4218
458.5 | 0.0001889 | 504.5 | 8.7685
459 | 7.566e-05 | 505 | 7.3579
459.5 | 2.728e-05 | 506 | 7.7033
460 | 1.474e-05 | 506.5 | 7.2119
460.5 | 4.352e-06 | 507.5 | 7.6828
461 | 5.137e-06 | 508 | 6.9834
461.5 | 7.276e-06 | 508.5 | 7.3787
462 | -1.214e-06 | 509 | 7.4323
462.5 | 2.388e-06 | 509.5 | 7.0836
463 | 1.051e-05 | 510 | 7.1284
463.5 | 2.328e-06 | 510.5 | 7.5672
464 | -4.789e-06 | 511 | 6.7731
464.5 | -7.243e-06 | 511.5 | 7.0672
465 | 2.961e-06 | 512 | 6.8608
465.5 | 7.844e-06 | 512.5 | 6.8429
466 | 7.179e-06 | 513 | 6.6332
466.5 | -5.102e-06 | 513.5 | 6.6962
467 | 4.192e-06 | 514 | 6.7245
467.5 | -7.888e-06 | 514.5 | 6.7711
468 | -6.984e-06 | 515 | 6.768
468.5 | 5.968e-06 | 515.5 | 6.7091
469 | -4.802e-06 | 516 | 7.0676
469.5 | -8.622e-07 | 516.5 | 6.9953
470 | 7.614e-06 | 517 | 7.1149
470.5 | -3.786e-06 | 517.5 | 6.7252
471 | -5.019e-06 | 518 | 7.0645
471.5 | -3.932e-06 | 518.5 | 8.9863
472 | 3.446e-06 | 519 | 6.991
472.5 | -3.297e-06 | 519.5 | 7.1882
473 | -9.52e-06 | 520 | 6.7775
473.5 | 6.759e-06 | 520.5 | 6.8271
474 | -3.004e-06 | 521 | 6.8108
474.5 | 5.912e-06 | 521.5 | 6.8184
475 | 1.498e-05 | 522 | 7.0462
475.5 | 6.957e-07 | 522.5 | 6.9133
476 | -5.539e-06 | 523 | 6.9626
476.5 | 1.277e-05 | 523.5 | 7.1441
477 | 3.625e-07 | 524 | 7.1165
477.5 | -1.795e-06 | 524.5 | 6.8881
478 | 4.992e-06 | 525 | 6.841
478.5 | 3.242e-06 | 525.5 | 7.4931
479 | -3.943e-06 | 526 | 6.5864
479.5 | 1.29e-05 | 526.5 | 6.7708
480 | 3.498e-06 | 527 | 6.6442
480.5 | 1.684e-05 | 527.5 | 6.5348
481 | 2.968e-06 | 528 | 6.6718
481.5 | 6.375e-06 | 528.5 | 6.4904
482 | 7.641e-06 | 529 | 6.8357
482.5 | 7.821e-06 | 529.5 | 6.5849
483 | 3.684e-06 | 530 | 6.6921
483.5 | -3.098e-06 | 530.5 | 6.5349
484 | -7.98e-06 | 531 | 6.4504
484.5 | -1.515e-06 | 531.5 | 6.568
485 | 5.675e-06 | 532 | 6.3285
485.5 | -8.631e-06 | 532.5 | 6.5346
486 | 5.941e-06 | 533 | 6.4344
486.5 | -7.06e-07 | 533.5 | 6.4028
487 | -4.74e-06 | 534 | 6.8948
487.5 | 1.017e-05 | 534.5 | 6.3843
488 | 5.054e-06 | 535 | 6.332
488.5 | 4.418e-07 | 535.5 | 6.2615
489 | 1.366e-06 | 536 | 6.4487
489.5 | -2.52e-07 | 536.5 | 6.3286
490 | 6.002e-06 | 537 | 6.3809
490.5 | -1.188e-05 | 537.5 | 6.4414
491 | 1.013e-05 | 538 | 6.4044
491.5 | -1.736e-06 | 538.5 | 6.5136
492 | -7.16e-06 | 539 | 6.3264
492.5 | -3.895e-06 | 539.5 | 6.183
493 | -2.617e-06 | 540 | 6.2503
493.5 | -6.866e-06 | 540.5 | 6.4585
494 | 6.387e-06 | 541 | 6.3581
494.5 | -4.455e-07 | 541.5 | 6.1731
495 | -4.621e-06 | 542 | 6.2337
495.5 | 3.78e-06 | 542.5 | 6.3095
496 | 3.169e-06 | 543 | 6.2847
496.5 | 8.497e-06 | 543.5 | 6.1533
497 | 8.171e-06 | 544 | 6.0667
497.5 | 4.811e-06 | 544.5 | 6.1603
498 | -1.181e-06 | 545 | 6.2308
498.5 | 3.922e-06 | 545.5 | 6.1363
499 | 4.982e-06 | 546 | 6.0414
499.5 | -2.18e-06 | 546.5 | 6.0631
500 | 6.968e-06 | 547 | 6.0944
500.5 | 2.597e-06 | 547.5 | 6.0595
501 | -2.051e-06 | 548 | 6.0877
501.5 | 2.056e-06 | 548.5 | 6.0846
502 | 3.801e-06 | 549 | 6.1361
502.5 | 9.701e-06 | 549.5 | 5.9582
503 | -1.336e-06 | 550 | 6.1019
503.5 | 3.786e-06 | 550.5 | 6.1079
504 | -8.73e-07 | 551 | 6.0932
504.5 | 1.704e-07 | 551.5 | 6.1846
505 | 4.386e-06 | 552 | 6.2311
505.5 | -6.428e-06 | 552.5 | 6.3237
506 | 1.98e-06 | 553 | 6.4375
506.5 | 6.139e-06 | 553.5 | 6.8359
507 | -8.133e-06 | 554 | 6.9987
507.5 | 2.076e-06 | 554.5 | 7.293
508 | 1.039e-05 | 555.5 | 7.1743
508.5 | 4.181e-06 | 556 | 8.5131
509 | 3.696e-06 | 556.5 | 7.9172
509.5 | 8.249e-06 | 557.5 | 7.4025
510 | 7.441e-06 | 558 | 6.8804
510.5 | 2.709e-06 | 558.5 | 6.9055
511 | 1.686e-05 | 559 | 6.9987
511.5 | 8.566e-06 | 559.5 | 6.9923
512 | 1.378e-05 | 560 | 6.9566
512.5 | 1.436e-05 | 560.5 | 7.6914
513 | 2.327e-05 | 562.5 | 6.7929
513.5 | 2.013e-05 | 563 | 6.8371
514 | 1.886e-05 | 563.5 | 8.1357
514.5 | 1.694e-05 | 564 | 6.9743
515 | 1.706e-05 | 564.5 | 7.1178
515.5 | 1.954e-05 | 565 | 7.1301
516 | 8.559e-06 | 565.5 | 6.9245
516.5 | 1.011e-05 | 566 | 7.9772
517 | 7.676e-06 | 566.5 | 7.0289
517.5 | 1.883e-05 | 567 | 7.5196
518 | 8.62e-06 | 567.5 | 9.0877
518.5 | 1.032e-07 | 568 | 7.2797
519 | 1.021e-05 | 568.5 | 7.2907
519.5 | 6.484e-06 | 569 | 7.3892
520 | 1.669e-05 | 569.5 | 7.404
520.5 | 1.489e-05 | 572 | 7.8259
521 | 1.546e-05 | 573 | 7.0382
521.5 | 1.519e-05 | 573.5 | 6.8294
522 | 8.991e-06 | 574.5 | 7.0537
522.5 | 1.221e-05 | 575 | 6.838
523 | 1.09e-05 | 576 | 8.1937
523.5 | 7.177e-06 | 576.5 | 6.8002
524 | 7.647e-06 | 579 | 6.6692
524.5 | 1.294e-05 | 579.5 | 6.7849
525 | 1.442e-05 | 580.5 | 6.9747
525.5 | 3.213e-06 | 581 | 6.9598
526 | 2.592e-05 | 581.5 | 7.0269
526.5 | 1.695e-05 | 582 | 6.9905
527 | 2.269e-05 | 582.5 | 7.3934
527.5 | 2.919e-05 | 583.5 | 7.1728
528 | 2.129e-05 | 584 | 7.6592
528.5 | 3.233e-05 | 585 | 6.9658
529 | 1.46e-05 | 585.5 | 7.0033
529.5 | 2.601e-05 | 586.5 | 6.7849
530 | 2.032e-05 | 587 | 7.4958
530.5 | 2.918e-05 | 587.5 | 6.9087
531 | 3.545e-05 | 588 | 7.4297
531.5 | 2.704e-05 | 588.5 | 7.4525
532 | 4.694e-05 | 589 | 7.2036
532.5 | 2.92e-05 | 589.5 | 6.7086
533 | 3.678e-05 | 590.5 | 6.8579
533.5 | 3.955e-05 | 591.5 | 8.3062
534 | 1.274e-05 | 592 | 8.9465
534.5 | 4.128e-05 | 592.5 | 6.9694
535 | 4.656e-05 | 593 | 7.2437
535.5 | 5.477e-05 | 593.5 | 7.6014
536 | 3.559e-05 | 594 | 6.8289
536.5 | 4.692e-05 | 594.5 | 7.139
537 | 4.16e-05 | 595 | 7.4456
537.5 | 3.619e-05 | 596 | 6.9846
538 | 3.941e-05 | 597 | 6.5649
538.5 | 3.065e-05 | 597.5 | 7.0214
539 | 4.716e-05 | 598 | 8.191
539.5 | 6.562e-05 | 598.5 | 7.6474
540 | 5.62e-05 | 599.5 | 7.0287
540.5 | 3.479e-05 | 600 | 7.256
541 | 4.384e-05 | 600.5 | 6.8383
541.5 | 6.713e-05 | 601 | 6.6265
542 | 5.839e-05 | 601.5 | 7.3805
542.5 | 4.904e-05 | 602 | 7.5226
543 | 5.192e-05 | 602.5 | 7.3454
543.5 | 7.026e-05 | 603 | 7.3762
544 | 8.576e-05 | 603.5 | 7.3234
544.5 | 6.914e-05 | 604 | 7.2421
545 | 5.877e-05 | 604.5 | 6.863
545.5 | 7.307e-05 | 605.5 | 7.3879
546 | 9.091e-05 | 606 | 7.5459
546.5 | 8.648e-05 | 606.5 | 6.952
547 | 8.046e-05 | 607 | 7.1215
547.5 | 8.72e-05 | 607.5 | 7.0525
548 | 8.172e-05 | 608.5 | 6.9551
548.5 | 8.229e-05 | 609 | 7.0253
549 | 7.309e-05 | 609.5 | 7.1335
549.5 | 0.0001101 | 610 | 6.7272
550 | 7.908e-05 | 610.5 | 6.9974
550.5 | 7.8e-05 | 611 | 6.668
551 | 8.068e-05 | 611.5 | 6.9739
551.5 | 6.537e-05 | 612 | 6.8627
552 | 5.874e-05 | 612.5 | 7.0703
552.5 | 4.746e-05 | 613 | 6.9208
553 | 3.652e-05 | 613.5 | 6.7192
553.5 | 1.459e-05 | 614 | 6.6906
554 | 1.003e-05 | 614.5 | 6.7841
554.5 | 5.093e-06 | 615 | 6.8139
555 | -7.993e-06 | 615.5 | 6.5738
555.5 | 6.694e-06 | 616 | 7.0002
556 | 3.068e-07 | 616.5 | 6.7233
556.5 | 1.21e-06 | 617 | 6.7319
557 | -2.416e-07 | 617.5 | 6.5667
557.5 | 3.958e-06 | 618 | 6.7086
558 | 1.317e-05 | 618.5 | 6.5405
558.5 | 1.243e-05 | 619 | 6.6621
559 | 1.003e-05 | 619.5 | 6.5904
559.5 | 1.018e-05 | 620 | 6.5945
560 | 1.105e-05 | 620.5 | 6.5314
560.5 | 2.035e-06 | 621 | 6.5984
561 | -6.93e-07 | 621.5 | 6.4374
561.5 | -5.142e-06 | 622 | 6.3805
562 | -4.568e-06 | 622.5 | 6.4917
562.5 | 1.611e-05 | 623 | 6.5914
563 | 1.455e-05 | 623.5 | 6.4556
563.5 | 7.316e-07 | 624 | 6.2591
564 | 1.061e-05 | 624.5 | 6.3472
564.5 | 7.624e-06 | 625 | 6.268
565 | 7.412e-06 | 625.5 | 6.1662
565.5 | 1.19e-05 | 626 | 6.2856
566 | 1.054e-06 | 626.5 | 6.2294
566.5 | 9.356e-06 | 627 | 6.1813
567 | 3.023e-06 | 627.5 | 6.1262
567.5 | 8.172e-08 | 628 | 6.1829
568 | 5.252e-06 | 628.5 | 6.191
568.5 | 5.12e-06 | 629 | 6.1166
569 | 4.081e-06 | 629.5 | 6.0873
569.5 | 3.945e-06 | 630 | 6.1227
570 | -1.679e-06 | 630.5 | 6.0724
570.5 | -2.664e-06 | 631 | 6.0302
571 | -1.368e-05 | 631.5 | 5.9923
571.5 | -2.105e-06 | 632 | 6.0005
572 | 1.493e-06 | 632.5 | 5.9446
572.5 | -3.09e-06 | 633 | 5.9017
573 | 9.158e-06 | 633.5 | 5.9747
573.5 | 1.481e-05 | 634 | 5.7804
574 | -1.773e-06 | 634.5 | 5.6828
574.5 | 8.838e-06 | 635 | 5.5688
575 | 1.452e-05 | 635.5 | 5.4026
575.5 | -8.432e-06 | 636 | 5.1918
576 | 6.402e-07 | 636.5 | 4.9303
576.5 | 1.584e-05 | 637 | 4.6519
577 | -4.483e-06 | 637.5 | 4.3412
577.5 | -1.889e-06 | 638 | 3.9872
578 | -3.997e-06 | 638.5 | 3.6084
578.5 | -6.675e-06 | 639 | 3.2022
579 | 2.142e-05 | 639.5 | 2.7535
579.5 | 1.641e-05 | 640 | 2.2721
580 | -1.445e-06 | 640.5 | 1.7635
580.5 | 1.06e-05 | 641 | 1.2458
581 | 1.097e-05 | 641.5 | 0.79724
581.5 | 9.4e-06 | 642 | 0.46585
582 | 1.022e-05 | 642.5 | 0.25798
582.5 | 4.042e-06 | 643 | 0.13692
583 | -3.272e-06 | 643.5 | 0.07007
583.5 | 6.718e-06 | 644 | 0.03405
584 | 2.192e-06 | 644.5 | 0.01395
584.5 | -4.957e-06 | 645 | 0.00656
585 | 1.082e-05 | 645.5 | 0.00436
585.5 | 9.924e-06 | 646 | 0.0024
586 | -2.561e-06 | 646.5 | 0.00626
586.5 | 1.641e-05 | 647 | 0.00971
587 | 3.193e-06 | 647.5 | 0.01529
587.5 | 1.234e-05 | 648 | 0.01932
588 | 3.718e-06 | 648.5 | 0.02104
588.5 | 3.528e-06 | 649 | 0.02109
589 | 6.257e-06 | 649.5 | 0.01701
589.5 | 1.956e-05 | 650 | 0.01278
590 | -8.492e-06 | 650.5 | 0.00758
590.5 | 1.387e-05 | 651 | 0.00371
591 | -9.528e-06 | 651.5 | 0.002
591.5 | 4.941e-07 | 652 | 0.0024
592 | 1.131e-07 | 652.5 | 0.00331
592.5 | 1.073e-05 | 653 | 0.00401
593 | 5.705e-06 | 653.5 | 0.00309
593.5 | 2.504e-06 | 654 | 0.00261
594 | 1.483e-05 | 654.5 | 0.00371
594.5 | 7.261e-06 | 655 | 0.00344
595 | 3.584e-06 | 655.5 | 0.00288
595.5 | -5.336e-06 | 656 | 0.00274
596 | 1.036e-05 | 656.5 | 0.0041
596.5 | -7.891e-06 | 657 | 0.00432
597 | 2.723e-05 | 657.5 | 0.00485
597.5 | 9.52e-06 | 658 | 0.00423
598 | 6.442e-07 | 658.5 | 0.00423
598.5 | 2.252e-06 | 659 | 0.00358
599 | -1.563e-05 | 659.5 | 0.0013
599.5 | 9.36e-06 | 660 | 0.00231
600 | 5.546e-06 | 660.5 | 0.00183
600.5 | 1.451e-05 | 661 | 0.00283
601 | 2.363e-05 | 661.5 | 0.00375
601.5 | 4.164e-06 | 662 | 0.00612
602 | 3.002e-06 | 662.5 | 0.00749
602.5 | 4.514e-06 | 663 | 0.00908
603 | 4.205e-06 | 663.5 | 0.01068
603.5 | 4.749e-06 | 664 | 0.01002
604 | 5.726e-06 | 664.5 | 0.00939
604.5 | 1.371e-05 | 665 | 0.00767
605 | -4.118e-06 | 665.5 | 0.00718
605.5 | 4.094e-06 | 666 | 0.00485
606 | 2.845e-06 | 666.5 | 0.00397
606.5 | 1.117e-05 | 667 | 0.00323
607 | 7.56e-06 | 667.5 | 0.00406
607.5 | 8.861e-06 | 668 | 0.00314
608 | -1.01e-05 | 668.5 | 0.00336
608.5 | 1.109e-05 | 669 | 0.00489
609 | 9.434e-06 | 669.5 | 0.00388
609.5 | 7.354e-06 | 670 | 0.00397
610 | 1.874e-05 | 670.5 | 0.00362
610.5 | 1.006e-05 | 671 | 0.00432
611 | 2.148e-05 | 671.5 | 0.00406
611.5 | 1.062e-05 | 672 | 0.00327
612 | 1.372e-05 | 672.5 | 0.00489
612.5 | 8.505e-06 | 673 | 0.00617
613 | 1.2e-05 | 673.5 | 0.00692
613.5 | 1.909e-05 | 674 | 0.00789
614 | 2.039e-05 | 674.5 | 0.00784
614.5 | 1.644e-05 | 675 | 0.00731
615 | 1.535e-05 | 675.5 | 0.00696
615.5 | 2.668e-05 | 676 | 0.00665
616 | 9.996e-06 | 676.5 | 0.00485
616.5 | 1.891e-05 | 677 | 0.00344
617 | 1.854e-05 | 677.5 | 0.00353
617.5 | 2.712e-05 | 678 | 0.00161
618 | 1.956e-05 | 678.5 | 0.00209
618.5 | 2.881e-05 | 679 | 0.00187
619 | 2.177e-05 | 679.5 | 0.00253
619.5 | 2.568e-05 | 680 | 0.00244
620 | 2.544e-05 | 680.5 | 0.00187
620.5 | 2.942e-05 | 681 | 0.00218
621 | 2.521e-05 | 681.5 | 0.00161
621.5 | 3.653e-05 | 682 | 0.00113
622 | 4.164e-05 | 682.5 | 0.00257
622.5 | 3.223e-05 | 683 | 0.00096
623 | 2.562e-05 | 683.5 | 0.00226
623.5 | 3.503e-05 | 684 | 0.00362
624 | 5.507e-05 | 684.5 | 0.00586
624.5 | 4.496e-05 | 685 | 0.00727
625 | 5.395e-05 | 685.5 | 0.00749
625.5 | 6.821e-05 | 686 | 0.00908
626 | 5.181e-05 | 686.5 | 0.00877
626.5 | 5.896e-05 | 687 | 0.0078
627 | 6.588e-05 | 687.5 | 0.00753
627.5 | 7.478e-05 | 688 | 0.00472
628 | 6.563e-05 | 688.5 | 0.00415
628.5 | 6.442e-05 | 689 | 0.00344
629 | 7.646e-05 | 689.5 | 0.00555
629.5 | 8.179e-05 | 690 | 0.01363
630 | 7.539e-05 | 690.5 | 0.02683
630.5 | 8.465e-05 | 691 | 0.04944
631 | 9.329e-05 | 691.5 | 0.08439
631.5 | 0.0001018 | 692 | 0.14563
632 | 9.989e-05 | 692.5 | 0.26162
632.5 | 0.0001136 | 693 | 0.46852
633 | 0.0001254 | 693.5 | 0.77237
633.5 | 0.000106 | 694 | 1.2952
634 | 0.0001658 | 694.5 | 1.601
634.5 | 0.0002076 | 695 | 2.0201
635 | 0.0002699 | 695.5 | 2.4116
635.5 | 0.0003957 | 696 | 2.7799
636 | 0.000643 | 696.5 | 3.1187
636.5 | 0.001174 | 697 | 3.4396
637 | 0.002229 | 697.5 | 3.7359
637.5 | 0.004558 | 698 | 4.0163
638 | 0.0103 | 698.5 | 4.2895
638.5 | 0.02464 | 699 | 4.5309
639 | 0.06278 | 699.5 | 4.7418
639.5 | 0.1764 | 700 | 4.9682
640 | 0.5344 | 700.5 | 5.1783
640.5 | 1.724 | 701 | 5.3354
641 | 5.678 | 701.5 | 5.498
641.5 | 15.95 | 702 | 5.6468
642 | 34.21 | 702.5 | 5.7916
642.5 | 55.21 | 703 | 5.8483
643 | 72.96 | 703.5 | 6.0095
643.5 | 85.1 | 704 | 6.0516
644 | 92.46 | 704.5 | 6.028
644.5 | 96.84 | 705 | 6.1319
645 | 98.5 | 705.5 | 6.1828
645.5 | 99 | 706 | 6.5897
646 | 99.45 | 706.5 | 6.1347
646.5 | 98.57 | 707 | 6.4873
647 | 97.79 | 707.5 | 6.1718
647.5 | 96.54 | 708 | 6.2261
648 | 95.65 | 708.5 | 6.3972
648.5 | 95.27 | 709 | 6.1595
649 | 95.26 | 709.5 | 6.3589
649.5 | 96.16 | 710 | 6.4015
650 | 97.1 | 710.5 | 6.656
650.5 | 98.27 | 711 | 6.8861
651 | 99.15 | 711.5 | 6.5722
651.5 | 99.54 | 712 | 6.4585
652 | 99.45 | 712.5 | 6.0804
652.5 | 99.24 | 713 | 6.2419
653 | 99.08 | 713.5 | 6.5599
653.5 | 99.29 | 714 | 6.4109
654 | 99.4 | 714.5 | 6.6486
654.5 | 99.15 | 715 | 6.1203
655 | 99.21 | 715.5 | 7.1519
655.5 | 99.34 | 716 | 7.2748
656 | 99.37 | 716.5 | 6.3086
656.5 | 99.06 | 717 | 6.4777
657 | 99.01 | 717.5 | 6.8709
657.5 | 98.89 | 718 | 6.4992
658 | 99.03 | 718.5 | 6.679
658.5 | 99.03 | 719.5 | 6.3388
659 | 99.18 | 720 | 6.1923
659.5 | 99.7 | 720.5 | 6.9516
660 | 99.47 | 721 | 6.2616
660.5 | 99.58 | 721.5 | 6.4237
661 | 99.35 | 722 | 6.2993
661.5 | 99.14 | 722.5 | 7.1614
662 | 98.6 | 723 | 6.4339
662.5 | 98.29 | 723.5 | 6.9408
663 | 97.93 | 724.5 | 6.2022
663.5 | 97.57 | 725 | 6.1261
664 | 97.72 | 725.5 | 6.5935
664.5 | 97.86 | 726 | 6.8348
665 | 98.25 | 726.5 | 7.5402
665.5 | 98.36 | 727 | 6.4065
666 | 98.89 | 728 | 7.4665
666.5 | 99.09 | 728.5 | 6.4761
667 | 99.26 | 729 | 6.9314
667.5 | 99.07 | 729.5 | 6.4878
668 | 99.28 | 730 | 6.4597
668.5 | 99.23 | 730.5 | 6.3681
669 | 98.88 | 731 | 6.5842
669.5 | 99.11 | 731.5 | 7.0069
670 | 99.09 | 732 | 6.6942
670.5 | 99.17 | 732.5 | 6.4358
671 | 99.01 | 733 | 7.1117
671.5 | 99.07 | 734 | 6.3023
672 | 99.25 | 735 | 6.4684
672.5 | 98.88 | 735.5 | 6.2823
673 | 98.59 | 736 | 6.6974
673.5 | 98.42 | 736.5 | 6.1035
674 | 98.2 | 737 | 6.9038
674.5 | 98.21 | 737.5 | 6.4681
675 | 98.33 | 738 | 6.3413
675.5 | 98.41 | 738.5 | 6.6463
676 | 98.48 | 739 | 6.0479
676.5 | 98.89 | 739.5 | 6.8788
677 | 99.21 | 740 | 6.4578
677.5 | 99.19 | 740.5 | 6.2243
678 | 99.63 | 741 | 6.3111
678.5 | 99.52 | 742 | 6.0795
679 | 99.57 | 742.5 | 7.5264
679.5 | 99.42 | 743 | 7.2543
680 | 99.44 | 743.5 | 6.1354
680.5 | 99.57 | 744 | 6.3253
681 | 99.5 | 744.5 | 6.7258
681.5 | 99.63 | 745.5 | 6.8303
682 | 99.74 | 746 | 6.4242
682.5 | 99.41 | 746.5 | 6.0378
683 | 99.78 | 747 | 6.2148
683.5 | 99.48 | 747.5 | 6.3708
684 | 99.17 | 748 | 6.706
684.5 | 98.66 | 748.5 | 7.0561
685 | 98.34 | 749 | 6.8567
685.5 | 98.29 | 749.5 | 6.337
686 | 97.93 | 750.5 | 6.4106
686.5 | 98 | 751 | 6.8262
687 | 98.22 | 751.5 | 7.0467
687.5 | 98.28 | 752 | 5.9851
688 | 98.92 | 752.5 | 6.0243
688.5 | 99.05 | 753 | 6.2592
689 | 99.21 | 754 | 6.2695
689.5 | 98.73 | 754.5 | 6.1782
690 | 96.91 | 755.5 | 6.3174
690.5 | 94.01 | 756 | 6.314
691 | 89.24 | 756.5 | 6.468
691.5 | 82.34 | 757 | 7.0582
692 | 71.51 | 757.5 | 5.9739
692.5 | 54.75 | 758 | 6.5396
693 | 34 | 758.5 | 6.5411
693.5 | 16.89 | 759 | 7.5964
694 | 5.068 | 759.5 | 7.3425
694.5 | 2.506 | 760 | 7.1003
695 | 0.9548 | 760.5 | 6.1179
695.5 | 0.3876 | 761.5 | 5.9248
696 | 0.166 | 762 | 6.2683
696.5 | 0.07608 | 762.5 | 6.5745
697 | 0.03634 | 763.5 | 6.1147
697.5 | 0.01837 | 764 | 5.952
698 | 0.009631 | 765 | 6.2877
698.5 | 0.005134 | 765.5 | 7.6805
699 | 0.002945 | 766 | 5.959
699.5 | 0.001812 | 766.5 | 5.9682
700 | 0.001076 | 767 | 6.3996
700.5 | 0.0006633 | 767.5 | 6.056
701 | 0.000462 | 768.5 | 6.6094
701.5 | 0.0003177 | 769 | 6.6891
702 | 0.0002255 | 769.5 | 6.4279
702.5 | 0.0001616 | 770.5 | 6.2282
703 | 0.0001418 | 771 | 5.988
703.5 | 9.784e-05 | 771.5 | 7.671
704 | 8.88e-05 | 772 | 6.7491
704.5 | 9.375e-05 | 772.5 | 5.9326
705 | 7.38e-05 | 773 | 6.1978
705.5 | 6.565e-05 | 773.5 | 6.4804
706 | 2.572e-05 | 774.5 | 6.2794
706.5 | 7.334e-05 | 775 | 5.9274
707 | 3.256e-05 | 775.5 | 6.9108
707.5 | 6.733e-05 | 776.5 | 6.1076
708 | 5.942e-05 | 777.5 | 6.0953
708.5 | 4.007e-05 | 778.5 | 6.1745
709 | 6.926e-05 | 779 | 6.5615
709.5 | 4.376e-05 | 779.5 | 5.7031
710 | 3.967e-05 | 780 | 5.965
710.5 | 2.208e-05 | 780.5 | 5.9183
711 | 1.3e-05 | 781 | 6.8271
711.5 | 2.678e-05 | 781.5 | 6.3249
712 | 3.479e-05 | 782.5 | 7.0476
712.5 | 8.311e-05 | 783 | 5.6906
713 | 5.73e-05 | 785 | 5.7668
713.5 | 2.755e-05 | 785.5 | 5.8576
714 | 3.882e-05 | 786 | 6.519
714.5 | 2.246e-05 | 786.5 | 6.9337
715 | 7.58e-05 | 787 | 5.6417
715.5 | 7.048e-06 | 787.5 | 5.7528
716 | 5.311e-06 | 788 | 5.673
716.5 | 4.914e-05 | 788.5 | 6.8474
717 | 3.329e-05 | 789.5 | 7.2008
717.5 | 1.346e-05 | 790 | 7.6902
718 | 3.168e-05 | 790.5 | 5.9059
718.5 | 2.094e-05 | 791 | 5.782
719 | -3.61e-06 | 791.5 | 6.0524
719.5 | 4.584e-05 | 792 | 5.9226
720 | 6.422e-05 | 792.5 | 5.9435
720.5 | 1.118e-05 | 793 | 6.3858
721 | 5.475e-05 | 794.5 | 5.6165
721.5 | 3.77e-05 | 795 | 7.6592
722 | 5.02e-05 | 796 | 6.0301
722.5 | 6.896e-06 | 796.5 | 5.9031
723 | 3.682e-05 | 797 | 5.6371
723.5 | 1.146e-05 | 797.5 | 6.0719
724 | -1.927e-05 | 798.5 | 5.9115
724.5 | 6.278e-05 | 799 | 5.6823
725 | 7.48e-05 | 799.5 | 5.8459
725.5 | 2.55e-05 | 800 | 5.3543
726 | 1.463e-05 | 800.5 | 5.3731
726.5 | 2.883e-06 | 801 | 5.3929
727 | 3.922e-05 | 801.5 | 5.32
727.5 | -4.285e-06 | 802 | 5.2577
728 | 3.416e-06 | 802.5 | 5.281
728.5 | 3.341e-05 | 803 | 5.3056
729 | 1.171e-05 | 803.5 | 5.2819
729.5 | 3.252e-05 | 804 | 5.2596
730 | 3.47e-05 | 804.5 | 5.2792
730.5 | 4.285e-05 | 805 | 5.2996
731 | 2.605e-05 | 805.5 | 5.2743
731.5 | 9.843e-06 | 806 | 5.2504
732 | 2.022e-05 | 806.5 | 5.2437
732.5 | 3.666e-05 | 807 | 5.2371
733 | 7.733e-06 | 807.5 | 5.2159
733.5 | -1.598e-05 | 808 | 5.1957
734 | 4.985e-05 | 808.5 | 5.1677
734.5 | -2.895e-05 | 809 | 5.1415
735 | 3.401e-05 | 809.5 | 5.1472
735.5 | 5.221e-05 | 810 | 5.153
736 | 2.007e-05 | 810.5 | 5.1444
736.5 | 7.879e-05 | 811 | 5.136
737 | 1.248e-05 | 811.5 | 5.1443
737.5 | 3.403e-05 | 812 | 5.1528
738 | 4.557e-05 | 812.5 | 5.1235
738.5 | 2.258e-05 | 813 | 5.0961
739 | 8.956e-05 | 813.5 | 5.0876
739.5 | 1.322e-05 | 814 | 5.0792
740 | 3.485e-05 | 814.5 | 5.0748
740.5 | 5.966e-05 | 815 | 5.0705
741 | 4.885e-05 | 815.5 | 5.0673
741.5 | -5.326e-07 | 816 | 5.064
742 | 8.327e-05 | 816.5 | 5.0705
742.5 | 2.976e-06 | 817 | 5.0771
743 | 5.568e-06 | 817.5 | 5.0531
743.5 | 7.321e-05 | 818 | 5.0305
744 | 4.728e-05 | 818.5 | 5.0026
744.5 | 1.88e-05 | 819 | 4.9763
745 | -1.213e-05 | 819.5 | 4.9574
745.5 | 1.478e-05 | 820 | 4.9393
746 | 3.765e-05 | 820.5 | 4.8921
746.5 | 9.167e-05 | 821 | 4.8492
747 | 6.098e-05 | 821.5 | 4.8128
747.5 | 4.258e-05 | 822 | 4.7794
748 | 1.968e-05 | 822.5 | 4.7279
748.5 | 8.789e-06 | 823 | 4.6822
749 | 1.391e-05 | 823.5 | 4.6234
749.5 | 4.602e-05 | 824 | 4.5717
750 | -3.424e-05 | 824.5 | 4.5147
750.5 | 3.885e-05 | 825 | 4.4645
751 | 1.492e-05 | 825.5 | 4.3872
751.5 | 8.981e-06 | 826 | 4.3217
752 | 0.0001035 | 826.5 | 4.2447
752.5 | 9.457e-05 | 827 | 4.1794
753 | 5.506e-05 | 827.5 | 4.1085
753.5 | -3.855e-05 | 828 | 4.0475
754 | 5.376e-05 | 828.5 | 3.9834
754.5 | 6.635e-05 | 829 | 3.9274
755 | -6.985e-05 | 829.5 | 3.8723
755.5 | 4.815e-05 | 830 | 3.8236
756 | 4.853e-05 | 830.5 | 3.776
756.5 | 3.404e-05 | 831 | 3.7333
757 | 8.746e-06 | 831.5 | 3.6902
757.5 | 0.0001062 | 832 | 3.6511
758 | 2.887e-05 | 832.5 | 3.6149
758.5 | 2.877e-05 | 833 | 3.5815
759 | 2.533e-06 | 833.5 | 3.5511
759.5 | 4.545e-06 | 834 | 3.5227
760 | 7.938e-06 | 834.5 | 3.4977
760.5 | 7.623e-05 | 835 | 3.4741
761 | -7.701e-06 | 835.5 | 3.4545
761.5 | 0.0001189 | 836 | 3.4357
762 | 5.392e-05 | 836.5 | 3.4218
762.5 | 2.664e-05 | 837 | 3.4084
763 | -3.023e-05 | 837.5 | 3.4005
763.5 | 7.678e-05 | 838 | 3.3929
764 | 0.0001117 | 838.5 | 3.3883
764.5 | -6.037e-05 | 839 | 3.3838
765 | 5.156e-05 | 839.5 | 3.3844
765.5 | 2.087e-06 | 840 | 3.3848
766 | 0.0001099 | 840.5 | 3.3886
766.5 | 0.0001076 | 841 | 3.3925
767 | 3.985e-05 | 841.5 | 3.3995
767.5 | 8.79e-05 | 842 | 3.4066
768 | -6.627e-05 | 842.5 | 3.417
768.5 | 2.458e-05 | 843 | 3.4278
769 | 2.046e-05 | 843.5 | 3.4408
769.5 | 3.733e-05 | 844 | 3.4541
770 | -1.098e-05 | 844.5 | 3.4695
770.5 | 5.913e-05 | 845 | 3.4856
771 | 0.0001028 | 845.5 | 3.5025
771.5 | 2.133e-06 | 846 | 3.5201
772 | 1.782e-05 | 846.5 | 3.5373
772.5 | 0.0001168 | 847 | 3.5552
773 | 6.342e-05 | 847.5 | 3.5728
773.5 | 3.308e-05 | 848 | 3.5911
774 | -5.562e-05 | 848.5 | 3.6069
774.5 | 5.255e-05 | 849 | 3.6234
775 | 0.0001182 | 849.5 | 3.6394
775.5 | 1.228e-05 | 850 | 3.656
776 | -3.247e-05 | 850.5 | 3.6704
776.5 | 7.805e-05 | 851 | 3.6855
777 | -2.428e-06 | 851.5 | 3.6994
777.5 | 8.03e-05 | 852 | 3.7138
778 | -2.834e-05 | 852.5 | 3.7261
778.5 | 6.691e-05 | 853 | 3.7387
779 | 2.745e-05 | 853.5 | 3.7506
779.5 | 0.0001981 | 854 | 3.7627
780 | 0.0001084 | 854.5 | 3.7726
780.5 | 0.0001207 | 855 | 3.783
781 | 1.489e-05 | 855.5 | 3.7916
781.5 | 4.733e-05 | 856 | 3.8005
782 | -4.744e-06 | 856.5 | 3.808
782.5 | 8.963e-06 | 857 | 3.8156
783 | 0.0002039 | 857.5 | 3.8219
783.5 | -3.624e-05 | 858 | 3.8286
784 | -1.756e-05 | 858.5 | 3.8336
784.5 | -0.000117 | 859 | 3.8389
785 | 0.0001711 | 859.5 | 3.8422
785.5 | 0.0001388 | 860 | 3.8459
786 | 3.027e-05 | 860.5 | 3.8489
786.5 | 1.165e-05 | 861 | 3.852
787 | 0.0002282 | 861.5 | 3.8536
787.5 | 0.0001767 | 862 | 3.8554
788 | 0.0002123 | 862.5 | 3.8567
788.5 | 1.421e-05 | 863 | 3.8582
789 | -7.286e-05 | 863.5 | 3.8579
789.5 | 6.298e-06 | 864 | 3.8579
790 | 2.041e-06 | 864.5 | 3.8576
790.5 | 0.0001242 | 865 | 3.8573
791 | 0.0001652 | 865.5 | 3.857
791.5 | 8.864e-05 | 866 | 3.857
792 | 0.0001195 | 866.5 | 3.857
792.5 | 0.0001139 | 867 | 3.857
793 | 4.113e-05 | 867.5 | 3.8554
793.5 | -2.82e-05 | 868 | 3.8539
794 | -7.534e-05 | 868.5 | 3.8545
794.5 | 0.0002418 | 869 | 3.8548
795 | 2.192e-06 | 869.5 | 3.8545
795.5 | -5.94e-05 | 870 | 3.8545
796 | 9.33e-05 | 870.5 | 3.8557
796.5 | 0.000125 | 871 | 3.857
797 | 0.0002306 | 871.5 | 3.8586
797.5 | 8.475e-05 | 872 | 3.8598
798 | -5.693e-05 | 872.5 | 3.8623
798.5 | 0.0001226 | 873 | 3.8649
799 | 0.0002078 | 873.5 | 3.869
799.5 | 0.0001426 | 874 | 3.8732
800 | 0.0004423 | 874.5 | 3.8778
800.5 | 0.0004235 | 875 | 3.8824
801 | 0.0004047 | 875.5 | 3.8891
801.5 | 0.0004786 | 876 | 3.8958
802 | 0.0005524 | 876.5 | 3.9027
802.5 | 0.0005236 | 877 | 3.9094
803 | 0.0004948 | 877.5 | 3.9179
803.5 | 0.0005225 | 878 | 3.9266
804 | 0.0005501 | 878.5 | 3.9359
804.5 | 0.0005258 | 879 | 3.9454
805 | 0.0005016 | 879.5 | 3.9555
805.5 | 0.0005317 | 880 | 3.9658
806 | 0.0005618 | 880.5 | 3.9759
806.5 | 0.0005705 | 881 | 3.9859
807 | 0.0005793 | 881.5 | 3.997
807.5 | 0.0006083 | 882 | 4.0077
808 | 0.0006373 | 882.5 | 4.0189
808.5 | 0.0006796 | 883 | 4.0303
809 | 0.0007219 | 883.5 | 4.0418
809.5 | 0.0007125 | 884 | 4.0537
810 | 0.000703 | 884.5 | 4.0627
810.5 | 0.0007171 | 885 | 4.072
811 | 0.0007312 | 885.5 | 4.0829
811.5 | 0.0007173 | 886 | 4.094
812 | 0.0007034 | 886.5 | 4.1031
812.5 | 0.0007524 | 887 | 4.1123
813 | 0.0008014 | 887.5 | 4.1198
813.5 | 0.0008174 | 888 | 4.1274
814 | 0.0008333 | 888.5 | 4.1357
814.5 | 0.0008417 | 889 | 4.1442
815 | 0.0008501 | 889.5 | 4.1501
815.5 | 0.0008565 | 890 | 4.156
816 | 0.0008629 | 890.5 | 4.161
816.5 | 0.0008501 | 891 | 4.1659
817 | 0.0008373 | 891.5 | 4.1698
817.5 | 0.0008848 | 892 | 4.1737
818 | 0.0009322 | 892.5 | 4.1766
818.5 | 0.000994 | 893 | 4.1796
819 | 0.001056 | 893.5 | 4.1816
819.5 | 0.001103 | 894 | 4.1837
820 | 0.00115 | 894.5 | 4.1839
820.5 | 0.001282 | 895 | 4.1841
821 | 0.001415 | 895.5 | 4.1838
821.5 | 0.001539 | 896 | 4.1836
822 | 0.001662 | 896.5 | 4.1826
822.5 | 0.001871 | 897 | 4.1816
823 | 0.002079 | 897.5 | 4.1791
823.5 | 0.00238 | 898 | 4.1767
824 | 0.002681 | 898.5 | 4.1729
824.5 | 0.003057 | 899 | 4.1692
825 | 0.003432 | 899.5 | 4.1656
825.5 | 0.0041 | 900 | 4.1622
826 | 0.004767 | 900.5 | 4.1585
826.5 | 0.005692 | 901 | 4.1548
827 | 0.006616 | 901.5 | 4.15
827.5 | 0.00779 | 902 | 4.1453
828 | 0.008964 | 902.5 | 4.1401
828.5 | 0.01039 | 903 | 4.135
829 | 0.01182 | 903.5 | 4.1285
829.5 | 0.01342 | 904 | 4.1222
830 | 0.01501 | 904.5 | 4.1187
830.5 | 0.01675 | 905 | 4.1153
831 | 0.01848 | 905.5 | 4.1108
831.5 | 0.02041 | 906 | 4.1063
832 | 0.02233 | 906.5 | 4.1023
832.5 | 0.02427 | 907 | 4.0983
833 | 0.02621 | 907.5 | 4.0952
833.5 | 0.02811 | 908 | 4.0921
834 | 0.03001 | 908.5 | 4.0892
834.5 | 0.03179 | 909 | 4.0863
835 | 0.03357 | 909.5 | 4.0844
835.5 | 0.03512 | 910 | 4.0824
836 | 0.03667 | 910.5 | 4.0811
836.5 | 0.03786 | 911 | 4.0797
837 | 0.03905 | 911.5 | 4.0798
837.5 | 0.03976 | 912 | 4.08
838 | 0.04047 | 912.5 | 4.0818
838.5 | 0.0409 | 913 | 4.0836
839 | 0.04132 | 913.5 | 4.0853
839.5 | 0.04127 | 914 | 4.0871
840 | 0.04123 | 914.5 | 4.0904
840.5 | 0.04087 | 915 | 4.0937
841 | 0.0405 | 915.5 | 4.0987
841.5 | 0.03986 | 916 | 4.1038
842 | 0.03921 | 916.5 | 4.1073
842.5 | 0.03828 | 917 | 4.1109
843 | 0.03734 | 917.5 | 4.1156
843.5 | 0.03624 | 918 | 4.1204
844 | 0.03515 | 918.5 | 4.126
844.5 | 0.03392 | 919 | 4.1317
845 | 0.03269 | 919.5 | 4.1367
845.5 | 0.03144 | 920 | 4.1418
846 | 0.03019 | 920.5 | 4.1484
846.5 | 0.02902 | 921 | 4.155
847 | 0.02785 | 921.5 | 4.1598
847.5 | 0.02674 | 922 | 4.1645
848 | 0.02564 | 922.5 | 4.1692
848.5 | 0.02472 | 923 | 4.1741
849 | 0.0238 | 923.5 | 4.1779
849.5 | 0.02294 | 924 | 4.1818
850 | 0.02208 | 924.5 | 4.1859
850.5 | 0.02136 | 925 | 4.19
851 | 0.02063 | 925.5 | 4.1925
851.5 | 0.01998 | 926 | 4.1952
852 | 0.01933 | 926.5 | 4.1981
852.5 | 0.01879 | 927 | 4.2011
853 | 0.01825 | 927.5 | 4.201
853.5 | 0.01776 | 928 | 4.2008
854 | 0.01727 | 928.5 | 4.2025
854.5 | 0.01688 | 929 | 4.2042
855 | 0.01648 | 929.5 | 4.202
855.5 | 0.01616 | 930 | 4.1998
856 | 0.01583 | 930.5 | 4.1995
856.5 | 0.01556 | 931 | 4.1992
857 | 0.01529 | 931.5 | 4.1945
857.5 | 0.01507 | 932 | 4.19
858 | 0.01484 | 932.5 | 4.1874
858.5 | 0.01467 | 933 | 4.1848
859 | 0.01449 | 933.5 | 4.1791
859.5 | 0.01438 | 934 | 4.1736
860 | 0.01426 | 934.5 | 4.1667
860.5 | 0.01416 | 935 | 4.16
861 | 0.01406 | 935.5 | 4.1535
861.5 | 0.01401 | 936 | 4.147
862 | 0.01395 | 936.5 | 4.1394
862.5 | 0.01391 | 937 | 4.1318
863 | 0.01386 | 937.5 | 4.121
863.5 | 0.01387 | 938 | 4.1105
864 | 0.01387 | 938.5 | 4.1014
864.5 | 0.01388 | 939 | 4.0925
865 | 0.01389 | 939.5 | 4.0811
865.5 | 0.0139 | 940 | 4.0699
866 | 0.0139 | 940.5 | 4.0581
866.5 | 0.0139 | 941 | 4.0467
867 | 0.0139 | 941.5 | 4.0333
867.5 | 0.01395 | 942 | 4.0204
868 | 0.014 | 942.5 | 4.0071
868.5 | 0.01398 | 943 | 3.9944
869 | 0.01397 | 943.5 | 3.98
869.5 | 0.01398 | 944 | 3.9662
870 | 0.01398 | 944.5 | 3.9527
870.5 | 0.01394 | 945 | 3.9397
871 | 0.0139 | 945.5 | 3.9252
871.5 | 0.01385 | 946 | 3.9115
872 | 0.01381 | 946.5 | 3.8976
872.5 | 0.01373 | 947 | 3.8841
873 | 0.01365 | 947.5 | 3.8706
873.5 | 0.01352 | 948 | 3.8576
874 | 0.01339 | 948.5 | 3.845
874.5 | 0.01325 | 949 | 3.8324
875 | 0.01311 | 949.5 | 3.8207
875.5 | 0.01291 | 950 | 3.8094
876 | 0.01271 | 950.5 | 3.7983
876.5 | 0.01251 | 951 | 3.7875
877 | 0.01232 | 951.5 | 3.7781
877.5 | 0.01208 | 952 | 3.7688
878 | 0.01184 | 952.5 | 3.7607
878.5 | 0.01159 | 953 | 3.753
879 | 0.01134 | 953.5 | 3.7469
879.5 | 0.01108 | 954 | 3.7409
880 | 0.01082 | 954.5 | 3.7364
880.5 | 0.01057 | 955 | 3.7317
881 | 0.01033 | 955.5 | 3.7289
881.5 | 0.01007 | 956 | 3.7261
882 | 0.009824 | 956.5 | 3.7245
882.5 | 0.009575 | 957 | 3.7226
883 | 0.009326 | 957.5 | 3.7229
883.5 | 0.009082 | 958 | 3.7231
884 | 0.008837 | 958.5 | 3.724
884.5 | 0.008655 | 959 | 3.7252
885 | 0.008473 | 959.5 | 3.7272
885.5 | 0.008263 | 960 | 3.7293
886 | 0.008053 | 960.5 | 3.7319
886.5 | 0.007887 | 961 | 3.7345
887 | 0.007721 | 961.5 | 3.7378
887.5 | 0.00759 | 962 | 3.7414
888 | 0.007458 | 962.5 | 3.7447
888.5 | 0.007316 | 963 | 3.7479
889 | 0.007174 | 963.5 | 3.7513
889.5 | 0.007078 | 964 | 3.7547
890 | 0.006982 | 964.5 | 3.7575
890.5 | 0.006903 | 965 | 3.7602
891 | 0.006825 | 965.5 | 3.7632
891.5 | 0.006764 | 966 | 3.7662
892 | 0.006704 | 966.5 | 3.7685
892.5 | 0.006659 | 967 | 3.7708
893 | 0.006613 | 967.5 | 3.7719
893.5 | 0.006582 | 968 | 3.7731
894 | 0.006551 | 968.5 | 3.7737
894.5 | 0.006548 | 969 | 3.7744
895 | 0.006545 | 969.5 | 3.7747
895.5 | 0.006549 | 970 | 3.775
896 | 0.006552 | 970.5 | 3.7731
896.5 | 0.006567 | 971 | 3.7716
897 | 0.006582 | 971.5 | 3.7698
897.5 | 0.00662 | 972 | 3.768
898 | 0.006658 | 972.5 | 3.765
898.5 | 0.006716 | 973 | 3.762
899 | 0.006774 | 973.5 | 3.758
899.5 | 0.006829 | 974 | 3.7538
900 | 0.006884 | 974.5 | 3.7489
900.5 | 0.006943 | 975 | 3.7438
901 | 0.007002 | 975.5 | 3.7376
901.5 | 0.00708 | 976 | 3.7314
902 | 0.007157 | 976.5 | 3.7238
902.5 | 0.007243 | 977 | 3.7165
903 | 0.007328 | 977.5 | 3.7084
903.5 | 0.007438 | 978 | 3.7007
904 | 0.007548 | 978.5 | 3.6917
904.5 | 0.007608 | 979 | 3.6828
905 | 0.007668 | 979.5 | 3.6726
905.5 | 0.007748 | 980 | 3.6625
906 | 0.007828 | 980.5 | 3.6505
906.5 | 0.007902 | 981 | 3.6387
907 | 0.007975 | 981.5 | 3.6275
907.5 | 0.008032 | 982 | 3.6164
908 | 0.008089 | 982.5 | 3.6024
908.5 | 0.008143 | 983 | 3.5889
909 | 0.008198 | 983.5 | 3.5753
909.5 | 0.008234 | 984 | 3.5621
910 | 0.008271 | 984.5 | 3.5474
910.5 | 0.008297 | 985 | 3.5333
911 | 0.008323 | 985.5 | 3.5184
911.5 | 0.008321 | 986 | 3.504
912 | 0.008318 | 986.5 | 3.4884
912.5 | 0.008283 | 987 | 3.4734
913 | 0.008249 | 987.5 | 3.4589
913.5 | 0.008216 | 988 | 3.4449
914 | 0.008182 | 988.5 | 3.4323
914.5 | 0.008121 | 989 | 3.42
915 | 0.00806 | 989.5 | 3.4079
915.5 | 0.007967 | 990 | 3.3963
916 | 0.007874 | 990.5 | 3.3874
916.5 | 0.007811 | 991 | 3.3788
917 | 0.007747 | 991.5 | 3.3718
917.5 | 0.007663 | 992 | 3.3649
918 | 0.007578 | 992.5 | 3.3611
918.5 | 0.007481 | 993 | 3.3572
919 | 0.007384 | 993.5 | 3.3545
919.5 | 0.007299 | 994 | 3.3517
920 | 0.007214 | 994.5 | 3.352
920.5 | 0.007106 | 995 | 3.3523
921 | 0.006998 | 995.5 | 3.3534
921.5 | 0.006922 | 996 | 3.3545
922 | 0.006847 | 996.5 | 3.3575
922.5 | 0.006773 | 997 | 3.3605
923 | 0.006698 | 997.5 | 3.3648
923.5 | 0.006639 | 998 | 3.3692
924 | 0.006579 | 998.5 | 3.3749
924.5 | 0.006518 | 999 | 3.3806
925 | 0.006457 | 999.5 | 3.3873
925.5 | 0.006419 | 1000 | 3.3943
926 | 0.00638
926.5 | 0.006337
927 | 0.006293
927.5 | 0.006295
928 | 0.006298
928.5 | 0.006273
929 | 0.006249
929.5 | 0.00628
930 | 0.006312
930.5 | 0.006317
931 | 0.006322
931.5 | 0.00639
932 | 0.006457
932.5 | 0.006496
933 | 0.006535
933.5 | 0.00662
934 | 0.006705
934.5 | 0.006812
935 | 0.006918
935.5 | 0.007023
936 | 0.007129
936.5 | 0.007255
937 | 0.007382
937.5 | 0.007568
938 | 0.007753
938.5 | 0.007917
939 | 0.008081
939.5 | 0.008297
940 | 0.008514
940.5 | 0.008748
941 | 0.008981
941.5 | 0.009261
942 | 0.009542
942.5 | 0.009837
943 | 0.01013
943.5 | 0.01047
944 | 0.01081
944.5 | 0.01115
945 | 0.01149
945.5 | 0.01188
946 | 0.01226
946.5 | 0.01266
947 | 0.01306
947.5 | 0.01347
948 | 0.01388
948.5 | 0.01429
949 | 0.01471
949.5 | 0.01511
950 | 0.01551
950.5 | 0.01591
951 | 0.01631
951.5 | 0.01667
952 | 0.01703
952.5 | 0.01735
953 | 0.01766
953.5 | 0.01791
954 | 0.01816
954.5 | 0.01835
955 | 0.01855
955.5 | 0.01867
956 | 0.01879
956.5 | 0.01886
957 | 0.01894
957.5 | 0.01893
958 | 0.01892
958.5 | 0.01888
959 | 0.01883
959.5 | 0.01874
960 | 0.01865
960.5 | 0.01854
961 | 0.01843
961.5 | 0.01829
962 | 0.01814
962.5 | 0.018
963 | 0.01787
963.5 | 0.01773
964 | 0.01759
964.5 | 0.01748
965 | 0.01737
965.5 | 0.01725
966 | 0.01713
966.5 | 0.01704
967 | 0.01695
967.5 | 0.01691
968 | 0.01686
968.5 | 0.01684
969 | 0.01681
969.5 | 0.0168
970 | 0.01679
970.5 | 0.01686
971 | 0.01692
971.5 | 0.01699
972 | 0.01706
972.5 | 0.01718
973 | 0.0173
973.5 | 0.01746
974 | 0.01763
974.5 | 0.01783
975 | 0.01804
975.5 | 0.0183
976 | 0.01856
976.5 | 0.01889
977 | 0.01921
977.5 | 0.01957
978 | 0.01992
978.5 | 0.02034
979 | 0.02076
979.5 | 0.02125
980 | 0.02175
980.5 | 0.02236
981 | 0.02298
981.5 | 0.02358
982 | 0.02419
982.5 | 0.02498
983 | 0.02577
983.5 | 0.02659
984 | 0.02741
984.5 | 0.02835
985 | 0.02929
985.5 | 0.03031
986 | 0.03133
986.5 | 0.03248
987 | 0.03362
987.5 | 0.03476
988 | 0.0359
988.5 | 0.03696
989 | 0.03802
989.5 | 0.03909
990 | 0.04015
990.5 | 0.04098
991 | 0.0418
991.5 | 0.04248
992 | 0.04316
992.5 | 0.04354
993 | 0.04393
993.5 | 0.04421
994 | 0.04449
994.5 | 0.04446
995 | 0.04443
995.5 | 0.04432
996 | 0.04421
996.5 | 0.0439
997 | 0.0436
997.5 | 0.04317
998 | 0.04274
998.5 | 0.04218
999 | 0.04163
999.5 | 0.04099
1000 | 0.04034