## PLNAPO5XNIR
Wavelength | Transmission
(nm) | (%)
400 | 73.1
401 | 73.42
402 | 73.74
403 | 74.06 | PLNAPO10X Transmission VS Wavelength This file indicates a typical data and there may be differences between product batches. If you have any questions, please contact LBTEK Technical Support. To quote this data, please indicate that the data source is from LBTEK.
404 | 74.38
405 | 74.7
406 | 75.02
407 | 75.34
408 | 75.66
409 | 75.98
410 | 76.3
411 | 76.62
412 | 76.94
413 | 77.26 | LBTEK Mall：www.lbtek.com Tel：400-060-6986 LBTEK Technical Support E-mail：service@lbtek.com
414 | 77.58
415 | 77.9
416 | 78.22
417 | 78.54
418 | 78.86
419 | 79.18
420 | 79.5
421 | 79.82
422 | 80.14
423 | 80.46
424 | 80.78
425 | 80.6
426 | 80.92
427 | 81.24
428 | 81.56
429 | 81.88
430 | 82.275
431 | 82.57
432 | 82.665
433 | 82.796
434 | 82.855
435 | 82.853
436 | 82.994
437 | 84.011
438 | 83.991
439 | 83.876
440 | 83.913
441 | 83.838
442 | 83.929
443 | 84.079
444 | 84.215
445 | 84.777
446 | 84.648
447 | 84.733
448 | 84.657
449 | 84.62
450 | 84.73
451 | 84.805
452 | 84.774
453 | 84.837
454 | 84.858
455 | 84.676
456 | 84.579
457 | 84.471
458 | 84.474
459 | 84.578
460 | 84.799
461 | 85.038
462 | 85.199
463 | 85.214
464 | 85.145
465 | 85.083
466 | 85.03
467 | 85.223
468 | 85.269
469 | 85.405
470 | 85.558
471 | 85.533
472 | 85.414
473 | 85.477
474 | 85.54
475 | 85.603
476 | 85.666
477 | 85.729
478 | 85.792
479 | 85.855
480 | 85.918
481 | 85.981
482 | 86.044
483 | 86.107
484 | 86.17
485 | 86.233
486 | 86.296
487 | 86.359
488 | 86.422
489 | 86.485
490 | 86.548
491 | 86.611
492 | 86.674
493 | 86.737
494 | 86.8
495 | 87.226
496 | 87.451
497 | 87.435
498 | 87.486
499 | 87.659
500 | 87.68
501 | 87.644
502 | 87.697
503 | 87.789
504 | 87.841
505 | 87.93
506 | 87.966
507 | 88.017
508 | 87.959
509 | 87.915
510 | 88.068
511 | 88.253
512 | 88.429
513 | 88.723
514 | 88.793
515 | 88.897
516 | 88.878
517 | 88.847
518 | 88.786
519 | 88.851
520 | 88.816
521 | 88.961
522 | 89.103
523 | 89.041
524 | 89.087
525 | 89.099
526 | 89.117
527 | 89.073
528 | 89.234
529 | 89.226
530 | 89.327
531 | 89.304
532 | 89.411
533 | 89.268
534 | 89.192
535 | 89.136
536 | 89.142
537 | 89.015
538 | 89.215
539 | 89.358
540 | 89.364
541 | 89.252
542 | 89.289
543 | 89.321
544 | 89.373
545 | 89.466
546 | 89.469
547 | 89.488
548 | 89.417
549 | 89.337
550 | 89.307
551 | 89.557
552 | 89.494
553 | 89.523
554 | 89.605
555 | 89.473
556 | 89.554
557 | 89.55
558 | 89.521
559 | 89.386
560 | 89.483
561 | 89.29
562 | 89.465
563 | 89.443
564 | 89.567
565 | 89.498
566 | 89.498
567 | 89.405
568 | 89.425
569 | 89.428
570 | 89.448
571 | 89.523
572 | 89.552
573 | 89.567
574 | 89.552
575 | 89.565
576 | 89.516
577 | 89.493
578 | 89.486
579 | 89.497
580 | 89.674
581 | 89.738
582 | 89.87
583 | 89.985
584 | 90.019
585 | 89.878
586 | 89.825
587 | 89.833
588 | 89.807
589 | 89.855
590 | 89.935
591 | 89.923
592 | 89.837
593 | 89.746
594 | 89.653
595 | 89.56
596 | 89.608
597 | 89.632
598 | 89.745
599 | 89.747
600 | 89.845
601 | 89.748
602 | 89.527
603 | 89.516
604 | 89.529
605 | 89.531
606 | 89.722
607 | 90.003
608 | 89.909
609 | 89.971
610 | 90.11
611 | 90.04
612 | 90.02
613 | 90.246
614 | 90.257
615 | 90.281
616 | 90.464
617 | 90.577
618 | 90.587
619 | 90.674
620 | 90.643
621 | 90.672
622 | 90.552
623 | 90.594
624 | 90.618
625 | 90.624
626 | 90.502
627 | 90.677
628 | 90.526
629 | 90.712
630 | 90.891
631 | 90.869
632 | 90.853
633 | 90.972
634 | 90.859
635 | 90.73
636 | 90.756
637 | 90.735
638 | 90.774
639 | 90.84
640 | 90.928
641 | 90.905
642 | 90.917
643 | 90.835
644 | 90.732
645 | 90.602
646 | 90.707
647 | 90.638
648 | 90.629
649 | 90.752
650 | 90.653
651 | 90.615
652 | 90.663
653 | 90.712
654 | 90.631
655 | 90.521
656 | 90.581
657 | 90.623
658 | 90.684
659 | 90.653
660 | 90.901
661 | 90.832
662 | 90.667
663 | 90.537
664 | 90.316
665 | 90.472
666 | 90.348
667 | 90.56
668 | 90.596
669 | 90.765
670 | 90.376
671 | 90.505
672 | 90.359
673 | 90.24
674 | 90.296
675 | 90.313
676 | 90.112
677 | 89.969
678 | 90.069
679 | 90.15
680 | 90.089
681 | 90.132
682 | 90.167
683 | 90.314
684 | 89.959
685 | 89.989
686 | 89.941
687 | 90.054
688 | 89.674
689 | 89.621
690 | 89.45
691 | 89.423
692 | 89.267
693 | 89.25
694 | 89.264
695 | 89.183
696 | 89.107
697 | 88.934
698 | 88.878
699 | 88.764
700 | 88.627
701 | 88.519
702 | 88.423
703 | 88.259
704 | 88.18
705 | 88.136
706 | 88.18
707 | 88.113
708 | 87.897
709 | 87.639
710 | 87.481
711 | 87.238
712 | 87.04
713 | 87.042
714 | 86.907
715 | 86.951
716 | 86.673
717 | 86.605
718 | 86.351
719 | 86.442
720 | 86.353
721 | 86.323
722 | 86.29
723 | 86.451
724 | 86.351
725 | 86.285
726 | 85.916
727 | 85.364
728 | 84.832
729 | 84.664
730 | 84.34
731 | 84.395
732 | 84.574
733 | 84.589
734 | 84.143
735 | 84.428
736 | 84.321
737 | 84.141
738 | 84.225
739 | 84.287
740 | 83.535
741 | 83.56
742 | 83.163
743 | 82.599
744 | 82.412
745 | 82.188
746 | 81.874
747 | 81.618
748 | 81.452
749 | 81.109
750 | 80.966
751 | 80.8
752 | 80.652
753 | 80.464
754 | 80.286
755 | 80.159
756 | 79.931
757 | 79.735
758 | 79.574
759 | 79.402
760 | 79.217
761 | 79.013
762 | 78.826
763 | 78.678
764 | 78.495
765 | 78.276
766 | 78.084
767 | 77.943
768 | 77.754
769 | 77.559
770 | 77.398
771 | 77.211
772 | 77.047
773 | 76.834
774 | 76.626
775 | 76.432
776 | 76.283
777 | 76.097
778 | 75.893
779 | 75.7
780 | 75.491
781 | 75.272
782 | 75.042
783 | 74.81
784 | 74.637
785 | 74.414
786 | 74.205
787 | 73.975
788 | 73.745
789 | 73.535
790 | 73.329
791 | 73.118
792 | 72.885
793 | 72.662
794 | 72.467
795 | 72.264
796 | 72.045
797 | 71.852
798 | 71.646
799 | 71.437
800 | 71.209
801 | 70.979
802 | 70.764
803 | 70.589
804 | 70.43
805 | 70.238
806 | 70.06
807 | 69.853
808 | 69.619
809 | 69.385
810 | 69.198
811 | 68.979
812 | 68.813
813 | 68.617
814 | 68.38
815 | 68.146
816 | 67.886
817 | 67.661
818 | 67.5
819 | 67.289
820 | 67.114
821 | 66.878
822 | 66.678
823 | 66.452
824 | 66.258
825 | 66.061
826 | 65.894
827 | 65.741
828 | 65.518
829 | 65.261
830 | 65.096
831 | 64.917
832 | 64.744
833 | 64.582
834 | 64.38
835 | 64.173
836 | 64.001
837 | 63.798
838 | 63.649
839 | 63.484
840 | 63.296
841 | 63.082
842 | 62.839
843 | 62.651
844 | 62.494
845 | 62.306
846 | 62.145
847 | 61.984
848 | 61.838
849 | 61.612
850 | 61.433
851 | 61.279
852 | 61.094
853 | 60.985
854 | 60.804
855 | 60.577
856 | 60.443
857 | 60.281
858 | 60.125
859 | 59.951
860 | 59.838
861 | 59.673
862 | 59.512
863 | 59.346
864 | 59.17
865 | 59.039
866 | 58.874
867 | 58.718
868 | 58.553
869 | 58.383
870 | 58.23
871 | 58.015
872 | 57.88
873 | 57.746
874 | 57.639
875 | 57.46
876 | 57.331
877 | 57.227
878 | 57.107
879 | 57.006
880 | 56.856
881 | 56.694
882 | 56.633
883 | 56.446
884 | 56.322
885 | 56.151
886 | 56.057
887 | 55.918
888 | 55.741
889 | 55.458
890 | 55.222
891 | 54.908
892 | 54.623
893 | 54.286
894 | 53.997
895 | 53.72
896 | 53.405
897 | 53.066
898 | 52.728
899 | 52.493
900 | 52.281
901 | 52.069
902 | 51.938
903 | 51.835
904 | 51.765
905 | 51.711
906 | 51.574
907 | 51.518
908 | 51.409
909 | 51.36
910 | 51.212
911 | 51.133
912 | 50.953
913 | 50.895
914 | 50.701
915 | 50.461
916 | 50.324
917 | 50.18
918 | 50.006
919 | 49.881
920 | 49.699
921 | 49.555
922 | 49.364
923 | 49.261
924 | 49.056
925 | 48.972
926 | 48.878
927 | 48.751
928 | 48.615
929 | 48.503
930 | 48.364
931 | 48.241
932 | 48.11
933 | 48.019
934 | 47.874
935 | 47.766
936 | 47.629
937 | 47.52
938 | 47.38
939 | 47.265
940 | 47.177
941 | 47.043
942 | 46.928
943 | 46.813
944 | 46.71
945 | 46.622
946 | 46.526
947 | 46.415
948 | 46.298
949 | 46.167
950 | 46.039
951 | 45.907
952 | 45.826
953 | 45.711
954 | 45.61
955 | 45.496
956 | 45.384
957 | 45.25
958 | 45.129
959 | 45.018
960 | 44.917
961 | 44.798
962 | 44.664
963 | 44.545
964 | 44.44
965 | 44.334
966 | 44.23
967 | 44.113
968 | 44.011
969 | 43.905
970 | 43.797
971 | 43.668
972 | 43.575
973 | 43.485
974 | 43.388
975 | 43.279
976 | 43.175
977 | 43.084
978 | 42.99
979 | 42.91
980 | 42.837
981 | 42.738
982 | 42.656
983 | 42.562
984 | 42.468
985 | 42.366
986 | 42.268
987 | 42.176
988 | 42.072
989 | 41.974
990 | 41.881
991 | 41.769
992 | 41.681
993 | 41.593
994 | 41.506
995 | 41.408
996 | 41.312
997 | 41.225
998 | 41.135
999 | 41.047
1000 | 40.967
1001 | 40.881
1002 | 40.814
1003 | 40.737
1004 | 40.653
1005 | 40.564
1006 | 40.494
1007 | 40.413
1008 | 40.328
1009 | 40.252
1010 | 40.163
1011 | 40.084
1012 | 39.995
1013 | 39.905
1014 | 39.829
1015 | 39.742
1016 | 39.677
1017 | 39.603
1018 | 39.534
1019 | 39.46
1020 | 39.39
1021 | 39.311
1022 | 39.237
1023 | 39.161
1024 | 39.088
1025 | 39.01
1026 | 38.948
1027 | 38.875
1028 | 38.795
1029 | 38.725
1030 | 38.648
1031 | 38.569
1032 | 38.495
1033 | 38.42
1034 | 38.354
1035 | 38.294
1036 | 38.224
1037 | 38.147
1038 | 38.067
1039 | 38
1040 | 37.936
1041 | 37.871
1042 | 37.811
1043 | 37.757
1044 | 37.698
1045 | 37.634
1046 | 37.57
1047 | 37.505
1048 | 37.448
1049 | 37.39
1050 | 37.33
1051 | 37.268
1052 | 37.216
1053 | 37.16
1054 | 37.109
1055 | 37.05
1056 | 36.993
1057 | 36.932
1058 | 36.885
1059 | 36.822
1060 | 36.778
1061 | 36.716
1062 | 36.657
1063 | 36.607
1064 | 36.548
1065 | 36.492
1066 | 36.435
1067 | 36.379
1068 | 36.32
1069 | 36.262
1070 | 36.218
1071 | 36.165
1072 | 36.114
1073 | 36.056
1074 | 36.001
1075 | 35.941
1076 | 35.885
1077 | 35.826
1078 | 35.771
1079 | 35.714
1080 | 35.659
1081 | 35.597
1082 | 35.533
1083 | 35.483
1084 | 35.442
1085 | 35.386
1086 | 35.335
1087 | 35.279
1088 | 35.227
1089 | 35.167
1090 | 35.127
1091 | 35.072
1092 | 35.03
1093 | 34.992
1094 | 34.944
1095 | 34.895
1096 | 34.855
1097 | 34.817
1098 | 34.784
1099 | 34.74
1100 | 34.71
1101 | 34.665
1102 | 34.636
1103 | 34.596
1104 | 34.553
1105 | 34.515
1106 | 34.47
1107 | 34.427
1108 | 34.389
1109 | 34.342
1110 | 34.315
1111 | 34.277
1112 | 34.239
1113 | 34.195
1114 | 34.163
1115 | 34.121
1116 | 34.086
1117 | 34.05
1118 | 34.019
1119 | 33.977
1120 | 33.932
1121 | 33.892
1122 | 33.845
1123 | 33.809
1124 | 33.767
1125 | 33.723
1126 | 33.679
1127 | 33.635
1128 | 33.594
1129 | 33.556
1130 | 33.516
1131 | 33.487
1132 | 33.442
1133 | 33.406
1134 | 33.356
1135 | 33.314
1136 | 33.272
1137 | 33.239
1138 | 33.204
1139 | 33.171
1140 | 33.13
1141 | 33.099
1142 | 33.063
1143 | 33.035
1144 | 33.006
1145 | 32.985
1146 | 32.961
1147 | 32.93
1148 | 32.899
1149 | 32.866
1150 | 32.836
1151 | 32.808
1152 | 32.781
1153 | 32.753
1154 | 32.725
1155 | 32.691
1156 | 32.657
1157 | 32.629
1158 | 32.599
1159 | 32.577
1160 | 32.557
1161 | 32.529
1162 | 32.502
1163 | 32.472
1164 | 32.446
1165 | 32.407
1166 | 32.379
1167 | 32.351
1168 | 32.322
1169 | 32.3
1170 | 32.271
1171 | 32.237
1172 | 32.207
1173 | 32.177
1174 | 32.137
1175 | 32.105
1176 | 32.085
1177 | 32.056
1178 | 32.026
1179 | 31.994
1180 | 31.963
1181 | 31.932
1182 | 31.904
1183 | 31.87
1184 | 31.84
1185 | 31.818
1186 | 31.785
1187 | 31.748
1188 | 31.72
1189 | 31.694
1190 | 31.671
1191 | 31.642
1192 | 31.609
1193 | 31.589
1194 | 31.571
1195 | 31.553
1196 | 31.529
1197 | 31.513
1198 | 31.495
1199 | 31.472
1200 | 31.452
1201 | 31.429
1202 | 31.417
1203 | 31.403
1204 | 31.38
1205 | 31.355
1206 | 31.332
1207 | 31.314
1208 | 31.29
1209 | 31.271
1210 | 31.257
1211 | 31.235
1212 | 31.217
1213 | 31.197
1214 | 31.178
1215 | 31.158
1216 | 31.143
1217 | 31.122
1218 | 31.103
1219 | 31.092
1220 | 31.08
1221 | 31.069
1222 | 31.056
1223 | 31.042
1224 | 31.022
1225 | 31.008
1226 | 30.99
1227 | 30.976
1228 | 30.964
1229 | 30.944
1230 | 30.929
1231 | 30.903
1232 | 30.885
1233 | 30.87
1234 | 30.848
1235 | 30.833
1236 | 30.816
1237 | 30.806
1238 | 30.787
1239 | 30.77
1240 | 30.752
1241 | 30.736
1242 | 30.726
1243 | 30.703
1244 | 30.68
1245 | 30.667
1246 | 30.65
1247 | 30.634
1248 | 30.612
1249 | 30.597
1250 | 30.574
1251 | 30.565
1252 | 30.546
1253 | 30.531
1254 | 30.521
1255 | 30.509
1256 | 30.493
1257 | 30.472
1258 | 30.457
1259 | 30.45
1260 | 30.434
1261 | 30.43
1262 | 30.416
1263 | 30.402
1264 | 30.388
1265 | 30.371
1266 | 30.357
1267 | 30.352
1268 | 30.349
1269 | 30.335
1270 | 30.317
1271 | 30.309
1272 | 30.293
1273 | 30.287
1274 | 30.273
1275 | 30.267
1276 | 30.257
1277 | 30.25
1278 | 30.242
1279 | 30.23
1280 | 30.223
1281 | 30.216
1282 | 30.206
1283 | 30.197
1284 | 30.18
1285 | 30.166
1286 | 30.157
1287 | 30.153
1288 | 30.141
1289 | 30.125
1290 | 30.113
1291 | 30.102
1292 | 30.084
1293 | 30.069
1294 | 30.055
1295 | 30.043
1296 | 30.034
1297 | 30.013
1298 | 29.993
1299 | 29.989
1300 | 29.977
1301 | 29.963
1302 | 29.949
1303 | 29.944
1304 | 29.935
1305 | 29.919
1306 | 29.909
1307 | 29.907
1308 | 29.904
1309 | 29.896
1310 | 29.882
1311 | 29.875
1312 | 29.869
1313 | 29.876
1314 | 29.869
1315 | 29.852
1316 | 29.85
1317 | 29.849
1318 | 29.834
1319 | 29.819
1320 | 29.812
1321 | 29.808
1322 | 29.796
1323 | 29.79
1324 | 29.779
1325 | 29.773
1326 | 29.78
1327 | 29.782
1328 | 29.778
1329 | 29.781
1330 | 29.788
1331 | 29.789
1332 | 29.785
1333 | 29.79
1334 | 29.788
1335 | 29.775
1336 | 29.775
1337 | 29.769
1338 | 29.756
1339 | 29.757
1340 | 29.754
1341 | 29.747
1342 | 29.744
1343 | 29.739
1344 | 29.723
1345 | 29.722
1346 | 29.72
1347 | 29.71
1348 | 29.707
1349 | 29.704
1350 | 29.692
1351 | 29.682
1352 | 29.676
1353 | 29.676
1354 | 29.668
1355 | 29.663
1356 | 29.657
1357 | 29.643
1358 | 29.63
1359 | 29.616
1360 | 29.606
1361 | 29.597
1362 | 29.592
1363 | 29.58
1364 | 29.574
1365 | 29.569
1366 | 29.57
1367 | 29.558
1368 | 29.56
1369 | 29.554
1370 | 29.551
1371 | 29.544
1372 | 29.538
1373 | 29.532
1374 | 29.527
1375 | 29.509
1376 | 29.493
1377 | 29.486
1378 | 29.479
1379 | 29.469
1380 | 29.464
1381 | 29.465
1382 | 29.457
1383 | 29.452
1384 | 29.45
1385 | 29.446
1386 | 29.442
1387 | 29.442
1388 | 29.438
1389 | 29.43
1390 | 29.427
1391 | 29.428
1392 | 29.418
1393 | 29.42
1394 | 29.415
1395 | 29.404
1396 | 29.391
1397 | 29.389
1398 | 29.392
1399 | 29.385
1400 | 29.389